The Malaysian Journal of Analytical Sciences Vol 15 No 1 (2011): 27 – 36

DISCRIMINATOR SETTING AND COCKTAIL PREPARATION FOR ANALYSIS OF ALPHA AND BETA EMITTERS IN AQUEOUS SOLUTION USING LIQUID SCINTILLATION COUNTER

Zaini Hamzah1*, Masitah Alias1and Zaharudin Ahmad2
1Faculty of Applied Sciences, 

Universiti Teknologi MARA, 40450 Shah Alam, Selangor, Malaysia 

2Radiochemistry and the Environment Group, 

Malaysian Nuclear Agency, 43000 Bangi, Selangor, Malaysia

*Corresponding author: zainihamzah@live.com

Abstract

Liquid scintillation counting (LSC) is not only being used to measure pure beta emitters, but it can be used to measure both alpha and beta emitters simultaneously. Measurement of alpha and beta emitters in aqueous solution is done using a single sample. For the sample preparation, colorless detergent or emulsifier was used to incorporate the water into an organic based scintillator to produce a clear homogeneous solution, since this is the best form to give the highest count rate and detection efficiency. The instrument also need some attention, where after calibration, the LSC was set for the discriminator level which is suitable for measurement of both alpha and beta radiations. In this study, the focus is on the development of the best scintillation cocktail and establishes the best discriminator setting. From this study the best proportion of scintillation cocktail is 2:4:4 for water, toluene, and Triton-N101 (emulsifier) respectively and the best discriminator setting for alpha and beta counting are 120. 

Abstract in English

Keywords: alpha emitter, beta emitter, cocktail, LSC, scintillant.
References

1. Packard, (1994) Liquid Scintillation Counter (TRICAB 2700) Manual.
2. UNSCEAR (1993) Ionizing Radiation: Sources and Effects of Ionizing Radiation. United Nations Scientific Committee on the Effects of Atomic Radiation. Report to the General Assembly, with Scientific Annexes. United Nations Sales Publication E.94.IX.2.United Nations, New York.
3. WHO, (1993). Guidelines for Drinking Water Quality. Second ed., Recommendations, vol. 1, World Health Organization, Geneva, Switzerland, pp. 114–121.
4. UNSCEAR (United Nations Scientific Committee on the Effects of Atomic Radiations), (2000). Sources and effects of ionizing radiation. Report to the General Assembly, United Nations, New York.
5. Malanca, A., Repetti, M., Macedo, H.R., (1998). Gross alpha and beta-activities in surface and ground water of Rio Grando do Norte, Brazil. Inter J. Appl. Radiat.and  Isotopes. 49 (7), 893–898.
6. Terlikowska T, D Hainos, P Cassette  and T Radoszewski (2000). ‘Application of alpha/beta discrimination in liquid scintillation counting for the purity control of 99mTc medical solutions’. Appl. Radiat and Isotopes, 52, 627-632.
7. Shing-Fa Fang et al (2006). ‘Comparison of Alpha/Beta Separation Performance of Commercially Available Scintillation Cocktails Counting by QuantulusTM 1220 Liquid Scintillation Counter’ Division of Health Physics, Institute of Nuclear Energy Research, 1000 Wen-Hua Road, Chiaan Village, Lungtan, Taoyuan, Taiwan, R.O.C.
8. Maurizio Forte , Rosella Rusconi, Elisabetta Di Caprio, Silvia Bellinzona and Giuseppe (2000) ‘Natural Radionuclides Measurements in Drinking Water by Liquid Scintillation Counting’. ARPA Loambardia, Italy. 
9. Cantaloub, M. J. Higginbothram, J. Istok and L semprini. (2008) ‘Interaction of sample, cocktail and headspace volume when measuring aqueous Radon in small volume. Nuclear Engineering Dept., Oregon State University. 
10. Van Der Laarse, J.D, (1967) Experience with emulsion counting of tritium, Inter.J.Appl.Radiat. Isotopes, 18, 485.
