The Malaysian Journal of Analytical Sciences, Vol 15 No 2 (2011): 150 - 158
Zaharidah Abu Bakar et al:  SEDIMENTATION RATE AND CHRONOLOGY OF As AND Zn IN SEDIMENT OF A RECENT FORMER TIN MINING LAKE ESTIMATED USING Pb-210 DATING TECHNIQUE


[image: image1.png]



SEDIMENTATION RATE AND CHRONOLOGY OF As AND Zn IN SEDIMENT OF A RECENT FORMER TIN MINING LAKE ESTIMATED USING Pb-210 DATING TECHNIQUE
(Kadar Mendapan dan Kronologi As dan Zn dalam Sedimen Tasek Bekas Lombong Menggunakan Teknik Pentarikhan Pb-210)

Zaharidah Abu Bakar1, Ahmad Saat2*, Zaini Hamzah1, Abdul Khalik Wood3 and Zaharuddin Ahmad3
1Faculty of Applied Sciences,
2Institute of Science,
Universiti Teknologi MARA, Malaysia, 40450 Shah Alam, Malaysia

3Malaysian Nuclear Agency,

43000 Bangi, Malaysia.

*Corresponding author: ahmad183@salam.uitm.edu.my
Abstract

Sedimentation in lake occurred through run-off from the land surface and settles on the bottom lake. Past mining activities might enhance sedimentation process in the former tin mining lakes either through natural or human activities. Former tin mining lakes were suspected to have high sedimentation rate due undisturbed environment for almost 50 years. To estimate sedimentation rate and metals contamination in this lake, Pb-210 dating technique was used. Two sediments cores were sampled using gravity corer from a former tin mining lake then analyzed using alpha-spectrometry and Neutron Activation Analysis (NAA). From this study, the results showed the sedimentation rate for sediment cores S1 and S2 are 0.26 cm y-1 and 0.23 cmy-1 respectively. According to sediment chronological sequences, high concentrations of As and Zn in the upper layer indicated that human activities contributed to these metals contamination in the lake sediment. Sedimentation rate and metals contamination possibly due to recent anthropogenic activities around the lake such as human settlement, farming and agricultures activities since the ceased of mining activities a few decades ago. 

Keywords: Sedimentation, Pb-210, Former tin mining lake, Metals element
Abstrak
Pengenapan didalam tasik berlaku melalui aliran daripada permukaan tanah dan tenggelam ke dalam dasar tasik. Aktiviti - aktiviti perlombongan yang lepas mugkin mempercepatkan proses pemgenapan di bekas tasik lombong bijih timah samada secara natural atau oleh aktiviti manusia. Bekas lombong bijih timah disyaki mempuyai kadar penenapan yang tinggi disebabkan persekitaran yang tidak terganggu untuk hampir selama 50 tahun. Untuk mengangar kadar pengenapan dan pencemaran logam di dalam tasik, kaedah pentarikhan Pb-210 telah digunakan. Kajian dilakukan di bekas tasik lombong bijih timah di daerah Kampung Gajah, Perak. Dua turus sediment diambil menggunakan turus persampelan graviti daripada tasik bekas lombong bijih timah dan dianalisa menggunakan spektrometri alpha dan Analisa Pengaktifan Neutron (NAA). Daripada kajian ini, keputusan menunjukkan kadar pengenapan untuk turus sediment S1 dan S2 masing – masing adalah 0.26 cm y-1 dan 0.23 cm y-1. Berdasarkan kepada turutan kronologi, kepekatan As dan Zn di lapisan atas sedimen menunjukkan aktiviti – aktiviti manusia menyumbangkan kepada pencemaran oleh metal  ini didalam sedimen tasik. Kadar pemendapan dan pencemaran logam mungkin disebabkan oleh aktiviti – aktiviti antropogenik di sekiling tasik seperti penempatan manusia, penternakan dan pertanian sejak ditinggalkan beberapa dekad yang lepas.   

Kata kunci: Mendapan, Pb-210, tasik lombong timah, unsur logam
Introduction
Over the past three decades, there has been an impressive increase in the volume and range of research on sedimentation. Accumulation of sediment in lakes facilitates us to obtain significant information to study about environmental changes [1, 2]. In Malaysia, a large number of former tin mining lakes have been abandoned for almost past 50 years. Lack of vegetation in abandoned mining lands render surface areas were directly exposed to rainfall impact and surface runoff. The effect of uncontrolled mining activities caused environmental problem such as deforestation and soil erosion that continue increasing the sedimentation rate [3]. Sedimentation profile also provides past evidence and rates of heavy metals contaminant deposition [4].   

Pb-210 radiometric dating techniques introduced by Goldberg (1963) and expended to lake by Krishnaswami et al. (1971) has been used worldwide to reconstruct history of such recent sedimentation [5]. Pb-210 dating method has shown to be an ideal tracer for dating lake sediments deposited during the last 100 – 150 years which coincidence with period of environmental changes due to industrialization [6]. Conrad et al. (2007) recommended that Pb-210 dating method is a useful technique in investigation of changes in metals concentration on a decadal time scale. This is due to the fact that association of particles with Pb-210 making it a useful tracer for the fate of particle reactive contaminants such as trace metals. 

Despite this useful potential, lack of Pb-210 dating method study has been applied in sediment of recent lakes in Malaysia. Thus this paper attempt to determined recent sedimentation rate, to reconstruct the sediment ages and metals input history using Pb-210 dating method. 

Methodology
Study area

This study covers a former tin mining lake in Kampung Gajah area in the states of Perak, Malaysia that has been abandoned for more than 50 years. The lake is bordered within latitude 04°14.816˝ N - 04°15.107˝ N and longitude 101°2.889˝ E - 101°3.125˝ E. The total area of this lake is approximately 2.5 x 105 m2 and the volume of water is about 1.0 x 107 m3. The deepest part of lake is about 10 m, receives seasonal water flow from an opening canal at the north-east that is connected to another lake used as a duck farm and flow out to the west of lake. Thus, there is a possibly of waste from other lakes enter the study area lake and flow out through other lakes to a nearest river. The study lake located 100 m from to the main road and around 1 km from residential areas. Although mining activities ceased long time ago, local peoples still used this area for growing cows and buffaloes, duck farming and fishing. Some fishes such as Temoleh (Probarbus jullieni), Lampan (Puntius schwanenfeldii), Tilapia Merah (Oreochromis niloticus), Catfish and Patin (Pangasius sp) are the main sources that essential to the diets and generating economies especially to the local peoples. 
Samples collection

There are two points where sediment samples were collected, one at the middle of lake (04°14.928˝ N, 101°03.043˝E) and the edge of lake (04°14.854˝ N, 101°03.134˝ E). Sediment samples were collected using gravity corer sampling device (5 cm diameter, 40 cm long). Sediment cores were air dried for one week then sliced into 2 cm interval and oven dried at 60 °C until constant weight. The sediment cores showed light/dark-grey colour appearance. Sliced samples were ground and sieved in 450 μm stainless steel sieves to the ensure homogeneity. 
Pb-210 analysis

Total Pb-210 (Pb-210tot) was measured indirectly by determining the activity of its grandaughter, isotope Po-210. The Po-210 activity determined by alpha spectrometry is taken as a measurement of Pb-210 activity [2]. Pb-210 was assumed to be in radioactive equilibrium with Po-210 in the sediment samples. Chemical separation in analysis is controlled by Po-209 as internal standard [7]. 

About 2 g of sieved samples, standard and known amount of Po-209 tracer yield tracer were weighed and leached with HNO3 and organic matter content digested with mixture of HNO3 and H2O2 to get white residue. Remaining organic matter digested again using HCI and solution converted into 0.5M HCI medium. Residual solids were filtered and solution was treated with ascorbic acid to reduce Fe (II) to Fe (III) and prevent Fe deposition [8] and plated for 24 hours. Po-209 and Po-210 in solution then spontaneously deposited onto silver disc then counted using alpha spectrometry. Po-210 and Po-209 emission from the disc releases alpha particles that have energy of 4843 keV and 5264 keV respectively were measured using alpha spectrometry with a 450 mm2 area. Alpha radiations were then identified by EG & G ORTEC spectrometer using silicon surface barrier detectors with efficiency ≥ 25%, energy ranged 0-10 meV and a multi-channel analyzer system. Energy resolution is ≤ 20 keV (FWHM) with a detector – to – source spacing equal to the detector diameter. The outputs from the silicon detectors are amplified and transmitted through a multiplexer system into a computer based multi-channel analyzer. The system was calibrated using Mix Standard radioactive source. Samples activity and total uncertainties expressed in Becquerel per kilogram of dry weight (Bq kg-1 dry weight).

Pb-210 activity in a layer deposited at time, t in the past can be determined using the following equation:

Po-210 Activity (dpm) = Po-209 Added (dpm)) × Po-209 Peak Area x PDC /( Po-210 Peak Area)
        (1)
where PDC = e−λ×Δt is the plating date correction, with λ for Po-210 = 1.833 yr-1, and Δt = date counted – date plated. 

The Pb-210 activity concentration was calculated by dividing the activity of Po-210 to the mass of sample (Pb-210 Activity concentration (dpm g-1) = Po-210 Activity (dpm) / Sample weight (g)). Supported Pb-210 activity at each site was determined as the average of the bottom segments that had exhibited a relatively constant activity indicative of the supported Pb-210 [9]. 

Metal analysis

For metal analysis, about 0.2 g of sieved samples and standard were weighed and sealed in small polyethylene vials for neutron activation analysis. The weighted samples and standards were irradiated in 750 kW TRIGA PUSPATI II nuclear reactor at Malaysian Nuclear Agency (MNA) with thermal neutron flux of 2 x1012 n.cm-2s-1 . The irradiation time, decay time and measuring time used for metals analysis are given in Table 1.
Table 1: Irradiation time, decay time and measuring time for metals analysis

	Element
	Irradiation time (hours)
	Cooling Time (days)
	Counting Time (min)
	Distance from detector (cm)

	As
	6
	4
	60
	7

	Zn
	6
	21
	60
	2


Gamma emission were counted using Gamma spectrometer GEM series with HPGe Coaxial detector system (GEM-20180 model) equipped with multi-channel analyzer. The Canberra GEM series HPGe detector has the following specification: energy resolution of detector system is 1.88 keV and 25.4% relative efficiency at 1.33 MeV Co-60. Spectra were analyzed using GammaVision (version 6.01) and photopeak was selected based on interested element to be analyzed. Arsenic (As) and Zinc (Zn) were selected for metal analysis. For As and Zn the major photopeak at energy of 559 keV and 1116 keV were used for metals analysis. To ensure the accuracy of results, application of Certified Reference Materials (CRM) IAEA SOIL-7 and IAEA Sediment Lake-1 (SL-1), IAEA-368 (Pacific Ocean Lake), duplicate of samples and blank samples were also analyzed. Z - Score calculation was used as a measurement of acceptable variation of measured value of elements in the CRM from the certified value.   

The Z-score is computed based on following equation:


Z =     (X – C)/ √ (U2x + U2c )                                                                                            
 
(2)

where X is analytical result, C is certificate value, Ux is uncertainty of analytical result and Uc is the uncertainty of certificated value. For acceptance of the result, -2 < Z < 2 is anticipated while Z< -3 or Z > 3 is considered ‘out of control’ and need corrective action [10]. 
Results and Discussion

Data Verification 

The quality of analyzed data for metal elements and radionuclides determined using IAEA SL-1 (Sediment Lake) and IAEA-368 (Pacific Ocean Sediment) and evaluated by Z-score is shown in Table 2. Replicate analyses of IAEA SL-1 and IAEA-368 confirm good agreement of Pb-210 activities determined with certified value .The result showed concentration of As, Zn and Pb-210 were agreed well with the certified values and the measured values in which the Z-score values lies within -2 < z < 2. Relative Percentage Difference (RPD) in CRM and analyzed samples were expressed as percentage (%) below than 10%. Relative Standard Deviation (RSD) was within 10% for both metals analyses and radionuclides. Blank samples did not indicate any significant contamination for the studied elements. 
Table 2: Analytical value for sediment certified reference materials in comparison to certified reference 

values using NAA and Alpha spectrometry technique

	Element
	*As (μg g-1)
	*Zn (μg g-1)
	**Pb-210

	Measured value 
	30.5±1.5
	215.6±15.9
	22.40±3.0

	Certified value
	27.5±2.9
	223±10
	23.2±3.7

	Z-score
	0.63
	0.38
	0.36

	% RPD
	7.17
	3.31
	3.42

	% RSD 
	9.42
	7.79
	9.35


*SL-1, **IAEA – 368

Core Profiles

Vertical profile of Pb-210tot activities in the sediment cores is shown in the Figure 1. Pb-210tot activities versus depth for S1 showed exponentially decline, with activity concentration 175.48 – 305.86 Bq kg-1. The Pb-210exc varies from 6.07 – 106.24 Bq kg-1. Pb-210tot activity concentration for S2 varies from 295.58 – 367.51 Bq kg-1 with depth. Pb-210tot activities showed non linear decreased with the depth to a constant value. The Pb-210exc varies between 4.75 – 67.40 Bq kg1. 
[image: image2.png]51

Depth (an)

10
14
18
22
26

Pb-210 Activity Bq kg!)

200

400




      
                  [image: image3.png]Depth (an)

2

6
10
14
18
22
26
30
34

Pb-210 Activity Bqkg!)

100

200

300

400

500





Figure 1: Pb-210tot depth profiles in sediment cores

Pb-210exc inventory was calculated as a sum of Pb-210exc at all depths [14]. Inventory of Pb-210exc in the core of S1 and S2 were estimated to be 16468 ± 128 Bq m-2 and 7547 ± 87 Bq m-2 is shown in Table 3. High inventory of Pb-210exc at location S1 might be attributed to high deposition of materials and acted as pathway movement of sedimentary material [1]. Pb-210exc inventory from atmospheric input alone is ca. 3000 – 4000 Bq m-2 [11]. There is no evidence of global atmospheric fallout due to atmospheric weapon testing reached Southeast Asia region [12]. Therefore, besides atmospheric input, the Pb-210 inventory may be due to surface run–off.

Table 3: Pb-210exc inventory, sedimentation rate and flux in sediment cores

	Location
	Pb-210exc Inventory

(Bq m-2)
	Sedimentation rate

(cm y-1)
	Flux 

(dpm cm-2 y-1)

	S1
	16468 ± 128
	0.21 – 0.57
	0.25

	S2
	7547  ± 87
	0.24 – 0.74
	0.14


Pb-210exc flux of the present study of in S1are similar to input of Pb-210exc in sediments both of the Penang Island (5° N latitude) and Johor Strait (1° – 2° N latitude) (small difference in latitude) which are about 0.30 dpm cm-2 y-1 [13]. This finding consistence with Khalik et al. (2004) [13] and clearly confirmed that atmospheric origin seems the main source of Pb-210exc supply. This is in contrast to location S2, where Pb-210exc inventory is two times lower than the location S1. There is a possibility that Pb-210 has been diluted or due to mobilization process. 

Sedimentation rate and dating model

Sedimentation within lake occurred through run-off from the land surface and settles on the bottom lake. Once Pb-210 deposited in the sediment, they are rapidly adsorb to fine grain materials and settled down to the bottom layer.  Absorption of Pb-210 to the sediment lake has been assumed a uniform process and without of sediment redistribution. In present study, CRS model used to determine the sediment age and sedimentation rate within lake sediment by assuming sediment reworking (physical and biological) and diagenesis factors were neglected. 

CRS model expressed as equation below:

t = (1/ λ) ln (A(0) /A(1))








        (3)

where A(0) is total inventory of excess Pb-210 in the sediment column, A(1) is inventory of excess Pb-210 below depth x, λ is the decay constant of Pb-210 (0.693/22.3yr = 0.03114/yr) [6]. Mean sedimentation rate was determined from the slope of the least square fit for estimated age plotted versus depth.

Sedimentation rates in lake were found to vary 0.21 – 0.57 cm y-1 and 0.24 – 0.74 cm y-1 with mean sedimentation rate of sediment cores for location S1 and S2 are 0.26 and 0.23 cm y-1 respectively (Figure 2). Sedimentation rate determined only for the interval 2 – 16 and 2 -18 cm depth core for S1 and S2 sediment cores. Below this depth, sediment has been dominated by soil or original base of lake. Area bordering former mining areas is left without vegetation and with different contour. Depending on the gradient of bank contour this will facilitated surface runoff of rainwater into the lake that carries along overburden that causes sedimentation at different rate. This may be could be reasonable explanation for dissimilarity of depth in the sediment. Location S1 located almost at the center of lake while S2 located away from the edge of lake but closest to the central of lake. Comparable sedimentation rate for both location could be explained possibly receiving constant water flow thus created thickness of sediment at the both location almost same and have better movement of water velocity with a little obstacle. 

In comparison to study by Theng et al. (2003) [14] at the coastal water of Sabah, Malaysia showed low sedimentation rate at Sipitang which is 0.027 cm y-1 and high sedimentation rate at Teluk Kimanis which is 5.53 cm y1 as compared to the present study. Present study showed comparable sedimentation rate with Al - Oteibeh Lake, Syria which is 0.100 – 0.79 cm y-1 and Lago Verde crater lake, Mexico which is 0.09 – 0.23 cm y-1 [2, 15]. 

[image: image4.png]S1

Depth (an)

0

Estimated Age (Year)

50 100




            

      [image: image5.png]s2 Estimated Age (Year)

Depth (an)

50 100

.2307x+2.7899
9459





Figure 2: Profile of sedimentation rate in sediment cores

Sediment Chronology 

Chronology of sediment was constructed using the CRS model. This is due to the fact that some sediment cores showed non–linear characteristics. Using CRS model, those non–linear features be interpreted by assuming a constant net rate of Pb-210exc supply from the lake waters to the sediment [6]. Using the model, the supply of Pb-210exc to the sediment surface is assumed constant and varying sedimentation rate between each depth. The model assumes no alteration after deposition of Pb-210, although terms of mixing and other diagenetic process can be incorporated into the calculation of dates [16]. The dating model for CRS calculation is expressed as in the equation 3. Depth profiles of Pb-210 activity and metals concentration were determined from same cores. Sediment depth converted to time based and used to date the sediment age then compare to metals contaminant within the period of time. The Pb-210 geochronology allowed the dating of sediments up to depth of 18 cm, corresponding to a period of ~ 40 years as showed in Table 4. Age of sediment core calculated using Pb-210 dating method yields reasonably precise date from ~1940 to present. S1 and S2 showed age of sediment nearly to each other. Age of sediment for core S1 and S2 showed sediment ages ranged 1940 to 2004 and 1939 – 2003 respectively.
Table 4: Chronology of sediment age with function of depth

	Depth (cm) / Point
	S1
	S2

	2
	2004
	2003

	4
	2000
	1998

	6
	1994
	1991

	8
	1990
	1989

	10
	1984
	1980

	12
	1978
	1977

	14
	1970
	1968

	16
	1959
	1957

	18
	1940
	1939


Depth profiles of anthropogenic metal elements concentration with age are showed in Figure 3 and Figure 4.  Range of Arsenic (As) and Zinc (Zn) concentration with mean value for S1 and S2 showed in Table 5. Dating method showed small changes of sediment age within similar period and profile concentration of metals particularly were not same at each location. Constant concentration of As could be observed in the bottom sediment at both locations from year of ~1939 – 1980 possibly due to past mining activities. However, concentration of As increased beginning from year of ~ 1984 to a recent years possibly coincident with intensive development in the region of the study area also increasing in industrialization and agriculture activities in late ~1990. Increasing of As concentration could be influence by atmospheric deposition as well as combustion, road construction and agricultural activities. Low concentration of As observed in the surface layer of sediment core S1 possibly caused by physical mixing during sampling or bioturbation by benthic microorganisms [17].

Concentration of As in the sediment lake is sensitive to redox changes as well as easily to distinguished either due to remobilization or loading changes [1]. Being a multiple oxidation state element, As is sensitive to redox changes condition in similar manner as Fe and Mn. Since as sensitive elements, As in the deeper sediment could be released into pore water via changes from As (V) to As (III) that is more mobile, soluble and toxic [18]. Some studies suggested high concentration of As at the upper layer could be affected by redox condition and adsorption of As onto Fe or Mn oxides particulate [2]. Thus, by considering of this factor, high concentration of As in the upper sediment core S2 could be possibly affected by redox condition.

Table 5: As and Zn concentration in sediment cores

	Location
	S1
	S2

	As (ppm)
	Range
	39.88 – 49.55
	33.41 – 104.77

	
	Mean 
	43.90
	54.51

	Zn (ppm)
	Range
	229.42 – 336.03
	136.74 – 150.72

	
	Mean 
	266.64
	143.68


Depth profile of Zn showed almost double concentration of Zn in the sediment core S1 as compared to S2. This is suggests that each location received different rate of metals input, since S1 being centrally location possibly acted as depocenter sedimentary material as mentioned earlier [19]. The other factor possibly due to different water flow rate causes precipitation of pollutants or variable pattern of sediment redistribution in the lake [15, 20]. Contrasting pattern was observed for S1 and S2 which lower at the recent years and vice versa for S2 as showed in Figure 4. Generally high concentration of As and Zn during the last few years possibly due to increasing use of fertilizer and pesticides in agriculture such as in some synthetic phosphorus fertilizer [20] and soil erosion due to human activities. Road construction and land development for housing areas as well as human settlement cause recent erosion in the study area and this coincide with the increase amount of metal introduced into the lake. 
[image: image6.png]Year

2008
1998
1988
1978
1968
1958
1948
1938

Concentration As (ppm)

20 40 60 80





        

       [image: image7.png]Year

Concentration As (ppm)

2008
1998
1988
1978
1968
1958
1948





Figure 3: Profile of As concentration with respect to sediment age

[image: image8.png]51

Year

Concentration Zn (ppm)

2008
1998
1988
1978
1968
1958
1948
1938

200 400




        
                      [image: image9.png]Year

Concentration Zn (ppm)

2008
1998
1988
1978
1968
1958
1948

100 200





Figure 4: Profile of Zn concentration with respect to sediment age

Result of analysis showed As and Zn elements in sediment lake are good agreement with presence of these metal as earlier study by Ingham & Bradford (1960) [8] in the Geology of Kinta Valley. They were pointed out that As was found in contaminated tin-ore and removed by roasting and washing. The byproduct of As (arsenious oxide) sometimes collected for sale as an insecticide and weed killer. While, Zinc Sphalerite (ZnS) also found from several location in Kinta but there is no significant for economic value. The mineral was identified in a small quantity in limestone pipes.
Conclusion

Pb-210 dating method is applicable technique to establish recent sedimentation rate and sediment chronology in a former tin mining lake. Similar sedimentation rate showed constant flow rate of water yields same sedimentation rate at both locations.  An attempt has been made to relate the metals pollution input with temporal changes in a former tin mining lake and chronology of metals input has been successfully determined. Increasing concentration of As and Zn in recent years possibly due to human activities around the lake area. 
Acknowledgement
The authors gratefully acknowledge the financial support for this project from FRGS Research grant: 600 – IRDC/T/FRGS. 5/3/1333, UiTM and Malaysian Nuclear Agency (MNA).
References

1. Al-Masri, M.S., Aba, H., Khalil, H., and Al – Hares, Z., (2002). Sedimentation Rates and  Pollution History of a Dried Lake: Al-Oteibeh Lake. J. Sc. Total Environmental., 293: 177-189.
2. An huh, C., Sheng C.K., Ling, W.C., and Mei, L.P. (1996). Lead- 210 and plutonium fallout in Taiwan as recorded at a subalpine lake, J. of Southeast Asia Earth Sciences ., 14, 373-376.
3. Appleby, P.G., (2000) Radiometric dating of sediment records in European mountain lakes. J. Limnol., 59: 1 – 14.
4. Balamurugan (1991). Tin Mining and Sediment Supply in Peninsular Malaysia with Special Reference to the Kelang River Basin. J. The Environmentalist., 11: 281-291.
5. Binford, W. Michael., Kahl S. Jeffry, and Norton A. Stephen (1993). Interpretation of Pb-210 profile and verification of the CRS dating method in PIRLA project lake sediment cores. J. Paleolimnology, 9, 275-296. 
6. Blais, M. J., Kalff, J., Cornett, R.J., and Evans, R. D., (1995). Evaluation of 210Pb dating in lake sediments using stable Pb, Ambrosia pollen, and 137Cs. J. of  Paleolimnology.,13: 169 - 178. 
7. Bonotto, D.M and Lima, J.L.N.D., (2006). Pb-210 derived chronology in sediment cores evidencing the anthropogenic occupation history at Corumbatai River basin, Brazil. J. Environ Geol, 50: 595-611. 
8. Conrad, C. F., Fugate, D., Daus, J., Brause, C.J.C. and Kuehl, S.A., (2007). Assessmentof the historical trace metals contamination of sediments in the Elizabeth River, Virginia. J. Marine Bulletin., 54: 385 - 395.
9. Howarth, R.J., Evans, G., Croudace, I.W. and Chundy, A.B., (2005). Sources and timing of  anthropogenic pollution in the Ensenada de San Simon (inner Ria de Vigo), Galicia, NW  Spain: an application of mixture – modeling and nonlinear optimization to recent  sedimentation. J. Science of the Total Environment, 340: 149 - 176.
10. Ingham, F.T and Bradford, E.F., (1961). The Geology and Mineral Resources of the Kinta Valley, Perak. Federation of Malaya Ministry of Rural Development, Malaya., 286 – 304 pp. 
11. Khalik A.W., Zaharudin, A. Noor, A.M.S., Rosnan, Y., and Carpenter, R., (2004). Metal diagenesis and transport in coastal sediments around Penang Island, Malaysia. J. Nuclear and Related Technologies, 1: 1 30.
12. Lima, A.L., Hubeny, J., Bradford, Reddy, C.M., King, J.W., Hughen, K.A., and Eglinton, T.I., (2005). High-resolution historical records from Pettaquamscutt River basin sediments: 1. Pb-210 and varve chronologies validate record of Cs-137 released by the Chernobyl accident. J. Geochimica et Cosmochimica, 69:1803-1812. 
13. Li, A., Rockne, K.J., Starchio, N.C., Mills, W.J., Song, W., Ford, J.C., Buckley, D.R., (2006). Chronology of PBDE air deposition in the Great Lakes from sedimentary records. Final Report Great Lake Atmospheric Deposition Program Office Air and Radiation Division USEPA Region V. University of Illinois, Chicago.
14. Long, D.T., Giesy, J.P., Simpson, S.J. and Fett, J.D. Inland Lake sediment trends: Sediment analysis results for five Michigan Lakes. Environmental Isotope & Geochemical Laboratories , Michigan State University, Tech. Rep. 1999-2000.
15. Ruiz-Fernandez, A.C., Marcel, C.H., Paez-Osuna, F., Ghaleb, B. and Caballero, M., (2007). Pb-210 chronology and trace metal geochemistry at Los Tuxtlas, Mexico, as evidenced by a sedimentary record from the Lago Verde crater  lake. J. Quaternary Research, 67: 181-192.
16. Ruiz-Fernandez, A,C., Paez-Osuna, F., Urrutia-Facugauchi, J., and Preda, M., (2005). Pb-210 geochronology of sediment accumulation rates in Mexico City Metropolitan Zone as recorded at Espajo de los Lirios lake sediment, J. Catena, 61: 31-48.
17. Sanchez – Cabeza, J.A., Masque, P., Ani – Rogolta, I., Merino, J., Alvisi, F., Palanques, A., Puig, P., (1999). Sediment Accumulation Rates in the Southern Barcelona Continental Margin (NW Mediterranean Sea) Derived from Pb-210 and Cs-137 Chronology. J. Oceanography, 44: 313 – 332.
18. Siong, W.B., Khalik, A.W., Hamzah, M.S., Rahman, S.A., Elias, M.S. and Salim, N.A.A., (2007). Certified reference materials for analytical quality control in Neutron Activation Analysis. J. Malaysian Analytical Sc, 11: 17-22
19. Schottler, S.P. and Engstrom, D.R., (2006). A chronological assessment of Lake Okeechobee (Florida) sediment using multiple dating markers. J. Paleolimnol, 36: 19 -36.
20. Theng, T.L., Zaharuddin, A., and Che Abd Rahim, M., (2003). Estimation of Sedimentation  Rate Using Pb-210 and Po-210 at the Coastal Water of Sabah, Malaysia. J. Radioanalytical and Nuclear Chemistry, 1: 115 – 120.
21. Yang, H. and Rose, N., (2005). Trace element pollution records in some UK lake sediments, their history, influence factors and regional differences. J. Environment International, 31: 63–75. 
22. Zaborska, A., Carroll, J., Papucci, C., Pempkowiak, J. (2007). Intercomparison of alpha and gamma spectrometry techniques used in Pb-210 geochronology. J. Environment Radioactivity, 93, 38-50.

154
153

