The Malaysian Journal of Analytical Sciences Vol 15 No 2 (2011): 175 – 183

DETERMINATION OF ORGANOPHOSPHORUS PESTICIDES

 USING MOLECULARLY IMPRINTED POLYMER

 SOLID PHASE EXTRACTION
Mohd Marsin Sanagi1,2*, Syairah Salleh2, Wan Aini Wan Ibrahim1,2, Ahmedy Abu Naim1
1IbnuSina Institute for Fundamental Science Studies, 

Nanotechnology Research Alliance,

2Department of Chemistry, Faculty of Science,

UniversitiTeknologi Malaysia, 81310 UTM JohorBahru, Johor, Malaysia

*Corresponding author: marsin@kimia.fsutm.my
Abstract

Molecularly imprinted polymer solid phase extraction (MIP-SPE) method has been developed for the determination of organophosphorus pesticides (OPPs) in water samples. The MIP was prepared by thermo-polymerization method using methacrylic acid (MAA) as functional monomer, ethylene glycol dimethacrylate (EGDMA) as crosslinker, acetonitrile as porogenic solvent and quinalphos as the template molecule. The three OPPs (diazinon, quinalphos and chlorpyrifos) were selected as target analytes as they are widely used in agriculture sector.  Various parameters affecting the extraction efficiency of the imprinted polymers have been evaluated to optimize the selective preconcentration of OPPs from aqueous samples.  The characteristics of the MIP-SPE method were validated by high performance liquid chromatography (HPLC). The accuracy and selectivity of the MIP-SPE process developed were verified using non-imprinted polymer solid phase extraction (NIP-SPE) and a commercial C18-SPE was used for comparison. The recoveries of the target analytes obtained using the MIPs as the solid phase sorbent ranged from 83% to 98% (RSDs 1.05 - 1.98%; n=3) for water sample.  The developed MIP-SPE method demonstrates that it could be applied for the determination of OPPs in water samples.

Keywords: Organophosphorus pesticides, Molecularly imprinted polymer, Solid phase extraction
References
1. Pichon, V. and Hugon, F.C. (2008). Role of Molecularly Imprinted Polymer for Selective Determination of  EnvironmentalPollutants–A Review.Anal.Chim. Act.622, 49.
2. Gomes, R. andAugusto F. (2006).Sol–Gel Molecular Imprinted Ormosil for Solid-Phase Extraction of  Methylxanthines.J.Chromatogr A.1114.216–23.
3. Liu, H.Y., Wang, M.M., Liu, S.B., and Chen, Y. (2006).Chromatographic Characterization and Solid-Phase Extraction on Diniconazole-Imprinted Polymers Stationary Phase.React. Funct.Polym.66. 579–83.
4. Baggiani C, Baravalle P, Giraudi G, and Tozzi C. (2007). Molecularly Imprinted Solid-Phase Extraction Method for the High Performance Liquid Chromatographic Analysis of Fungicide Pyrimethanil in Wine. J Chromatogr.A1141.158-64.
5. Raharjo,Y., Sanagi,M.M., Wan Ibrahim, W.A., Abu Naim, A., andAboul-Enein, H.Y. (2009). Application of Continual Injection LPME Method Coupled with Liquid Chromatography to the Analysis of Organophosphorus Pesticides. J. Sep. Sci.32. 623. 
6. Sanagi, M. M.,  Salleh, S., Wan Ibrahim, W.A., and Naim, A. A. (2010). Molecularly imprinted polymers for solid phase extraction of orghanophosphorus pesticides.J. Fundamental Sci.,6.  27-30. 
7. Brune, B. J., Koehler, J. A., Smith, P. J. and Payne, G. F. (1999).Correlation between adsorption and small molecule hydrogen bonding.Langmuir. 15. 3989
8. He, C.Y., Long, Y.Y., Pan, J.L.,  Li, K.A., and Liu, F. (2007).Application of Molecularly Imprinted Polymers to Solid-Phase Extraction of Analytes from Real Samples.J.Biochem.Biophys.Methods. 70. 133.
9. Sellergren, B. (1999). Polymer and Template-Related Factors Influencing the Efficiency in Molecularly Imprinted Solid-Phase Extractions. Trends Anal. Chem.18.164.
