PAGE  

RADIATION HAZARD FROM NATURAL RADIOACTIVITY IN THE SEDIMENT OF THE EAST COAST PENINSULAR MALAYSIA EXCLUSIVE ECONOMIC ZONE (EEZ) 
(Hazard sinaran dari Radionuklid Tabii dalam sedimen di Zon Ekslusif Ekonomi, ZEE,

Perairan Pantai Timur Semenanjung Malaysia)
Yii Mei-Wo*, Nurrul Assyikeen Md. Jaffary and Zaharudin Ahmad
Waste and Environmental Technology Division
Malaysian Nuclear Agency
43000 KAJANG, MALAYSIA
*Corresponding author: yii@nuclearmalaysia.gov.my
Abstract
Sixteen marine sediment cores from selected locations within the EEZ were collected for determination of NORM concentrations. The samples were dried, finely ground, sealed in a container and stored for more than 30 days to establish secular equilibrium between 226Ra and 228Ra and their respective radioactive progenies. They were counted and quantified using high-purity germanium (HPGe) detector coupled to spectrometer at respective progeny energy peak. Three calculated parameters from NORM concentrations, i.e. the Radium equivalent (Raeq), Representative level index (I(r), External hazard index (Hex) are ranged between 68.6 – 210.5 Bq/kg (mean 143.1 ( 27.7 Bq/kg), 0.50 – 1.54 (mean 1.04 ( 0.20) and 0.19 – 0.57 (mean 0.39 ( 0.07 Bq/kg), respectively. This is well below the recommended limit value of 370 Bq/kg (for Raeq) and unity (for Hex). It is also slightly less than the background level radiation from soil in Peninsular Malaysia, I(r ~ 1.5. Therefore, the additional radiation exposure to peoples handling the samples is small, when compared to the background radiation received by them. The data is discussed and compared with those given in the literature.

Keywords: EEZ, sediment, radium equivalent activity, representative level index, external hazard index.

Abstrak

Enam belas turus sedimen dari lokasi terpilih dalam ZEE telah diambil untuk pengukuran kepekatan NORM. Sampel tersebut dikeringkan, dikisar halus, dilakri dalam bekas dan disimpan untuk tempoh melebihi 30 hari bagi mencapai keseimbangan sekular antara 226Ra dan 228Ra bersama progeni radioaktif mereka. Mereka diukur dan dikuantitikan pada puncak tenaga progeni masing-masing dengan menggunakan pengesan germanium lampau tulin yang disambung kepada spektrometer. Tiga parameter kiraan dari kepekatan NORM iaitu, Radium setaraan (Raeq), Indeks tahap perwakilan (I(r), Indeks hazard luaran (Hex) adalah masing-masing dalam julat 68.6 – 210.5 Bq/kg (purata 143.1 ( 27.7 Bq/kg), 0.50 – 1.54 (purata 1.04 ( 0.20) dan 0.19 – 0.57 (purata 0.39 ( 0.07 Bq/kg). Nilai tersebut adalah di bawah had yang dicadangkan iaitu 370 Bq/kg (untuk Raeq) dan uniti (bagi Hex). Ia juga kurang berbanding tahap sinaran latar belakang dari tanah di Semenanjung Malaysia, I(r ~ 1.5. Oleh itu, pendedahan sinaran tambahan kepada orang yang mengendalikan sampel adalah kecil jika dibandingkan dengan sinaran latar belakang yang diterima oleh mereka. Data keputusan akan dibincang dan dibanding dengan nilai dari rujukan.

Katakunci: ZEE, sedimen, radium setaraan, indeks tahap perwakilan, indeks hazard luaran.
Introduction
Two prominent sources of external radiation are cosmic rays and terrestrial gamma rays. Cosmic rays are mostly been shielded off by the ozone and contribute less radiation hazard to human beings. Meanwhile, the primary source of terrestrial radiation received by humans is from the store of natural radioactivity in earth crust, which derives essentially from 40K and the progenies of 238U and 232Th decay series such as radium, radon, actinium, protactinium, lead and polonium. These progenies first appear in the lithosphere level, deposited on the soil surface, then washed and drained through rivers transport and finally end up in the estuary and entering the marine environment. It also has gone through several pathways such as weathering, erosion, fallout, rainwater and human activities [1, 2, 3, 4]. 
When the marine sediments were excavated for study, the researchers whose working environment was surrounded by these sediment samples daily are exposed to additional radiation from these natural radioactivities. Therefore, the radiation hazards to these people are of interests in order to ensure that no additional doses are imposed on to them. Among those, radium-226 (226Ra, uranium series progeny), radium-228 (228Ra, thorium series progeny) and potassium-40 (40K) are at most concern due to theirs high solubility and mobility as well as emitting gamma energies. In most literatures, radiation hazards were calculated from the specific activity of these three radionuclides [5, 6, 7, 8]. 
Koide et al. (1973) [9] specified that the radioactivity of the progenies from the natural decay series in the marine environment may not necessary be in equilibrium with it parents. Two main sources of marine radioactivities are coming from the weathering and mineral recycling of the terrestrial rocks. In other word, sediment in the coastal is mainly contributed from materials on terrestrial. Baseline information on the spatial variation of radionuclide concentration in the environment is necessary to evaluate any change induced by humans in the future [10]. In addition, these data are required to trace the movement of radionuclides from original source into environmental and biological systems [11]. 
In coastal areas and on the continental shelf, it is reasonable to assume that the sediments have a range of concentration of natural radionuclides similar to that of terrestrial rocks, and the radioactive equilibrium is maintained. The concentrations of 226Ra, 228Ra and 40K on terrestrial especially in the areas of Peninsular Malaysia had been widely reported [12, 13, 14, 15, 16]. Several studies on NORM and their progenies had also been reported on the Malaysian marine ecosystems [17, 18] but none specify on the radiation hazard.
The main scope of this work is to determine the additional radiation hazards received by the researchers while carry out they daily routine. This enable a dosimetric evaluation for hazard to these people were estimated. Additionally, these data will indirectly give a brief idea of the radiation levels in the surrounding area on terrestrial at East Coast Peninsular Malaysia. 
Experimental
Sampling, preparation and measurement
The east coast of Peninsular Malaysia Exclusive Economic Zone, EEZ was the designated area for this study. Samples were collected during sampling expedition on board the K.L. PAUS (owned by the Malaysian Fisheries Institute) from June 11th to 30th, 2008. A total of thirty locations had been identified to be sampling site. Location and sampling dates are as given in Table 1 while Fig. 1 marks the location of each sampling points. The samplings were done systematically according to a grid within Malaysian EEZ which covers shallow coastal, near-shore and off shore zones of the east coast of Peninsular Malaysia. Physical and chemical parameters such as salinity, temperature and dissolved oxygen (DO) of the water column were also measured as supporting parameters (Table 1).

Table 1: Surrounding physical conditions and coordinates of sampling locations

	Station
	Date
	Latitude
	Longitude
	Water depth (m)
	Surface Seawater temp.(oC)
	Distance from shore 

(nautical miles)

	SF01
	18.06.08
	06o 13.99' N
	102o 19.00' E
	13.0
	30.87
	2.7

	SF02
	17.06.08
	06o 50.04' N
	102o 47.04' E
	46.5
	30.51
	50

	SF03
	17.06.08
	07o 05.03' N
	103o 04.99' E
	50.0
	30.32
	73

	SF04
	17.06.08
	07o 25.98' N
	103o 26.01' E
	61.0
	30.03
	100

	SF05
	16.06.08
	06o 56.09' N
	103o 56.04' E
	52.0
	30.01
	108

	SF06
	16.06.08
	06o 42.14' N
	103o 35.17' E
	52.0
	30.13
	80

	SF07
	16.06.08
	06o 10.00' N
	103o 01.00' E
	45.0
	30.25
	40

	SF08
	18.06.08
	05o 52.10' N
	102o 51.92' E
	34.0
	30.41
	15

	SF09
	20.06.08
	05o 22.06' N
	102o 21.97' E
	47.0
	28.98
	14

	SF10
	14.06.08
	05o 48.20' N
	103o 48.98' E
	55.0
	30.27
	48

	SF11
	14.06.08
	06o 06.16' N
	104o 09.11' E
	72.0
	30.04
	75

	SF12
	14.06.08
	06o 32.01' N
	104o 22.11' E
	59.0
	29.58
	101

	SF13
	13.06.08
	06o 16.98' N
	105o 16.99' E
	55.0
	29.87
	139

	SF14
	13.06.08
	05o 57.15' N
	104o 58.13' E
	56.0
	29.63
	115

	SF15
	12.06.08
	05o 29.08' N
	104o 29.02' E
	60.7
	29.62
	80

	SF16
	12.06.08
	05o 18.50' N
	104o 12.60' E
	60.0
	29.65
	56

	SF17
	20.06.08
	04o 54.12' N
	103o 42.98' E
	54.0
	29.93
	17

	SF18
	11.06.08
	04o 28.14' N
	103o 49.98' E
	40.0
	29.79
	20

	SF19
	22.06.08
	03o 37.07' N
	103o 41.08' E
	23.0
	29.50
	15

	SF20
	22.06.08
	03o 55.10' N
	104o 00.05' E
	50.0
	29.74
	40

	SF21
	23.06.08
	04o 22.16' N
	104o 22.07' E
	65.0
	29.63
	52

	SF22
	23.06.08
	04o 44.19' N
	104o 38.44' E
	66.0
	29.63
	70

	SF23
	12.06.08
	05o 08.10' N
	105o 12.90' E
	67.2
	29.89
	109

	SF24
	23.06.08
	03o 32.08' N
	104o 36.00' E
	62.0
	29.75
	70

	SF25
	24.06.08
	03o 09.14' N
	104o 09.04' E
	41.0
	29.03
	42

	SF26
	26.06.08
	02o 56.13' N
	103o 49.97' E
	20.0
	29.44
	24

	SF27
	24.06.08
	02o 16.94' N
	104o 16.97' E
	30.0
	29.21
	19.5

	SF28
	24.06.08
	02o 39.18' N
	104o 38.91' E
	58.0
	29.30
	47

	SF29
	25.06.08
	02o 00.55' N
	104o 41.97' E
	46.0
	29.73
	35

	SF30
	25.06.08
	01o 48.04' N
	104o 15.03' E
	14.0
	29.47
	4.5


[image: image1.png]8°0'0"N-{

7°0'0"N-

6°0'0"N-{

5°0'0"N-{

4°0'0"N-{

3°0'0"N-{

2°0'0"N-{

1°0'0"N:





Fig. 1. Sampling locations in east coast of Peninsular Malaysia EEZ
The core sediments were collected using a 12 cm diameter multicorer device and sliced into 2 cm sections at site and sealed in a pre-weighted HDPE container. During sampling expedition, some of the cores showed thorough vertical mixing of fine and sandy mud, however, some cores are too short (< 20 cm) and while others are too sandy (as illustrated in Fig. 1) and all these cores are not processed for analysis. Only good sediment cores (sixteen in total) with enough length and low sand content (marked ( close circle as in Fig.1) were processed and analyzed.

Inside the laboratory, all these selected core samples were dried at 60oC for minimum 72 hours until they reached a constant mass, then ground to pass through a 200 mesh sieve for radiochemical analysis. Samples were transferred into 200 mL marinelli beaker, sealed with thick PVC tape to inhibit radon from escaping. All samples were stored for a period in excessive of 30 days [5, 19] to establish secular equilibrium between 226Ra and 228Ra and their respective radioactive progeny prior to gamma counting.

All samples were counted for 86,400 seconds using HPGe spectrometer and corrected to the date of sampling. Counting times were long enough to ensure a 2( counting error of less than 10%. The energy peaks used are the same as reported by Yii et al. 2009 [20].
Counting System

The high-purity germanium (HPGe) detector was characterized to provide 25% efficiency and 1.8 keV at FWHM for the 1332 keV gamma-ray line of 60Co. It was calibrated using procedures as reported earlier by Yii et al. 2009 [20]. 
The radioactivity concentrations in the environmental samples were calculated using equation as reported by Yang et al. (2005) [5] and Chen et al. (2005) [21]. The minimum detectable activity (MDA) for both 226Ra and 228Ra was quantified at 2 Bq/kg per dry weight (dry wt.), while 40K was quantified at 5 Bq/kg after considering the size and the counting time of the sample.
Results and Discussion
Surrounding physical conditions at sampling locations were summarized in Table 1. All the values of samples are found to be greater than the minimum detectable activity (MDA). From the measurement, it found that the concentrations of naturally occurring radionuclides vary significantly from place to place as their presence in the marine environment depends on their physical, chemical and geochemical properties and the pertinent environment in the biological process [22]. In total, from all sediment cores, the concentration of 226Ra is ranged between 16 – 46 Bq/kg with a mean value of 30 ( 6 Bq/kg; the activity of 228Ra varies from 28 to 87 Bq/kg with a mean value of 56 ( 11 Bq/kg; and that of 40K from 171 to 690 Bq/kg with a mean of 420 ( 90 Bq/kg. The activity concentrations of radionuclides in most cores are quite uniform suggesting that there is thorough vertical mixing of sediment throughout the core. However, the activity concentrations in some cores appear to be higher when compared to other stations. The large area of sampling, i.e. EEZ could be the reason why the concentrations are not uniformly distributed.
Calculation of radiological effects

The most widely used radiation hazard index is called the radium equivalent activity, Raeq. The radium equivalent activity is a weighted sum of activities of the 226Ra (238U), 228Ra (232Th) and 40K radionuclides based on the assumption that 226Ra, 259 Bq/kg of 228Ra and 4810 Bq/kg of 40K produce the same gamma ray dose rate [5, 8, 23]. Radium equivalent activity can be calculated from the following relation: 

Raeq = ARa + 1.43 ATh + 0.077AK                                               (1) [24]
where ARa, ATh, AK are the activity concentration of 226Ra, 232Th(228Ra) and 40K, respectively. To be non-hazardous, the Raeq should not exceed a maximum of 370 Bq/kg [25].

Another radiation hazard index called the representative level index, I(r, is defined from the following formula [26].



[image: image2.wmf]K

Th

Ra

r

A

kg

Bq

A

kg

Bq

A

kg

Bq

I

/

1500

1

/

100

1

/

150

1

+

+

=

g

          (2)

where ARa, ATh, AK having the same meaning as in Eq. (1).

External hazard index (Hex) is another assumption that enables to evaluate the additional radiological hazard of natural gamma-radiation to the workers whose deal and surrounded by the sediments daily. The calculation was performed using equation as reported by Yang et al. (2005) [5] and Nabil et al. (2010) [6].

                
[image: image3.wmf]1

4810

259

370

£

+

+

=

K

Th

U

ex

Q

Q

Q

H


Where QU, QTh, and QK are the activity concentrations of 238U(226Ra), 232Th(228Ra) and 40K, respectively.
The Radium equivalent activity (Raeq), Representative level index (I(r), External hazard index (Hex) for each individual 2 cm layer section sediment of the core had been calculated from the NORM activity and shown as in Figs. 2 – 4 and summarized in Table 2.

[image: image4.png]Depth (cm)

10

N
8

@
£

&
5

50

60

50

100

Ra,, for sediment cores
Activity concentration (Bglkg)
150 200 250

300 350

400

Raeq Limit
—e—sF02
——sF03
——sFo4
——sFo5
—r—sF11
——sF12
——sF13
—msF14
— -sF15
——sF16
—eemesF1T
SFi8
- = -sF21
——sr22
o—sF23
*—SF30





Fig. 2. Radium Equivalent in core sediment from east coast of Peninsular Malaysia EEZ

[image: image5.png]Depth (cm)

10

N
8

@
£

40

50

60

02

04

I,.for sediment cores

06 08 1

14

16 18

—r—sF11
——sF12
——sF13
—msF14
— -sF15
SFi6
-sF17
SFi8
-sF21
sF22
o sF23
o sF30





Fig. 3. Representative Level Index in core sediment from east coast of Peninsular Malaysia EEZ

[image: image6.png]Depth (cm)

10

20

30

40

50

60

02

H., for sediment cores

04 06 08

12

HexLimit
——sF02
——sF03
——sFo4
——sFo5
——sF11
——sF12
——sF13
—n—sF14
— - sF15
——sF16

Al
sF18
sF21





Fig. 4. External Hazard Index in core sediment from east coast of Peninsular Malaysia EEZ
Table 2. Raeq, I(r, Hex in the east coast Peninsular Malaysia EEZ sediment cores

	Station
	Raeq, (Bq/kg)
	I(r
	Hex

	
	Range
	Mean
	Range
	Mean
	Range
	Mean

	SF 02
	153.6 – 187.8
	169.4 ( 7.6
	1.13 – 1.37
	1.24 ( 0.05
	0.41 – 0.51
	0.46 ( 0.02

	SF 03
	121.9 – 149.4
	129.7 ( 6.6
	0.89 – 1.08
	0.95 ( 0.05
	0.33 – 0.40
	0.35 ( 0.02

	SF 04
	160.0 – 210.5
	189.4 ( 11.9
	1.17 – 1.54
	1.39 ( 0.08
	0.43 – 0.57
	0.51 ( 0.03

	SF 05
	102.5 – 118.0
	107.7 ( 4.4
	0.75 – 0.87
	0.79 ( 0.03
	0.28 – 0.32
	0.29 ( 0.01

	SF 11
	144.9 – 175.0
	156.3 ( 8.9
	1.06 – 1.28
	1.15 ( 0.06
	0.39 – 0.47
	0.42 ( 0.02

	SF 12
	138.0 – 179.7
	150.5 ( 9.6
	1.00 – 1.30
	1.09 ( 0.07
	0.37 – 0.49
	0.41 ( 0.03

	SF 13
	118.6 – 138.1
	124.8 ( 5.8
	0.87 – 1.01
	0.92 ( 0.04
	0.32 – 0.37
	0.34 ( 0.02

	SF 14
	120.0 – 140.9
	128.7 ( 6.6
	0.87 – 1.03
	0.93 ( 0.05
	0.32 – 0.38
	0.35 ( 0.02

	SF 15
	114.3 – 147.7
	128.1 ( 8.5
	0.84 – 1.07
	0.93 ( 0.06
	0.31 – 0.40
	0.35 ( 0.02

	SF 16
	99.6 – 138.6
	110.1 ( 11.8
	0.73 – 1.01
	0.81 ( 0.09
	0.27 – 0.37
	0.30 ( 0.03

	SF 17
	101.5 – 169.8
	145.6 ( 14.3
	0.75 – 1.24
	1.06 ( 0.10
	0.27 – 0.46
	0.39 ( 0.04

	SF 18
	68.6 – 107.2
	91.8 ( 9.3
	0.50 – 0.78
	0.67 ( 0.07
	0.19 – 0.29
	0.25 ( 0.03

	SF 21
	121.9 – 167.4
	134.6 ( 12.4
	0.88 – 1.21
	0.98 ( 0.09
	0.33 – 0.45
	0.36 ( 0.03

	SF 22
	109.4 – 157.6
	139.3 ( 10.6
	0.82 – 1.14
	1.02 ( 0.08
	0.30 – 0.43
	0.38 ( 0.03

	SF 23
	137.9 – 184.4
	167.2 ( 9.0
	1.01 – 1.35
	1.23 ( 0.07
	0.37 – 0.50
	0.45 ( 0.02

	SF 30
	167.9 – 204.8
	180.0 ( 10.6
	1.21 – 1.48
	1.30 ( 0.08
	0.45 – 0.55
	0.49 ( 0.03

	*Overall
	68.6 – 210.5
	143.1 ( 27.7
	0.50 – 1.54
	1.04 ( 0.20
	0.19 – 0.57
	0.39 ( 0.07


*Overall value given was the range and average mean for all reported sediment cores

From the data, it is obvious that for each sediment section of the cores, the calculated value for that of radium equivalent activity and external hazard index are well below the recommended value, showing that the sediment samples does not necessary adding extra radiation hazards to the workers even though they are surrounded by these samples daily. Meanwhile, calculated representative level index (I(r ~ 1.0) was also less than the background level (I(r ~ 1.5) in Peninsular Malaysia’s soil. In all cores, only layer 42 – 44 cm of the SF 04 core sediment having values slightly more than that of the background level. 
From the pictorials in Figs. 2 – 4, we can conclude that the hazard index is low especially when dealing with sediments from stations SF 05, SF 16 and SF 18. Whilst, stations SF 04 and SF 30 are contributing more radiation hazards compared to the sediments from other locations.
The results for the radium equivalent activity, representative level index, and external hazard index of the present work and other studies are compared in Table 3. It is found that , in general, the value of Raeq, I(r and Hex calculated for the sediments in this study is comparable to those reported elsewhere and less than recommended figures, indicating that the hazard of radiation exposure for the workers whose handle the samples are less when compared to the Peninsular Malaysia’s background radiation received by them.

Table 3. Comparison of Raeq, I(r, Hex of the present work and other studies.

	Country
	Sample
	Raeq (Bq/kg)
	 I(r
	 Hex
	References

	Egypt
	Beach sand
	182.0
	1.3a
	0.5a
	Ref. [27]

	Egypt
	Nile island’s soil
	152.9
	1.3
	0.4a
	Ref. [8]

	Brazil
	Soil
	147.8a
	1.1a
	0.4a
	Ref. [28]

	India
	Soil
	86.7a
	0.6a
	0.2a
	Ref. [7]

	Thailand
	Soil
	204.6a
	1.4a
	0.6a
	Ref. [12]

	Malaysia (Peninsula)
	Soil
	208.1a
	1.5a
	0.6a
	Ref. [12]

	World average
	Soil
	118.5a
	0.9a
	0.3a
	Ref. [29]

	World average
	Soil
	129.7a
	1.0a
	0.4a
	Ref. [12]

	Red Sea
	Sediment
	32.4a
	0.2a
	0.1a
	Ref. [22]

	South China Sea (Sarawak)
	Sediment
	101.6a
	0.7a
	0.3
	Ref. [20]

	South China & Sulu Sea (Sabah)
	Sediment
	64.7a
	0.5a
	0.2
	Ref. [20]

	Peninsular EEZ
	Sediment
	143.1
	1.0
	0.4
	Present work


aCalculated by the author using data given in the reference.

Conclusion
Core sediments from stations SF 04 and SF 30 are contributing more radiation hazards whiles core sediments from stations SF 05, SF 16 and SF 18 are contributing less radiation hazards than most of the average cores. 

Overall, the Radium equivalent activity (Raeq), Representative level index (I(r), External hazard index (Hex) is ranged between 68.6 – 210.5 Bq/kg (mean 143.1 ( 27.7 Bq/kg), 0.50 – 1.54 (mean 1.04 ( 0.20) and 0.19 – 0.57 (mean 0.39 ( 0.07 Bq/kg), respectively. This value is less than the recommended limit value of 370 Bq/kg (for Raeq) and unity (for Hex). It is also slightly less than the background level radiation from soil in Peninsular Malaysia, I(r ~ 1.5. Therefore, the additional radiation exposure to the workers while handling the samples is small, as compared to the background radiation received by them.

Acknowledgement
The authors would like to express their special appreciations to the Ministry of Science, Technology & Innovation Malaysia for providing research funding under e-ScienceFund research grant (04-03-01-SF0020). The authors would also like to thank the captain and crews of the K.L. PAUS and the Department of Fisheries for their support and assistance during sampling expeditions. We would also like to express our gratitude to Universiti Kebangsaan Malaysia (UKM), Universiti Malaysia Terengganu (UMT) for support throughout this study. Last but not least, the thanks to the personnel of Radiochemistry and Environment Group for their constant support in this study.

References 
1. Ahmad-Taufek, A. R., Ahmad-Termizi, R. & Abdul-Khalik, W. (2004). Analysis of The Concentration of Natural Radionuclides in rivers in Kota Tinggi District, Malaysia. Journal of Nuclear and Related Technologies 1, 41 – 52.

2. Akram, M., Qureshi, R. M., Ahmad, N., Solaija, T. J., Mashiatullah, A., Ayub, M. A. & Irshad, S. (2004). Determination of Natural and Artificial Radionuclides in Seawater and Sediments off Gwadar Coast, Arabian Sea. The Nucleus 41, 19 – 25.

3. Myrick, T. E., Berven, B. A. & Haywood, F. F. (1983). Determination of concentrations of selected radionuclides in surface soil in the U.S. Health Physics 45, 631 – 642.

4. Nagaya, Y. & Saiki, M. (1967). Accumulation of radionuclides in coastal sediments of Japan (I). Fallout radionuclides in some coastal sediments in 1964–1965. Journal of Radiation Research 81, 37 – 43. 

5. Yang, Y. X., Wu, X. M., Jiang, Z. Y., Wang, W. X., Lu, J. G., Lin, J., Wang, L. M. & Hsia, Y. F. (2005). Radioactivity concentrations in soils of the Xiazhuang granite area. China, Applied Radiation Isotopes 63, 255 – 259.

6. Nabil, M. H., Tetsuo, I., Masahiro, H., Atsuyuki, S., Shinji, T., Masahiro, F. & Sarata, K. S. (2010). Assessment of the natural radioactivity using two techniques for the measurement of radionuclide concentration in building materials used in Japan. Journal of Radioanalytical and Nuclear Chemistry 283, 15 – 21.

7. Narayana, Y., Somashekarappa, H. M., Narunakara, N., Avadhani, D. N., Mahesh, H. M. & Siddappa, K. (2001). Natural radioactivity in the soil samples of coastal Karnataka of South India. Health Physics 80, 24 – 33.

8. Ahmed, N. K. & El-Arabi, A. G. M. (2005). Natural radioactivity in farm soil and phosphate fertilizer and its environmental implications in Qena governorate, Upper Egypt. Journal of Environmental Radioactivity 84, 51 – 64.

9. Koide, M., Bruland, K. W. & Goldberg, E. D. (1973). Th-228/Th-232 and Pb-210 geochronologies in marine and lake sediment. Geochimica et Cosmochimica Acta 37, 1171 – 1187.

10. Meriwether, J. R., Beck, J. N., Keeley, D. F., Langley, M. P., Thompson, R. H. & Young, J. C. (1958). Radionuclides in Louisiana soils. Journal of Environmental Quality 17, 562 – 568. 

11. Osburn, W. S. (1965). Primordial Radionuclides: Their distribution, movement, and possible effect within terrestrial ecosystems. Health Physics 11, 1275 – 1295.

12. UNSCEAR (2000). Sources, Effects and Risks of Ionizing Radiation. Report to the General Assembly, with scientific annexes, United Nations, New York.

13. Malaysian Nuclear Agency (2006). Laporan Kemajuan Kontrak Perkhidmatan Penyelidikan Sinaran di Malaysia, Progress Report, Bangi, Malaysia. (in Malays)

14. Omar, M., Ibrahim, M. Y., Hassan, A., Lau, H. M. & Ahmad, Z. (1990). Enhanced Radium Level in Tin Mining Areas in Malaysia. In: Proceedings of an International Conference on High Levels of Natural Radiation. M. Sohrabi, J.U. Ahmad and S.A. Durrani (eds.). 3 – 7 Nov 1990, Ramsar, Islamic Republic of Iran. 191 – 195.

15. Yahaya, R., Che-Rosli, C. M., Yasir, M. S., Amran, A. M., Ismail, B. & Sukiman, S. (1997). Analysis of Fall-out and Naturally Occuring Radioancitve Elements in Selangor. Malaysia Journal Analytical Sciences, 3, 237 – 241.

16. Yasir, M. S., Amran, A. M., Farhana, I., Siti-Qalila, M. T. & Mohd-Rashidan, Z. A. (2006). Analisis 238U, 232Th, 226Ra dan 40K dalam Sampel Amang, Tanah dan Air di Dengkil, Selangor Menggunakan Spektrometri Gama. Malaysia Journal Analytical Sciences, 10, 35 – 40. 

17. Zal U’yun, W. M, Zaharudin, A., Abdul-Kadir, I., Yii, M. W., Norfaizal, M., Jalal, S., Kamarozaman, I., Khairul-Nizam, R. & Maziah, M. (2005). Kajian Awal ke Atas Taburan Radionuklid Tabii Di Perairan Pantai Timur Semenanjung Malaysia. Malaysia Journal Analytical Sciences, 9, 325 – 337.

18. Zal U’yun, W. M., Mohamed, C. A. R., Yii, M. W., Zaharudin, A., Kamaruzaman, I. & Abdul-Kadir, I. (2010). Vertical inventories and fluxes of 210Pb, 228Ra and 226Ra at southern South China Sea and Malacca Straits. Journal of Radioanalytical and Nuclear Chemistry, 286, 107 – 113.

19. Dowdall, M. & O’Dea, J. (2002). 226Ra/238U disequilibrium in an upland organic soil exhibiting elevated natural radioactivity. Journal of Environmental Radioactivity 59, 91 – 104.

20. Yii, M. W., Zaharudin, A. & Abdul-Kadir, I. (2009). Distribution of naturally occurring radionuclides activity concentration in East Malaysian marine sediment. Applied Radiation Isotopes 67, 630 – 635.

21. Chen, S. B., Zhu, Y. G. & Hu, Q. H. (2005). Soil to plant transfer of 238U, 226Ra and 232Th on a uranium mining-impacted soil from southeastern China. Journal of Environmental Radioactivity 82, 223 – 236.
22. Sam, A. K., Ahamed, M. M. O., EI-Khangi, F. A., El-Nigumi, Y. O. & Holm, E. (1998). Radioactivity levels in the Red Sea Coastal Environment of Sudan. Marine Pollution Bulletin 36, 19 – 26.

23. Stranden, E. (1979). A simple method for measuring the radon diffusion coefficient and exhalation rate from building materials. Health Physics 37, 242 – 244.

24. Berekta, J. & Mathew, P. J. (1985). Natural radioactivity of Australian building materials waste and by-products. Health Physics 48, 87 – 95.

25. UNSCEAR (1982). Ionizing Radiation: Sources and Biological Effects. United Nations, New York.

26. Alam, M. N., Chowdhury, M. I., Kamal, M., Ghose, S. & Ismail, M. N. (1999). The 226Ra, 232Th and 40K activities in beach sand minerals and beach soils of Cox’s Bazar, Bangladesh. Journal of Environmental Radioactivity 46, 243 – 250.

27. Seddeek, M. K., Badran, H. M., Sharshar, T. & Elnimr, T. (2005). Characteristics, spatial distribution and vertical profile of gamma-ray emitting radionuclides in the coastal environment of North Sinai. Journal of Environmental Radioactivity 84, 21 – 50.

28. Malanca, A., Pessina, V. & Dallara, G. (1993). Assessment of the natural radioactivity in the Brazilian state of Rio Grande do Norte. Health Physics 65, 298 – 302.

29. UNSCEAR (1993). Sources, Effects and Risks of Ionizing Radiation. Report to the General Assembly, with scientific annexes, United Nations, New York.
Got Sample


No Sample





Short cores





Sandy cores





(3)








_1379836159.unknown

_1379836160.unknown

