The Malaysian Journal of Analytical Sciences Vol 16 No 2 (2012): 134 – 141

DETERMINATION OF ORGANIC AND INORGANIC MERCURY SPECIES IN SUNGAI KINTA, PERAK BY REVERSED-PHASE HIGH PERFORMANCE LIQUID CHROMATOGRAPHY (HPLC) ON-LINE COUPLED WITH ICP-MS

(Penentuan Kandungan Spesis Raksa Organik dan Bukan Organik di Sungai Kinta, Perak Melalui Kaedah HPLC-ICP-MS)

Norshidah Baharuddin 1*, Norashikin Saim 2, Rozita Osman 2, Sharifuddin Md. Zain 3, 
Hafizan Juahir 4, Siti Rafzah Saari 1
1Sirim Berhad, 40911 Shah Alam, Selangor, Malaysia

 2Faculty of Applied Sciences, 

Universiti Teknologi MARA, 40450 Shah Alam, Selangor, Malaysia

3Department of Chemistry, Faculty of Science, 

Universiti Malaya, 56000 Kuala Lumpur, Malaysia

4Department of Environmental Sciences, Faculty of Environmental Study, 

Universiti Putra Malaysia, 43400 Serdang, Selangor, Malaysia

*Corresponding author: shidah@sirim.my
Abstract

This paper describes a simple method for mercury speciation in river water samples of Sungai Kinta, Perak. Separation and measurement were done by high-performance liquid chromatography on-line with inductively coupled plasma mass spectrometry (HPLC/ICP-MS). Separation of mercury species was accomplished within 6 minutes on an AQ C18 4.6mm i.d x 150mm, 5µm reversed phase column with 0.1% (w/v) L-cysteine as  mobile phase. Under the optimum instrumental conditions, recoveries of 101-104% for MeHg+ and 96 – 104% for Hg2+ were obtained with experimental detection limits of 1ngL-1 for inorganic mercury and 1.5µgL-1 for organic mercury. 

Keywords:  HPLC/ICP-MS, reversed phase, L-cysteine, mobile phase
References
1. Lan-Fang C., Shiuh-Jen J., and Sahayam A.C. (2007). “Speciation analysis of mercury and lead in fish samples using liquid chromatography–inductively coupled plasma mass spectrometry.” Journal of Chromatography A. 1176. 143–148.
2. Jianguo, C., Hengwu C., Xianzhong J., and Haiting C. (2009). “Determination of ultra-trace amount methyl-, phenyl- and inorganic mercury in environmental and biological samples by liquid chromatography with inductively coupled plasma mass spectrometry after cloud point extraction preconcentration.” Talanta. 77. 1381–1387.
3. Castillo, A., Roig-Navarro A.F., and Pozo O.J. (2006). “Method optimization for the determination of four mercury species by micro-liquid chromatography–inductively coupled plasma mass spectrometry coupling in environmental water samples.” Analytica Chimica Acta. 577. 18–25.
4. Cairns, W.R.L., Ranaldo M., Hennebelle R., Turetta C., Capodaglio G., Ferrari C.F., Aur´elien D., Cescon P., and Barbante C. (2008 ). “Speciation analysis of mercury in seawater from the lagoon of Venice by on-line pre-concentration HPLC–ICP-MS.” Analytica Chimica Acta. 622. 62–69.
5. Susan, C. Hight, and John C. (2006). “Determination of methylmercury and estimation of total mercury in seafood using high performance liquid chromatography (HPLC) and inductively coupled plasma-mass spectrometry (ICP-MS): Method development and validation.” Analytica Chimica Acta. 567. 160–172.
6. Roberto, M.B., Margarita T.V., Jose E.S.U, and Alfredo S.M. (2000). “Field sampling, preconcentration and determination of mercury species in river waters.” Analytica Chimica Acta. 419. 137–144.
7. José, S.D.S., Miguel de la G., Augustin, P., Maria, L. PD.S. (2009). “Determination of organic and inorganic mercury species in water and sediment samples by HPLC on-line coupled with ICP-MS.” Talanta. 80. 207–211.
8. Wang, M.F., Weiyue, S. J, Zhang, F., Wang B., Zhu M., Li B. Z. Y., Chai, Z. (2007). “Development of a mild mercaptoethanol extraction method for determination of mercury species in biological samples by HPLC–ICP-MS.” Talanta. 71. 2034–2039.
9. Cattani, I., Spalla, S., Beone, G.M., Del Re., A.A.M., Boccelli, R., Trevisan, M. (2008). “Characterization of mercury species in soils by HPLC–ICP-MS and measurement of fraction removed by diffusive gradient in thin films.” Talanta. 74. 1520–1526.
10. María, M.S., Julio, A.L. (2009). “Analytical speciation of mercury in fish tissues by reversed phase liquid chromatography–inductively coupled plasma mass spectrometry with Bi3+ as internal standard.” Talanta. 79. 706–711.
11. Isabel, L., Susana, C., Carmen, C., Yolanda M. (2010). “Approach for rapid extraction and speciation of mercury using a microtip ultrasonic probe followed by LC–ICP-MS.” Talanta, 82. 594–599.
12. Chwei-Sheng, C., Shiuh-Jen, J., Danadurai K. S.K. (2001). “Determination of mercury compounds in fish by microwave-assisted extraction and liquid chromatography-vapor generation-inductively coupled plasma mass spectrometry.” Spectrochimica Acta Part B. 56.  1133-1142.
13. Haiting, C., Jianguo, C., Xianzhong, J., Danyi, W. (2009). “Determination of trace mercury species by high performance liquid chromatography–inductively coupled plasma mass spectrometry after cloud point extraction.” Journal of Hazardous Materials. 172. 1282–1287.
14. Yong-guang, Y., Ming, C., Jin-feng, P., Jing-fu, L., Gui-bin, J. (2010). “Dithizone-functionalized solid phase extraction–displacement elution-high performance liquid chromatography–inductively coupled plasma mass spectrometry for mercury speciation in water samples.” Talanta.  81. 1788–1792.
15. Jairo, L. R., Samuel, S. de. S., Vanessa, C. de. O.S., Fernando, B. Jr. (2010). “Methylmercury and inorganic mercury determination in blood by using liquid chromatography with inductively coupled plasma mass spectrometry and a fast sample preparation procedure.” Talanta. 80. 1158–1163.
16. Xiaoyu, J, Yi H., Xinli L., Taicheng, D. H.Chen. (2010). “Speciation of mercury in water samples by dispersive liquid-liquid microextraction combined with high performance liquid chromatography-inductively coupled plasma mass spectrometry.” Spectrochimica Acta Part B: Atomic Spectroscopy. 
17. Dengyun, C., Miao, J., Xiaoru, W. (2005). “Determination of Methyl Mercury in Water and Soil by HPLC-ICP-MS.” Agilent Technologies.
18. Martine, L., Willy, B. P. Q., Milena, H. (2005). “Mercury in environmental samples:Speciation, artifacts and validation.” Trends in Analytical Chemistry. 24. No. 5.
19. Yao-Chin, W. and Chen-Wen, W. (1993). “High-performance liquid chromatography of inorganic mercury and organomercury with 2-mercaptobenzothiazole.” Journal of Chromatography. 28. 133-137.
20. Kerstin, L.d, Michael, F., Paul, W. (2010). “Methods for the determination and speciation of mercury in natural waters—A review.” Analytica Chimica Acta. 663. 127–138.
21. L. –P. Yu., X. –P. Yan (2003). “Factors affecting the stability of inorganic and methylmercury during sample storage.” Trends in Analytical Chemistry. 22. 245-253.
22. Quarterly DOE Update on Environment, Development & Sustainability, Issue 3/2006. Available from http://www.doe.gov.my.
23. Ullrich, S., Tanton, T. and Abdrashitova, S. (2001). "Mercury in the Aquatic Environment: A Review of Factors Affecting Methylation". Critical Reviews in Environmental Science and Technolog.y 31. (3): 241.
24. Winch, S., Praharaj, T., Fortin, D. and Lean, D.R.S. (2008). “Factors affecting methylmercury distribution in surficial, acidic, base-metal mine tailings.” Science of the Total Environment. 392. 242-251.
25. Ebinghaus, R., Wilken, R.D. and Gisder, P. (1994). “Investigations on the formation of monomethylmercury (II) in the Elbe.” Vom Wasser. 82. 19-25.
