The Malaysian Journal of Analytical Sciences Vol 16 No 3 (2012): 202 – 212

DEVELOPMENT AND VALIDATION OF A UV SPECTROPHOTOMETRIC AND A RP-HPLC METHODS FOR MOEXIPRIL HYDROCHLORIDE IN PURE FORM AND PHARMACEUTICAL DOSAGE FORM

(Perkembangan dan Validasi Kaedah Spektrofotometri UL dan Kaedah KCPT Fasa Terbalik Bagi Analisis Moexipril Hidroklorida Dalam Keadaan Tulen dan Dalam Dos Farmaseutikal)

V. S. Mastiholimath1*, P. P. Gupte1*, V. S. Mannur1, P. M. Dandagi2, A. P. Gadad2, A. Patil1, RVSR Bhavyashanthi1
1Department of Quality Assurance

2Department of Pharmaceutics,

KLE University’s College of Pharmacy,
Belgaum- 590 010, Karnataka, India

*Corresponding author: mastiholimath@rediffmail.com or prajaktgupte@gmail.com
Abstract

A simple and reliable UV spectrophotometric and high-performance liquid chromatography (HPLC) methods were developed and validated for Moexipril hydrochloride in pure form and pharmaceutical dosage form. The RP-HPLC  method was developed on agilant eclipse  C 18 , (150 mm x 4.6 mm, 5 μm) with a mobile phase gradient system of 60% {methanol:acetonitrile (70:30% v/v)} : 40% 20mM ammonium acetate buffer pH 4.5 (v/v) and UV spectrophotometric method was developed in phosphate buffer pH 6.8. The effluent was monitored by SPD-M20A, prominence PDA detector at 210 nm. Calibration curve was linear over the concentration range of 10 –35 μg/ml and 1-9 µg/ml for RP-HPLC and UV with a regression coefficient of 0.999. For RP-HPLC method Inter–day and intra–day precision % RSD values were found to be 1.00078% and 1.49408% respectively. For UV method 0.73386% to 1.44111% for inter day 0.453864 to 1.15542 intra-day precision. Recovery of Moexipril hydrochloride was found to be in the range of 99.8538% to 101.5614% and 100.5297586% to 100.6431587% for UV and RP-HPLC respectively. The limits of detection (LOD) and quantification (LOQ) for HPLC were 0.98969 and 2.99907 μg/ml, respectively. The developed RP-HPLC and UV spectrophotometric method was successfully applied for the quantitative determination of Moexipril hydrochloride in pharmaceutical dosage.

Keywords: Moexipril hydrochloride, UV spectrophotometer, RP-HPLC, Pharmaceutical dosage form, Validation

References

1. Moexipril hydrochloride drug profile (http://www.pharmainfo.com.).
2. Grass GM, Morehead WT. 1989 sep. Evidence for site specific absorption of a novel ACE inhibitor. Pharma Res. 6(9):759-65
3. Ertürk S, Cetin SM, Atmaca S. 2003 Oct 15 Simultaneous determination of moexipril hydrochloride and hydrochlorothiazide in tablets by derivative spectrophotometric and high-performance liquid chromatographic methods. J Pharm Biomed Anal. 33(3):505-11.
4. Mostafa SM, Elshanawane AA, Elgawish MS. 2008 jul-oct. Stability-indicating spectrophotometric method for determination of Moexipril HCl in bulk and pharmaceutical formulation,Saudi Pharmaceutical Journal; 16: 3-4.
5. Manju Latha YB, Gowri Sankar D. 2012 Jan. A validated stability indicating RP-HPLC method for simultaneous estimation of Moexipril and Hydrochlorthiazide in pharmaceutical dosage form, J of Inventi;38.
6. Manju Latha YB, Gowri Sankar D. 2011 Nov-Dec. Development and validation of a stability indicating RP-HPLC method for the quantitative analysis of Moexipril. Int. J of Universal pharmacy and life sciences; 1(3):156-65
7. Pharma training service. Analytical method development and validation. (http://www.Pharmatrainingservices .com).
8. ICH Topic Q2B. 1996; Nov. Validation of Analytical Procedures: Methodology. Step 4 consensus guideline: 1-9.
9. www.warers.com/WatersDivision/ for method Validation, USP Chapter 1225. 
10. ICH: Q2A. 1994. Text on validation of analytical procedure. 
11. ICH: Q2 (R1). 2005.  Validation of analytical procedures: text and methodology. 
12. Hokanson GC. 1994. A life cycle approach to the Validation of analytical methods during Pharmaceutical product development.Part I: The initial validation process. Pharm Tech; 118-30.
13. Hokanson GC. 1994. A life cycle approach to the validation of analytical methods during pharmaceutical product development. part II: Changes and the need for additional validation.Pharm Tech; 92-100. 
14. Green JM. 1996.  A practical guide to analytical method validation.Anal Chem; 305 A-09A
15. Rohokale BS, Jadhav VM, Kadam VJ. 2010. Studies in prospective process validation of Moexipril hydrochloride HCl tablet Dosage formulation. International Journal of Pharmatech research, 2(3):1673-1678.
16. Q2(R1). 1996 Nov Validation of analytical procedures: text and methodology. International conference on harmonization of technical requirement for registration of pharmaceuticals for human use.

