The Malaysian Journal of Analytical Sciences Vol 16 No 3 (2012): 353 – 365

KEPEKATAN BEBAN BAHAN PENCEMAR DI ALUR ILMU KAMPUS UKM BANGI: KAEDAH MIN KEPEKATAN PERISTIWA (EMC)
(Loading Concentrations of Pollutant in Alur Ilmu at UKM Bangi Campus: Event Mean Concentration (EMC) Approach)

Haslinur Md Din1, Mohd Ekhwan Toriman1, Mazlin Mokhtar2, Rahmah Elfithri2, Nor Azlina Ab.Aziz1, 
Nur Munirah Abdullah1, Mohd Khairul Amri Kamarudin1

1Pusat Pengajian Sosial, Pembangunan dan Persekitaran, 

2Institut Alam Sekitar dan Pembangunan, 

Universiti Kebangsaan Malaysia, 43600 UKM Bangi, Selangor, Malaysia

*Corresponding author: ekhwan@ukm.my
Abstrak

Beban pencemar air dan luahan sungai adalah antara data asas dalam menentukan kedinamikan sesebuah sungai. Input kualiti air dan luahan lazimnya boleh diperoleh melalui pengambilan sampel air dilapangan ataupun dicerap secara automatik menggunakan simpanan kawalan data. Artikel ini membincangkan beban pencemar kualiti air dan hubungannya dengan luahan (m3/s) menggunakan kaedah Min Kepekatan Peristiwa (EMC) di Alur Ilmu UKM yang berpunca dari hutan Diptorakap Simpan Bangi (2˚55’14.72”N 101˚46’57.37.”E). Panjang Alur Ilmu adalah 1.79 km yang merentasi kampus induk Universiti Kebangsaan Malaysia sebelum mengalir masuk ke Sungai Langat. Parameter oksigen terlarut (DO) dan jumlah pepejal terlarut (TDS) diukur melalui stesen automatik kualiti air model YK 615 yang dipasang pada hilir alur tersebut (2˚55’40.33”N 100˚46’47.15”E). Analisis makmal dilakukan bagi beban pencemar kimia seperti ammonia nitrogen (NH3-N), jumlah pepejal terampai (TSS), permintaan oksigen biokimia (BOD) dan permintaan oksigen kimia (COD) mengikut garis panduan American Public Health Association (APHA, 2005). Kadar luahan masa normal Alur Ilmu dicatat ialah 0.33(m3/s) dan luahan masa hujan maksimum ialah 13.04 (m3/s). Jumlah anggaran beban pencemar mengikut kaedah EMC seperti DO (18.51±3.01 mg/L), TDS (794.92±186.72mg/L), BOD (11.57±0.28mg/L), COD (201.29±1.55mg/l), TSS (470.03±27.63mg/L) dan ammonia nitrogen (2.52±0.0mg/L). Ujian korelasi menunjukkan hubungan langsung antara jumlah hujan dan luahan (Q) serta beberapa beban pencemar dengan R²=1 pada aras kesignifikan 0.05. Hasil kajian juga mengklasifikasikan beberapa beban pencemar berada dalam kelas III dan kelas IV seperti yang telah ditetapkan oleh Indeks Kualiti Air (IKA).

Kata kunci: Alur Ilmu, Luahan Sungai, Kualiti air, Min Kepekatan Peristiwa, Korelasi
Abstract

Water pollutant loadings and river discharge are among the basic data used in determining the dynamicity of a river. The input of water quality and river discharge are usually available through the collection of water samples in the field or at the observatory, and are done automatically using the data logger sensor. This paper discusses the concentrations pollutant load water quality and its relationship with discharge (m3/s) using Event Mean Concentration (EMC) in the Alur Ilmu, UKM source from the Diptrokarp forest at Hutan Simpan Bangi (2˚55'14.72 "N 101˚ 46'57.37" E). Alur Ilmu is a 1.79 km long stretching across the main campus of National University of Malaysia before flowing into the Langat River. Water quality was measured using automatic gauging and continuous water quality stations which are installed at downstream of Alur Ilmu (2˚55'40.33 "N 100˚46'47.15" E) and involves in measuring the parameters of  total dissolved solid (TDS) and dissolved oxygen (DO) .Laboratory analysis carried out for chemical parameters such as ammonia nitrogen (NH3-N), total suspended solid (TSS), biochemical oxygen demand (BOD) and chemical oxygen demand (COD) in accordance with guidelines American Public Health Association (APHA, 1995). The normal discharge rate recorded at Alur Ilmu is 0.33 m3/s and the wet discharge is 13.04 m3/s.The total estimated pollutant loadings according to EMC as DO (18.51 ± 3.01 mg / L), TDS (794.92 ± 186.72 mg / L), BOD (11.57 ± 0.28 mg / L), COD (201.29 ± 1.55mg / l), TSS (470.03 ± 27.63mg / L) and Ammonia Nitrogen (2.52 ± 0.0 mg / L). Correlation test showed a direct relationship between rainfall and flow (Q) and several pollutant loadings with R²=1 at a significance level of 0.05. The study also classified some of the pollutants concentrations in class III and IV as determined by the Water Quality Index (WQI).
Keywords: Alur Ilmu, River Discharge, Water Quality, Event Mean Concentrations, Correlation
Rujukan
1. Nazahiyah. R., Yusop. Z & Abustan I. (2007). Stormwater quality and pollution loading from an urban residential catchment in Johor, Malaysia. Water Sciences & Technology 56 (7):1-9.

2. Laporan Tahunan Jabatan Alam Sekitar 2009. Atas talian (www.met.gov.my)

3. Lee- Hyung Kim. (2003). Determination of Event Mean Concentration and First Flush Criteria In Urban Runoff. Environmental Engineering Research, 8 (4):163-176.

4. Brezonik P. L & Stadelmann T.H. (2001). Analysis and predictive models of stormwater runoff volumes, loads, and pollutant concentrations from watersheds in the Twin Cities metropolitan area, Minnesota, USA. Water Resources 36:1743-1757.

5. Wan Ruslan Ismail. (1994). Pengantar Hidrologi. Kuala Lumpur: Dewan Bahasa dan Pustaka.

6. Adam, B. J. & Papa, F. (2000). Urban stormwater management planning with analytical probalistic models. New York: John Wiley and Son.

7. Yusop, Z., Tan, L.W., Ujang, Z., Mohamed, M. & Nasir, K.A. (2005). Runoff quality and pollution loadings from a tropical urban catchment. Water Sciences & Technology, 52(9), 125–132.
8. Nor Rohaizah Jamil., Mohd Ekhwan Toriman., Mushrifah Idris & Ng Lee How. (2012). Analisis Ciri-ciri Luahan Sungai Chini dan Sungai Paya Merapoh Tasik Chini,  Pahang bagi Waktu Normal, Waktu Basah dan Selepas banjir. Jurnal e-Bangi, 7 (1):1-16.  

9. Huber W C. (1993). Contaminant transport in surface water. In: Handbook of Hydrology (Maidment D R. editor). New York: McGraw Hill.

10. Yusop, Z., Abdul Rahim, N & Douglas. (2006). Dissolved and undissolved nutrient loading from secondary forest catchment of Malaysia. For. Ecol. Manage, 224:  26-44.

11. Mazlin Mokhtar., Chee Fong Hoe., Chong Wai Leng., Ooi Yih Yong & Tan Bee Heong. (2005). Kajian kualiti air ‘Alur Ilmu’ di kampus UKM Bangi: Ke arah pendekatan pengurusan sumber air bersepadu. Malaysian Journal of Analytical Sciences, 12 (3):388-395.

12. American Public Health Association (APHA). (2005). Standard methods for the examination of water and waste water (19th ed.). Washington DC, USA.
13. Maliki Hapani. (2006). Pencemaran kualiti air Lembangan Sg. Merbok: Kesan pencemaran dan  Langkah pengurusan. Tesis Dr. Fal. Universiti Kebangsaan Malaysia.

14. Sartor, J.D., Boyd, G.B. & Agardy, F.J. (1974). Water pollution aspects of street surface contaminants. JWater Pollution Control 46: 458-467.

15. Mazlin Mokhtar, Hassan Basri & Chia, J.P. (1999). Pemonitoran Kualiti Air Kolam Pengoksidaan Kumbahan UKM, Bangi Yang Mengalirkan Efluen Ke Sungai Langat. Prosiding Symposium Penyelidikan Lembangan Langat, hlm. 155-170.

16. Mohd Ekhwan & Kadaruddin. (1999). Pemeliharaan Hidrologi Sungai Melalui Pembangunan Sisi-Hadapan Sungai Bandar. Prosiding Seminar Kebangsaan Alam, Manusia dan Pembangunan di Malaysia: Dasar, Strategi dan Kelestariannya. Anjuran Persatuan Kebangsaan Geografi Malaysia & Jabatan Geografi, UKM, hlm 85-92.

17. Mohd Noor. (2003). Status Pengurusan Kualiti Air Sungai Langat. Kajian Kes dari Pangsun Hingga Ke West Country. Tesis Sarjana Universiti Kebangsaan Malaysia.

18. Zaini Sakawi, Asmah Ahmad & Mohd Hairimi Mohd Ali. (2009). Keterancaman kesihatan ekosistem Bukit Fraser: Impak penjanaan sisa buangan. Prosiding Seminar Bio-Kejuruteraan, Penilaian Ekosistem dan Spesies 2009. Shahzan Inn, Bukit Fraser, Pahang. 13-15 April 2009.

19. Azahan Awang., M.J. Jamaluddin., Md. Suhaily. (2001). Status dan Pengurusan Kualiti Air Sungai Linggi. Dlm Environmental Management 2001.M.J. Jamaluddin & M.N. Mohd Jailani (pnyt). Proceeding National Seminar on Environmental Management: Current Development & Future Planning. Universiti Kebangsaan Malaysia, Bangi, 14-15 Ogos, 2011.
20. Kim, L.H., Jeong SM., Ko SO. (2007). Determination of first flush criteria using dynamics EMCs on highways storm water runoff. Water Sciences Technology. 55:71-77. 

21. Sartor, J.D., Boyd, G.B. & Agardy, F.J. (1974). Water pollution aspects of street surface contaminants. JWater Pollution Control 46: 458-467.

