The Malaysian Journal of Analytical Sciences Vol 17 No 1 (2013): 200 – 207

PERAWATAN AIR SISA KILANG KELAPA SAWIT SECARA ELEKTROKIMIA

(Palm Oil Factory Wastewater Treatment Using Electrochemical Technique)

Nor Ain Mohd Aluwi, M.S Md Jamil, Rahimi M. Yusop, Bakri Din, Firdaus Ismail,
Mohamed Rozali Othman*
Pusat Pengajian Sains Kimia dan Teknologi Makanan, Fakulti Sains dan Teknologi
Universiti Kebangsaan Malaysia, 43600 UKM Bangi, Selangor, Malaysia
*Corresponding author: rozali@ukm.my
Abstrak

Kajian ini dilakukan untuk merawat air buangan yang diambil dari sumber sisa air buangan kilang kelapa sawit secara elektrokimia menggunakan besi tahan karat sebagai elektrod dalam 0.1 M NaCl. Sampel yang dielektrolisis dianalisis menggunakan UV-Vis dan penentuan nilai COD. Disamping sisa cecair, sisa pepejal yang diperolehi turut dianalisis menggunakan FTIR dan penganalisa CHNS. Hasil kajian mendapati warna air buangan tersebut dapat dikurangkan sehingga 50% dan paras COD dikurangkan sehingga 80% untuk tempoh elektrolisis selama 3 jam dan dikenakan keupayaan setinggi 10 V. 

Kata kunci: Rawatan air buangan, elektrolisis

Abstract

A study was carried out to determine the suitability of palm oil factory wastewater treatment using electrochemical technique with stainless steel as both working and counter electrode in 0.1 M NaCl. Treated liquid samples were later analysed using UV-Vis and COD determination. While solid samples formed during the electrolysis process were analyse using FTIR and CHNS analyser. Results obtained showed than electrochemical technique with the above condition able to reduced color and COD level of the waswater up to 50% and 80% respectively after 3 h electrolysis time with 10 V applied voltage. 

Keywords: Wastewater treatment, electrolysis
References

1. Igwe, J.C. and Onyegbado, C.C. (2007), A Review of Palm Oil Mill Effluent (Pome) Water Treatment. Global J. Environ. Res. 1(2), 54 - 62

2. MPOC. 2011. http://www.mpoc.org.my/The_Oil_Palm_Tree.aspx. [13 Disember 2011].

3. Chantaraporn, P., Junpita, M., Kanita, I. and Boonyarit, N. (2010), Pretreatment of palm oil mill effluent by electrocoagulation and coagulation Sci. Asia 36, 142 – 149

4. Okwute, L.O. and Isu, N.R. (2007), The environmental impact of palm oil mill effluent (pome) on some physico-chemical parameters and total aerobic bioload of soil at a dump site in Anyigba, Kogi State, Nigeria Afr. J. Agr. Res. 2(12), 656 – 662

5. Parveen Fatemah Rupani, Rajeev Pratap Singh, M. Hakimi Ibrahim and Norizan Esa. (2010), Review of Current Palm Oil Mill Effluent (POME) Treatment Methods: Vermicomposting as a Sustainable Practice World Appl. Sci. J. 11(1), 70 

6. Ta, Y.W., Abdul Wahab Mohammad, Jamaliah Md. Jahim and Nurina Anuar. (2010), Pollution control technologies for the treatment of palm oil mill effluent (POME) through end-of-pipe processes J. Environ. Manage.  91, 1467 - 1490

7. Wong, Y.S., Kadir, M.O.A.B. and Teng, T.T. (2009), Biological kinetics evaluation of anaerobic stabilization pond treatment of palm oil mill effluent Bioresour. Tech. 100(21), 4969 – 4975

8. Wood, B.J., Pillai, K.R. and Rajaratnam, J.A. (1979), Palm oil mill effluent disposal on land.Agr. Wastes 1, 103 - 127

9. APOC. 2003. http://www.americanpalmoil.com/ [23 November 2011]

10. Munirat Abolore Idris, Mohammed Saedi Jami and Suleyman Aremu Muyibi. (2010), Tertiary treatment of biologically treated palm oil mill effluent (POME) using UF membrane system: effect of MWCO and transmembrane pressure. Inter. J. Chem. Environ. Eng. 1(2), 108 - 112

11. Usha, N.M., Rekha, H.B. and Bhavya, J.G. (2011), 2011 Inter. Conf. Environ. Comput. Sci. 19, 64 
12. Ramli Ibrahim, Ilyas Md Isa and Anuar Kassim. (2003), Kimia Analisis. Edisi 1. Tanjong Malim: Penerbit UPSI.
13. Rajkumar, D. and Palanivelu, K. 2004. Electrochemical treatment of industrial wastewater. J. Hazard. Mater. B 113, 123 

14. APHA (1995), Standard Methods for the Examination of Water and Wastewater (19ed.), American Public Health Association, Washington, D.C (1995)
15. Abuzaid, N.S., Bukhari, A.A. and Al-Hamouz, Z.M. (1998), Removal of bentonite causing turbidity by Electrocoagulation J. Environ. Sci. Heal. A 33(7), 1341 - 1358
16. Bukhari, A. (2008). Investigation of the electro-coagulation treatment process for the removal of total suspended solids and turbidity from municipal wastewater Bioresour. Tech. 99(5), 914

