The Malaysian Journal of Analytical Sciences Vol 17 No 2 (2013): 262 – 271

TANDEM SOLID PHASE EXTRACTION FOR THE DETERMINATION OF PHARMACEUTICALS IN WASTEWATER

(Pengekstrakan Fasa Pepejal Secara Penggabungan Katrij Untuk Analisis Farmaseutikal 
Dalam Air Sisa Buangan)

Licaberth Ismail*, Rozita Osman, Norashikin Saim

Faculty of Applied Sciences, Universiti Teknologi MARA, 40450 Shah Alam, Selangor

*Corresponding author: lica.ismail@yahoo.com

Abstract

In this study, a simple and rapid tandem solid phase extraction (SPE) was developed for the analysis of seven pharmaceuticals (acetaminophen, caffeine, carbamazepine, diclofenac, naproxen, ibuprofen and metoprolol) in wastewater sample. The novel aspect of coupling SPE cartridge in tandem is the ability to simplify the SPE procedure (sample introduction step) as no single sorbent was able to retain and concentrate all selected compounds since these compounds are of different physicochemical properties. A tandem SPE cartridges using Oasis HLB and octadecyl bonded silica (C18) was found to be efficient with the advantages of minimizing sample volume and reducing analysis time. Using this approach, carbamazepine, diclofenac, naproxen and metoprolol were trapped in the Oasis HLB while acetaminophen, caffeine and ibuprofen were trapped in the second cartridge (C18). The instrumental limits of detection (LOD) ranged from 0.01 to 0.04 μg/L and satisfactory recoveries were obtained between 76% to 104%.  The calibration curves were linear from 0.1 to 5.0 µg/mL, with correlation coefficients (R2) in the range of 0.995 to 0.999. The developed method was applied to the analysis of pharmaceuticals in wastewater samples. The amount of pharmaceuticals detected in wastewater samples varied from 0.4 to 24.5 mg/L.

Keywords: pharmaceuticals, solid phase extraction, Oasis HLB, wastewater
References

1. Martín, J., Santos, J.L., Aparicio, I., Alonso, E. (2010). Multi-residue method for the analysis of pharmaceutical compounds in sewage sludge and sediments by sonication-assisted extraction and LC determination. Journal of Separation Science, 33, 1786-1766

2. Togola, A., Budzinski, H. (2007). Analytical development for analysis of pharmaceuticals in water samples by SPE and GC-MS. Analytical and Bioanalytical Chemistry, 338, 627.
3. Togola, A., Budzinski, H. (2008). Multi-residue analysis of pharmaceutical compounds in aqueous samples. Journal of Chromatography A, 1177, 150–15.

4. Malaysia Environmental Quality Report (2010). Department of Environment. Ministry of Natural Resources and Environment, Malaysia

5. Azzouz, A., Souhail, B., Ballesteros, E. (2010). Continuous solid-phase extraction and gas chromatography–mass spectrometry determination of pharmaceuticals and hormones in water samples. Journal of Chromatography A, 1217, 2956–2963

6. Kosma, C.I., Lambropoulou, D.A., Albanis, T.A., (2010). Occurrence and removal of PPCPs in municipal and hospital wastewaters in Greece. Journal of Hazardous Material, 179, 804–817.
7. Damiani, P.C., Bearzotti, M., Cabezon, M.A. (2001). Spectrofluorometric determination of ibuprofen in pharmaceutical formulations. Journal of Pharmaceuticals and Biomedical Analysis, 25, 679-683.

8. Huber, U. (1998). Application Notes: Analysis of Anti-inflammatory Drugs by HPLC. Agilent Technologies, Waldbronn, Germany.
9. Yu, Y., Wu, L. (2011). Comparison of four extraction methods for the analysis of pharmaceuticals in wastewater. Journal of Chromatography A, 1218, 2483–2489.

10. Justin M.C., Steven J.S., Scott A.K., Sean M.R. (2008). Rapid liquid chromatography–tandem mass spectrometry method for the determination of a broad mixture of pharmaceuticals in surface water. Journal of Chromatography A, 1185, 206–215.

11. Heberer, T., Feldman, D. (2005). Contribution of effluents from hospital and private households to the total loads of diclofenac and carbamazepine in municipal sewage effluents – modeling versus measurements. Journal of Hazard Mater 122, 211–21.
12. Richardson, S.D., Ternes, T.A. (2005). Emerging Contaminants and Current Issues. Analytical Chemistry, 77, 3807-3838.

13. Zorita, S., Mårtensson, L., Mathiasson, L., (2009). Occurrence and removal of pharmaceuticals in municipal sewage treatment system in the south of Sweden. Science Total Environment, 407, 2760-2770.
