Malaysian Journal of Analytical Sciences Vol 17 No 3 (2013): 348 – 358

ANALYTICAL METHOD DEVELOPMENT AND VALIDATION FOR SIMULTANEOUS ESTIMATION OF ARTEMETHER AND LUMEFANTRINE IN PURE AND PHARMACEUTICAL DOSAGE   FORM USING RP-HPLC METHOD

(Pembangunan dan Validasi Kaedah Analisis bagi Anggaran Serentak Artemether dan Luefantrine dalam Keadaan Tulen dan Dos Farmaseutikal Mengunakan Kaedah KCPT-Fasa Terbalik)

Mannur Vinodh*, Mastiholimath Vinayak, Patware Pankaj, Kharya Rahul and Mascarenhas Renita

Department of Quality Assurance,

KLE University’s College of Pharmacy, Belgaum- 590 010, Karnataka, India

*Corresponding author: vinodhmannur@yahoo.com
Abstract

A simple, rapid, precise and cost effective reversed phase-high performance liquid chromatography (RP-HPLC) method was developed for the simultaneous estimation of Artemether (AT) and Lumefantrine (LU) in pure drug and pharmaceutical dosage forms. The separation was carried out using BDS Hypersil C18 (150 × 4.6 mm i.d. 3 μm particle size) column, with mobile phase comprising of 0.01M tetra butyl ammonium hydrogen sulphate and acetonitrile in the ratio of 20 : 80 (v/v). The flow rate was 1.0ml/min and the detection was carried out using UV-visible detector at 222 nm. The method was validated by evaluation of different parameters such as accuracy, precision, linearity, ruggedness, and robustness, limit of detection (LOD) and limit of quantification (LOQ). The retention time were found to be 4.19 and 5.22 min for AT and LU, respectively. Correlation coefficient (r2) of 0.999 for both over concentration range of 3.2-19.2μg/ml and 16-96μg/ml for AT and LU, respectively. Parameters like mobile phase ratio, wavelength, flow rate, etc. were deliberately varied.  It was observed that there were no marked changes in chromatograms, which demonstrated that the developed RP-HPLC method is robust. Intra and inter day precision reproducibility study was carried out and it was checked by determining precision on the same instrument, but by a different analyst. The percentage recovery for AT and LU were ranged between 99.18-100.19 and 99.96-100.07, respectively. The LOD for AT and LU were found to be 0.201 and 2.99 μg/ml and the LOQ were 0.609 and 9.086 μg/ml respectively. Method was found to be reproducible with relative standard deviation (RSD) for intra and inter day precision less than 2%. 

Keywords: Artemisinin-Based Combination Therapy, Artemether, Lumefantrine, High Performance Liquid    Chromatography (HPLC), Validation.

References

1. Martensson, J., Stromberg, C., Sisowath, M. I., Msellem, J. P., Gil, S. M., Montgomery, P., Olliaro, A. S., Ali. & A., (2005). Efficacy of artesunate plus amodiaquine versus that of artemether-lumefantrine for the treatment of uncomplicated childhood Plasmodium falciparum malaria in Zanzibar, Tanzania, Clin. Infect. Dis. 41: 1079 – 1086.

2. WHO (2001). Antimalarial Drug Combination Therapy. Report of a WHO Technical Consultation, 4-5 April, (WHO/CDS/RBM/2001.35). Geneva: WHO.

3. Nosten, F. & White, N.J., (2007). Artemisinin based combination treatment of falciparum malaria, Am. J. Trop. Med. Hyg. 77: 181 – 192.

4. Martindale: The complete drug reference 36th edition, Pharmaceutical press, Lambeth High Street, London, (2009); 598 - 599.

5. Martindale: The complete drug reference 36th edition, Pharmaceutical press, Lambeth High Street, London, (2009); 605.

6. Omari, A.A., Gamble, C. & Garner, P., (2004). Artemether-lumefantrine for uncomplicated malaria: a systematic review, Trop. Med. Int. Health. 9: 192 – 199.

7. World Health Organization, WHO Expert Committee on Malaria, 20th Report, WHO Technical Report Series – 892, Geneva, 2000; 71.

8. Navaratnam, V., Mansor, S.M., Chin, L.K., Mordi, M.N., Asokan, M., Nair & N.K., (1995). Determination of artemether and dihydroartemisinin in blood plasma by high-performance liquid chromatography for application in clinical pharmacological studies, J. Chromatogr. B, 669: 289 – 294.

9. Karbwang, J., Na-bangchang, K., Molunto, P., Banmairuroi, V. & Congpuong, K., (1997). Determination of artemether and its major metabolite, dihydroartemisinin, in plasma using high-performance liquid chromatography with electrochemical detection, J. Chromatogr. B, 690: 259 – 265.
10. Sandrenan, A., Sioufi, J., Godbillon, C., Netter, M., Donker, V. & Valkenburg., (1997). Determination of artemether and its metabolite, dihydroartemisinin, in plasma by high-performance liquid chromatography and electrochemical detection in the reductive mode, J. Chromatogr. B, 691: 145 – 153.
11. Souppart, C., Gauducheau, N., Sandrenan, N. & Richard, F., (2002). Development and validation of a high-performance liquid chromatography-mass spectrometry assay for the determination of artemether and its metabolite dihydroartemisinin in human plasma, J. Chromatogr. B, 774: 195 – 203.
12. Green, M.D., Mount, D.L. & Wirtz, R.A., (2001). Authentication of artemether, artesunate and dihydroartemisinin antimalarial tablets using a simple colorimetric method, Trop. Med. Int. Health, 6 : 980 – 982.
13. Atemnkeng, M.A., De Cock, K. & Plaizier-Vercammen, J., (2007). Quality control of active ingredients in artemisinin derivative antimalarials within Kenya and DR Congo, Trop. Med. Int. Health, 12: 68 – 74.
14. Mansor, S.M., Navaratnam, V., Yahaya, N., Nair, N.K., Wernsdorfer, W.H. & Degen, P.H., (1996). Determination of a new antimalarial drug, benflumetol, in blood plasma by high-performance liquid chromatography, J. Chromatogr. B, 682: 321 – 325.
15. César I, Nogueira F. & Pianetti G, (2008). Simultaneous determination of artemether and lumefantrine in fixed dose combination tablets by HPLC with UV detection, J. of Pharm. Biomed. Analysis. 45: 951 - 954.
16. Kalyankar T.M. & Kakde R.B. (2011) Reversed-phase liquid chromatographic method for simultaneous determination of artemether and lumefantrine in pharmaceutical preparation. International Journal of ChemTech Research, 3(3): 1722 - 1727.
17. Sridhar B., Rao K.H., Srinivas T.V.S., Madhuri V.S., Madhuri K. & Rao J.V.L.N.S.(2010). A validated reverse phase hplc method for the simultaneous estimation of artemether and lumefantrine in pharmaceutical dosage forms. An International Journal of Advances In Pharmaceutical Sciences 1(1): 95 - 99.
18. Sunil J., Nath M.S., .M & Moorthy U.S. (2010) HPLC method development and validation for simultaneous estimation of artemether and lumefantrine in pharmaceutical dosage forms. International Journal of Pharmacy and Pharmaceutical Sciences. 2(4): 93 - 96. 
19. CMPM/ICH/381/95, ICH Topic Q2B Validation of Analytical Procedures: Methodology. Step 4 consensus guideline, (1996); Nov: 1-9
