The Malaysian Journal of Analytical Sciences, Vol 18 No 3 (2014): 534 - 543
Nur Amira et al:   SEPARATION OF N-NITROSAMINES BY MICELLAR ELECTROKINETIC CHROMATOGRAPHY

[image: image1.png]



SEPARATION OF N-NITROSAMINES BY MICELLAR ELECTROKINETIC CHROMATOGRAPHY
(Pemisahan N-Nitrosamina Menggunakan Kromatografi Elektrokinetik Misel)
Nur Amira Md Ali1, Mohd Marsin Sanagi1,2*, Wan Aini Wan Ibrahim1
1Department of Chemistry, Faculty of Science,
 2Ibnu Sina Institute for Fundamental Science Studies, Nanotechnology Research Alliance,
 Universiti Teknologi Malaysia, 81310 UTM Johor Bahru, Johor, Malaysia
*Corresponding author: marsin@kimia.fs.utm.my
Abstract

A simple and rapid micellar electrokinetic chromatography (MEKC) method was developed for separation of three selected N-Nitrosamines namely N-nitrosodipropylamine (NDPA), N-nitrosodibutylamine (NDBA) and  N-nitrosodiphenylamine (NDPhA). The effects of composition of the buffer and its pH, concentration of surfactants on the separation and migration times of nitrosamines were investigated. The instrumental variables affecting sensitivity and resolution such as power supply and injection mode were carefully optimized. The best separation was achieved using 40 mM sodium dodecyl sulfate (SDS) as a surfactant in 10 mM phosphate buffer (pH 8.0) at a temperature of 25 ºC, applied voltage of 29 kV, wavelength of 230 nm and electrokinetic injection of 9 s at 5 kV within 10 min analysis time. Excellent linearity was obtained in the concentration range of 2 to 100 µg/mL with coefficients of determination, r2 ≥ 0.979. This method showed good reproducibility with relative standard deviation (RSDs) value ranging from 2.46% to 6.61%. The limits of detection (LOD) and limits of quantification (LOQ) ranged from 0.16 to 0.43 µg/mL and 0.54 to 1.44 µg/mL respectively. 

Keywords:  Nitrosamines, surfactants, capillary electrophoresis, micellar electrokinetic chromatography
Abstrak

Satu kaedah kromatografi elektrokinetik misel yang mudah dan cepat telah dibangunkan bagi pemisahan tiga sebatian N-Nitrosamina yang dipilih iaitu N-nitrosodipropilamina (NDPA), N-nitrosodibutilamina (NDBA) dan N-nitrosodifenilamina (NDPhA). Kesan komposisi penimbal dan pH, kepekatan surfaktan terhadap pemisahan dan masa peralihan nirosamina telah dikaji. Pembolehubah alat yang mempengaruhi kepekaan dan resolusi seperti bekalan kuasa dan mod suntikan telah dioptimumkan dengan berhati-hati. Pemisahan yang terbaik dicapai menggunakan 40 mM SDS sebagai  surfaktan di dalam 10 mM penimbal fosfat (pH 8.0) pada suhu 25 ºC, voltan gunakan 29 kV, panjang gelombang 230 nm dan suntikan elektrokinetik 9 saat pada 5 kV dengan masa analisis selama 10 minit. Kelinearan yang baik telah diperolehi dalam julat kepekatan 2 - 100 µg/mL dengan koefisien penentuan, r2 ≥ 0.979. Kaedah ini menunjukkan kebolehulangan yang baik dengan nilai sisihan piawai relatif dalam julat 2.46% - 6.61%. Had pengesanan dan had penentuan adalah 0.16 - 0.43 µg/mL dan 0.54 - 1.44 µg/mL, masing-masingnya. 

Kata kunci: Nitrosamina, surfaktan, elektroforesis kapilari, kromatografi elektrokinetik misel

Introduction

Nitrosamines are a family compounds discovered 100 years ago and received worldwide attention. These compounds were discovered carcinogen in experimental animals. Nitrosamines have been tested positive as mutagenic (chemicals that can change DNA) and carcinogens which target organs such as live, kidney, lungs, skin and eyes. Nitrosamines are compounds that consist of NNO group and commonly existing in the environment and food. They have been found in many food products [1-2], tobacco smoke [3], rubber [4], water from chlorinated swimming pools [5], wastewater, treated wastewater, groundwater and drinking water [6-9]. Nitrosamines were produced by reaction of amines or their derivatives with nitrosating agents such as nitrous acid, nitrites, or nitrogen oxides. These compounds are relatively stable and difficult to destroy once formed. Nitrosamines have been detected at ppb levels in a wide variety of matrices. The maximum allowable concentrations levels for nitrosamines in water are generally set at low ng/L. The State of California from California Department of Public Health had issued an action level of 10 ng/L for certain nitrosamines in response to the discovery of N-nitrosodimethylamine (NDMA) in some of its drinking water supplies. Therefore, sensitive analytical methods with the lowest possible detection limits become a demand for their determination at trace level amounts. 
Various analytical methods have been studied for determination of these compounds. The most common analytical tools used are gas chromatography (GC) [10-12] and liquid chromatography (LC) [13,14] with highly selective and sensitive detector such as mass spectrometry (MS). However, the choice of such detector for the analysis of nitrosamines is often highly costly and not available in most laboratories. In addition, LC system requires relatively large amounts of samples and eluents containing organic solvents and a long time to treat a separation column. 
This has encouraged the development a simpler and less expensive methods for nitrosamines determination. Recently, capillary electrophoresis (CE) emerged as a popular separation technique in many applications such as analysis of proteins [15,16], pharmaceuticals [17,18] and environmental pollutants. CE is relatively new when compared to the more seasoned techniques, HPLC and GC. Each technique comes with its own particular strengths and limitations. GC-MS based techniques have been commonly used for regulatory analysis of this compound. But CE has some very attractive features which make it both competitive and a good alternative. In particular, CE is generally applicable to a broad range of analytes (neutral, charged, organic, inorganic) and offers excellent resolving power. 

There are a several modes in CE that can be developed for a wide variety of analytes. As nitrosamines are hydrophilic, neutral and polar compounds, a specialized CE technique is required for their separation. CE methods have been developed previously for determination other group of nitrosamines such as tobacco specific nitrosamines using capillary zone electrophoresis (CZE) mode [19-20]. Micellar electrokinetic chromatography (MEKC) is a mode of CE that enables the separation of electrically neutral analytes by electrophoresis in a manner which is analogous to the principles of chromatography. The aim of this work was to develop a methodology for the separation, identification and quantification of selected nitrosamines using CE.  N-nitrosodipropylamine (NDPA), N-nitrosodibutylamine (NDBA) and N-nitrosodiphenylamine (NDPhA) were selected as model compounds (Figure 1). The developed methodology was applied to the determination of these analytes in an aqueous sample. 


[image: image2.emf]N

N

O

                  (NDPA)

          
[image: image3.emf]N

N

O

(NDBA)



[image: image4.emf]N

N

O

           (NDPhA)


Figure 1. 
Structures of the NDPA, NDBA and NDPhA used in the development of the CE method.

Materials and Methods

Reagents

Disodium hydrogen phosphate 12-hydrate, sodium dodecyl sulfate (SDS) and sodium deoxycholate (SDC) were purchased from Sigma-Aldrich (St. Louis, MO). Sodium cholate (SC) was obtained from Wako Pure Chemical Industries, Ltd. (Osaka, Japan) whereas sodium hydroxide was purchased from Riedel-de Haen (Seelze, Germany). NDPA, NDBA and NDPhA were obtained from Sigma-Aldrich (St. Louis, MO, USA). All other chemicals and solvents were common brands of analytical-reagent grade. The water used for dilutions or as buffer preparation was produced from a Water Purification System from Millipore (Molsheim, France). 
Instrumental 

All CE separations were conducted on an Agilent Technologies CE (Waldbronn, Germany) equipped with a photodiode array detection system. The MEKC was performed using a 64.5 cm × 50 µm i.d. uncoated fused-silica capillary with an effective length of 56 cm obtained from Polymicro Technologies (Phoenix, AZ). Samples were injected by using electrokinetic injection (EKI) and detection wavelength used was 230 nm. The CE system was controlled by a PC workstation using Chemstation software. 
Electrophoresis conditions

Prior to the first use, a new capillary was conditioned by passing 1 N NaOH solution for 30 min followed by washing with deionized water for 30 min and finally equilibrating with an appropriate running buffer for 30 min. Between runs, the capillary was washed with 0.1 N NaOH, water and run buffer for 10 min each. 

Preparation of running electrolytes

Running electrolytes were prepared by dissolving surfactants at an adequate concentration in phosphate buffer where phosphoric acid was used to adjust the desired pH. 

Standard solution preparation 

A 2000 µg/mL stock standard solution of each analyte was prepared in methanol and stored in the refrigerator in the dark. A working standard solution was made daily by diluting stock with water. The sample to be injected was at a typical concentration of 200 µg/mL. All the separation solutions were filtered through 0.20 µm nylon syringe filter obtained from Whatman (Clifton, NJ, USA). 

Results and Discussion

Optimization of electrophoretic conditions

The running electrolyte conditions, such as type and concentration of the surfactant also buffer composition significantly affect the electrophoretic separation. Therefore, before selecting the conditions for optimization, a number of preliminary trials were conducted with different type of surfactants and buffer composition at various pH to check the migration time, area, shape and resolution. The electrophoretic parameters were initially evaluated using a 50 mM SC surfactant and 50 mM borate buffer (pH 7.0). The use of this buffer did not give adequate separations (Figure 2). The compounds migrated very close to the electroosmotic flow (EOF) and the peaks overlapped. Then, in another attempt the use of buffer consisting of 50 Mm SDS and 50 mM phosphate buffer (pH 7.0) as a running electrolyte was evaluated. The background electrolyte (BGE) of SDS and phosphate buffer in this ratio was found to be more appropriate since all the desired peaks were obtained. Hence, this BGE was chosen for further optimization. The peaks for each analyte were identified by analysis of individual analytes at typical concentrations of 200 µg/mL. 

Effect of pH, Buffer and Surfactant Concentration  

The initial CE separations were carried out at pH 7.0. At this condition, separations of the three nitrosamines peak were achieved within 12 min. Various buffer pHs in the range of 6.0-8.0 was studied by adding phosphoric acid into the solution. A small change of pH can have a dramatic effect on migration time and peak area of analytes. At pH 6.0, long migration times were achieved at 24 min. The change in the buffer pH especially in the lower pH region caused a significant change in the velocity of EOF. Therefore, the electroosmotic mobility was reduced in the acid range and this led to long migration time [21]. Meanwhile, at pH 8.0, high peak areas     (>288 mAu) were obtained as compared to those at pH 7.0 (< 123 mAu). As nitrosamines studied were in ionized form and has the same charge as the micelle, they were incorporated into the micelle to a smaller degree than their neutral forms. Therefore, more analyte distribution occurs at the anionic SDS at pH 8.0. Hence,       pH 8.0 was selected as the best pH for the further optimization. Figure 3 shows a comparison of the peak areas of the analytes at different pHs.
[image: image5.png]10

-10





Figure 2. 
Electropherogram of a nitrosamine standard mixture at 200 µg/mL, before the optimization steps.                Separation conditions: 50 mM sodium cholate in 50 mM borate buffer (pH 7); capillary 64.5 cm × 50 µm I.D (effective length, 56 cm); applied voltage, 20 kV; temperature,  25 (C; Injection electrokinetic, 5 kV/5 sec.

[image: image6.png]BpH 6

=~
o
a B
| a

1000
500

(nvw) eaaeyeaJ

NDBA NDPhA

Compounds

NDPA




Figure 3. 
Study effect of pH on the MEKC of nitrosamines at 200 µg/mL. Separation conditions: 50 mM SDS in 10 mM phosphate buffer; capillary 64.5 cm × 50 µm I.D (effective length, 56 cm); applied voltage, 20 kV; temperature, 25 ºC; Injection electrokinetic, 5 kV/5 sec.

To analyze the effect of SDS concentration, it was varied from 30-60 mM. Optimization SDS played a key role in achieving efficient separation in MEKC because it worked as a pseudostationary phase where neutral nitrosamines species partition themselves between the micelles and buffer solution. The optimized concentration of SDS was 40 mM as it gave a good peak area (Figure 5). Further increase the SDS concentration to 60 mM tend to peak become broad due to long migration times. From the Figure 4, it shows that migration time was further increased when concentration SDS was increased. The increased in SDS concentration caused a significant interaction between the analytes with a micelles. Viscosity of solution will also increase, lead to an increase in their migration times. 

Different phosphate buffer concentrations in the range of 5-15 mM were investigated. The ionic strength of buffer varies as the concentration was changed. Increased buffer concentration in BGE caused an ionic strength that modulated the EOF and electrophoretic mobility of the analyte. Thus, the migration times of nitrosamines became longer as concentration of phosphate buffer was increased. Further increase in buffer concentration led to peak broadening that is probably due to Joule Heating effect [22]. Therefore, 10 mM was chosen as the optimum buffer concentration as it gave faster migration times than that for 15 mM and better resolution as compared to that for 5 mM.
[image: image7.png]EZO

£ e —NDPA
2y 1 e
=1

2 ———

g5 —<—NDPhA
)

g0

30 40 50 60
Concentration SDS (mM)




Figure 4.   Effects of SDS concentration on the migration time of nitrosamines at 200 µg/mL. Separation conditions:
10 mM phosphate buffer (pH 8.0); capillary 64.5 cm × 50 µm I.D (effective length, 56 cm); applied voltage, 20 kV; temperature, 25 ºC; Injection electrokinetic, 5 kV/5 sec.

[image: image8.png]——NDPA
——NDBA
~——NDPhA

—~

20 40 60 80
Concentration SDS (mM)




Figure 5.
Effects of SDS concentration on the area of nitrosamines at 200 µg/mL. Separation conditions: 10 mM phosphate buffer (pH 8.0); capillary 64.5 cm × 50 µm I.D (effective length, 56 cm); applied voltage, 20 kV; temperature, 25 ºC; Injection electrokinetic, 5 kV/5 sec.

Effect Injection Time, Applied Voltage and Temperature 

After optimizing the buffer conditions, instrumental variables namely applied voltage, temperature, injection mode and injection were also studied and optimized. Effect of different applied voltages (20, 23, 26 and 29 kV), injection times (3, 5, 7 and 9 sec) and temperatures (15, 20 and 25 ºC) on the separation of nitrosamines was investigated. Varying the applied voltage and temperature gave a significantly changing migration times. Analysis time was decreased with increase in applied voltage. In this study, 29 kV was the maximum voltage that can be reached by the system; higher applied voltage of > 29 kV will cause instrumental current increase. Meanwhile, the optimum temperature obtained was 25 °C which is the maximum temperature that can be reached when 29 kV voltages was applied. 


[image: image9.png]Migration Time (min)

)
o u o & 3

va——

—+—NDPA
—4—NDBA
—=—NDPhA

20 23 26 29
Applied voltage (kV)




Figure 6. 
Study effect of applied voltage on the migration of nitrosamines at 200 µg/mL. Separation conditions: 40 mM SDS, 10 mM phosphate buffer (pH 8.0); capillary 64.5 cm × 50 µm I.D (effective length, 56 cm); temperature, 25 ºC; Injection electrokinetic, 5 kV/5 sec.

In this study, electrokinetic injection was used. No separation was observed when hydrodynamic injection was used. Electrokinetic injections at 5 kV and 9 sec was found to be the best conditions achieved as all peak were resolved and high peak areas obtained. 


[image: image10.png]Peak Area (mAU)
Nos o ®
s s 38 &

=)

—+—NDPA
—#—NDBA
—=—=NDPhA

5 7
Injection time (sec)




Figure 7. 
Study effect of injection time the area of nitrosamines at 200 µg/mL. Separation conditions: 40 mM SDS, 10 mM phosphate buffer (pH 8.0); capillary 64.5 cm × 50 µm I.D (effective length, 56 cm); applied voltage, 29 kV; temperature, 25 ºC; Injection electrokinetic, 5 kV.

An electropherogram after the optimization of all these variables is showed in Figure 8 and the optimum conditions are summarized in Table 1. Electrophoretic method was characterized by constructing a calibration graph without any preconcentration of sample in the concentration range of 2-100 µg/mL. The calibration curves with peak area versus concentration were plotted and the curves obtained were linear for three analytes in the mentioned concentration ranges with coefficient of determination, r2 ≥ 0.979. The limit of detection (LOD) was calculated using 3-times the standard deviation of the intercept divided by the slope, whereas the limit of quantification (LOQ) was calculated by using 10 times the standard deviation of the intercept divided by the slope. LOD were found to be in the range 0.16 to 0.43 µg/mL and LOQ in the range 0.54 to 1.44 µg/mL. This method was found to be reproducible with relative standard deviation (RSD) for intra day precision less than 6.61%. The analytical performances of MEKC method for the determination of nitrosmines are summarized in Table 2. 

[image: image11.png]



Figure 8. 
Electropherogram of a nitrosamine standard mixture at 200 µg/mL, after the optimization steps Separation conditions: 40 mM SDS in 10 mM phosphate buffer (pH 8); capillary 64.5 cm × 50 µm I.D (effective length, 56 cm); applied voltage 29 kV; temperature, 25 (C; Injection electrokinetic, 5 kV/9 sec.

Table 1.  Optimization parameters and optimized conditions for the development of MEKC method
	Parameters
	Studied
	Optimized

	Surfactants
	SC

SDS

SDC

	SDS

	Concentration SDS 
	30-60 mM

	40 mM

	Buffer
	Borate

Phosphate
	Phosphate

	Concentration phosphate 
	5-15 mM
	10 mM

	pH
	6-8
	8

	Injection mode
	Hydrodynamic

Electrokinetic
	Electrokinetic

	Injection time 
	3-9 sec
	9 sec

	Applied voltage
	20-29 kV
	29 kV

	Temperature 
	15-25 ºC
	25 ºC


Table 2. Analytical Performance of MEKC method
	Analyte
	Equation
	r2

	Linear range

(µg/mL)
	LOD (µg/mL)
	LOQ (µg/mL)
	% RSD peak area ( n=3)



	NDPA
	y = 0.2343x + 0.6127


	0.998


	2-100
	0.43


	1.44


	2.46



	NDBA
	y = 0.7955x - 1.3367


	0.999


	2-100
	0.36


	1.19


	5.30



	NDPhA
	y = 2.5679x - 15.006


	0.979


	2-100
	0.16


	0.54


	6.61




     y = peak area, x = concentration (µg/mL)

The developed method was then applied for determination of these three selected compounds in aqueous sample. Dispersive micro-solid phase extraction (D-µ-SPE) technique using multiwall carbon nanotubes (MWCNTs) has been carried out for the extraction of these three selected nitrosamines. The standards solution was spiked in distilled water and undergoes D-µ-SPE. Triplicate analysis was performed on 5, 10 and 15 µg/mL for the precision study. Percent of recovery was calculated by comparing the area before and after the extraction of the aqueous sample. The recoveries obtained for representative nitrosamines was summarize in the Table 3. High recovery obtained only for NDPA and NDBA (between 80.3 % and 97.2 %). However, low recovery obtained for NDPhA may due to the strong π-π interaction of analyte with the MWCNTs used in extraction. The developed method was simple as the separation by CE equipment just required a low cost of capillary and less volume consumption for BGE. In addition, this method also led to significant environmental benefits due to solvent-free consumption in BGE. In the present study, it was a first time separation of these three selected nitrosamines by using MEKC method. Therefore, the analysis time within 10 min was considered rapid and good for separation of neutral, polar compound nitrosamines by MEKC. 

Table 3. Analysis of aqueous samples by the proposed method (concentration in µg/mL)
	Analyte 
	Amount added (µg/mL)
	Amount founded (µg/mL)
	Recovery (%)

	NDPA
	5

10

15
	4.86

8.88

13.26
	97.2

88.8

88.4



	NDBA
	5

10

15
	4.40

8.22

12.05
	88.0

82.2

80.3



	NDPhA 
	5

10

15
	2.63

4.81

7.81
	52.6

48.1

52.1


Conclusion

In the present study, MEKC method was carried out to determine the best optimized conditions for separation of three selected nitrosamines. It can be concluded that this method is simple and rapid using commercial CE equipment. The results obtained were acceptable and suitable for separation and determination of nitrosamines in aqueous sample at µg/mL concentration. 
Acknowledgement
The authors would like to thank Universiti Teknologi Malaysia and Ministry of Education Malaysia for financial supports through research grant No. R.J130000.7809.4F177 and studentship for Nur Amira Md Ali.
References

1. Yurchenko, S. and Mölder, U. (2007). The occurrence of volatile N-nitrosamines in Estonian meat products. Food Chem., 100 (4): 1713-1721.
2. Huang, M.-C., Chen, H.-C., Fu, S.-C. and Ding, W.-H. (2013). Determination of volatile N-nitrosamines in meat products by microwave-assisted extraction coupled with dispersive micro solid-phase extraction and gas chromatography – Chemical ionisation mass spectrometry. Food Chem.,138 (1): 227-233.
3. Andra, S. S. and Makris, K. C. (2011). Tobacco-specific nitrosamines in water: An unexplored environmental health risk.   Environ. Int., 37 (2): 412-417.
4. Incavo, J. A. and Schafer, M. A. (2006). Simplified method for the determination of N-nitrosamines in rubber vulcanizates. Anal. Chim. Acta, 557 (1–2): 256-261.
5. Chowdhury, S., Alhooshani, K. and Karanfil, T. (2014). Disinfection byproducts in swimming pool: Occurrences, implications and future needs. Water Res. 53 (0): 68-109.
6. Krauss, M., Longrée, P., Dorusch, F., Ort, C. and Hollender, J. (2009). Occurrence and removal of            N-nitrosamines in wastewater treatment plants. Water Res., 43 (17): 4381-4391.
7. Nawrocki, J. and Andrzejewski, P. (2011). Nitrosamines and water. J. Hazard. Mater., 189 (1–2): 1-18.
8. Rodil, R., Quintana, J. B., Concha-Graña, E., López-Mahía, P., Muniategui-Lorenzo, S. and                 Prada-Rodríguez, D. (2012). Emerging pollutants in sewage, surface and drinking water in Galicia        (NW Spain). Chemosphere, 86 (10): 1040-1049.
9. Wang, W., Ren, S., Zhang, H., Yu, J., An, W., Hu, J. and Yang, M. (2011). Occurrence of nine nitrosamines and secondary amines in source water and drinking water: Potential of secondary amines as nitrosamine precursors. Water Res., 45 (16): 4930-4938.
10. Byun, M., H, -W., -J, Ahn., Kim-H, J., Lee, J., H, -W., Yook, -S., Han, S. and -B. (2004). Determination of volatile N-nitrosamines in irradiated fermented sausage by gas chromatography coupled to a thermal energy analyzer. J. Chromatogr. A, 1054 (1–2): 403-407.
11. Jurado-Sánchez, B., Ballesteros, E., and Gallego, M. (2007). Comparison of the sensitivities of seven       N-nitrosamines in pre-screened waters using an automated preconcentration system and gas chromatography with different detectors. J. Chromatogr. A, 1154 (1–2): 66-73.
12. Ozel, M.Z., Gogus, F., Yagci, S., Hamilton, J. F. and Lewis, A.C. (2010). Determination of volatile nitrosamines in various meat products using comprehensive gas chromatography- nitrogen chemiluminiscence detection. Food Chem. Toxicol., 48 (11): 3268-3273. 
13. Lee, M., Lee, Y., Soltermann, F. and Von Gunten, U. (2013). Analysis of N-nitrosamines and other nitro(so) compounds in water by high-performance liquid chromatography with post-column UV photolysis/Griess reaction. Water Res., 47 (14): 4893-4903.
14. Ripollés, C., Pitarch, E., Sancho, J.V., López, F.J. and Hernández. F. (2011). Determination of eight nitrosamines in water at the ng L−1 levels by liquid chromatography coupled to atmospheric pressure chemical ionization tandem mass spectrometry., Anal.Chim. Acta, 702 (1): 62-71.
15. Taichrib, A., Pelzing, M., Pellegrino, C., Rossi, M. and Neususs, C. (2011). High resolution TOF MS coupled to CE for the analysis of isotopically resolved intact proteins. J. Proteomics, 74 (7): 958-966.
16. Timerbaev, A. R., Pawlak, K., Aleksenko, S. S., Foteeva, L.S., Matczuk, M. and Jarosz, M. (2012). Advances of CE-ICP-MS in speciation analysis related to metalloproteomics of anticancer drugs. Talanta, 102 (0): 164-170.
17. Altria, K. D. (2003). Enhanced pharmaceutical analysis by CE using dynamic surface coating system.        J. Pharm. Biomed. Anal., 31 (3): 447-453.
18. Aturki, Z., Rocco, A., Rocchi, S. and Fanali, S., (in press). Current applications of miniaturized chromatographic and electrophoretic techniques in drug analysis. J. Pharm. Biomed. Anal. (2014), http://dx.doi.org/10.1016/j.jpba.2014.03.041 (0).
19. Liao, J., Pan, Y., Li, C., Wen, D. and Liu, H. (2011). Fast screening for tobacco specific N-nitrosamines by CZE using dynamically coated capillaries. Chromatographia., 74: 415-19. 
20. Li, C., Chen, Z., Wen, D., Zhang, J., Cong, W., Yu, B., Liao, Y. and Liu, H. (2006). Determination of tobacco-specific N-nitrosamines in rabbit serum by capillary zone electrophoresis and capillary electrophoresis- electrospray ionization mass spectrometry with solid-phase extraction. Electrophoresis., 27: 2152-2163.
21. Hiroyuki, N. and Terabe, S. (1996). Micellar electrokinetic chromatography Perspectives in drug analysis. J. Chromatogr. A, 735 (1–2): 3-27.
22. Rathore, A. S. (2004). Joule heating and determination of temperature in capillary electrophoresis and capillary electrochromatography columns. J. Chromatogr. A, 1037 (1–2): 431-443.
NDBA





 EOF





NDPhA





Response (mAU)





  Time (min)





NDPA





NDBA





NDPhA





 EOF





Response (mAU)





Time (min)





NDPA








536
537

_1467550143.cdx

_1473364457.xls
Chart1

		3		3		3		3

		5		5		5		5

		7		7		7		7

		9		9		9		9



Injection time (sec)

NDPA

DMNA

NDBA

NDPhA

Peak Area (mAU)

25.44096

8.94291

23.26685

53.62238

15.12

32.82586

65.09274

25.97039

58.116

72.42104

32.93802

58.13526



wavelength

		

				Optimization Wavelength

				230nm

				pH 7, 80 mM SC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		8.437		128.79611		21.15576		2.76		78600

				DMNA		9.404		62.08876		9.68748		1.97		233207		9.73		1.11

				NDBA		10.979		69.64341		8.60724		1.37		127043		15.64		1.17

				NDPhA		16.406		66.94859		7.83319		0.63		248249		42.51		1.49

				214 nm

				pH 7, 80 mM SC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		8.514		125.89294		14.47409		2.38		56693

				DMNA		9.49		92.62688		14.52592		1.41		213556		8.65		1.11

				NDBA		11.069		68.93027		5.50769		1.01		77922		13.1		1.17

				NDPhA		16.55		118.00255		13.31603		0.59		232222		36.97		1.5





ph buffer

		

				Optimization pH of buffer

				pH 6, 80 mM SC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		9.79		71.82662		9.04136		2.19		73491

				DMNA		10.984		33.499		6.54199		0.91		208149		9.9		1.12

				NDBA		12.867		42.7114		4.87651		1.08		99869		14.51		1.17

				NDPhA		21.71		101.48979		8.73901		0.9		117356		42.41		1.69

				pH 6, 80 mM SC, 15 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		10.11		89.12545		9.68867		3.3		57584

				DMNA		11.363		50.75755		7.98289		1.13		178341		9.06		1.12

				NDBA		13.202		53.36945		5.24851		1.47		91907		13.03		1.16

				NDPhA		22.968		145.06741		8.73483		1.25		68982		37.22		1.74

				pH 7, 80 mM SC, 5 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		9.812		26.76324		4.52222		0.65		166116

				DMNA		11.107		12.85263		1.78048		0.58		109042		11.2		1.13

				NDBA		13.386		20.41955		2.34397		0.63		197853		17.86		1.21

				NDPhA		22.653		46.96624		3.83077		0.04		80861		42.15		1.69

				pH 7, 80 mM SC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		9.166		65.79458		8.7708		2.22		61968

				DMNA		10.248		26.54315		5.61633		1.17		211101		9.14		1.12

				NDBA		11.963		36.35118		4.38284		1.04		97876		14.14		1.17

				NDPhA		19.779		77.49362		7.08544		0.41		163886		44.8		1.65

				pH 7, 80 mM SC, 15 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		10.361		73.5024		10.9884		1.85		121379

				DMNA		11.732		35.55497		5.67411		0.94		224101		12.55		1.13

				NDBA		14.27		35.71942		4.92798		0.75		150204		20.57		1.22

				NDPhA		24.589		85.58246		3.63304		0.99		13048		20.43		1.72

				pH 8, 80 mM SC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		9.977		96.35534		11.52341		2.2		72030

				DMNA		11.291		50.47605		9.44829		1		207556		10.58		1.13

				NDBA		13.799		57.79239		6.23292		1.06		21307		10.49		1.22

				NDPhA		22.725		84.37856		8.79536		0.5		188083		30.33		1.65

				pH 8, 80 mM SC, 15 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		10.102		78.09666		9.79128		1.98		73842

				DMNA		11.455		40.04106		7.55092		1.36		186105		10.6		1.13

				NDBA		13.9		53.32735		4.50764		0.9		84578		16.42		1.21

				NDPhA		24.058		107.21033		8.82866		0.56		134911		44.76		1.73





SDC

		

				SODIUM DEOXYCHOLATE

				pH 7, 70 mM SDC, 5 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		8.22		40.59571		8.9948		0.92		215640

				DMNA		9.793		44.34078		11.93031		1.11		318627		22.39		1.19

				NDBA		11.312		17.15681		2.00902		1		102089		14.38		1.16

				NDPhA		17.8		30.81037		3.54312		0.54		366924		49.99		1.57

				pH 7, 80 mM SDC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		8.996		48.60114		11.73681		1.18		219939

				DMNA		10.811		41.74828		9.47198		1.1		297321		23.65		1.21

				NDBA		12.759		25.6754		3.29027		0.74		219045		20.65		1.18

				NDPhA		20.628		46.97883		4.25201		0.4		213808		54.65		1.62

				pH 7, 70 mM SDC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		8.233		45.86828		10.67928		1.42		192481

				DMNA		9.717		41.29071		10.6915		1.19		289626		20.13		1.18

				NDBA		11.178		27.09865		3.28898		1.29		187061		16.61		1.15

				NDPhA		18.021		46.49136		4.9784		0.33		22149		23.25		1.61

				pH 7, 60 mM SDC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		7.645		36.00022		8.75096		0.87		186487

				DMNA		8.858		40.31619		13.43827		1.13		295831		17.82		1.16

				NDBA		9.936		12.53391		2.24106		0.7		260338		15.04		1.12

				NDPhA		15.969		27.16045		4.72219		1.07		317856		63.01		1.61

				pH 7, 50 mM SDC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		7.6		45.99829		8.4799		1.4		146925

				DMNA		8.74		44.89375		11.94231		1.01		287995		15.76		1.15

				NDBA		9.695		15.89898		2.00687		0.43		133305		11.13		1.11

				NDPhA		15.604		25.5608		3.11333		1.12		288867		53.07		1.61





SDC NEW

		

				CONCENTRATION BUFFER OPTIMIZATION

				5 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.589								207933								time ↓, Rs ↓, N ↓

				8.885								262278		18.64

				10.132								280876		16.28

				15.204								336692		52.97

				10 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.974								229621								Rs > 5Mm,		time > 15 Mm

				9.375								269573		19.96

				10.806								220490		16.54

				16.626								392065		55.44

				15 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.405								244589								Rs ↑, time↑

				9.951								329038		22.03

				11.569								286945		19.83

				18.057								406444		60.59

				concentration SDC optimization

				70 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.542		61.12656						196970

				8.759		44.30567						159179		15.05

				9.912		17.28033						259053		13.33

				15.3		42.11764						370470		57.56

				80 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.974		71.52779						229621								time> 90mm n 100 mm,

				9.375		44.43884						269571		19.95						peak area		DMNA &NDPA ↑

				10.806		22.4428						220494		16.67

				16.627		37.31507						392058		55.83

				90 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.384		82.99489						164943

				9.91		51.64348						210545		18.14

				11.59		27.72285						176117		16.12

				17.65		51.28241						132305		36.67

				100 mM

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.962		83.39373						204336

				10.809		47.67924						286865		22.45

				12.829		40.24976						2002274		19.24

				19.867		48.33517						280337		49.38

				Applied voltage optimization

				20 Kv

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.13								14.6476

				9.597								23.4289		17.83

				11.137								12.7775		15.08

				17.203								226920		45.01

				23 kV

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				6.931		75.19918						15936

				8.154		28.70145						240140		17.96

				9.489		37.63698						138544		15.8

				14.58		87.97732						229297		45.44

				26 Kv

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				5.963		65.25677						146524

				6.985		25.80927						231530		16.28

				8.15		31.58905						121667		14.36

				12.478		83.84519						209501		40.41

				29 kV

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				5.168		56.17882						140060

				6.027		21.97418						195524		15.64						time ↓ Rs ↓

				7.066		26.75796						114411		15.02

				10.761		70.26511						218645		42.02

				TEMPERATURE OPTIMIZATION

				15 °C

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				5.706		48.57451						158332

				6.725		18.33701						117132		14.97

				7.2666		22.79144						139351		11.68

				12.168		34.11877						221662		48.46

				20 °C

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				5.168		56.17882						147525

				6.027		21.97418						217521		15.64

				7.066		26.75796						131668		15.02

				10.761		70.26511						225514		42.02

				25 °C

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.699		57.22377						132207

				5.403		23.77534						227440		14.5

				6.402		27.05394						120902		16.76

				9.548		71.73201						216214		40.34

				INJECTION TIME OPTIMIZATION

				3 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.72		25.44096						158378

				5.475		13.98768						226375		16.12

				6.487		8.94291						173416		18.66

				9.74		23.26685						142015		39.2

				5 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.703		53.62238						110300

				5.445		24.19789						217228		14.33

				6.45		15.12						156863		17.93

				9.654		32.82586						170689		40.33

				7 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.707		65.09274						110479

				5.438		29.39795						230351		14.3

				6.452		25.97039						127693		17.24

				9.552		58.116						195595		39.02

				9 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.671		72.42104						77157

				5.385		38.013						156075		11.7

				6.369		32.93802						76596		13.41

				9.474		58.13526						164379		33.42

																				11 s

																				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity				peak area> 3,5 and 7

																				4.653		88.91518						66407

																				5.355		49.04056						139485		10.82						Rs> 11

																				6.331		34.37328						85923		13.55

																				9.376		72.25036						139133		32.53

				pH buffer optimization

				pH 6

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.862		86.13155						85375

				5.568		37.60082						84815		9.85

				6.574		44.82026						62970		11.09

				9.758		94.9147						95894		27.54

				pH 7

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.693		82.00841						86780

				5.405		37.67891						174912		12.31

				6.412		36.12012						85314		14.41								Rs ↑

				9.435		73.17673						153704		32.83

				pH 8

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.819		95.38014						80408

				5.573		38.58162						127972		11.55

				6.676		41.46821						72566		13.65

				9.669		101.61204						100834		27.05

				pH 9

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.543		79.36835						85047

				5.205		39.20071						119636		10.78

				6.149		36.91978						71392		12.39

				8.948		88.76035						102351		27.41





conc buffer

		

				CONCENTRATION BUFFER OPTIMIZATION

				5 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.589								207933								time ↓, Rs ↓, N ↓

				8.885								262278		18.64

				10.132								280876		16.28

				15.204								336692		52.97

				10 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.974								229621								Rs > 5Mm,		time > 15 Mm

				9.375								269573		19.96

				10.806								220490		16.54

				16.626								392065		55.44

				15 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.405								244589								Rs ↑, time↑

				9.951								329038		22.03

				11.569								286945		19.83

				18.057								406444		60.59

				Conc.		Migration time

				5		7.589		8.885		10.132		15.204

				10		7.974		9.375		10.806		16.626

				15		8.405		9.951		11.569		18.057

				Conc		Rs 1/2		Rs 2/3		Rs 3/4

				5		18.64		16.28		52.97

				10		19.96		16.54		55.44

				15		22.03		19.83		60.59





conc buffer

		



NDPA

DMNA

NDBA

NDPhA

Borate concentration

Migration Time



conc SDC

		



Rs 1/2

Rs 2/3

Rs 3/4

Borate concentration

Resolution



VOLTAGE

		



Rs 1/2

Rs 2/3

Rs 3/4

Resolution



TEMP

		



Borate concentration (mM)

NDPA

DMNA

NDBA

NDPhA

Migration time (min)



INJECTION

		

				concentration SDC optimization

				70 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.542		61.12656						196970

				8.759		44.30567						159179		15.05

				9.912		17.28033						259053		13.33

				15.3		42.11764						370470		57.56

				80 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.974		71.52779						229621								time> 90mm n 100 mm,

				9.375		44.43884						269571		19.95						peak area		NDPA &NDBA ↑

				10.806		22.4428						220494		16.67

				16.627		37.31507						392058		55.83

				90 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.384		82.99489						164943

				9.91		51.64348						210545		18.14

				11.59		27.72285						176117		16.12

				17.65		51.28241						132305		36.67

				100 mM

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.962		83.39373						204336

				10.809		47.67924						286865		22.45

				12.829		40.24976						200274		19.24

				19.867		48.33517						280337		49.38

				conc		time

				70		7.542		8.759		9.912		15.3

				80		7.974		9.375		10.806		16.627

				90		8.384		9.91		11.59		17.65

				100		8.962		10.809		12.829		19.867

				conc		Rs

				70		15.05		13.33		57.56

				80		19.95		16.67		55.83



Borate concentration (mM)



INJECTION

		



SDC concentration

NDPA

DMNA

NDBA

NDPhA

Migration Time



pH

		



Rs 1/2

Rs 2/3

Rs 3/4

SDC concentration

Resolution



		



Rs 1/2

Rs 2/3

Rs 3/4



		

				Applied voltage optimization

				20 Kv

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.13								14.6476

				9.597								23.4289		17.83

				11.137								12.7775		15.08

				17.203								226920		45.01

				23 kV

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				6.931		75.19918						15936

				8.154		28.70145						240140		17.96

				9.489		37.63698						138544		15.8

				14.58		87.97732						229297		45.44

				26 Kv

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				5.963		65.25677						146524

				6.985		25.80927						231530		16.28

				8.15		31.58905						121667		14.36

				12.478		83.84519						209501		40.41

				29 kV

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				5.168		56.17882						140060

				6.027		21.97418						195524		15.64						time ↓ Rs ↓

				7.066		26.75796						114411		15.02

				10.761		70.26511						218645		42.02

				Voltage		Migration time

				20		8.13		9.597		11.137		17.203

				23		6.931		8.154		9.489		14.58

				26		5.963		6.985		8.15		12.478

				29		5.168		6.027		7.066		10.761





		



NDPA

DMNA

NDBA

NDPhA

Migration Time



		

				15 °C

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				5.706		48.57451						158332

				6.725		18.33701						117132		14.97

				7.2666		22.79144						139351		11.68

				12.168		34.11877						221662		48.46

				20 °C

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

						56.17882						147525

						21.97418						217521		15.64

						26.75796						131668		15.02

						70.26511						225514		42.02

				25 °C

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.699		57.22377						132207

				5.403		23.77534						227440		14.5

				6.402		27.05394						120902		16.76

				9.548		71.73201						216214		40.34

				TEMP		TIME

				15		5.706		6.725		7.2666		12.168

				20		5.168		6.027		7.066		10.761

				25		4.699		5.403		6.402		9.548

				TEMP		AREA

				15		48.57451		18.33701		22.79144		34.11877

				20		56.17882		21.97418		26.75796		70.26511

				25		57.22377		23.77534		27.05394		71.73201



Applied voltage (kV)



		



Temperature (°C)

NDPA

DMNA

NDBA

NDPhA

Migration Time



		



NDPA

DMNA

NDBA

NDPhA

Temperature (°C)

Peak Area (mAU)



		

				INJECTION TIME OPTIMIZATION

				3 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.72		25.44096						158378

				5.475		13.98768						226375		16.12

				6.487		8.94291						173416		18.66

				9.74		23.26685						142015		39.2

				5 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.703		53.62238						110300

				5.445		24.19789						217228		14.33

				6.45		15.12						156863		17.93

				9.654		32.82586						170689		40.33

				7 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.707		65.09274						110479

				5.438		29.39795						230351		14.3

				6.452		25.97039						127693		17.24

				9.552		58.116						195595		39.02

				9 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.671		72.42104						77157

				5.385		38.013						156075		11.7

				6.369		32.93802						76596		13.41

				9.474		58.13526						164379		33.42

																				11 s

																				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity				peak area> 3,5 and 7

																				4.653		88.91518						66407

																				5.355		49.04056						139485		10.82						Rs> 11

																				6.331		34.37328						85923		13.55

																				9.376		72.25036						139133		32.53

				injection time				Rs

				3				16.12		18.66		39.2

				5				14.33		17.93		40.33

				7				14.3		17.24		39.02

				9				11.7		13.41		33.42																				Rs 9>11

				11				10.82		13.55		32.53

				injection time				area

				3				25.44096				8.94291		23.26685

				5				53.62238				15.12		32.82586

				7				65.09274				25.97039		58.116

				9				72.42104				32.93802		58.13526																		area 9>3,5,7

						injection time				area

						3				25.44096		8.94291		23.26685

						5				53.62238		15.12		32.82586

						7				65.09274		25.97039		58.116

						9				72.42104		32.93802		58.13526





		



Injection time (sec)

Rs 1/2

Rs 2/3

Rs 3/4

Resolution



		



Injection time (sec)

NDPA

DMNA

NDBA

NDPhA

Peak Area (mAu)



		



NDPA

NDBA

NDPhA

Injection Time (sec)

Area (mAu)



		

				pH buffer optimization

				pH 6

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.862		86.13155						85375

				5.568		37.60082						84815		9.85

				6.574		44.82026						62970		11.09

				9.758		94.9147						95894		27.54

				pH 7

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.693		82.00841						86780

				5.405		37.67891						174912		12.31

				6.412		36.12012						85314		14.41								Rs ↑

				9.435		73.17673						153704		32.83

				pH 8

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.819		95.38014						80408

				5.573		38.58162						127972		11.55

				6.676		41.46821						72566		13.65

				9.669		101.61204						100834		27.05

				pH 9

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.543		79.36835						85047

				5.205		39.20071						119636		10.78

				6.149		36.91978						71392		12.39

				8.948		88.76035						102351		27.41

				Ph		Rs

				6		9.85		11.09		27.54

				7		12.31		14.41		32.83

				8		11.55		13.65		27.05

				9		10.78		12.39		27.41





		



Rs 1/2

Rs 2/3

Rs 3/4



		



pH

Rs 1/2

Rs 2/3

Rs 3/4

Resolution




_1473364461.xls
Chart1

		20		20		20

		23		23		23

		26		26		26

		29		29		29



Applied voltage (kV)

NDPA

NDBA

NDPhA

Migration Time (min)

8.13

11.137

17.203

6.931

9.489

14.58

5.963

8.15

12.478

5.168

7.066

10.761



wavelength

		

				Optimization Wavelength

				230nm

				pH 7, 80 mM SC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		8.437		128.79611		21.15576		2.76		78600

				DMNA		9.404		62.08876		9.68748		1.97		233207		9.73		1.11

				NDBA		10.979		69.64341		8.60724		1.37		127043		15.64		1.17

				NDPhA		16.406		66.94859		7.83319		0.63		248249		42.51		1.49

				214 nm

				pH 7, 80 mM SC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		8.514		125.89294		14.47409		2.38		56693

				DMNA		9.49		92.62688		14.52592		1.41		213556		8.65		1.11

				NDBA		11.069		68.93027		5.50769		1.01		77922		13.1		1.17

				NDPhA		16.55		118.00255		13.31603		0.59		232222		36.97		1.5





ph buffer

		

				Optimization pH of buffer

				pH 6, 80 mM SC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		9.79		71.82662		9.04136		2.19		73491

				DMNA		10.984		33.499		6.54199		0.91		208149		9.9		1.12

				NDBA		12.867		42.7114		4.87651		1.08		99869		14.51		1.17

				NDPhA		21.71		101.48979		8.73901		0.9		117356		42.41		1.69

				pH 6, 80 mM SC, 15 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		10.11		89.12545		9.68867		3.3		57584

				DMNA		11.363		50.75755		7.98289		1.13		178341		9.06		1.12

				NDBA		13.202		53.36945		5.24851		1.47		91907		13.03		1.16

				NDPhA		22.968		145.06741		8.73483		1.25		68982		37.22		1.74

				pH 7, 80 mM SC, 5 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		9.812		26.76324		4.52222		0.65		166116

				DMNA		11.107		12.85263		1.78048		0.58		109042		11.2		1.13

				NDBA		13.386		20.41955		2.34397		0.63		197853		17.86		1.21

				NDPhA		22.653		46.96624		3.83077		0.04		80861		42.15		1.69

				pH 7, 80 mM SC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		9.166		65.79458		8.7708		2.22		61968

				DMNA		10.248		26.54315		5.61633		1.17		211101		9.14		1.12

				NDBA		11.963		36.35118		4.38284		1.04		97876		14.14		1.17

				NDPhA		19.779		77.49362		7.08544		0.41		163886		44.8		1.65

				pH 7, 80 mM SC, 15 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		10.361		73.5024		10.9884		1.85		121379

				DMNA		11.732		35.55497		5.67411		0.94		224101		12.55		1.13

				NDBA		14.27		35.71942		4.92798		0.75		150204		20.57		1.22

				NDPhA		24.589		85.58246		3.63304		0.99		13048		20.43		1.72

				pH 8, 80 mM SC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		9.977		96.35534		11.52341		2.2		72030

				DMNA		11.291		50.47605		9.44829		1		207556		10.58		1.13

				NDBA		13.799		57.79239		6.23292		1.06		21307		10.49		1.22

				NDPhA		22.725		84.37856		8.79536		0.5		188083		30.33		1.65

				pH 8, 80 mM SC, 15 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		10.102		78.09666		9.79128		1.98		73842

				DMNA		11.455		40.04106		7.55092		1.36		186105		10.6		1.13

				NDBA		13.9		53.32735		4.50764		0.9		84578		16.42		1.21

				NDPhA		24.058		107.21033		8.82866		0.56		134911		44.76		1.73





SDC

		

				SODIUM DEOXYCHOLATE

				pH 7, 70 mM SDC, 5 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		8.22		40.59571		8.9948		0.92		215640

				DMNA		9.793		44.34078		11.93031		1.11		318627		22.39		1.19

				NDBA		11.312		17.15681		2.00902		1		102089		14.38		1.16

				NDPhA		17.8		30.81037		3.54312		0.54		366924		49.99		1.57

				pH 7, 80 mM SDC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		8.996		48.60114		11.73681		1.18		219939

				DMNA		10.811		41.74828		9.47198		1.1		297321		23.65		1.21

				NDBA		12.759		25.6754		3.29027		0.74		219045		20.65		1.18

				NDPhA		20.628		46.97883		4.25201		0.4		213808		54.65		1.62

				pH 7, 70 mM SDC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		8.233		45.86828		10.67928		1.42		192481

				DMNA		9.717		41.29071		10.6915		1.19		289626		20.13		1.18

				NDBA		11.178		27.09865		3.28898		1.29		187061		16.61		1.15

				NDPhA		18.021		46.49136		4.9784		0.33		22149		23.25		1.61

				pH 7, 60 mM SDC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		7.645		36.00022		8.75096		0.87		186487

				DMNA		8.858		40.31619		13.43827		1.13		295831		17.82		1.16

				NDBA		9.936		12.53391		2.24106		0.7		260338		15.04		1.12

				NDPhA		15.969		27.16045		4.72219		1.07		317856		63.01		1.61

				pH 7, 50 mM SDC, 10 mM Borate, EKI: 5kV/5s, 20 kV, 20 0C

				Analyte		Migration Time		Area		Height		Symmetry		Plates		Resolution		Selectivity

				NDPA		7.6		45.99829		8.4799		1.4		146925

				DMNA		8.74		44.89375		11.94231		1.01		287995		15.76		1.15

				NDBA		9.695		15.89898		2.00687		0.43		133305		11.13		1.11

				NDPhA		15.604		25.5608		3.11333		1.12		288867		53.07		1.61





SDC NEW

		

				CONCENTRATION BUFFER OPTIMIZATION

				5 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.589								207933								time ↓, Rs ↓, N ↓

				8.885								262278		18.64

				10.132								280876		16.28

				15.204								336692		52.97

				10 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.974								229621								Rs > 5Mm,		time > 15 Mm

				9.375								269573		19.96

				10.806								220490		16.54

				16.626								392065		55.44

				15 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.405								244589								Rs ↑, time↑

				9.951								329038		22.03

				11.569								286945		19.83

				18.057								406444		60.59

				concentration SDC optimization

				70 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.542		61.12656						196970

				8.759		44.30567						159179		15.05

				9.912		17.28033						259053		13.33

				15.3		42.11764						370470		57.56

				80 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.974		71.52779						229621								time> 90mm n 100 mm,

				9.375		44.43884						269571		19.95						peak area		DMNA &NDPA ↑

				10.806		22.4428						220494		16.67

				16.627		37.31507						392058		55.83

				90 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.384		82.99489						164943

				9.91		51.64348						210545		18.14

				11.59		27.72285						176117		16.12

				17.65		51.28241						132305		36.67

				100 mM

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.962		83.39373						204336

				10.809		47.67924						286865		22.45

				12.829		40.24976						2002274		19.24

				19.867		48.33517						280337		49.38

				Applied voltage optimization

				20 Kv

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.13								14.6476

				9.597								23.4289		17.83

				11.137								12.7775		15.08

				17.203								226920		45.01

				23 kV

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				6.931		75.19918						15936

				8.154		28.70145						240140		17.96

				9.489		37.63698						138544		15.8

				14.58		87.97732						229297		45.44

				26 Kv

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				5.963		65.25677						146524

				6.985		25.80927						231530		16.28

				8.15		31.58905						121667		14.36

				12.478		83.84519						209501		40.41

				29 kV

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				5.168		56.17882						140060

				6.027		21.97418						195524		15.64						time ↓ Rs ↓

				7.066		26.75796						114411		15.02

				10.761		70.26511						218645		42.02

				TEMPERATURE OPTIMIZATION

				15 °C

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				5.706		48.57451						158332

				6.725		18.33701						117132		14.97

				7.2666		22.79144						139351		11.68

				12.168		34.11877						221662		48.46

				20 °C

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				5.168		56.17882						147525

				6.027		21.97418						217521		15.64

				7.066		26.75796						131668		15.02

				10.761		70.26511						225514		42.02

				25 °C

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.699		57.22377						132207

				5.403		23.77534						227440		14.5

				6.402		27.05394						120902		16.76

				9.548		71.73201						216214		40.34

				INJECTION TIME OPTIMIZATION

				3 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.72		25.44096						158378

				5.475		13.98768						226375		16.12

				6.487		8.94291						173416		18.66

				9.74		23.26685						142015		39.2

				5 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.703		53.62238						110300

				5.445		24.19789						217228		14.33

				6.45		15.12						156863		17.93

				9.654		32.82586						170689		40.33

				7 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.707		65.09274						110479

				5.438		29.39795						230351		14.3

				6.452		25.97039						127693		17.24

				9.552		58.116						195595		39.02

				9 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.671		72.42104						77157

				5.385		38.013						156075		11.7

				6.369		32.93802						76596		13.41

				9.474		58.13526						164379		33.42

																				11 s

																				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity				peak area> 3,5 and 7

																				4.653		88.91518						66407

																				5.355		49.04056						139485		10.82						Rs> 11

																				6.331		34.37328						85923		13.55

																				9.376		72.25036						139133		32.53

				pH buffer optimization

				pH 6

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.862		86.13155						85375

				5.568		37.60082						84815		9.85

				6.574		44.82026						62970		11.09

				9.758		94.9147						95894		27.54

				pH 7

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.693		82.00841						86780

				5.405		37.67891						174912		12.31

				6.412		36.12012						85314		14.41								Rs ↑

				9.435		73.17673						153704		32.83

				pH 8

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.819		95.38014						80408

				5.573		38.58162						127972		11.55

				6.676		41.46821						72566		13.65

				9.669		101.61204						100834		27.05

				pH 9

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.543		79.36835						85047

				5.205		39.20071						119636		10.78

				6.149		36.91978						71392		12.39

				8.948		88.76035						102351		27.41





conc buffer

		

				CONCENTRATION BUFFER OPTIMIZATION

				5 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.589								207933								time ↓, Rs ↓, N ↓

				8.885								262278		18.64

				10.132								280876		16.28

				15.204								336692		52.97

				10 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.974								229621								Rs > 5Mm,		time > 15 Mm

				9.375								269573		19.96

				10.806								220490		16.54

				16.626								392065		55.44

				15 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.405								244589								Rs ↑, time↑

				9.951								329038		22.03

				11.569								286945		19.83

				18.057								406444		60.59

				Conc.		Migration time

				5		7.589		8.885		10.132		15.204

				10		7.974		9.375		10.806		16.626

				15		8.405		9.951		11.569		18.057

				Conc		Rs 1/2		Rs 2/3		Rs 3/4

				5		18.64		16.28		52.97

				10		19.96		16.54		55.44

				15		22.03		19.83		60.59





conc buffer

		



NDPA

DMNA

NDBA

NDPhA

Borate concentration

Migration Time



conc SDC

		



Rs 1/2

Rs 2/3

Rs 3/4

Borate concentration

Resolution



VOLTAGE

		



Rs 1/2

Rs 2/3

Rs 3/4

Resolution



TEMP

		



Borate concentration (mM)

NDPA

DMNA

NDBA

NDPhA

Migration time (min)



INJECTION

		

				concentration SDC optimization

				70 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.542		61.12656						196970

				8.759		44.30567						159179		15.05

				9.912		17.28033						259053		13.33

				15.3		42.11764						370470		57.56

				80 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				7.974		71.52779						229621								time> 90mm n 100 mm,

				9.375		44.43884						269571		19.95						peak area		NDPA &NDBA ↑

				10.806		22.4428						220494		16.67

				16.627		37.31507						392058		55.83

				90 Mm

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.384		82.99489						164943

				9.91		51.64348						210545		18.14

				11.59		27.72285						176117		16.12

				17.65		51.28241						132305		36.67

				100 mM

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.962		83.39373						204336

				10.809		47.67924						286865		22.45

				12.829		40.24976						200274		19.24

				19.867		48.33517						280337		49.38

				conc		time

				70		7.542		8.759		9.912		15.3

				80		7.974		9.375		10.806		16.627

				90		8.384		9.91		11.59		17.65

				100		8.962		10.809		12.829		19.867

				conc		Rs

				70		15.05		13.33		57.56

				80		19.95		16.67		55.83



Borate concentration (mM)



INJECTION

		



SDC concentration

NDPA

DMNA

NDBA

NDPhA

Migration Time



pH

		



Rs 1/2

Rs 2/3

Rs 3/4

SDC concentration

Resolution



		



Rs 1/2

Rs 2/3

Rs 3/4



		

				Applied voltage optimization

				20 Kv

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				8.13								14.6476

				9.597								23.4289		17.83

				11.137								12.7775		15.08

				17.203								226920		45.01

				23 kV

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				6.931		75.19918						15936

				8.154		28.70145						240140		17.96

				9.489		37.63698						138544		15.8

				14.58		87.97732						229297		45.44

				26 Kv

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				5.963		65.25677						146524

				6.985		25.80927						231530		16.28

				8.15		31.58905						121667		14.36

				12.478		83.84519						209501		40.41

				29 kV

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				5.168		56.17882						140060

				6.027		21.97418						195524		15.64						time ↓ Rs ↓

				7.066		26.75796						114411		15.02

				10.761		70.26511						218645		42.02

				Voltage		Migration time

				20		8.13		9.597		11.137		17.203

				23		6.931		8.154		9.489		14.58

				26		5.963		6.985		8.15		12.478

				29		5.168		6.027		7.066		10.761





		



NDPA

NDBA

NDPhA

Migration Time (min)



		

				15 °C

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				5.706		48.57451						158332

				6.725		18.33701						117132		14.97

				7.2666		22.79144						139351		11.68

				12.168		34.11877						221662		48.46

				20 °C

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

						56.17882						147525

						21.97418						217521		15.64

						26.75796						131668		15.02

						70.26511						225514		42.02

				25 °C

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.699		57.22377						132207

				5.403		23.77534						227440		14.5

				6.402		27.05394						120902		16.76

				9.548		71.73201						216214		40.34

				TEMP		TIME

				15		5.706		6.725		7.2666		12.168

				20		5.168		6.027		7.066		10.761

				25		4.699		5.403		6.402		9.548

				TEMP		AREA

				15		48.57451		18.33701		22.79144		34.11877

				20		56.17882		21.97418		26.75796		70.26511

				25		57.22377		23.77534		27.05394		71.73201



Applied voltage (kV)



		



Temperature (°C)

NDPA

DMNA

NDBA

NDPhA

Migration Time



		



NDPA

DMNA

NDBA

NDPhA

Temperature (°C)

Peak Area (mAU)



		

				INJECTION TIME OPTIMIZATION

				3 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.72		25.44096						158378

				5.475		13.98768						226375		16.12

				6.487		8.94291						173416		18.66

				9.74		23.26685						142015		39.2

				5 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.703		53.62238						110300

				5.445		24.19789						217228		14.33

				6.45		15.12						156863		17.93

				9.654		32.82586						170689		40.33

				7 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.707		65.09274						110479

				5.438		29.39795						230351		14.3

				6.452		25.97039						127693		17.24

				9.552		58.116						195595		39.02

				9 s

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.671		72.42104						77157

				5.385		38.013						156075		11.7

				6.369		32.93802						76596		13.41

				9.474		58.13526						164379		33.42

																				11 s

																				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity				peak area> 3,5 and 7

																				4.653		88.91518						66407

																				5.355		49.04056						139485		10.82						Rs> 11

																				6.331		34.37328						85923		13.55

																				9.376		72.25036						139133		32.53

				injection time				Rs

				3				16.12		18.66		39.2

				5				14.33		17.93		40.33

				7				14.3		17.24		39.02

				9				11.7		13.41		33.42																				Rs 9>11

				11				10.82		13.55		32.53

				injection time				area

				3				25.44096				8.94291		23.26685

				5				53.62238				15.12		32.82586

				7				65.09274				25.97039		58.116

				9				72.42104				32.93802		58.13526																		area 9>3,5,7

						injection time				area

						3				25.44096		8.94291		23.26685

						5				53.62238		15.12		32.82586

						7				65.09274		25.97039		58.116

						9				72.42104		32.93802		58.13526





		



Injection time (sec)

Rs 1/2

Rs 2/3

Rs 3/4

Resolution



		



Injection time (sec)

NDPA

DMNA

NDBA

NDPhA

Peak Area (mAu)



		



NDPA

NDBA

NDPhA

Injection Time (sec)

Area (mAu)



		

				pH buffer optimization

				pH 6

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.862		86.13155						85375

				5.568		37.60082						84815		9.85

				6.574		44.82026						62970		11.09

				9.758		94.9147						95894		27.54

				pH 7

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.693		82.00841						86780

				5.405		37.67891						174912		12.31

				6.412		36.12012						85314		14.41								Rs ↑

				9.435		73.17673						153704		32.83

				pH 8

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.819		95.38014						80408

				5.573		38.58162						127972		11.55

				6.676		41.46821						72566		13.65

				9.669		101.61204						100834		27.05

				pH 9

				Mig Time		Area		Height		Symm		Plates		Rs		Selectivity

				4.543		79.36835						85047

				5.205		39.20071						119636		10.78

				6.149		36.91978						71392		12.39

				8.948		88.76035						102351		27.41

				Ph		Rs

				6		9.85		11.09		27.54

				7		12.31		14.41		32.83

				8		11.55		13.65		27.05

				9		10.78		12.39		27.41





		



Rs 1/2

Rs 2/3

Rs 3/4



		



pH

Rs 1/2

Rs 2/3

Rs 3/4

Resolution




_1467550144.cdx

_1467550142.cdx

