Malaysian Journal of Analytical Sciences Vol 18 No 3 (2014): 534 - 543

SEPARATION OF N-NITROSAMINES BY MICELLAR ELECTROKINETIC CHROMATOGRAPHY
(Pemisahan N-Nitrosamina Menggunakan Kromatografi Elektrokinetik Misel)

Nur Amira Md Ali1, Mohd Marsin Sanagi1,2*, Wan Aini Wan Ibrahim1
1Department of Chemistry, Faculty of Science,

 2Ibnu Sina Institute for Fundamental Science Studies, Nanotechnology Research Alliance,

 Universiti Teknologi Malaysia, 81310 UTM Johor Bahru, Johor, Malaysia

*Corresponding author: marsin@kimia.fs.utm.my
Abstract

A simple and rapid micellar electrokinetic chromatography (MEKC) method was developed for separation of three selected N-Nitrosamines namely N-nitrosodipropylamine (NDPA), N-nitrosodibutylamine (NDBA) and  N-nitrosodiphenylamine (NDPhA). The effects of composition of the buffer and its pH, concentration of surfactants on the separation and migration times of nitrosamines were investigated. The instrumental variables affecting sensitivity and resolution such as power supply and injection mode were carefully optimized. The best separation was achieved using 40 mM sodium dodecyl sulfate (SDS) as a surfactant in 10 mM phosphate buffer (pH 8.0) at a temperature of 25 ºC, applied voltage of 29 kV, wavelength of 230 nm and electrokinetic injection of 9 s at 5 kV within 10 min analysis time. Excellent linearity was obtained in the concentration range of 2 to 100 µg/mL with coefficients of determination, r2 ≥ 0.979. This method showed good reproducibility with relative standard deviation (RSDs) value ranging from 2.46% to 6.61%. The limits of detection (LOD) and limits of quantification (LOQ) ranged from 0.16 to 0.43 µg/mL and 0.54 to 1.44 µg/mL respectively. 

Keywords:  Nitrosamines, surfactants, capillary electrophoresis, micellar electrokinetic chromatography

Abstrak

Satu kaedah kromatografi elektrokinetik misel yang mudah dan cepat telah dibangunkan bagi pemisahan tiga sebatian N-Nitrosamina yang dipilih iaitu N-nitrosodipropilamina (NDPA), N-nitrosodibutilamina (NDBA) dan N-nitrosodifenilamina (NDPhA). Kesan komposisi penimbal dan pH, kepekatan surfaktan terhadap pemisahan dan masa peralihan nirosamina telah dikaji. Pembolehubah alat yang mempengaruhi kepekaan dan resolusi seperti bekalan kuasa dan mod suntikan telah dioptimumkan dengan berhati-hati. Pemisahan yang terbaik dicapai menggunakan 40 mM SDS sebagai  surfaktan di dalam 10 mM penimbal fosfat (pH 8.0) pada suhu 25 ºC, voltan gunakan 29 kV, panjang gelombang 230 nm dan suntikan elektrokinetik 9 saat pada 5 kV dengan masa analisis selama 10 minit. Kelinearan yang baik telah diperolehi dalam julat kepekatan 2 - 100 µg/mL dengan koefisien penentuan, r2 ≥ 0.979. Kaedah ini menunjukkan kebolehulangan yang baik dengan nilai sisihan piawai relatif dalam julat 2.46% - 6.61%. Had pengesanan dan had penentuan adalah 0.16 - 0.43 µg/mL dan 0.54 - 1.44 µg/mL, masing-masingnya. 

Kata kunci: Nitrosamina, surfaktan, elektroforesis kapilari, kromatografi elektrokinetik misel
References

1. Yurchenko, S. and Mölder, U. (2007). The occurrence of volatile N-nitrosamines in Estonian meat products. Food Chem., 100 (4): 1713-1721.
2. Huang, M.-C., Chen, H.-C., Fu, S.-C. and Ding, W.-H. (2013). Determination of volatile N-nitrosamines in meat products by microwave-assisted extraction coupled with dispersive micro solid-phase extraction and gas chromatography – Chemical ionisation mass spectrometry. Food Chem.,138 (1): 227-233.
3. Andra, S. S. and Makris, K. C. (2011). Tobacco-specific nitrosamines in water: An unexplored environmental health risk.   Environ. Int., 37 (2): 412-417.
4. Incavo, J. A. and Schafer, M. A. (2006). Simplified method for the determination of N-nitrosamines in rubber vulcanizates. Anal. Chim. Acta, 557 (1–2): 256-261.
5. Chowdhury, S., Alhooshani, K. and Karanfil, T. (2014). Disinfection byproducts in swimming pool: Occurrences, implications and future needs. Water Res. 53 (0): 68-109.
6. Krauss, M., Longrée, P., Dorusch, F., Ort, C. and Hollender, J. (2009). Occurrence and removal of            N-nitrosamines in wastewater treatment plants. Water Res., 43 (17): 4381-4391.
7. Nawrocki, J. and Andrzejewski, P. (2011). Nitrosamines and water. J. Hazard. Mater., 189 (1–2): 1-18.
8. Rodil, R., Quintana, J. B., Concha-Graña, E., López-Mahía, P., Muniategui-Lorenzo, S. and                 Prada-Rodríguez, D. (2012). Emerging pollutants in sewage, surface and drinking water in Galicia        (NW Spain). Chemosphere, 86 (10): 1040-1049.
9. Wang, W., Ren, S., Zhang, H., Yu, J., An, W., Hu, J. and Yang, M. (2011). Occurrence of nine nitrosamines and secondary amines in source water and drinking water: Potential of secondary amines as nitrosamine precursors. Water Res., 45 (16): 4930-4938.
10. Byun, M., H, -W., -J, Ahn., Kim-H, J., Lee, J., H, -W., Yook, -S., Han, S. and -B. (2004). Determination of volatile N-nitrosamines in irradiated fermented sausage by gas chromatography coupled to a thermal energy analyzer. J. Chromatogr. A, 1054 (1–2): 403-407.
11. Jurado-Sánchez, B., Ballesteros, E., and Gallego, M. (2007). Comparison of the sensitivities of seven       N-nitrosamines in pre-screened waters using an automated preconcentration system and gas chromatography with different detectors. J. Chromatogr. A, 1154 (1–2): 66-73.
12. Ozel, M.Z., Gogus, F., Yagci, S., Hamilton, J. F. and Lewis, A.C. (2010). Determination of volatile nitrosamines in various meat products using comprehensive gas chromatography- nitrogen chemiluminiscence detection. Food Chem. Toxicol., 48 (11): 3268-3273. 
13. Lee, M., Lee, Y., Soltermann, F. and Von Gunten, U. (2013). Analysis of N-nitrosamines and other nitro(so) compounds in water by high-performance liquid chromatography with post-column UV photolysis/Griess reaction. Water Res., 47 (14): 4893-4903.
14. Ripollés, C., Pitarch, E., Sancho, J.V., López, F.J. and Hernández. F. (2011). Determination of eight nitrosamines in water at the ng L−1 levels by liquid chromatography coupled to atmospheric pressure chemical ionization tandem mass spectrometry., Anal.Chim. Acta, 702 (1): 62-71.
15. Taichrib, A., Pelzing, M., Pellegrino, C., Rossi, M. and Neususs, C. (2011). High resolution TOF MS coupled to CE for the analysis of isotopically resolved intact proteins. J. Proteomics, 74 (7): 958-966.
16. Timerbaev, A. R., Pawlak, K., Aleksenko, S. S., Foteeva, L.S., Matczuk, M. and Jarosz, M. (2012). Advances of CE-ICP-MS in speciation analysis related to metalloproteomics of anticancer drugs. Talanta, 102 (0): 164-170.
17. Altria, K. D. (2003). Enhanced pharmaceutical analysis by CE using dynamic surface coating system.        J. Pharm. Biomed. Anal., 31 (3): 447-453.
18. Aturki, Z., Rocco, A., Rocchi, S. and Fanali, S., (in press). Current applications of miniaturized chromatographic and electrophoretic techniques in drug analysis. J. Pharm. Biomed. Anal. (2014), http://dx.doi.org/10.1016/j.jpba.2014.03.041 (0).
19. Liao, J., Pan, Y., Li, C., Wen, D. and Liu, H. (2011). Fast screening for tobacco specific N-nitrosamines by CZE using dynamically coated capillaries. Chromatographia., 74: 415-19. 
20. Li, C., Chen, Z., Wen, D., Zhang, J., Cong, W., Yu, B., Liao, Y. and Liu, H. (2006). Determination of tobacco-specific N-nitrosamines in rabbit serum by capillary zone electrophoresis and capillary electrophoresis- electrospray ionization mass spectrometry with solid-phase extraction. Electrophoresis., 27: 2152-2163.
21. Hiroyuki, N. and Terabe, S. (1996). Micellar electrokinetic chromatography Perspectives in drug analysis. J. Chromatogr. A, 735 (1–2): 3-27.
22. Rathore, A. S. (2004). Joule heating and determination of temperature in capillary electrophoresis and capillary electrochromatography columns. J. Chromatogr. A, 1037 (1–2): 431-443.
