Malaysian Journal of Analytical Sciences Vol 19 No 2 (2015): 325 – 337

MICROPOROUS CARBON SPHERES SOLID PHASE MEMBRANE TIP EXTRACTION FOR THE ANALYSIS OF NITROSAMINES IN WATER SAMPLES

(Pengekstrakan Muncung Membran Fasa Pepejal Sfera Karbon Berliang Mikro bagi Analisis Nitrosamin di dalam Sampel Air)

Mohammed Salisu Musa1,3, Mohd Marsin Sanagi1,2 *, Hadi Nur2 , Wan Aini Wan Ibrahim1

1Department of Chemistry, Faculty of Science,

Universiti Teknologi Malaysia, 81310 UTM Johor Bahru, Johor, Malaysia

2Ibnu Sina Institute for Fundamental Science Studies, Nanotechnology Research Alliance,

Universiti Teknologi Malaysia, 81310 UTM Johor Bahru, Johor, Malaysia

3Department of Pure and Industrial Chemistry, Faculty of Science,

Bayero University Kano, Nigeria.

*Corresponding author: marsin@kimia.fs.utm.my

Received: 20 November 2014; Accepted: 5 January 2015

Abstract

A simple solid phase membrane tip extraction (SPMTE) utilizing microporous carbon spheres (MCS) was developed for the analysis of nitrosamines in aqueous samples. The method termed MCS-SPMTE was optimized for various important extraction parameters namely conditioning organic solvent, extraction time, effects of salt addition and pH change, desorption time, desorption solvent and sample volume. Under the optimized conditions, the method indicated good linearity in the range of 10-100 µg/L with coefficients of determination, r2 ≥ 0.9984. The method also demonstrated good reproducibility with %RSDs values ranging from 2.2 – 8.9 (n = 3). Limit of detection (LOD) and limit of quantification (LOQ) for the method ranged from 3.2 - 4.8 µg/L and      10.9 – 15.9 µg/L respectively. Recoveries for both tap-water and lake water samples spiked at 10 µg/L were in the range of 83.2 - 107.5%.

Keywords: hydrothermal reaction, microporous carbon spheres, nitrosamines, solid phase membrane tip extraction, gas chromatography mass spectrometry

Abstrak

Pengekstrakan muncung membrane fasa pepejal yang ringkas menggunakan sfera karbon berliang (MCS) telah dibangunkan bagi analisis nitrosamina di dalam sampel akues. Kaedah yang dikenali sebagai MCS-SPMTE telah dioptimumkan bagi pelbagai parameter penting iaitu pengkondisi pelarut organik, masa pengekstrakan, kesan penambahan garam dan perubahan pH, masa penyahjerapan, pelarut penyahjerap dan isipadu sampel. Di bawah keadaan optimum, kaedah ini menunjukkan kelinearan yang baik dalam julat 10-100 µg/L dengan koefisien penentuan, r2 ≥ 0.9984. Kaedah itu juga menunjukkan kebolehulangan yang baik dengan nilai %RSDs dalam julat 2.2 – 8.9 (n = 3). Had pengesanan (LOD) dan had penentuan (LOQ) bagi kaedah itu adalah masing-masing di antara 3.2 - 4.8 µg/L dan 10.9 – 15.9 µg/L. Perolehan semulabagi sampel air paip dan air tasik yang dimasukkan kepekatan yang diketahui 10 µg/L adalah dalam julat 83.2 - 107.5%.

# Kata kunci: 	tindak balas hidroterma, sfera karbon berliang mikro, nitrosamina, pengekstrakan muncung membran fasa pepejal, kromatografi gas-spektrometri jisim

References

- Tang, S., Tang, Y., Vongehr, S., Zhao, X. and Meng, X. (2009). Nanoporous carbon spheres and their application in dispersing silver nanoparticles. Appl. Surf. Sci., 255(11): 6011-6016.

- Auer, E., Freund, A., Pietsch, J. and Tacke, T. (1998). Carbon as supports for industrial precious metal  catalysts. Appl. Catal A., 173: 259-271.

- Chen, J., Xia, N., Zhou, T., Tan, S., Jiang, F. and Yuan, D. (2009). Mesoporous Carbon Spheres: Synthesis, Characterization and Supercapacitance. Int. J. Electrochem, Sci., 4: 1063-1073.

- Li, M., Li, W. and Liu, S. (2011). Hydrothrmal synthesis, characterization, KOH activation of carbon spheres from glucose. Carbohydr. Res., 346: 999-1004.

- Wang, Q., Li, H., Chen, L., and Huang, X. J. (2001). Monodispersed hard carbon spherules with uniform nanopores. Carbon, 39: 2211-2214.

- Discher, B. M., Won, Y. Y., Ege, D. S., Lee, J. C. M., Bates, F. S. and Discher, D.E. (1999)        Polymersomes: tough vesicles made from diblock copolymers. Science, 284: 113–115.

- Meier, W. (2000). Polymer nanoparticles. Chem. Soc. Rev., 29: 295–303.

- Sun, N., Sun, C., Liu, H., Liu, J., Stevens, L., Drage, T., Snape, C.E., Li, K., Wei, W. and Sun, Y.      (2013). Synthesis, characterization and evaluation of activated spherical carbon materials for CO2 capture. Fuel, 113: 854-862.

- Konicki, W., Cendrowski, K., Chen, X. and Mijowska, E. (2013). Application of hollow mesoporous    carbon nanospheres as an high effective adsorbent for the fast removal of acid dyes from aqueous solutions. Chem. Eng. J., 228: 824-833.

- Jenskin, S. W., Koester, C. J., Taguchi, V. Y., Wang. D. T., Palmentier, J. P. and Hong, K .P. (1995). N-nitrosodimethylamine in drinking water using a rapid, solid-phase extraction method. Environ. Sci. Pollut. Res., 2(4): 207-210.

- Afonso Perea, A. M. (2006). Chromatographic Analysis of the Environment, Nollet (Ed.).; CRC Press: Boca Raton.

- Robinson, B. (2003). Nitrosamine solutions. Robacchemicals, west bromwick B70 0AH UK. 1-10.  Ref: 03/2003.

- Krauss, M., Longree, P., Dorusch, F., Ort, C. and Hollender, J. (2009). Occurrence and removal of     N-nitrosamines in wastewater treatment plants. Water Res., 43(17): 4381-4391.

- Mitch, W. A., Gerecke, A. and Sedlak, D. L. (2003). A N-Nitrosodimethylamine (NDMA) precursor  analysis for chlorination of water and waste water. Water Res., 37: 3733-3741.

- Rosenberg, I. E., Gross, J. and Spears, T. (1980). Analysis of nitrosamines in cosmetic raw materials and finished product by high pressure liquid chromatography. J. Soc. Cosmet. Chemists, 31: 237-252.

- Grebel, J.E., Young, C. C. and Suffet, I. H. (2000). Solid phase microextraction of N-nitrosamines.             J. Chromatogr. A., 1117: 11-18.

- Boyd, J. M., Hrudey, S. E. Richardson, S. D. and Li, X. F. (2011). Solid phase extraction and high performance liquid chromatography mass spectrometry analysis of nitrosamines in treated drinking water and wastewater. Trends in Anal. Chem., 30(9): 1410-1421.

- Nawrocki, J. and Andrzejewski, P. (2011). Nitrosamines and water. [Review]. J. Hazard. Mater.,       189(1-2): 1-18.

- Ryu, J., Suh, Y., Suh, D. J. and  Ahn, D. J. (2010). Hydrothermal preparation of carbon  microspheres from mono-saccharides and phenolic compounds. Carbon, 48(7): 1990-1998.

- Chen, J., Xia, N., Zhou, T., Tan, S., Jiang, F. and Yuan, D. (2009). Mesoporous Carbon Spheres: Synthesis, Characterization and Supercapacitance. Int. J. Electrochem. Sci., 4: 1063-1073.

- Lillo-Ro´denas, M. A., Cazorla-Amoro´s, D. and Linares-Solano, A. (2003). Understanding chemical reactions between carbons and NaOH and KOH An insight into the chemical activation mechanism. Carbon, 41: 267–275.

- See, H. H.,  Sanagi, M. M., Ibrahim, W. A. and Naim, A. A. (2010). Determination of triazine herbicides using membrane-protected carbon nanotubes solid phase membrane tip extraction prior to micro-liquid chromatography. J. of Chromatogr. A., 1217(11): 1767-1772.

- Yahaya, N., Sanagi, M. M., Nur, H., Ibrahim, W. A., Kamaruzaman, S. and Aboul-Enein, H. Y. (2014). Solid-phase membrane tip extraction combined with liquid chromatography for the determination of azole antifungal drugs in human plasma. Anal. Methods, 6: 3375-3381.

- Lowell, S., Shields, J. E., Thomas, M. A. and Thommes, M. (2004). Characterization of porous solids and powders: Surface area, pore size and density, 4thEd.;  Springer: Dordrecht, The Netherlands.

- Deshmukh, A. A., Mhlanga, S. D. and Coville, N. J. (2010). Carbon spheres. Mat. Sci.  Engr. R.,   70(1-2): 1-28.

- Hildrum, K. I. (1975). Formation of N-nitrosamines from the nitrosation of spermidine and spermine. Doctor of Philosophy (Ph.D.) thesis, Oregon State University, Corvallis. http://hdl.handle.net/1957/27257.