Malaysian Journal of Analytical Sciences Vol 19 No 3 (2015): 557 – 564

SPECTROFLUORIMETRIC DETERMINATION OF BRASSINOSTEROIDS PLANT HORMONES IN BIO-EXTRACT SAMPLES

(Penentuan spektrofluorimetrik bagi Hormon Tumbuhan Brassinosteroids dalam Sampel

Bio-Ekstrak)

Napa Tangtreamjitmun* and Kanokporn Chindaphan

Department of Chemistry,

Faculty of Science,

Burapha University, Mueang, Chonburi, 20131 Thailand

*Corresponding author: napa@buu.ac.th

Received: 13 April 2015; Accepted: 19 May 2015

Abstract

A spectrofluorometric method was developed for determination of brassinosteroids plant hormones based on the reaction between brassinolide and m-dansylaminophenylboronic acid. 90 µM of m-dansylaminophenylboronic acid solution was chosen as the optimal concentration of the reagent. The temperature of the reaction was 30°C (room temperature) for 20 min duration in 5 mM phosphate buffer solution, pH 7. The excitation and emission wavelengths were 380 nm and 505 nm, respectively. Under optimal condition, linearity was found in the range 1-50 µM. Standard addition was used for the brassinosteroids determination in bio-extract samples, without any sample preparation. Limit of detection (3SD, n=10) of 0.24 µM and limit of quantitation (10SD, n=10) of 0.48 µM were obtained using sample blank with this standard addition method. Result was demonstrated to be a suitable semi-quantitative technique and was applied successfully for the determination of total brassinosteroids plant hormones equivalent to brassinolide.

Keywords: brassinolide, brassinosteroids, m-dansylaminophenylboronic acid, bio-extract, spectrofluorometry

Abstrak

Kaedah spektroflourometrik telah dibangunkan bagi penentuan hormon tumbuhan brassinosteroids berdasarkan tindak balas antara brassinolide dan asid m-dansylaminofenilboronik. 90 μM larutan asid m-dansylaminofenilboronik dipilih sebagai reagen pada kepekatan optimum. Suhu tindak balas adalah 30 °C (suhu bilik) untuk tempoh 20 min di dalam 5 mM larutan penimbal fosfat, pH 7. Panjang gelombang pengujaan dan pancaran masing – masing adalah 380 nm dan 505 nm. Di bawah keadaan optimum, kelinearan diperolehi di dalam julat 1-50 μM. Penambahan larutan piawai digunakan bagi penentuan brassinosteroids di dalam sampel bio-ekstrak, tanpa sebarang penyediaan sampel. Had pengesanan (3SD, n = 10) iaitu 0.24 μM dan had kuatifikasi (10SD, n = 10) iaitu 0.48 μM telah diperolehi dengan menggunakan sampel pengosong dan larutan piawai yang ditambah. Keputusan menunjukkan bahawa kaedah semi kuantitatif ini sesuai dan boleh diaplikasikan bagi penentuan jumlah hormon brassinosteroids di dalam tumbuhan yang bersamaan dengan kandungan brassinolide.

Kata kunci: brassinolide, brassinosteroids, asid m-dansylaminofenilboronik, bio-ekstrak, spektroflourometri

References

- Pachthong, C., Supyen, D., Buddhasukh, D. and Jatisatienr, A. (2006). Isolation and Characterization of Brassinolide and Castasterone in the Pollen of Pumpkin. Chiang Mai Journal of Science, 33 (1): 95-101.

- Mitchell, J. W., Mandava, N. B., Worley, J. F., Plimmer, J. R. and Smith, M. V. (1970). Brassins – a new family of plant hormones from rape pollen. Nature, 225: 1065-1066.

- Borisevich, N.A., Raichenok, T. F., Khripach, V. A., Zhabinskii, V. N. and Ivanova, G. V. (2008). Solution electronic spectra of brassinosteroid and a synthesized conjugate of a steroid and a fluorescencent label. Journal of Applied Spectroscopy, 75 (1): 75-79.

- Huo, F., Wang, X., Han, Y., Bai, Y., Zhang, W., Yuan, H. and Liu, H. (2012). A new derivatization approach for the rapid and sensitive analysis of  brassinosteroids by using ultra high performance liquid chromatography electrospray ionization triple quadrupole mass spectrometry. Talanta, 99: 420-425.

- Gamoh, K., Kitsuwa, T., Takatsuto, S., Fujimoto, Y. and Ikekawa, N. (1988). Determination of Trace Brassinosteroids by High Performance Liquid Chromatography. Analytical Sciences, 4: 533-535.

- Gamoh, K., Okamoto, N., Takatsuto, S. and Tejima, I. (1990). Determination of traces of natural brassinosteroids as dansylaminophenylboronates by liquid chromatography with fluorimetric detection. Analytica Chimica Acta, 228: 101-106.

- Gamoh, K., Omote, K., Okamoto, N. and Takatsuto, S. (1989). High-performance liquid chromatography of brassinosteroids in plants with derivatization using 9-phenanthreneboronic acid. Journal of Chromatography, 469: 424-428.

- Gamoh, K. and Takatsuto. S. (1989). A boronic acid derivative as a highly sensitive fluorescence derivatization reagent for brassinosteroids in liquid chromatography. Analytica Chimica Acta, 222: 201-204.

- Takatsuto, S., Omote, K., Gamoh, K. and Ishibashi, M. (1990). Identification of Brassinolide and Castasterone in Buckwheat (Fagopyrum esculentum Moench)  Pollen. Agricultural Biology and Chemistry, 54 (3): 757-762.

- Winter, J., Schneider, B., Meyenburg, S., Strack, D. and Adam, G. (1999). Monitoring brassinosteroid biosynthetic enzymes by fluorescent tagging and HPLC analysis of their substrates and products. Phytochemistry, 51: 237-242.

- Bajguz, A. (2011). Brassinosteroids: A Class of Plant Hormone. Chapter 1: Brassinosteroids-Occurrence and chemical structures in plants, S. Hayat, A. Ahmad, editor. Springer: New York, U.S.A.: pp. 1-28.

- Clouse, S. D. (2004). Regulators of Growth: Brassinosteroids. In Encyclopedia of Applied Plant Sciences. Elsevier: Amsterdam, Netherlands: pp. 1026-1035.

- Srivastava, L.M. (2002). Chapter 9 : Brassinosteroids. In Plant Growth and Development: Hormones and Environment. Academic Press: Elsevier Science, U.S.A.: pp. 205-215.

- Peng, B. and Qin, Y. (2008). Lipophilic Polymer Membrane Optical Sensor with a Synthetic Receptor for Saccharide Detection. Analytical Chemistry, 80(15): 6137–6141.

- Perrin, D. D. and Dempsey, B. (1974). Buffers for pH and Metal Ion Control; Chapman and Hall Ltd.: London, U.K.: pp.117-123.

- Luis, G. P., Granda, M., Badia, R., Diaz-Garcia, M. E. (1998). Selective fluorescent chemosensor for fructose. Analyst, 123: 155–158.

- Seckin, Z. E. (2004). Fluorescence determination of monosaccharides and  catecholamines by usin dansylaminophenyl boronic acid. Master’s thesis, Department of Chemistry, The Middle East Technical University.

- Valeur, B. (2001). Molecular Fluorescence: Principles and Applications. Wiley-VCH Verlag GmbH, Germany.