Malaysian Journal of Analytical Sciences Vol 19 No 3 (2015): 625 – 635

A SIMPLE THIN LAYER CHROMATOGRAPHY METHOD FOR SEPARATION OF SELECTED NATURAL STEROID HORMONES

(Kaedah Kromatografi Lapisan Nipis yang Mudah bagi Pemisahan Hormon Steroids Semulajadi Terpilih)

## Joanna Nowakowska1,  Kaja Rudnicka-Litka1*, Krzesimir Ciura1, Piotr Pikul1, Jakub Piotrowicz2

## 1Department of Physical Chemistry, Faculty of Pharmacy,

## Medical University of Gdańsk, Al Gen J Hallera 107, 80-416, Gdańsk, Poland

## 2Department of Economics and Law,

## Maritime Institute in Gdańsk, Długi Targ 41/42, 80-830, Gdańsk, Poland

*Corresponding author: kaja.kinga.rudnicka@gmail.com

Received: 14 April 2015; Accepted: 28 May 2015

Abstract

Chromatographic properties of seven steroids: estrogens (β-estradiol and estrone), androgens (testosterone, methyltestosterone, trans-androsterone), progesterone and cholesterol have been studied by planar chromatography with usage of High Performance Thin Layer Chromatography (HPTLC) and Thin Layer Chromatography (TLC) plates. Normal, reversed and cyano-bonded silica stationary phases were tested with five binary mobile phases (acetonitrile-water, acetonitrile-DMSO, acetonitrile-methanol, acetone-petroleum ether, acetone-water) in which the concentration of organic modifier varied from 0 to 100% (v/v). This study reports the optimization of steroid hormones separation. Principal Component Analysis (PCA) based on calculated molecular descriptors quantitatively differentiating solutes was performed in order to investigate the similarity and dissimilarity between tested compounds. The separation abilities of mobile and stationary phases were compared based on separation factor α. Chromatographic retention data and possible retention mechanisms also were discussed.

Keywords: thin layer chromatography, separation factor, binary phases, steroids

Abstrak

Sifat kromatografi tujuh steroid: estrogen (β-estradiol dan estron), androgen (testosteron, metiltestosteron, trans-androsteron), progesteron dan kolesterol telah dikaji oleh kromatografi satah dengan pengunaan plat kromatografi lapisan nipis (TLC) dan kromatografi lapisan nipis berprestasi tinggi (HPTLC). Fasa pegun normal, terbalik dan silika terikat siano diuji dengan lima fasa bergerak binari (asetonitril-air, asetonitril-DMSO, asetonitril-metanol, petroleum-aseton eter, aseton-air) di mana kepekatan pengubahsuai organik diubah daripada 0 hingga 100% (v/v). Kajian ini melaporkan keadaan optimum bagi permisahan hormon steriod. Analisis komponen prinsipal (PCA) berasaskan kiraan kuantitatif molekul yang membezakan bahan larut dilakukan untuk menentukan persamaan dan perbezaan di antara sebatian yang diuji. Keupayaan pemisahan fasa bergerak dan pegun dibandingkan berdasarkan kepada faktor pemisahan α. Data tambatan kromatografi dan kebarangkalian mekanisma tambatan juga turut dibincang.

Kata kunci: Kromatografi lapisan nipis, faktor pemisahan, fasa binari, steroid

References

- Bhawani S. A, Sulaiman O., Hashim R. and Ibrahim M. N. (2010). Thin-Layer Chromatographic Analysis of Steroids: A Review. Trop. J. Pharm. Res. 9(3): 301-313

- Lamparczyk H. (1992). Handbook of Chromatography: Analysis and Characterization of Steroids, Boca Raton, Florida, CRC Press

- Osamu N. (2012). Steroid analysis for medical diagnosis, J. Chromatogr. A. 935(1-2): 267–278.

- Fenske M. (1998). Determination of cortisol in plasma and urine by thin-layer chromatography and fluorescence derivatization with isonicotinic acid hydrazide, Chromatographia 47(11-12): 695-700.

- Fenske M. (1997). Determination of cortisol in guinea pig urine by high-performance thin-layer chromatography, high-performance liquid chromatography, and thin-layer chromatography/radioimmunoassay, Chromatographia 44(1-2): 50-54.

- Zarzycki P. K., Ślączka M. M, Włodarczyk E. and Baran M. J. (2013).  Micro-TLC Approach for Fast Screening of Environmental Samples Derived from Surface and Sewage Waters, Chromatographia 76(17-18): 1249-1259.

- Balde A. M, Apers S.,. De Bruyne T. E., Van Den Heuvel H., Claeys M., Vlietinck A. J. and Pieters L. A. C. (2000). Steroids from Harrisonia abyssinica, Planta Med. 66(1): 67-69

- Jadhav A. N, Rumalla C. S, Avula B. and Khan I. A. (2007). HPTLC method for determination of 20-Hydroxyecdysone in sida rhombifolia L. and dietary supplements, Chromatographia 66(11): 797-800

- Reza F. A, Rajabi K. A, Mojtaba S. (2006). Stability-indicating high-performance thin-layer chromatographic determination of levonorgestrel and ethinyloestradiol in bulk drug and in low-dosage oral contraceptives, Anal. Chim. Acta 572(1): 237-242.

- Vingler P., Gerst C., Boyera N., Galey I, Christelle C, Bernard B. A., Dzido T, Tardieu F., Hennion C., Filthuth H., Charpak G. (1999). Low-level radioquantitation of lipids and steroids in the pilosebaceous gland-a journey to the limit of a sparking chamber, J. Planar Chromatogr. 12, 244-254.

- Momosea T., Murea M., Iidab T., Gotoc J. and Nambara T. (1998). Method for the separation of the unconjugates and conjugates of chenodeoxycholic acid and deoxycholic acid by two- dimensional reversed-phase thin-layer chromatography with methyl β-cyclodextrin., J. Chromatogr. A 811(1-2): 171-180.

- Sasaki T., Wakabayashi M., Yamaguchi T., Kasuga Y., Nagatsuma M., Lida T. and Nambara T. (1999). Separation of double congugates of bile acids by two-dimensional high performance thin-layer chromatography with tetra-n-butylammonium phosphate and methyl β-cyclodextrin, Chromatographia 49(7): 681-685.

- Fenske M. (1995). Improved detection of steroids on NH2 layers, Chromatographia 41(7):175-177.

- Klaus R., Fischer W. and Hauck H. E. (1994). Analysis and chromatographic separation of some steroid hormones on NH2 layers, Chromatographia 39(7-8): 97-10215.

- Pyka A. (2009). Spectrodensitometry application to analytical identification of estradiol, hydrocortisone, testosterone and cholesterol on Diol plates., J. Liq. Chromatogr. Related Technol 32(8): 1084-1095.

- Li T., Li J. and Li H. (1995). Modified and convenient preparation of silica impregnated with silver nitrate and its application to the separation of steroids and terpenoids., J. Chromatogr. A. 715(2): 372-375.

- Kirkland J. J. (1997). Modern Practice of Liquid Chromatography, New York, John Ed. Wiley-Interscience

- Wall P. E. (2005). Thin Layer Chromatography: A Modern Practical Approach, Royal Society of Chemistry, Cambridge.