# Malaysian Journal of Analytical Sciences Vol 19 No 4 (2015): 715 - 721

# ANALYTICAL METHOD DEVELOPMENT FOR IMAZAPIC HERBICIDE USING HIGH PERFORMANCE LIQUID CHROMATOGRAPHY

# (Pembangunan Kaedah Analitikal Bagi Racun Rumpai Imazapic Menggunakan Kromatografi Cecair Prestasi Tinggi)

Anis Zakiah Mazlan1*, Hazilia Hussain1, Mohamed Azwan Mohamed Zawawi2, Mehdi Sameni1

1Faculty of Health Sciences,

Universiti Teknologi MARA, Kampus Puncak Alam,

42300 Bandar Puncak Alam, Selangor Darul Ehsan, Malaysia

2Faculty of Engineering,

Universiti Putra Malaysia, 43400, Serdang, Selangor Darul Ehsan, Malaysia

*Corresponding author: aniszakiah89@yahoo.com

Received: 23 November 2014; Accepted: 27 June 2015

Abstract

A reliable method using High Performance Liquid Chromatography (HPLC) was developed for the optimization of imazapic herbicide extraction and clean-up method from water.  For this purpose, an Agilent HPLC 1200 Series fitted with a UV detector was used. The column used was a Zorbax StableBond C18 (4.6mm x 250mm I.D., 5µm particle size). For the extraction and clean-up procedure, a solid-phase extraction (SPE) method was applied. Two types of cartridges were chosen namely styrene-divinylbenzene polymer bond elut PPL (PPL) and octadecyl/ silica bond elut C18 (C18), for comparison of the recovery performance. Good resolution of imazapic was optimum at =252nm wavelength. The mobile phase was acetonitril: ultra-pure water (pH 3.0), in the ratio of 45:55. The flow rate of the mobile phase and injection volume were 1.2 mL/min and 20 µL, respectively.  Efficacy of extraction method used was determined through recovery test conducted using water samples spiked with imazapic standard. The recovery was 112% and 73% for C18 cartridge and 10.35% and 10.14% for PPL at concentration of 2 and 10 mg L-1, respectively. In conclusion, C18 cartridge was chosen as the best cartridge for the extraction, clean-up method and determination of imazapic in water.

Keywords: 	bond elut C18 (C18), bond elut PPL (PPL), High Performance Liquid Chromatography (HPLC), imazapic, solid -phase extraction (SPE)

Abstrak

Satu kaedah boleh dipercayai menggunakan Kromatografi Cecair Prestasi Tinggi (KCPT) telah dibangunkan untuk mengoptimumkan pengekstrakan dan prosedur pembersihan racun rumpai imazapic dari sampel air. Untuk tujuan ini, sebuah Agilent KCPT 1200 Siri dilengkapi dengan pengesan UV telah digunakan. Turus yang digunakan adalah Zorbax StableBond C18 (4.6mm x 250mm ID, saiz zarah 5μm). Untuk pengekstrakan dan prosedur pembersihan, kaedah pengekstrakan fasa pepejal (SPE) telah digunakan. Dua jenis kartrij telah dipilih iaitu stirena-divinylbenzene bond elut polimer PPL (PPL) dan oktadesil / silika bond elut C18 (C18) bagi membandingkan prestasi pemulihan mereka. Resolusi imazapic yang baik adalah optimum pada ketika panjang gelombang =252nm. Fasa bergerak adalah acetonitril: air ultra-tulen (pH 3.0), dalam nisbah 45:55. Kadar aliran dan jumlah suntikan ialah 1.2 mL/min dan 20 μL, masing-masing. Keberkesanan kaedah pengekstrakan yang digunakan ditentukan melalui ujian pemulihan yang dijalankan menggunakan sampel air yang dicampurkan dengan standard imazapic. Keputusan bagi kadar pemulihan adalah 112% dan 73% untuk kartrij C18 dan 10.35% dan 10.14% untuk PPL pada kepekatan 2 dan 10 mg L-1, masing-masing. Kesimpulannya, kartrij C18 dipilih sebagai kartrij yang terbaik untuk pengekstrakan, kaedah pembersihan dan penentuan imazapic dalam air.

Kata kunci:  Bond elut C18 (C18), Bond elut PPL (PPL), Imazapic, Kromatografi Cecair prestasi Tinggi (KCPT), Pengekstrakan fasa pepejal (SPE).

References

- Nakano, Y., Miyazaki, A., Yoshida, T. and Ono, K. (2004). A study on pesticide runoff from paddy fields to a river in rural region — 1 : field survey of pesticide runoff in the Kozakura. Water Research, 38, 3017–3022.

- Demoliner, A., Caldas, S. S., Costa, F. P. and Goncalves, F. F. (2010). Development and Validation of a Method using SPE and LC-ESI-MS-MS for the Determination of Multiple Classes of Pesticides and Metabolites in Water Samples. Journal of Brazillian Chemical Society, 21(8), 1424–1433.

- Caldas, S. S., Zanella, R. and Primel, E. G. (2007). Herbicides and Environment : Risk Estimate of Water Contamination and Occurrence of Pesticides in the South of Brazil. In Dr Andreas Kortekamp (Ed.). Herbicides and Environment (pp. 471- 493). InTech. Retrieved from http://www.intechopen.com/books/herbicides-and- environment/risk-estimate-of-water-contamination-and-occurrence-of-pesticide-in-the-south-of-brazil

- Geronimo, E. De, Aparicio, V. C., Barbaro, S., Portocarrero, R., Jaime, S. and Costa, J. L. (2014). Chemosphere  Presence of pesticides in surface water from four sub-basins in Argentina. Chemosphere 107, 423–431.

- Mohamad Saberi, A. S. (2013). Comparison of the Level of Organochlorine Residues in Paddy Crops from Two Different Cultivation Practices. Sains Malaysiana 42(11), 1581–1584.

- Mohd Fuad, M. J., Junaidi, A. B., Habibah, A., Hamzah, J., Toriman, M.E., Lyndon, N., Er, A.C., Selvadurai, S. and Azima, A.M. (2012). The Impact of Pesticides on Paddy Farmers and Ecosystem. Advances in Natural and Applied Sciences, 6(1): 65–70.

- Colborn, T. and Short, P. (1999). and Industrial Health. Toxicology and Industrial Health, 15, 241–276.

- Hess, F. G., Harris, J. E., Pendino, K. and Ponnock, K. (2001). Frederick G. Hess and Jane E. Harris. In Handbook of Pesticide Toxicology, Volume 2 (Vol. 2, pp. 1641–1651). Academic Press.

- Alister, C. and Kogan, M. (2005). Efficacy of imidazolinone herbicides applied to imidazolinone-resistant maize and their carryover effect on rotational crops. Crop Protection 24(4), 375–379.

- Caroline Cox. (2003). Herbicide Factsheet. Journal of Pesticide Reform, 23(3), 10–14.

- Baumart, J. S., Santos, S., Federal, U., Maria, D. S. and Maria, S. (2011). The Impact of Herbicides on Benthic Organisms in Flooded Rice Fields in Southern Brazil. In Dr Andreas Kortekamp (Ed.). Herbicides – Mechanisms and Mode of Action. (pp.369-382). InTech. Retrieved from http:// www.intechopen.com/ books/herbicides-and-environment/the-impact-of-herbicides-on-benthic-organisms-in-flooded-ricefields-in-southern-brazil

- Grichar, W. J. and Sestak, D. C. (2000). Effect of adjuvants on control of nutsedge ( Cyperus esculentus and C . rotundus ) by imazapic and imazethapyr. Crop Protection, 19, 461–465.

- Azmi, M., Azlan S., Yim, K.M., George, T. V. and Chew, S. E. (2012). Control Of Weedy Rice In Direct-Seeded Rice Using The Clearfield Production System In Malaysia Pakistan Journal of Weed Science Research, 18(Special Issue), 49–53.

- Zanella, R., Adaime, M. B., Peixoto, S. C., Friggi, C. A., Prestes, O. D., Machado, S. L. O., Marchesan, E., Avila, L.A. and Primel, E. G. (2011). Herbicides Persistence in Rice Paddy Water in Southern Brazil. In Dr. Mohammed Nagib Hasaneen (Ed). Herbicides - Mechanisms and Mode of Action. (pp. 183-204). InTech. Retrieved from http://www.intechopen.com/books/herbicides-mechanism-and-mode-of-action/herbicides-persistence-in-rice-paddy-water-in-southern-brazil.

- Ramezani, M., Simpson, N., Oliver, D., Kookana, R., Gill, G. and Preston, C. (2009). Improved extraction and clean-up of imidazolinone herbicides from soil solutions using different solid-phase sorbents. Journal of Chromatography A.  1216, 5092–5100.

- Singh, R. (2013). HPLC method development and validation- an overview. Journal of Pharmacy Education Research 4(1), 26–33.

- Akkbik, M., Assim, Z. Bin and Ahmad, F. B. (2013). Optimization and Validation of RP-HPLC-UV/Vis Method for Determination Phenolic Compounds in Several Personal Care Products. International Journal of Analytical Chemistry, 8(2), 78–89.

- International Conference On Harmonization. (2005). Validation Of Analytical Procedures: Text And Methodology Q2(R1). Complementary Guideline on Methodology Dated 6 November 1996 Incorporated in November 2005. Retrieved from http://www.fda.gov/Drugs/GuidanceComplianceRegulatoryInformation/ Guidances/ucm265700.htm