Malaysian Journal of Analytical Sciences Vol 20 No 2 (2016): 247 - 257

STABILITY INDICATING RP-HPLC METHOD FOR SIMULTANEOUS DETERMINATION OF ASPIRIN AND CLOPIDOGREL IN DOSAGE FORM

(Kestabilan Kaedah KCPT-Indikator bagi Penentuan Serentak Asprin dan Clopidogrel Dalam Bentuk Dos)

Md. Gousuddin*, Pinaki Sengupta, Vijaya Datt Tripathi, Arindam Das

Faculty of Pharmacy,

Lincoln University College, 47301 Petaling Jaya, Selangor, Malaysia

*Corresponding author: Inamdarirfan09@gmail.com

Received: 13 June 2015; Accepted: 1 February 2016

Abstract

Stability-indicating High Performance Liquid Chromatographic (HPLC) method was developed for simultaneous Aspirin and Clopidogrel, A Phenomenex Gemini C-18, 5 µm column having 250mm x 4.6 mm i.d. in isocratic mode, with mobile phase containing buffer  solution 0.3% orthophosphoric acid : acetonitrile (65: 35, v/v). The flow rate was 1 ml/min and effluents were monitored at 266 nm. For linearity seven points calibration curve were obtained in a concentration range from 0.030 –0.120 mg/ml for aspirin and 0.015 – 0.060 mg/ml for clopidogrel with correlation coefficient 0.9999. In the present study stability indicating HPLC method for the combination was tested by degrading the drugs together under various stress conditions like acid hydrolysis, base hydrolysis, oxidation, thermal and photolytic stress which is recommended by ICH guideline.

Keywords: reverse phase high performance liquid chromatography, stability indicating method, aspirin, clopidogrel

Abstrak

Kestabilan Kaedah Kromatografi Cecair Prestasi Tinggi (KCPT) – indikator telah dibangunkan bagi penentuan serentak Aspirin dan Clopidogrel. Turus Phenomenex Gemini C-18, 250mm x 4.6 mm i.d. diguna dalam mod isokratik, bersama fasa bergerak yang mengandungi larutan penimbal iaitu 0.3% asid orthofosforik : acetonitril. Kadar aliran adalah 1ml/min dan effluent dipantau pada panjang gelombang 266 nm. Tujuh titik lengkung kalibrasi dipilih bagi ujian kelinearan yang diperolehi dari julat 0.030 – 0.120 mg/ml dan 0.015 – 0.060 masing – masing bagi aspirin dan clopidogrel dengan nilai pekali korelasi adalah 0.9999. Dalam kajian ini, kestabilan kaedah KCPT- indikator bagi gabungan analit diuji di bawah pelbagai tekanan seperti hidrolisis asid, hidrolisis bes, pengoksidaan, termal dan tekanan fotolitik seperti yang dicadangkan oleh garis panduan ICH.

Kata kunci: kromatografi cecair prestasi tinggi fasa terbalik, kestabilan kaedah indikator, aspirin, clopidogrel

References

- Trialists’Collaboration, A. (2002). Collaborative meta-analysis of randomised trials of antiplatelet therapy for prevention of death, myocardial infarction, and stroke in high risk patients. British Medical Journal, 324(7329): 71 – 86.

- Kong, D. F., Califf, R. M., Miller, D. P., Moliterno, D. J., White, H. D., Harrington, R. A. and Topol, E. J. (1998). Clinical outcomes of therapeutic agents that block the platelet glycoprotein IIb/IIIa integrin in ischemic heart disease. Circulation, 98(25): 2829 – 2835.

- Boersma, E., Harrington, R. A., Moliterno, D. J., White, H., Théroux, P., Van de Werf, F. & Simoons, M. L. (2002). Platelet glycoprotein IIb/IIIa inhibitors in acute coronary syndromes: a meta-analysis of all major randomised clinical trials. The Lancet, 359 (9302): 189 –198.

- Yusuf, S., Zhao, F., Mehta, S. R., Chrolavicius, S., Tognoni, G. and Fox, K. K. (2001). Clopidogrel in Unstable Angina to Prevent Recurrent Events Trial Investigators. Effects of clopidogrel in addition to aspirin in patients with acute coronary syndromes without ST-segment elevation. New England Journal Medicine, 345(7):  494 –502.

- Mehta, S. R., Yusuf, S., Peters, R. J., Bertrand, M. E., Lewis, B. S. and Natarajan, M. K. (2001). Clopidogrel in Unstable Angina to Prevent Recurrent Events Trial (CURE) Investigators. Effects of pretreatment with clopidogrel and aspirin followed by long-term therapy in patients undergoing percutaneous coronary intervention: the PCI-CURE study. The Lancet, 358 (9281): 527 – 533.

- PURSUIT Trial Investigators. (1998). Inhibition of platelet glucoprotein IIb/IIIa with eptifibatide in patients with acute coronary syndromes. Platelet glycoprotein IIb/IIIa in unstable angina. Receptor suppression using integrilin therapy. New England Journal Medicine, 339: 436 – 443.

- PRISM Study Investigators. (1998). A comparison of aspirin plus tirofiban with aspirin plus heparin for unstable angina. New England Journal Medicine, 338 (21): 1498 – 505.

- GUSTO IV-ACS Investigators. (2001). Effect of glycoprotein IIb/IIIa receptor blocker abciximab on outcome in patients with acute coronary syndromes without early coronary revascularisation: the GUSTO IV-ACS randomised trial. The Lancet, 357(9272): 1915 –1924.

- Ragmin, F. (1999). Fast Revascularisation during InStability in Coronary artery disease (FRISC II) Investigators. Invasive compared with non-invasive treatment in unstable coronary-artery disease: FRISC II prospective randomised multicentre study. The Lancet, 354(9180):  708 – 715.

- Wallentin, L., Lagerqvist, B., Husted, S., Kontny, F., Ståhle, E. and Swahn, E. (2000). Outcome at 1 year after an invasive compared with a non-invasive strategy in unstable coronary-artery disease: the FRISC II invasive randomised trial. The Lancet, 356(9223):  9 –16.

- Cannon, C. P., Weintraub, W. S., Demopoulos, L. A., Vicari, R., Frey, M. J., Lakkis, N. and Braunwald, E. (2001). Comparison of early invasive and conservative strategies in patients with unstable coronary syndromes treated with the glycoprotein IIb/IIIa inhibitor tirofiban. New England Journal of Medicine, 344 (25): 1879 –1887.

- Berkowitz, S. D., Granger, C. B., Pieper, K. S., Lee, K. L., Gore, J. M., Simoons, M. and  Califf, R. M. (1997). Incidence and predictors of bleeding after contemporary thrombolytic therapy for myocardial infarction. Circulation, 95 (11):  2508 – 2516.