QUANTIFICATION OF CATECHIN IN LEAVES AND STEMS OF 

MALAYSIAN Uncaria gambir (HUNTER) ROXB. BY HPLC- DAD

(Kuantifikasi Catechin dalam Daun dan Batang Uncaria gambir (Hunter) Roxb. dari Malaysia Menggunakan KCPT-PSD)

Nurliayana Ibrahim1, Nurul Zulaikha Mohd Yusoff1, Rohaya Ahmad1, 2 *
1Faculty of Applied SciencesUniversiti Teknologi MARA (UiTM), 
40450 Shah Alam, Selangor, Malaysia
2Atta-ur-Rahman Institute for Natural Products Discovery (AuRins)

 Universiti Teknologi MARA, 43600 Bandar Puncak Alam, Selangor, Malaysia
*Corresponding author: rohayaahmad@salam.uitm.edu.my
Abstract

Recently, we reported the isolation of a novel flavonoid named uncariechin along with epicatechin and epiafzelechin from the leaf extract of Uncaria longiflora variety pteropoda (Miq.) Ridsd. of the family Rubiaceae. Continuing our investigation on the Uncaria genus, the identification and quantification of its phytoconstituents was carried out. The species of particular interest is the Malaysian Uncaria gambir. This species is distributed mainly in Malaysia and Indonesia and has been cultivated for the flavonoid catechin in Indonesia. Hence, the objective of this study is to determine the quantity of catechin in hexane (Hx), dichloromethane (DCM) and methanol (MeOH) extract in both stem and leaf parts of the plant via HPLC-DAD. Finding result indicates that catechin is present in higher amounts in the MeOH extract [8.64 % (leaves); 5.12 % (stems)] compared to the DCM extract [0.77 % (leaves); 0.92 % (stems)] with no catechin found in the hexane extract. This is the first report of the quantification of catechin from Malaysian U. gambir using HPLC-DAD. The method can be used for the quantification of flavonoids from other Uncaria and related genus and is useful for targeted isolation of interest flavonoids.

Keywords: Uncaria gambir, catechin, flavonoid, high performance liquid chromatography-diode array detector
Abstrak

Kami telah melaporkan pengasingan satu flavonoid novel iaitu uncariechin bersama-sama dengan epicatechin dan epiafzelechin daripada ekstrak daun Uncaria longiflora var. pteropoda (Miq.) Ridsd. yang tergolong dalam famili Rubiaceae. Lanjutan terhadap penyelidikan dalam genus ini, pengenalan identiti terhadap sebatian serta kuantitinya dijalankan, Ia memberi pengkhususan terhadap spesies Uncaria gambir dari Malaysia. Spesies ini banyak dijumpai di Malaysia dan Indonesia dan telah ditanam di Indonesia untuk flavonoid catechin. Maka, objektif penyelidikan ini adalah penentuan kuantiti catechin dalam ekstrak heksana (Hx), diklorometana (DCM) dan metanol (MeOH) dari batang dan juga daun Uncaria gambir dengan menggunakan KCPT-PSD. Hasil penyelidikan mendapati bahawa catechin banyak dijumpai di dalam ekstrak metanol [8.64 % (daun); 5.12 % (batang)] berbanding di dalam ekstrak diklorometana [0.77 % (daun); 0.92 %(batang)] tetapi tidak dikesan dalam ekstrak heksana. Ini merupakan laporan pertama bagi kuantifikasi catechin daripada U. gambir tempatan melalui KCPT-PSD. Kaedah ini boleh digunakan untuk kuantifikasi flavonoid dari spesies Uncaria lain dan genus berkaitan, malah berguna untuk pengasingan flavonoid sasaran.

Kata kunci: Uncaria gambir, catechin, flavonoid, kromatografi cecair prestasi tinggi – pengesan susunan diod  
Introduction
Uncaria genus comes from family of Rubiaceae and has been known for their medicinal and therapeutic properties. This genus represents 34 species which is widely distributed in tropical regions and about 14 species are available in Malaysia [1]. The most popular among local Uncaria species is Uncaria gambir. Malaysian Uncaria species have been reported to have antioxidant properties due to their flavonoids [2]. Catechin is a flavonoid frequently used as a chemical marker in the analysis of flavonoids in Uncaria. The choice of catechin as a marker flavonoid is due to its abundancy in Uncaria gambir [3]. Previous study on the quantification of flavonoids from crude the extract sample showed five flavonoids are present in Uncaria gambir which are (-)-epigallocatechin, (-)-gallocatechin, (+)-catechin hydrate, (-)-epicatechin and (-)-epicatechin gallate [4]. Quantification of catechin on Uncaria gambir especially Malaysian’s Uncaria gambir has not been reported. There has been some report on quantification of catechin in the leaves of Uncaria gambir collected from West Sumatera but no report has been found on the stems and leaves of Malaysian Uncaria gambir. 
Thus, the objectives of this study are to obtain HPLC profiles and to quantify the amount of catechin in hexane, dichloromethane and methanol extracts of leaves and stems of Uncaria gambir. This study provides beneficial information regarding catechin content in the leaves and stems of Malaysian Uncaria gambir and knowledge on quantification of flavonoids by High Performance Liquid Chromatography (HPLC).

Materials and Methods
Chemicals and raw materials 
The reference compound, catechin was purchased from Sigma-Aldrich (India). The purity of the reference compound was over 95 %. HPLC-grade acetonitrile was purchased from RCL Labscan Limited (Bangkok, Thailand). HPLC-grade methanol and formic acid 98 % pure were purchased from Merck (Darmstadt, Germany). HPLC-grade hexane and HPLC-grade dichloromethane were purchased from Merck (USA) and Fisher Scientific (UK). Ultra-pure water, 18 MΩ-cm resistances, filtered through a 0.2 μm filter by Thermo Scientific (referred to here as deionized water). Trifluoroacetic acid (TFA), 99 % pure was purchased from Merck (Hohenbrunn, Germany).

Uncaria gambir was collected from Bukit Diman, Ajil, Terengganu, Malaysia. Voucher specimens (HTBP 4320) were deposited at the Herbarium Taman Botani, Putrajaya, Malaysia.

Preparation of reference and sample solutions for quantification and identification
Standard catechin was accurately weighed and dissolved in 0.05 % formic acid in 70 % methanol to make a stock solution with concentration of 1.0 mg/ml. Appropriate volumes of the stock standard was added into the appropriate volume of 0.05 % formic acid in 70 % MeOH to prepare a mix working standard. The mixed standard was stored at 4 oC in the dark.

For sample preparation, dried leaves and stems of U. gambir were ground into fine powder. The finely ground plants materials were accurately weighed and macerated individually with MeOH for 72 hours at room temperature. The solvent was evaporated off under reduced pressure. A 10 g of crude methanolic Uncaria gambir extract (stems and leaves) was dissolved in H2O: MeOH (1:1) and was put in a separatory funnel. The mixture was then subjected to liquid – liquid partitioning using Hx and DCM to yield Hx, DCM and MeOH extracts after solvent evaporation. The weight of the extracts was recorded. The extracts were stored at 4 oC until they were subjected to HPLC analysis. 

For quantification, an amount 1.0 mg of each extracts was accurately weighed and dissolved in 1.0 ml of 0.05 % formic acid in 70 % MeOH. The solutions were then filtered through a 0.2 μm membrane filter before being injected into HPLC for analysis.
HPLC-DAD quantitative analysis  

HPLC quantitative analysis was performed on an Agilent series 1200 LC system (Agilent Technologies, USA) equipped with a quaternary solvent delivery system, an on-line degasser, a diode-array detector (DAD) system performing the wavelength scanning from 190 to 400 nm, a injector with 20 μL sample loop and a column compartment. Separation was carried out using a Zorbax Eclipse XDB-C18 column (250 mm x 4.6 mm, i.d. 5 μm), from Agilent Technologies (USA). Column temperature was maintained at 25 oC. Elution was conducted using mobile phase A (0.1 % TFA in 5 % acetonitrile) and mobile phase B (0.1 % TFA in acetonitrile) with a gradient elution program at a flow rate of 0.8 mL/min. The following gradient was applied: 0-10 min 88 – 82 % A, 10-15 min isocratic gradient 82 % A, 15 – 30 min 50 % A. The UV absorbance was monitored at wavelength of 280 nm. The solvents for the mobile phases were filtered through a 0.45 μm membrane filter. 10 μL of each sample and standard was injected manually to the HPLC system. The data were processed with Agilent ChemStation software (Agilent Technologies, USA).

Method validation 
Linearity was measured at six concentration levels for each standard. Each solution was tested in triplicates. Calibration curves were constructed by plotting the peak area versus concentration of each standard. Acceptability of linearity data was determined by the correlation coefficient, r2. Limits of detection (LOD) and quantification (LOQ) for each standard were calculated based on linear regression method. Accuracy was determined by analyzing the percentage recovery for the catechin flavonoid in the U. gambir leaf extract by spiking the raw material with reference standards at three levels. Three replicates were performed for each analysis. Variations of all the tests were expressed in terms of relative standard deviation (% RSD).

Results and Discussion

Validation of HPLC method
The HPLC method for quantification was validated and the results are summarized in Tables 1 – 2, respectively. As seen in Table 1, the calibration curve demonstrated good linearity with r2 ≥ 0.981. The LODs and the LOQs were found to be 2 mg/L and 6 mg/L, respectively, showing good sensitivity of the method. The recovery test represented in Table 2 ranged from 80.1 – 88.1 %, showed good accuracy of the method.

Table 1. Figure of merits of catechin

	Analyte
	Concentration range (mg/L)
	Regression equation 
	Correlation coefficient (r2)
	Limit of 

detection 

(mg/L)
	Limit of 

quantification (mg/L)

	Catechin
	2 – 100
	y = 8.7935x + 22.615
	0.981
	2
	6


Table 2. Recovery of catechin

	Analyte
	Concentration level (mg/L)
	Percent recovery 
(%)

	Catechin
	25
	88.10 ± 1.13

	
	50
	80.10 ± 0.71

	
	75
	82.30 ± 0.71


Quantification of flavonoids
Catechin was successfully determined and quantified from the hexane, dichloromethane and methanol leaf and stem extracts of Malaysian U. gambir using the developed HPLC-DAD method. The chromatogram was shown in Figure 1 and Figure 2, respectively. The peak from the extracts was determined by comparison of the UV-vis spectra and the retention times with the authentic standard. The purity of the peak was ascertained by the singularity of the peak component. 

[image: image1.png]280,16 Ref=360,100 (NURUL 1302141STD001040.0)
mau

@

catechin
—" 5.960 min

£

EY
Y

0




[image: image2.png]mau

280,16 Ref=360,100 (NURUL 13021415 TDO00SSS.D)

catechin
_—" 5.934 min





[image: image3.png]mau

o

@

Y

280,16 Ref=360,100 (NURUL 130214%

o
o
&
<3
g
5
o
=8
T
&

0

15

B

%

B









Figure 1. HPLC chromatograms of U. gambir (a) MeOH extract (b) Hx extract and (c) DCM extract of the leaves

Quantification of catechin was performed using the external standard method. The relationship between the amount of standard solution (concentration) and detector responses (peak area) were plotted to construct the calibration curve. The data was fitted by linear least squares to determine response equation. 

Recently, a study done by Amir et al. [5] on U. gambir collected in Indonesia found that the estimated total flavonoid content of this plant using the aluminium chloride colorimetric method to be 5.82 ± 2.23 mg rutin equivalents (RE)/g dry weight. In addition, the catechin content of four sub-species of Indonesian U. gambir known as gambir cubadak, gambir udang, gambir riau mancik and gambir riau gadang had been earlier determined by HPLC [6]. They had found that the catechin content of the respective sub-species was 104.5, 101.2, 99.4 and 108.5, 104.5 μg/ml, respectively. However, the initial concentration of the extract was not specified. Hence, the content of catechin in μg/mg could not be determined for comparison. 




Figure 2. HPLC chromatograms of U. gambir of (a) MeOH extract, (b) Hx extract and (c) DCM extract (C) of the stems
As far as our knowledge, the quantification of the catechin in Uncaria gambir from the Malaysian population has not yet been determined by HPLC methods. The contents of catechin obtained in each leaf and stem extracts are shown in Table 3 and Table 4, respectively.  Catechin was present in higher amounts in the MeOH extract compared to Hx and DCM extracts. It was suggested that polar compounds in plant matrix would be easier to extract with more polar solvent such as MeOH. The amount of catechin present in MeOH leaf extract was 86.35 mg/g while in MeOH stem extract was 51.20 mg/g. The DCM extract showed that reasonable amounts of catechin can be extracted from the leaves and stems with 7.71 mg/g and 9.19 mg/g respectively. This is because DCM is a moderately polar compound, thus it has the ability of ‘like dissolve like’ between the polar compounds. The Hx extract indicated that the amount of catechin cannot be quantified since the peak area was below limit of quantification. Furthermore, by comparing stems and leaves of Uncaria gambir, the amount of catechin present in leaf extracts are higher than in the stem extracts with an average amount of 94.06 g/kg and 60.39 g/kg plant material correlating to 9.406 % and 6.039 %, respectively. 

Table 3. Contents of catechin in leaf extract of U. gambir (mg/g)

	Sample
	Retention times (min)
	Area
(mAU* s)
	Amount of catechin (mg/g)
	Percentage of catechin (%)

	MeOH extract
	6.027 ± 0.020
	782.3 ± 3.5
	86.35 ± 0.35
	8.635

	DCM extract
	5.942 ± 0.070
	90.4 ± 1.4
	7.71 ± 0.16
	0.771

	Hx extract
	5.913 ± 0.050
	11.0 ± 0.8
	N/A
	N/A


± is standard deviation value, N/A is non-applicable (below the limit of quantification)
Table 4. Contents of catechin in stem extract of U. gambir (mg/g)

	Sample
	Retention times (min)
	Area 
(mAU* s)
	Amount of catechin (mg/g)
	Percentage of catechin (%)

	MeOH extract
	5.901 ± 0.0800
	473.05 ± 1.06
	51.20 ± 0.14
	5.120

	DCM extract
	5.918 ± 0.110
	103.40 ± 1.06
	9.19 ± 0.12
	0.919

	Hx extract
	5.920 ± 0.020
	22.60 ± 0.49
	N/A
	N/A


± is standard deviation value, N/A is non-applicable (below the limit of quantification)

Conclusion
A HPLC-DAD method was successfully developed and validated for the analysis of catechin in Malaysian U. gambir. The developed LC method is proven to be an efficient, selective and rapid analytical method for the quantification of catechin in the hexane, dicloromethane and methanol leaf and stem extracts of the plant. Catechin can be found in each of the three extract in different amounts. This is the first report on the quantification of flavonoids from Malaysian U. gambir. The method can be used for the quantification of flavonoids from other Uncaria and related genus and useful for targeted isolation of interest flavonoids.
Acknowledgement
We wish to thank the Ministry of Science, Technology and Innovation Malaysia (MOSTI) for the research grant (02-01-01-SF 0563) under E-Science fund and Universiti Teknologi MARA (UiTM) for providing us with facility.

References

1. Risdale C. E. (1978). A revision of Mitragyna and Uncaria (Rubiaceae). Blumea, 24: 43 – 100.
2. Salim, F., Zain, M. M., Ridzuan, M. S. M., M., Langat, K., Mulholland, D. and Ahmad, R. (2013). Flavan-3-ols from the  leaves of Malaysian Uncaria longiflora var. pteropoda (Miq.) Ridsd. Phytochemistry Letters, 6: 236 – 240.
3. Taniguchi, S., Kuroda, K., Doi, K., Inada, K., Yoshikado, N., Yoneda, Y., Tanabe, M., Shibata, T., Yoshida, T. and Hatano, T.  (2007). Evaluation of gambir quality based on quantitative analysis of polyphenolic constituents. Yakugaku Zasshi, 127 (8): 1291 – 1300.
4. Kassim, M. J., Hussin, M. H., Achmad, A., Hazwani, D., Kim, S. T. and Hamdan H. S. (2011). Determination of total phenol, condensed tannin and flavonoid contents and antioxidant activity of Uncaria gambir extracts. Majalah Farmasi Indonesia, 22(1): 50 – 59.
5. Amir, M., Mujeeb, M., Khan, A., Ashraf, K., Sharma, D. and Aqil M. (2012). Phytochemical analysis and in vitro antioxidant activity of Uncaria gambir. International Journal of Green Pharmacy, 6: 67 –72.
6. Anggraini, T., Tai, A., Yoshino, T. and Itani T. (2011). Antioxidative activity and catechin content of four kinds of Uncaria gambir extracts from West Sumatra, Indonesia. African Journal of Biochemistry Research, 5: 33 – 38. 
(a)





(b)





(c)











(a)





(b)





(c)








