# Malaysian Journal of Analytical Sciences Vol 21 No 1 (2017): 27 - 36

# A SINGLE HPLC METHOD FOR SEPARATION OF OLIGOSTILBENES FROM DIFFERENT DIPTEROCARPACEAE EXTRACTS

# (Kaedah KCPT untuk Pemisahan Oligostilbene dari Ekstrak Dipterocarpaceae yang Berbeza)

# Erni Muis1, Rohaity Ramli1,2, Nurhuda Manshoor1,2*

1Faculty of Pharmacy

# 2Atta-ur-Rahman Institute for Natural Products Discovery

# Universiti Teknologi MARA Selangor, Puncak Alam Campus, 43200 Puncak Alam, Selangor, Malaysia

*Corresponding author: nurhuda15@salam.uitm.edu.my

Received: 3 October 2016; Accepted: 24 November 2016

Abstract

# One standard chromatographic conditions of HPLC was developed for different Dipterocarpaceae plant extracts. The purpose of this study is to achieve an optimized chromatographic method that is able to produce a reasonably good separation and resolution of oligostilbenes in plant crude extracts. For this purpose, five model samples of Dipterocarpaceae extracts, Shorea parvifolia, Shorea ovalis, Dipterocarpus crinitus, Dipterocarpus gracilis and Hopea spp. were used. The parameters, which include types of chromatographic solvents, types of mobile phase elution, solvent composition and the injection volumes, were modified. The results showed that the optimum chromatographic conditions were achieved when a gradient elution was adopted, with the solvent composition of H2O: ACN from 95:5 to 25:75 in 20 minutes. The injection volume of 5 μL is best for a 1 mg/ml sample concentration. The temperature was maintained at 35 °C and the flow rate was at 1.0 ml/min. Some compromises were taken into account such as having less accurate method if compared with a single method developed for single extract or sample. The method showed positive results when tested on 10 extracts of the same family from different plant parts and localities.

# Keywords:  dipterocarpaceae, Shorea spp., Dipterocarpus spp., chromatography, high performance liquid chromatography

# Abstrak

# Satu kaedah piawai untuk keadaan kromatografi KCPT telah dibina untuk ekstrak dari tumbuhan Dipterocarpaceae yang berlainan. Tujuan kajian ini ialah untuk mencapai satu kaedah kromatografi optimum yang dapat menghasilkan pemisahan komponen oligostilbene dari ekstrak tumbuhan dengan resolusi yang baik. Untuk tujuan ini, lima sampel ekstrak tumbuhan Dipterocarpaceae, Shorea parvifolia, Shorea ovalis, Dipterocarpus crinitus, Dipterocarpus gracilis dan Hopea spp. telah digunakan sebagai model. Parameter yang merangkumi jenis pelarut, jenis aliran fasa bergerak, komposisi pelarut dan isipadu suntikan sampel telah diubahsuai. Keputusan menunjukkan kaedah kromatografi yang sesuai berjaya dicapai apabila aliran bercerun digunakan dengan komposisi pelarut H2O: ACN dari 95:5 kepada 25:75 di dalam masa 20 minit. Isipadu suntikan 5 μL adalah sesuai untuk larutan sampel berkepekatan 1 mg/ml. Suhu turus ditetapkan pada 35 °C dan kadar aliran fasa bergerak adalah pada 1.0 ml/min. Walaubagaimanapun, resolusi setiap kromatogram tidak sebaik dan sejitu apabila kaedah berlainan dibangunkan untuk setiap sampel secara individu. Kaedah ini telah telah menunjukkan keputusan yang positif apabila diuji ke atas sepuluh ekstrak lain dari famili tumbuhan yang sama. Sampel ujian tersebut adalah dari bahagian tumbuhan yang berlainan dan dari kawasan pensampelan yang berbeza.

# Kata kunci:  dipterocarpaceae, Shorea spp., Dipterocarpus spp., kromatografi, kromatografi cecair prestasi tinggi

References

- Ito, T. (2011). Structures of oligostilbenoids in dipterocarpaceaeous plants and their biological activities. Yakugaku Zasshi, 131(1): 93 – 100.

- Ito, T., Akao, Y., Tanaka, T., Iinuma, M. and Nozawa, Y. (2002). Vaticanol C, a novel resveratrol tetramer, inhibits cell growth through induction of apoptosis in colon cancer cell lines. Biological and Pharmaceutical Bulletin, 25(1): 147 – 148.

- Zuraida, W., Ahmat, N., Hazana, N. and Ainaa, N. (2011). The evaluation of antioxidant, antibacterial and structure identification activity of trimer resveratrol from Malaysia’s Dipterocarpaceae.  Australian Journal of Basic and Applied Scienc,e 5(5): 926 – 929.

- Bayach, I., Manshoor, N., Sancho-Garcia, J. C., Choudhary, M. I., Trouillas, P., Weber, J. F. F. (2015). Oligostilbenoids from the heartwood of N. heimii and insights in their biogenesis. Chemistry - An Asian Journal, 10: 198 – 211.

- Boligon, A. A. and Athayde, M. L. (2014). Importance of HPLC in analysis of plants extracts. Austin Chromatography, 1(3): 2 – 3.

- Bucar, F., Wube, A. and Schmid, M. (2013). Natural product isolation–how to get from biological material to pure compounds. Natural Product Reports, 30(4): 525 – 545.

- Prathap, B., Dey, A., Srinivasarao, G. H., Johnson, P. and Arthanariswaran, P. A. (2013). Review-importance of RP-HPLC in analytical method development. International Journal of Novel Trends in Pharmaceutical Sciences, 3: 15 – 23.

- Manshoor, N. and Weber, J. F. F. (2015) Mass spectrometric analysis for discrimination of Diastereoisomers. Mass Spectrometry Letters, 6(4): 99 – 104.

- Manshoor, N. and Weber J. F. F. (2015) Mass fragmentation patterns as fingerprints for positive identification of polyphenolic compounds in a crude extract. Mass Spectrometry Letters, 6(4): 105 –111.

- Moghbel, N., Ryu, B. and Steadman, K. J. (2015). A reversed-phase PLC-UV method developed and validated for simultaneous quantification of six alkaloids from Nicotiana spp. Journal of Chromatography B, 997: 142 – 145.

- Al-Hroub, H., Alkhawaja, B., Alkhawaja, E. and Arafat, T. (2015). Sensitive and rapid HPLC-UV method with back-extraction step for the determination of sildenafil in human plasma. Journal of Chromatography B, 1009: 1 – 6.

- Sila-on, W., Na-Ranong, S., Rakrod, S., Ornlaor, S. and Joungmunkong, Z. (2015). Development and validation of RP-HPLC method for determination of acetazolamide, furosemide and phenytoin extemporaneous suspensions. Asian Journal of Pharmaceutical Sciences, 11: 138 – 139.

- Ito, T., Nishiya, K., Oyama, M., Tanaka, T., Murata, J., Darnaedi, D. and Iinuma, M. (2013). Novel isolation of resveratrol dimer O-glucosides with enantiomeric aglycones from the leaves of Shorea cordifolia. Phytochemistry Letters, 6(4): 667 – 670.

- Ito, T., Hara, Y., Oyama, M., Tanaka, T., Murata, J., Darnaedi, D. and Iinuma, M. (2012). Occurrence of bergenin phenylpropanoates in Vatica bantamensis. Phytochemistry Letters, 5(4): 743 – 746.

- Morikawa, T., Chaipech, S., Matsuda, H., Hamao, M., Umeda, Y., Sato, H. and Pongpiriyadacha, Y. (2012). Antidiabetogenic oligostilbenoids and 3-ethyl-4-phenyl-3, 4-dihydroisocoumarins from the bark of Shorea roxburghii. Bioorganic & Medicinal Chemistry, 20(2): 832 – 840.

- Dolan, J. W. (2000). Starting out right, Part VI-the scouting gradient alternative. LC GC Europe, 13(6): 388 – 395.

- Eisenbeiss, F., Ehlerding, S., Wehrli, A. and Huber, J. F. K. (1985). Optimization of throughput in preparative column liquid chromatography by column overloading and partial fractionation of the effluent. Chromatographia, 20(11): 145 – 145.

- Ren, D. B., Yang, Z. H., Liang, Y. Z., Fan, W. and Ding, Q. (2013). Effects of injection volume on chromatographic features and resolution in the process of counter-current chromatography. Journal of Chromatography A, 1277: 7 – 14.