OPTICAL CHEMICAL SENSOR OF Cd(II) IN WATER BASED

ON 1-(2-PYRIDYLAZO)-2-NAPHTOL IMMOBILIZED ON

POLY-METHYL METHACRYLATE AND

2-NITROPHENYL OCTYL ETHER MATRIX

(Sensor Kimia Optik untuk Penentuan Cd(II) dalam Air Berasaskan

1-(2-Piridilazo)-2-Naftol yang Dipegun dalam Matriks

Poli-Metil Metaakrilat dan 2-Nitrofenil Oktil Eter)

Moersilah1,2, Dwi Siswanta1, Roto Roto1, Mudasir Mudasir1*

1Department of Chemistry, Faculty of Mathematics and Natural Sciences

Universitas Gadjah Mada, Sekip Utara, Yogyakarta, 55281 Indonesia

2Department of Chemistry, Faculty of Mathematics and Science,

State University of Jakarta, Jl. Pemuda No. 10 Jakarta Timur, Jakarta, Indonesia

*Corresponding author: mudasir@ugm.ac.id

Abstract

An optical chemical sensor for determination of Cd(II) in aqueous solution has been developed by immobilizing 1-(2-pyridylazo)-2-naphtol (PAN) in poly-methyl methacrylate (PMMA) as a matrix and 2-nitrophenyl octyl ether (NPOE) as a plasticizer. The adsorption of Cd(II) causes the color of the membrane to change from yellow to red-orange with the maximum absorbance (λmax) at 556 nm. The sensor membrane gives the best response towards Cd(II) ion at pH 8.5,  after 120 minutes of contact time, at 2 ppm Cd(II), and 2 mL solution. A linear Cd(II) calibration curve can be developed in the concentration range of 0.8 – 1.8 ppm with R2 = 0.960. The limit of the detection and limit of quantification are 0.041 ppm and 0.126 ppm, respectively. The molar absorptivity is found to be 2.3 x 105 L mol-1 cm-1.  The proposed sensor membrane has been applied to the determination of Cd(II) in the river water with internal standard addition method. The observed percent recovery is in the range of 100.24 – 107.52%.

Keywords: Optical chemical sensor, 1-(2-pyridylazo)-2-naphtol, Cd(II) analysis,  poly-methyl methacrylate

Abstrak

Reagen 1-(2-piridilazo)2-naftol (PAN) yang dipegun dalam poli-metil metaakrilat (PMMA) dengan 2-nitrofenil oktil eter (NPOE) sebagai pemplastik untuk sensor kimia optik bagi penentuan ion Cd(II) dalam larutan akues telah dibangunkan. Jerapan ion Cd(II) telah menyebabkan penukaran warna dari kuning menjadi merah-oren dengan serapan maksimum pada (λmax) iaitu 556 nm. Membran sensor memberikan tindak balas maksimum apabila dicelupkan dalam larutan Cd(II) pada pH 8.5, selepas 120 minit masa sentuhan pada kepekatan 2 ppm Cd(II) dan 2 ml isipadu larutan. Berdasarkan kajian yang dijalankan, julat linear lengkung kalibrasi kepekatan ion Cd(II) ialah 0.8 – 1.8 ppm dan nilai R2 = 0.960. Had pengesanan dan pengkuantitian yang diperolehi masing – masing ialah 0.041 ppm dan 0.126 ppm. Daya penyerapan molar dikira pada 2.3 x 105 L mol-1 cm-1. Membran sensor ini telah dikaji untuk menentukan kepekatan Cd(II) dalam air sungai yang dipaku kaesah larutan piawai dalam. Ia telah menghasilkan pemulihan semula pada nilai 100.24 – 107.52%.

Kata kunci: Sensor kimia optik, 1-(2-piridilazo)2-naftol, analisis Cd(II), poli-metil metaakrilat

Introduction

Cadmium (Cd) is one of the heavy metals that can pollute the environment even in a trace amount. Cd(II) ion in water also has a significant influence towards water quality and public health. The maximum permitted contents of Cd in waste and drinking water are 0.1 and 0.05 ppm, respectively [1]. Cd is harmful to health since it is both toxic and carcinogenic [2-4]. Therefore, a simple, rapid, sensitive and low-cost method of analysis is required for monitoring Cd(II) content in the environment.

The conventional standard methods for metal determination are atomic absorption spectrophotometer (AAS) and Flame-AAS [5, 6]. These methods are sensitive and selective. However, it is relatively expensive and requires a skilled person to do the job. The chemo-optic sensor is an alternative method for metal analysis. It is part of the green analytical methods since it can significantly reduce energy consumption, organic solvents, and gas emission. Therefore, it is much more environmentally friendly [7-10].

Several studies on optical chemical sensors have been carried out based on the immobilization of colored complexing reagents in an appropriate polymer membrane. For example, an optical chemical sensor for Cd(II) determination has been developed using various techniques such as in cellulose acetate membrane by immobilization of 1-(2-piridilazo)-2-naftol (PAN) [11], 2-amino-cyclopentene-1-dithiocarboxylic acid (ACDA) [12], and dithizone [13]. Immobilization of PAN in the poly-methyl methacrylate membrane has been applied in the determination of Cd(II), Ni(II), Cu(II), Zn(II), Pb(II), and Co(II) [14, 15]. Also, polyvinyl chloride (PVC) based chemo-optic sensor as a matrix for pyridylazo resorcinol (PAR) using tributhyl phosphate (TBP) as a plasticizer for Th(III) determination has also been described by Ensafi and Fouldagar [16].

1-(2-piridilazo)-2-naftol (PAN) possesses azo-nitrogen and OH groups (Figure 1). It reacts with transition metals to form a colorful complex. PAN is an unselective coloring reagent. However, its selectivity over other metal ions can be enhanced by adjusting the pH of the solution in accordance with the targeted metal ions [17]. Cd(II) in alkaline media forms a stable color complex with PAN, which can be extracted into organic solvents [17, 18].

Figure 1. Molecular structure of PAN

In this study, we have developed a chemo-optic Cd(II) sensing method, which is simple, safe, inexpensive, environmentally friendly and oriented to green analytical chemistry. The sensing membrane is developed based on immobilization of PAN in poly-methyl methacrylate (PMMA) membrane using 2-nitrophenyl octyl ether (NPOE) as plasticizer.

Materials and Methods

Chemicals and instruments

Cadmium(II) nitrate [Cd(NO3)2], sodium hydroxide (NaOH), hydrochloric acid (HCl), copper(II) chloride (CuCl2), zinc(II) nitrate [Zn(NO3)2], nickel(II) nitrate [Ni(NO3)2], iron(III) chloride (FeCl3) and tetrahydrofuran (THF) were obtained from Merck.  1-(2-pyridylazo)-2-naphtol (PAN) and 2-nitrophenyl octyl ether (NPOE) were analytical grades and purchased from Sigma-Aldrich. Poly-methyl methacrylate (PMMA) was obtained by synthesis with an average molecular weight of about 220,000. The double distilled water was used as a solvent throughout the UV-Visible spectrophotometric measurements. The pH of the solution was adjusted by drop wise addition of either 0.1 M NaOH or 0.10 M HCl and monitored by using Thermo Scientific (ORION 4 STAR, pH-ISE Portable) pH-meter. A Shimadzu UV-Visible spectrophotometer UV-2450 model and A Shimadzu FTIR spectrophotometer, Prestige-21 type model, were used to measure the UV-Visible and FTIR spectra.

Preparation of sensor membrane

The sensor membrane was prepared by dissolving 0.4000 g PMMA, 0.0100 g PAN, and 120 μL NPOE in 10 mL THF, and stirring the mixture at a constant speed for 5 hours at room temperature. Subsequently, the reaction mixture was poured into a casting glass (5 cm × 12 cm) and kept at room temperature for 10 – 12 hours, until all the solvent evaporated. The membranes were released from the cast, washed with distilled water, dried at room temperature, and cut into rectangle shape (0.8 cm × 2 cm). The membrane thickness was c.a. 0.05 mm.

Characterization of sensor membrane

The FTIR spectra of PAN, NPOE, PMMA and PMMA-PAN membrane were recorded using A Shimadzu FTIR spectrophotometer.

Determination of optimum pH

The optimum pH was determined by measuring the absorbance of membranes that were previously soaked in 2 mL solution containing 2 ppm of the Cd(II) ion in the pH range of 7.0 – 9.0 for a defined time. The optimum pH was indicated by maximum absorbance at 556 nm.

Range of linearity

The linear range of absorbance of Cd(II)-PAN complex was studied at Cd(II) concentration of 0.2 – 2.0 ppm.

Interfering ions

The interfering ions including Cu(II), Zn(II), Ni(II), and Fe(III) were studied by measuring the absorbance of the solution in the presence of the interfering cations and Cd(II) in the concentration ratio of 1:1 at 556 nm and pH 8.5.

Application in water sample

The membrane was applied for analysis of Cd(II) in the stream water of “Kali Code” flowing across the City of Yogyakarta, Indonesia. A measured 100 mL of river water sample was acidified using HNO3 1.0 M until pH about 3, filtered off and stored in a propylene bottle at room temperature. For Cd(II) determination, the pH of the sample solution was adjusted to pH 8.5 by adding NaOH 0.1 M solution.  Note: “Kali Code” is the name of the river that flows across City of Yogyakarta, Indonesia, starting from Merapi Mountain in the north to the Indian Ocean in the south.

Results and Discussion

Supporting matrix stability and sensor membrane response toward Cd(II)

PMMA was chosen as a supporting matrix for PAN due to its hydrophobicity, transparency, resistance to acid, base and salt solutions [19], and low absorbance in the UV-Vis range [20]. These will keep the sensor membrane stable during analysis of Cd(II) in water and allow quantitative analysis by UV-Vis spectrophotometry.

As a ligand, PAN can form a colorful complex ion with a number of cations, that are Cd(II) [11, 14], Co(II) [15], Cr(III) [21]. The complex ions of PAN with those cations are formed through the coordination bond between -OH and azo-nitrogen groups of the phenolic ring with the cations. Based on known stoichiometry, the Cd(II)/PAN molar ratio is 1:2 [17, 22]. The reaction of metal complex formation is displayed in Figure 2.

Figure 2. Reaction scheme for the complex formation of Cd(II) – PAN

Membrane characterization

The FTIR spectra of PAN immobilized in the membrane matrix are shown in Figure 3. It is clearly shown in the Fig. 3d that PAN has been successfully incorporated into the membrane. The peak at 3441 cm-1 indicates a stretching vibration of –OH group of naphtol, whereas the peak at 2338 cm-1 is due to the N=N group. The medium peak at 1605 cm-1 is attributed to the N=O bond. Further, the peak at 1250 cm-1 suggests the presence of Caryl-O-Calkyl group. Both peaks reveal the existence of NPOE as a plasticizer in the membrane.

Figure 3. Infrared spectra of the membrane components (a) PAN, (b) NPOE, (c) PMMA and (d) PMMA-PAN membrane

The effect of pH on sensing performance

The pH of the test solutions plays an important role in obtaining a better membrane performance. The analyte solution has been subjected to pH variation, from 7.0 to 9.0. Figure 4 suggests that the solution pH of 8.5 gives the best response. It has been previously reported in many works that the best pH for Cd(II)-PAN complex formation is at pH 8.7 – 10 with λmax of 540 – 570 nm [17,22] or  λmax of 550 – 560 nm [18]. In case of optimum pH of Cd(II)-PAN complex formation in the membranes, it has also been reported that the optimum pH in the PVC membrane using NPOE as plasticizer is at pH 8.0 and λmax of 558 nm [23]. Similarly, the optimum pH in the cellulose triacetate membrane using TEHP as a plasticizer is at pH 7.5 with λmax of 553 nm [11]. Therefore, our result of optimum pH at 8.5, is in good agreement with previously reported works. For this study, the absorbance of the membrane was recorded after 105 – 125 min of reaction.

Furthermore, at optimum pH, the amount of OH- ion in the solution is larger and the donor atom in the ligand tends to release H+ ion (deprotonated) and thus becomes partially negative-charged species (L-). This condition enhances the reaction between Cd2+ or [Cd(OH)]+ in the solution and PAN  ligand in the matrix to form CdL2. On the other hand, at lower pH, large amount of H+ in the solution causes the formation of free metal ion (Mn+) and the hydroxyl group in the ligand remains protonated. This situation causes the interaction between metal ion and ligand much more difficult to occur due to charge repulsion between positive metal ion and positively protonated ligand. At higher pH (> 9.0), the absorbance is getting smaller possibly due to leaching process of PAN ligand from the membrane matrix as indicated by the red-color change of the solution. For all of the tested pH, the absorbance has been observed to reach its maximum value after 180 min of reaction.

Figure 4. The response of sensor membrane at different pH with cadmium concentration of 2 ppm (n=3)

Range of linearity

The linear range of the sensor membrane for Cd(II) analysis was examined. The Cd(II) concentration was set at 0.2 – 2.0 ppm and the obtained data are shown in Figure 5. The absorbance linearly increases along with the increasing in the Cd(II) concentration, from 0.08 – 1.8 ppm. From the curve, it has been obtained that the detection limit of Cd(II) is 0.041 ppm with  R2 = 0.960.

Figure 5. Calibration curve of Cd(II) sensor membrane. The absorbance was recorded at λ 556 nm

Response of sensor membrane

The UV-Vis spectra of sensing membrane before and after contact with Cd(II) solution are displayed in Figure 6. Before contact with Cd(II) solution, the sensor membrane has maximum absorbance (max) at 466 nm, and after contact with Cd(II) solution at pH 8.5, it shifts to 556 nm. The formation of complex Cd(II)-PAN in the sensor membrane exhibits significant bathochromic shift from 466 to 556 nm. It has been reported that the max of PAN and Cd(II)-PAN complex in chloroform is 470 nm and between 540 – 570 nm, respectively [22]. The slight difference in our results may be due to the sensitivity of PAN in different environments that lead to shift in max when it packs in the solid membrane matrices [24]. It is noteworthy to note that the cation permeability in the polymer matrix is lower than that in the solution.  This may also cause the shift of max.

For comparison, it has been reported that the max of PAN and Cd(II)-PAN complex in the CTA membrane is observed at 466 and 553 nm, respectively. The membrane was prepared by solvent mixing of 10 mL dichloromethane and 10 mL chloroform, and dried for 48 hours. By using this reported membrane, it has been found that the linear range of Cd(II) calibration curve was in the range of 0.01 – 5.0 ppm and the equilibrium time for complex formation was achieved after 150 minutes of reaction at pH 7.5 [11]. It is, therefore, obvious that our results is superior than those previously reported, especially in term of response time (120 minutes), required sample size (2 mL only), less usage solvent and shorter evaporation time, meaning that the preparation of the sensing membrane in our study produces less waste, reduces gas emission and needs shorter analysis time.

Figure 6. Absorption spectra of sensor membrane before (a) and after (b) contact with 2 ppm Cd(II) solution at pH 8.5

After contact with Cd(II) solution, the membrane color changes from yellow to red-orange as shown in Figure 7. The color intensity of the membrane increases along with the increase of the concentration of Cd(II) in the solution.

Figure 7. Progress of sensor membrane color change along with increase in Cd(II) concentration

Effect of the other cations

The response of the membrane towards Cd(II) ion in the presence of other cations such as Cu(II), Zn(II), Ni(II) and Fe(III) was tested. The experiment was conducted at the optimized conditions of Cd(II) analysis. The membrane was immersed separately in each solution containing both the interfering cation and Cd(II) ion at pH 8.5 for 120 min. The mole ratio of Cd(II)/interfering cation was set at 1:1, and the absorbance was measured at 556 nm. The results of the study are presented in Table 1.

Table 1. Effect of other cations on the sensing response

| No. | Cation | % Error* |  |
| --- | --- | --- | --- |
| 1. | Cu(II) |  | -18.92 |
| 2. | Zn(II) |  | 9.56 |
| 3. | Ni(II) |  | 2.05 |
| 4. | Fe(III) |  | 7.06 |
| 5. | Cu, Zn, Ni, Fe(III) |  | 33.35 |
| *% Error was calculated using equation, {(ACd(II)-cation - ACd(II))/A Cd(II)} x 100 % [25] ACd(II)-cation is the absorbance of sensor membrane in Cd(II) solution containing interference cation, and A Cd(II) is the absorbance of sensor membrane in Cd(II) solution without interference cation. |  |  |  |

From Table 1, it is easily understood that the co-existence of Cu(II) in the solution causes the negative error (decrease in absorbance) of about 19% against the absorbance of single solution containing Cd(II)-PAN complex. It has been reported that Cu(II) ion can form stable complex, Cu(II)-PAN with PAN but the optimum condition of the complex formation is at pH 3.2 with λmax of 550 nm [17], while the optimum complex formation for Cd(II)-PAN is at pH 8.5. Because of the large difference in the formation pH of Cu(II)-PAN and Cd(II)-PAN complexes, it is expected that the competition between the two cations to interact with PAN not occur in the solution.  The 19% decrease in absorbance of Cu(II)-PAN is most likely due to the decrease in the diffusion of the Cd(II) in the membrane sensor caused by the presence of Cu(II) ion.

Unlike Cu(II), the co-presence of Zn(II), Ni(II) and Fe(III) in the solution shows positive errors (increase in absorbance). From the literature, it is known that the best pH for the formation of Zn(II)-PAN and Ni(II)-PAN complexes is at pH 10 [22] and pH 4-10 [17], respectively. The Zn(II)-PAN in chloroform have λmax at 550 – 570 nm, which is quite close to the λmax of Cd(II)-PAN complex. Therefore, it is understandable that the co-existence of Zn(II) in the Cd(II) solution causes the absorbance of Cd(II)-PAN complex to increase.

Similarly, Fe(III)-PAN complex in chloroform can readily form at  pH 4 – 8, with λmax at 775 nm [18, 22]. The closeness of the pH for the Fe(III) complexation with that of Cd(II) causes the competition between the two cations to form related complex with the ligand, hence the co-existence of Fe(III) in the solution contributes to the increase in the absorbance of the solution containing Cd(II)-PAN.

The co-addition of Cu(II), Zn(II), Ni(II), and Fe(III) altogether in the Cd(II) solution shows a large positive increase in absorbance of about 37%, which is much higher than the sum of individual effect. This may be explained from the point of view that the formation of Zn(II)-PAN, Ni(II)-PAN and Fe(III)-PAN is more dominant/favourable compared to the formation of Cu(II)-PAN when they are present altogether, as a result, the negative effect of Cu(II) vanishes and only positive effect is observed when the four cations exist together in the Cd(II) solutions.

Analytical application of real samples

The developed membrane has been applied to the analysis of Cd(II) in the river  water of “Kali Code”. Since most of the samples do not contain Cd(II) ion, for this purpose we have used internal addition standard method and the results are displayed in Table 2. From the table, it is clearly shown that the membrane produces a good percentage of recovery in the range of 100.25 – 107.52%. It is also observable from the table that Cd(II) content  in the sample taken from location 1 and 2 could not be detected and only river water taken from location 3 contains sub-ppm of Cd(II). This result can easily be understood by considering the position of sampling points. Location 3 is located in the point where the river of “Kali Code” starts leaving city of Yogyakarta, meaning that the river water taken from this sampling point has received many waste such as domestic and industrial activities available along the river side across the city of Yogyakarta. Some of the waste may contain heavy metals including Cd(II), therefore we detected Cd(II) in this sample. On the other hand, sampling points of location 1 and 2 are in the remote area, which is far away from domestic and industrial activities, therefore it is relatively still free from any pollutants, and this is becoming the reason that we could not detect the presence of Cd(II) ion in these two samples.

Table 2. Results of the Cd(II) analysis in the river water samples

| No. | River Water Sample | Cd(II) in Water Sample (ppm) | Added Cd(II) (ppm) | Cd(II) Found (ppm) | Recovery (%) |
| --- | --- | --- | --- | --- | --- |
| 1. | Location 1 | Not detected | 1 | 1.075 ± 0.041 | 107.52 |
| 2. | Location 2 | Not detected | 1 | 1.068 ± 0.008 | 106.78 |
| 3. | Location 3 | 0.046 | 1 | 1.002 ± 0.005 | 100.25 |

Notes: “Kali Code” is the name of river that flows across the City of Yogyakarta, Indonesia, starting from Merapi Mountain in the north to the Indian Ocean in the south. Location 1: 15 km from Merapi Mountain (before entering Yogyakarta City). Location 2: 13.5 km from location 1 (start entering Yogyakarta City). Location 3: 6.7 km from location 2 (before leaving Yogyakarta City).

Conclusion

A chemo-optical sensing membrane for Cd(II) analysis has been developed by immobilization of PAN in a matrix of PMMA using NPOE as a plasticizer. The obvious change in membrane color after contact with analyte suggests the possible application of the method for qualitative detection and the linear response of absorbance along with the change in the analyte concentration provides its application in quantitative analysis. The membrane has been successfully applied to the analysis of Cd(II) in the natural water with satisfactory results as indicated by good percentage of recovery. The proposed optical chemical sensor membrane can be used as an alternative method for detection and determination of Cd(II) in ground water as well as in waste water, which offers simple, cheap, save and environmentally friendly technique. In the future, the developed sensing membrane can also be applied in periodic monitoring of Cd(II) pollution in water and may be developed for in-situ field analysis. Another possible prospective application is to develop membrane as “Cd(II) analytical kit”, which can be used for quick and real time assessment of Cd(II) in the polluted area.

Acknowledgement

The first author, Moersilah, would like to acknowledge the Ministry of Education and Culture, The Republic of Indonesia for providing doctoral scholarships. The authors thank Universitas Gadjah Mada Indonesia for the research support and facilities.

References

- Mirzaei, M. and Pili, H. B. (2015). Potentiometric determination of cadmium using coated platinum and PVC membrane sensors based on N, N′-bis (salicylaldehyde) phenylenediamine (salophen). Journal of Analytical Chemistry, 70 (6): 731 – 737.

- Manahan, S. and Manahan, S. E. (2009). Environmental Chemistry, Ninth Edition. CRC Press, London: pp. 200 – 239.

- van der Perk, M. (2006). Soil and water contamination: from molecular to catchment scale. CRC Press, London: pp. 125 – 137.

- Urek, Š. K., Frančič, N., Turel, M. and Lobnik, A. (2013). Sensing heavy metals using mesoporous-based optical chemical sensors. Journal of Nanomaterials, 8: 1 – 13.

- da Silva, M. C. H., da Silva, L. H. M. and Paggioli, F. J. (2005). A novel micellar medium using triblock copolymer for cobalt determination. Analytical Sciences, 21 (8): 933 – 937.

- Ensafi, A. A., and Shiraz, A. Z. (2008). The combination of solid phase extraction and flame atomic absorption spectrometry for trace analysis of cadmium. Brazilian Journal of Analytical Chemistry, 19 (1): 11–17.

- Manahan, S. E. (2006). Green chemistry and the ten commandments of sustainability. 2nd edition.  ChemChar Research, Inc, Columbia: pp.159 – 176.

- Koel, M., and Kaljurand, M. (2006). Application of the principles of green chemistry in analytical chemistry. Pure and Applied Chemistry, 78(11): 1993 – 2002.

- Tobiszewski, M., Mechlińska, A. and Namieśnik, J. (2010). Green analytical chemistry – theory and practice. Chemical Society Reviews, 39(8): 2869 – 2878.

- Wardencki, W. and Namiesnik, J. (2002). Some remarks on gas chromatographic challenges in the context of green analytical chemistry. Polish Journal of Environmental Studies, 11(2): 185 – 187.

- Tharakeswar, Y., Kalyan, Y., Gangadhar, B., Kumar, K. S. and Naidu, G. R. (2012). Optical chemical sensor for screening cadmium (II) in natural waters. Journal of Sensor Technology, (2): 68 – 74.

- Ensafi, A. A., and Isfahani, Z. N. (2011). A simple optical sensor for cadmium ions assay in water samples using spectrophotometry. Journal of Analytical Chemistry, 66(2): 151 – 157.

- Tavallali, H. and Kazempourfard, F. (2009). Determination of cadmium ions by designing an optode based on immobilization of dithizone on a triacetylecelluose membrane in polluted soil and water samples. Journal of the Korean Chemical Society, 53(2): 144 – 151.

- Gavrilenko, N. A. and Saranchina, N. V. (2009). Analytical properties of 1-(2-pyridylazo)-2-naphthol immobilized on a polymethacrylate matrix. Journal of Analytical Chemistry, 64(3): 226 – 230.

- Gavrilenko, N A, Saranchina, N. V. and Gavrilenko, M. A. (2015). A colorimetric sensor based on a polymethacrylate matrix with immobilized 1-(2-pyridylazo)-2-naphthol for the determination of cobalt. Journal of Analytical Chemistry, 70(12): 1475 – 1479.

- Ensafi, A. A and Fouladgar, M. (2014). A new sensitive optical bulk test-system for thallium based on pyridylazo resorcinol. Journal of Analytical Chemistry, 69(2): 143 – 148.

- Ueno, K., Imamura, T. and Cheng, K. L. (1992). Handbook of Organic Analytical Reagent. 2nd edition, CRC Press Inc, Tokyo: pp. 209 – 368.

- De, A. K., Khopkar, A. K. and Chalmers, S. M. (1970). Solvent extraction of metals. Van Nostrand Reinhold Company, London: pp. 117 – 124.

- Mohr, G. J. (2004). Polymers for optical sensors’, in Baldini, F., Chester, A. N., Homola, J. and Martellucci, S. (ed.), Optical chemical sensor, Springer, The Netherland: pp. 297 – 322.

- Hsu, S. L. (1999). Poly(methyl methacrylate), in Mark, J. E. (ed.), Polymer data handbook. Oxford University Press, Inc., Oxford: pp. 655 – 657.

- Moghimi, A. (2011). Cr(III) selective PVC membrane electrodes based on schiff base 1-(2-pyridylazo)2-naphtol complex as an ionophore. Middle-East Journal of Scientific Research, 7(2): 147 –152.

- Sandell, H. and Onishi, E. B. (1978). Photometric determination of traces of metals general aspects 4th edition, John Wiley and Sons, Inc., New York: pp. 449 – 487.

- Moersilah, M., Siswanta, D., Roto, R. and Mudasir, M. (2017). PAN-immobilized PVC-NPOE membrane for environmentally friendly sensing of Cd(II) ions. Indonesian Journal of Chemistry, 17(1): 1 – 6.

- Donagh, C. Mc., Burke, C. S. and MacCraith, B. D. (2008). Optical chemical sensors, Chemical Reviews, 108(2): 400 – 422.

- Sombatsri, S., Wittayakun, J., Sanai, K. and Kajsanthia, K. (2012). An optical sensing film for the determination of Co(II) based on disodium-1-nitroso-2-naphthol-3,6-disulfonate immobilized in chitosan film. Sensor and Actuator B: Chemical, 166 – 167: 772 – 776.