Malaysian Journal of Analytical Sciences Vol 22 No 1 (2018): 1 - 7

SIMPLE µ-SOLID PHASE EXTRACTION USING C18 FILM FOR THE EXTRACTION OF POLYCYCLIC AROMATIC HYDROCARBONS IN COFFEE BEVERAGE

# (Pengekstrakan µ-Fasa Pepejal yang Mudah Menggunakan Filem C18 untuk Pengekstrakan Hidrokarbon Aromatik Polisiklik dalam Minuman Kopi)

# Saw Hong Loh1*, Pei Ee Neoh1, Chee Tung Tai1, Sazlinda Kamaruzaman2

# 1School of Marine and Environmental Sciences,

# Universiti Malaysia Terengganu, 21030 Kuala Nerus, Terengganu, Malaysia

# 2Department of Chemistry, Faculty of Science,

# Universiti Putra Malaysia, 43400 Serdang, Selangor, Malaysia

# *Corresponding author: lohsh@umt.edu.my

Received: 6 July 2017; Accepted: 15 August 2017

Abstract

# Polycyclic aromatic hydrocarbons (PAHs) are produced as by-products in the coffee roasting process. A simple and efficient micro-solid phase extraction (µ-SPE) procedure coupled with high performance liquid chromatography and fluorescence detection has been developed for the simultaneous analysis of selected PAHs, namely phenanthrene (PHE) and benzo[a]pyrene (BaP) in coffee beverage. The method offered trace detection limits in the range of 0.003 to 0.1 µg/L and good relative recovery average in the range of 88.3 to 95.7%. The µ-SPE procedure has been simplified by employing C18 film as an adsorbent. The method is beneficial in terms of rapidity, simple operation, in-expensive, consumption of micro volumes of solvent and biodegradable agarose film as the adsorbent holder. The method was then applied to analyse five coffee beverage samples and the results indicated the presence of BaP in the range of 1.0 to 1.9 µg/L.

# Keywords:  agarose, polycyclic aromatic hydrocarbons, coffee, C18, micro-solid phase extraction

# Abstrak

# Hidrokarbon aromatik polisiklik (PAHs) dihasilkan sebagai produk sampingan dalam proses memanggang kopi. Suatu prosedur pengekstrakan mikro-fasa pepejal (µ-SPE) yang mudah dan cekap bergabung dengan kromatografi cecair berprestasi tinggi dan pengesanan pendarfluor telah dibangunkan untuk analisis serentak PAHs terpilih, iaitu fenanterena (PHE) dan benzo[a]pirena (BaP) dalam minuman kopi. Kaedah ini menawarkan had pengesanan surih dalam julat 0.003 hingga 0.1 µg/L dan purata perolehan semula relatif yang baik dalam julat 88.3 hingga 95.7%. Prosedur µ-SPE ini telah diringkaskan dengan menggunakan filem C18 sebagai penjerap. Kaedah ini berfaedah daripada aspek ianya cepat, beroperasi mudah, tidak mahal, penggunaan isipadu pelarut yang mikro dan filem agarosa yang terdegradasi-bio sebagai pemegang penjerap. Kaedah ini kemudian diaplikasikan untuk menganalisa lima sampel minuman kopi dan keputusan menunjukkan kehadiran BaP dalam julat 1.0 hingga 1.9 µg/L.

# Kata kunci:  agarosa, hidrokarbon aromatik polisiklik, kopi, C18, pengekstrakan mikro-fasa pepejal

References

- Public Health England. (2008). Polycyclic aromatic hydrocarbons (benzo[a]pyrene). General information https://www.gov.uk/government/uploads/system/uploads/attachment_data/file/341369/PAHs_General_Information_phe_v1.pdf [Accessed online on 5 July 2017].

- Oosterveld, A., Voragen, A. G. J. and Schols, H. A. (2003). Effect of roasting on the carbohydrate composition of Coffea arabica beans. Carbohydrates Polymers, 54: 83-192.

- World Health Organization. (2003). Polynuclear aromatic hydrocarbons in drinking-water. Background document for  preparation  of  WHO  Guidelines for drinking-water quality.Geneva, World Health Organization (WHO/SDE/WSH/03.04/59).

# http://www.who.int/water_sanitation_health/dwq/chemicals/pahsum.pdf [Accessed online on 5 July 2017].

- Lin, D., Tu, Y. and Zhu, L. (2005). Concentrations and health risk of polycyclic aromatic hydrocarbons in tea. Food and Chemical Toxicology, 43(1): 41-48.

- Kayali-Sayadi, M. N., Rubio-Barroso, S., Cuesta-Jimenez, M. P. and Polo-Díez, L. M. (1998). Rapid determination of polycyclic aromatic hydrocarbons in tea infusion samples by high-performance liquid chromatography and fluorimetric detection based on solid-phase extraction. Analyst, 123: 2145-2148.

- Bishnoi, N. R., Mehta, U., Sain, U. and Pandit, G. G. (2005). Quantification of polycyclic aromatic hydrocarbons in coffee and tea samples of Mumbai city (India) by high performance liquid chromatography. Environmental Monitoring and Assessment, 107: 399-406.

- Luo, D., Yu, Q., Yin, H. and Feng, Y. (2007). Humic acid-bonded silica as a novel sorbent for solid-phase extraction of benzo[a]pyrene in edible oils. Analytica Chimica Acta, 588(2): 261-267.

- Zuin, V. G., Schellin, M., Montero, L., Yariwake, J. H., Augusto, F. and Popp, P. (2006). Comparison of stir bar sorptive extraction and membrane assisted solvent extraction as enrichment techniques for the determination of pesticide and benzo[a]pyrene residues in Brazilian sugarcane juice. Journal of Chromatography A, 1114(2): 180-187.

- Loh, S. H., Chong, Y. T., Nor Afindi, K. N. and Kamaruddin, N. A. (2016). Determination of polycyclic aromatic hydrocarbons in beverage by low density solvent based-dispersive liquid-liquid microextraction-high performance liquid chromatography-fluorescence detection. Sains Malaysiana, 45(10): 1453-1459.

- Shi, Y., Wu, H., Wang, C., Guo, X., Du, J. and Du, L. (2016). Determination of polycyclic aromatic hydrocarbons in coffee and tea samples by magnetic solid-phase extraction coupled with HPLC–FLD. Food Chemistry, 199: 75-80.

- Ishizaki, A., Saito, K., Hanioka, N., Narimatsu, S. and Kataoka, H. (2010). Determination of polycyclic aromatic hydrocarbons in food samples by automated on-line in-tube solid-phase microextraction coupled with high-performance liquid chromatography-fluorescence detection. Journal of Chromatography A, 1217(35): 5555-5563.

- Loh, S. H., Sanagi, M. M., Wan Ibrahim, W. A. and Hasan, M. N. (2013). Multi-walled carbon nanotube-impregnated agarose film microextraction of polycyclic aromatic hydrocarbons in green tea beverage. Talanta, 106: 200-205.

- Risticevic, S., Lord, H., Górecki, T., Arthur, C. L. and Pawliszyn, J. (2010). Protocol for solid phase microextraction method development. Nature Protocols, 5(1): 122-139.

- Ge, D. and Lee, H. K. (2001). Water stability of zeolite imidazolate framework 8 and application to porous membrane-protected micro-solid-phase extraction of polycyclic aromatic hydrocarbons from environmental water samples. Journal of Chromatography A, 1218(47): 8490-8495.

- Barcelo, D. (2000). Sample handling and trace analysis of pollutants: Techniques, applications and quality assurance. Elsevier, Amsterdam: pp. 26.

- Pawliszyn, J. (2012). Handbook of solid phase microextraction. Elsevier, London: pp. 156.

- Ahuja, S and Rasmussen, H. (2007). HPLC method development for pharmaceuticals. Elsevier, USA: pp. 448.

- Shrivastava, A. and Gupta, V. B. (2011). Methods for the determination of limit of detection and limit of quantitation of the analytical methods. Chronicles of Young Scientists, 2(1): 21-25.

- Krause, S. O. (2003). Good analytical method validation practice deriving acceptance criteria for the AMV protocol: Part II. Journal of Validation Technology, 9(2): 162-178.