Malaysian Journal of Analytical Sciences Vol 22 No 1 (2018): 45 - 53

ASSESSING STIR BAR SORPTIVE EXTRACTION FOR TRIAZINE HERBICIDES EXTRACTION BY USING A CENTRAL COMPOSITE DESIGN APPROACH

(Penilaian Pengekstrakan Erapan Bar untuk Pengekstrakan Herbisid Triazin Menggunakan Pendekatan Reka Bentuk Komposit Berpusat)

Nurul Auni Zainal Abidin1, 2*, Md Pauzi Abdullah1, 3, Fouad Fadhil Al-Qaim1, 4, 5,

Wan Mohd Afiq Wan Mohd Khalik3, 6,  Mohamed Rozali Othman1, 3

1School of Chemical Sciences and Food Technology, Faculty of Science and Technology,

Universiti Kebangsaan Malaysia, 43600 UKM Bangi, Selangor, Malaysia
2Faculty of Applied Sciences,

Universiti Teknologi MARA Negeri Sembilan, Kuala Pilah Campus, 72000 Kuala Pilah, Negeri Sembilan, Malaysia

3Centre for Water Research and Analysis (ALIR), Faculty of Science and Technology,

Universiti Kebangsaan Malaysia, 43600 UKM Bangi, Selangor, Malaysia

4Department of Chemistry, Faculty of Science for Women,

University of Babylon, PO Box 4, Hilla, Iraq

5Department of Environmental Engineering and Green Technology, Malaysia–Japan International Institute of Technology,

Universiti Teknologi Malaysia, 54100 Kuala Lumpur, Malaysia.

6School of Marine and Environmental Sciences,

Universiti Malaysia Terengganu, 21030 Kuala Nerus, Terengganu, Malaysia

*Corresponding author: nurulauni@ns.uitm.edu.my

Received: 24 October 2017; Accepted: 4 January 2018

Abstract

A (PDMS)-coated stir bar was prepared for a glass jacket-free stir bar sorptive extraction (SBSE) configuration by adhesion technique for the extraction of triazine herbicides prior to quantification using a gas chromatography-flame ionization detector (GC-FID). A central composite design (CCD) was used in the optimization of extraction and desorption conditions. At optimum conditions, values of factors were set as pH 8.5, with no addition of NaCl, for 25 minutes of extraction time, and 24 minutes of desorption time. Under optimal experimental conditions, the proposed method has linear ranges at 0.1 – 100 µgL-1 with correlation of determination (R2), ranging from 0.9991 – 0.9995, respectively. The limit of detection (LODs) and limit of quantification (LOQs) of three triazines were found to be ranging from 0.015 – 0.023 µgL-1 and 0.047 – 0.060 µgL-1, respectively.

# Keywords:  stir bar sorptive extraction, triazine herbicides, central composite design, partition coefficient

# Abstrak

Bar berputar yang disalut dengan polidimetilsiloksana (PDMS) telah disediakan untuk pengekstrakan erapan bar berputar (SBSE) tanpa jaket kaca melalui teknik lekatan untuk dianalisa sebelum kuantifikasi racun herbisid triazin dengan menggunakan kromatografi gas-pengesan ionisasi nyala (GC-FID). Reka bentuk komposit berpusat (CCD) telah digunakan untuk proses pengoptimuman keadaan pengekstrakan dan nyahjerapan. Pada keadaan optimum, nilai faktor adalah pH 8.5, tanpa penambahan NaCl, 25 minit masa pengekstrakan, dan masa nyahjerapan 24 minit. Kajian berdasarkan julat kelinearan antara 0.1 – 100 µgL-1 telah mencapai kelinearan yang baik dengan pekali R2 di rekod antara 0.9991 – 0.9995. Had pengesanan (LODs) dan kuantifikasi (LOQs) bagi tiga jenis triazin tersebut masing- masing dihitung antara 0.015 – 0.023 µgL-1 dan 0.047 – 0.060 µgL-1.

Kata kunci:  pengekstrakan erapan bar berputar, herbisid triazin, reka bentuk komposit berpusat, pemalar pemisahan

References

- Pan, C., Zou, N., Yuan, C., Liu, S., Han, Y., Li, Y. and Zhang, J. (2016). Coupling of multi-walled carbon nanotubes/polydimethylsiloxane coated stir bar sorptive extraction with pulse glow discharge-ion mobility spectrometry for analysis of triazine herbicides in water and soil samples. Journal of Chromatography A, 1457: 14-21.

- Chen, L., Wen, Y., Chen, L., Li, J. and Liu, D. (2014). Recent advances in solid-phase sorbents for sample preparation prior to chromatographic analysis. Trends in Analytical Chemistry, 59: 26-41.

- Sharif, M., Khodadoust, S., Mousavi, A. and Mahmoudi, R. (2017). Preconcentration of carbamate insecticides in water samples by using modified stir bar with ZnS nanoparticles loaded on activated carbon and their HPLC determination : Response surface methodology. Microchemical Journal, 130: 64-70.

- Lei, Y., He, M., Chen, B. and Hu, B. (2016). Polyaniline / cyclodextrin composite coated stir bar sorptive extraction combined with high performance liquid chromatography-ultraviolet detection for the analysis of trace polychlorinated biphenyls in environmental waters. Talanta, 150: 310-318.

- Zhang, H., Low, W. P. and Lee, H. K. (2012). Evaluation of sulfonated graphene sheets as sorbent for micro-solid-phase extraction combined with gas chromatography–mass spectrometry. Journal of Chromatography A, 1233, 16-21.

- Baltussen, E., Sandra, P., David, F. and Cramers, C. (1999). Stir bar sorptive extraction (SBSE), a novel extraction technique for aqueous samples: Theory and principles. Journal of Microcolumn Separations, 11(10): 737-747.

- Ayazi, Z. and Matin, A. A. (2016). Development of carbon nanotube–polyamide nanocomposite-based stir bar sorptive extraction coupled to HPLC-UV applying response surface methodology for the analysis of bisphenol a in aqueous samples. Journal of Chromatographic Science, 4: 1-10.

- Manuel, J. and Nogueira, F. (2015). Stir-bar sorptive extraction : 15 years making sample preparation. Trends in Analytical Chemistry, 71: 214-223.

- Blasco, C., Fernández, M., Picó, Y. and Font, G. (2004). Comparison of solid-phase microextraction and stir bar sorptive extraction for determining six organophosphorus insecticides in honey by liquid chromatography – mass spectrometry. Journal of Chromatography A, 1030: 77-85.

- Lei, Y., Chen, B., You, L., He, M. and Hu, B. (2017). Polydimethylsiloxane / MIL-100 ( Fe ) coated stir bar sorptive extraction-high performance liquid chromatography for the determination of triazines in environmental water samples. Talanta, 175: 158-167.

- Ayazi, Z. and Rafighi, P. (2015). Preparation and application of a carbon nanotube reinforced polyamide-based stir bar for sorptive extraction of naproxen from biological samples prior to its spectrofluorometric determination. Analytical Methods, 7: 3200-3210.

- Wu, Q., Feng, C., Zhao, G., Wang, C. and Wang, Z. (2012). Graphene-coated fiber for solid-phase microextraction of triazine herbicides in water samples. Journal of  Separation Sciences, 35: 193-199.

- Liu, D., Liu, X., Shen, Z., Wang, P., Liu, C. and Zhou, Z. (2014). Effervescence assisted on-site liquid phase microextraction for the determination of five triazine herbicides in water. Journal of Chromatography A, 1371: 58-64.

- Sanagi, M. M., See, H. H., Ibrahim, W. A.W. and Naim, A. A. (2010). Determination of triazine herbicides using membrane-protected carbon nanotubes solid phase membrane tip extraction prior to micro-liquid chromatography. Journal of Chromatography A, 1217: 1767-1772.