Malaysian Journal of Analytical Sciences Vol 22 No 3 (2018): 365 - 374

AN ENVIRONMENTALLY FRIENDLY METHOD FOR EXTRACTION OF PARABENS IN VARIOUS SAMPLES USING LOW VISCOSITY AND LOW CLOUD POINT TEMPERATURE SURFACTANT

(Satu Kaedah Mesra Alam untuk Pengekstrakan Paraben dalam Pelbagai Sampel Menggunakan Surfaktan yang Rendah Kelikatan dan Rendah Suhu Titik Awan)

Norseyrihan Mohd Sohaimi1, Noorashikin Mohd Saleh2*, Marinah Mohd Ariffin1, Shiuan Yih Beh2, Ruzita Ahmad1

1School of Marine Science and Environment, Universiti Malaysia Terengganu,

21030 Kuala Nerus, Terengganu, Malaysia

2Chemical Engineering Programme, Research Centre for Sustainable Process Technology (CESPRO),

Universiti Kebangsaan Malaysia, 43600 UKM Bangi, Selangor, Malaysia

# *Corresponding author:  noorashikin@ukm.edu.my

Received: 8 January 2018; Accepted: 21 March 2018

Abstract

# Cloud point extraction is developed using a low viscosity surfactant (Sylgard 309) coupled with HPLC-UV. It is a simple method for extraction of parabens in various samples. At the optimum conditions, the method developed achieves limit of detection and extraction recoveries in the range of 0.01 ppm – 0.02 ppm and 68.5% -119.3%, respectively. Linearity of the calibration curves in the range of 0.2-1.0 mg/L. The correlation coefficient are achieved between 0.9995-0.9999. Each replicated samples are spiked with 1 mg/L of parabens. The results indicate that surfactant Sylgard 309 has a great potential for the extraction of organic pollutant in various samples.

# Keywords:  cloud point extraction, parabens, sylgard 309, simple method for extraction

# Abstrak

# Pengekstrakan titik awan dibangunkan menggunakan surfaktan yang mempunyai kelikatan yang rendah (Sylgard 309) digabungkan dengan KCPT-UV. Ini merupakan satu kaedah yang mudah untuk pemisahan paraben dalam pelbagai jenis sampel. Pada keadaan yang optimum, kaedah yang dibangunkan ini boleh mencapai had pengesanan dan perolehan semula pengekstrakan dalam julat 0.01 ppm – 0.02 ppm dan 68.5% -119.3%. Pekali korelasi yang dicapai adalah dalam julat 0.9995-0.9999. Larutan piawai yang ditambahkan dalam sampel iaitu 1mg/l paraben dalam setiap sampel replikat. Keputusan kajian menunjukkan bahawa surfaktan Sylgard 309 mempunyai potensi yang besar untuk diterokai bagi pengekstrakan pencemar rganic dalam pelbagai sampel.

# Kata kunci:  pengekstrakan titik awan, paraben, sylgard 309, kaedah ringkas untuk pengekstrakan

References

- Darbre, P. D. and Harvey, P. W. (2008). Paraben esters: Review of recent studies of endocrine toxicity, absorption, esterase and human exposure, and discussion of potential human health risks. Journal Applied Toxicology, 28(5): 561-578.

- Darbre, P. D., Aljarrah, A., Miller, W. R., Coldham, N. G., Sauer, M. J. and Pope, G. S. (2004). Concentrations of parabens in human breast tumours. Journal of Applied Toxicology, 24(1): 5-13.

- Calafat, A. M., Ye, X., Wong, L.Y., Bishop, A. M. and Needham, L. L. (2010). Urinary concentrations of four parabens in the us population: Nhanes 2005-2006. Environmental Health Perspective, 118(5): 679.

- Soni, M., Carabin, I., and Burdock, G. (2005). Safety assessment of esters of p-hydroxybenzoic acid (parabens). Food and Chemical Toxicology, 43 (7): 985-1015.

- Jonkers, N., Kohler, H. P. E., Dammshäuser, A. and Giger, W. (2009). Mass flows of endocrine disruptors in the glatt river during varying weather conditions. Environmental Pollution, 157(3): 714-723.

- Peng, X., Yu, Y., Tang, C., Tan, J., Huang, Q., and Wang, Z. (2008). Occurrence of steroid estrogens, endocrine-disrupting phenols, and acid pharmaceutical residues in urban riverine water of the pearl river delta, south china. Science of the  Total Environment, 397 (1): 158-166.

- Márquez-Sillero, I., Aguilera-Herrador, E., Cárdenas, S. and Valcárcel, M. (2010). Determination of parabens in cosmetic products using multi-walled carbon nanotubes as solid phase extraction sorbent and corona-charged aerosol detection system. Journal of Chromatography A, 1217(1):1-6.

- Plassmann, M. M., Schmidt, M., Brack, W. and Krauss, M. (2015). Detecting a wide range of environmental contaminants in human blood samples—combining quechers with LC-MS and GC-MS methods. Analytical Bioanaytical Chemistry, 407 (23): 7047-7054.

- Jain, R., Mudiam, M. K. R., Chauhan, A., Ch, R., Murthy, R., and Khan, H. A. (2013). Simultaneous derivatisation and preconcentration of parabens in food and other matrices by isobutyl chloroformate and dispersive liquid–liquid microextraction followed by gas chromatographic analysis. Food Chemistry, 141(1): 436-443.

- Guo, X., Yin, D., Peng, J. and Hu, X. (2012). Ionic liquid‐based single‐drop liquid‐phase microextraction combined with high‐performance liquid chromatography for the determination of sulfonamides in environmental water. Journal of Separation Science, 35(3): 452-458.

- Han, J., Wang, Y., Liu, Y., Li, Y., Lu, Y., Yan, Y. and Ni, L. (2013). Ionic liquid-salt aqueous two-phase extraction based on salting-out coupled with high-performance liquid chromatography for the determination of sulfonamides in water and food. Analytical and Bioanaytical Chemistry, 405(4): 1245-1255.

- Wen, Y., Li, J., Zhang, W., and Chen, L. (2011). Dispersive liquid–liquid microextraction coupled with capillary electrophoresis for simultaneous determination of sulfonamides with the aid of experimental design. Electrophoresis, 32 (16): 2131-2138.

- Andersen, F. A. (2008). Final amended report on the safety assessment of methylparaben, ethylparaben, propylparaben, isopropylparaben, butylparaben, isobutylparaben, and benzylparaben as used in cosmetic products. International Journal Toxicology, 27: 1-82.

- Noorashikin, M. S., Farhanini, Y., Karthi, S. and Ruzita, A. (2017). Detecting parabens in environmental water samples. International News on Fats, Oils and Related Materials, 28: 16-17.

- Norseyrihan, M. S., Noorashikin, M. S. and Hasrina, H. Z. (2017). Cloud point extraction of parabens from water samples. Advances in medicine and biology. Nova Science Publisher, Inc., New York: pp. 259-276.

- Yin, X.-B., Guo, J.-M. and Wei, W. (2010). Dual-cloud point extraction and tertiary amine labeling for selective and sensitive capillary electrophoresis-electrochemiluminescent detection of auxins. Journal Chromatography A, 1217 (8): 1399-1406.

- Angelov, T., Vlasenko, A. and Tashkov, W. (2008). HPLC determination of pka of parabens and investigation on their lipophilicity parameters. Journal of Liquid Chromatography & Related Technologies, 31: 188-197.

- Noorashikin,  M. S., Raoov, M., Mohamad, S. and Abas, M. R. (2013). Cloud point extraction of parabens using non-ionic surfactant with cylodextrin functionalized ionic liquid as a modifier. International Journal of Molecular Sciences, 14(12): 24531-24548.

- Noorashikin, M. S., Nur Nadiah, A. B., Nurain, I., Siti Aisyah, A. A., and Siti Zulaika, M. R. (2016). Determination of phenol in water samples using cloud point extraction and uv spectrophotometry. Desalination and Water Treatment, 57(33): 15486-15494.

- Noorashikin, M. S., Mohamad, S. and Abas, M. R. (2016). Determination of parabens in water samples by cloud point extraction and aqueous two-phase extraction using high-performance liquid chromatography. Desalination and Water Treatment, 57(47): 22353-22361.

- Norseyrihan, M. S., Noorashikin, M. S., Adibah, M. S. N. and Yusoff, F. (2016). Cloud point extraction of methylphenol in water samples with low viscosity of non-ionic surfactant sylgard 309 coupled with high-performance liquid chromatography. Separation Science and Technology, 51(14): 2386-2393.

- Yao, B. and Yang, L. (2008). Equilibrium partition of polycyclic aromatic hydrocarbons in cloud point extraction with a silicone surfactant. Journal of Colloid and Interface Science, 319(1): 316-321.

- Sadeghi, R., Ebrahimi, N. and Mahdavi, A. (2012). Thermodynamic studies of the ionic liquid 1-hexyl-3-methylimidazolium chloride [c 6 mim][cl] in polyethylene glycol aqueous solutions. The Journal of Chemical Thermodynamics, 47: 48-55.

- Noorashikin, M. S., Mohamad, S. and Abas, M. R. B. (2013). Cloud point extraction (CPE) of parabens using nonionic surfactant phase sepration. Separation Science and Technology, 48: 1675-1681.

- Rosi-Marshall, E. J. and Royer, T. V. (2012). Pharmaceutical compounds and ecosystem function: An emerging research challenge for aquatic ecologists. Ecosystems, 15(6): 867-880.

- Zhang, J., and Ma, P. X. (2013). Cyclodextrin-based supramolecular systems for drug delivery: Recent progress and future perspective. Advanced Drug Delivery Reviews, 65(9): 1215-1233.

- Lee, M.-R., Lin, C.-Y., Li, Z.-G. and Tsai, T.-F. (2006). Simultaneous analysis of antioxidants and preservatives in cosmetics by supercritical fluid extraction combined with liquid chromatography–mass spectrometry. Journal of Chromatography A, 1120 (1–2): 244-251.

- Zhang, Q., Lian, M., Liu, L. and Cui, H. (2005). High-performance liquid chromatographic assay of parabens in wash-off  cosmetic products and foods using chemiluminescence detection. Analytica Chimica Acta, 537(1): 31-39.

- Han, F., He, Y.-Z. and Yu, C.-Z. (2008). On-line pretreatment and determination of parabens in cosmetic products by combination of flow injection analysis, solid-phase extraction and micellar electrokinetic chromatography. Talanta, 74(5): 1371-1377.

- Labat, L., Kummer, E., Dallet, P. and Dubost, J. P. (2000). Comparison of high-performance liquid chromatography and capillary zone electrophoresis for the determination of parabens in a cosmetic product. Journal of Pharmaceutical and Biomedical Analysis, 23(4): 763-769.