Malaysian Journal of Analytical Sciences, Vol 23 No 4 (2019): 572 - 579
DOI: https://doi.org/10.17576/mjas-2019-2304-02
Amiruddin et al:   
AN OPTICAL SENSOR BASED ON GRAPHENE QUANTUM DOTS FOR HYDROGEN PEROXIDE DETECTION

[image: image1.emf]0

0.1

0.2

0.3

0.4

0.5

0.6

0

100

200

300

400

500

600

300 400 500 600

Absorption

Fluoresence

Wavelength(nm)

Fluoresence Absorption

[image: image8.png]ANALIS




[image: image9.png]


MALAYSIAN JOURNAL OF ANALYTICAL SCIENCES
Published by The Malaysian Analytical Sciences Society
AN OPTICAL SENSOR BASED ON GRAPHENE QUANTUM DOTS FOR HYDROGEN PEROXIDE DETECTION

(Sensor Optik berasaskan Titik Kuantum Grafin untuk Pengesanan Hidrogen Peroksida)

Amiruddin Ashil Mastar1, Jaafar Abdullah1,2*, Nor Azah Yusof1,2, Yap Wing Fen1,3
1Department of Chemistry
2Institute of Advanced Technology

3Department of Physic, Faculty of Science

Universiti Putra Malaysia, 43400 UPM Serdang, Selangor, Malaysia

*Corresponding author:  jafar@upm.edu.my

Received: 19 August 2018; Accepted: 8 July 2019
Abstract

Graphene quantum dots (GQDs) is a zero-dimensional material of the carbon family and considered as a small cutting fragment from graphene sheet. It has unique electronic and optical properties due to electron confinement in the finite size of graphene cluster that leads to the opening of energy gap and quantization of electronic energy. In this study, biosensing based on GQDs in combination with enzyme (horseradish peroxidase, HRP) for the determination of hydrogen peroxide (H2O2) has been presented. The GQDs was used as an indicator reveals the fluorescence property of the system based on fluorescence quenching of GQDs which is induced from the enzymatic reaction. The presence of H2O2 quenches the fluorescence intensity of GQDs system which is proportional to the concentration of H2O2. Parameters optimization such as response time, enzyme concentrations, pH of buffer have been investigated. For linear calibration graph, it showed a linear dependence on the H2O2 concentration ranging from 1.0 to 100.0 μM with the detection limit of 1.0 μM.

Keywords:  quantum dots, fluorescence, hydrogen peroxide, quenching, sensor  

Abstrak

Titik kuantum grafin (GQDs) adalah bahan dimensi-sifar keluarga karbon dan dianggap sebagai serpihan kecil dari lembaran grafin. Ia mempunyai ciri-ciri elektronik dan optik yang unik disebabkan oleh pengasingan elektron dalam saiz finit kelas grafin yang membawa kepada pembukaan jurang tenaga dan pengkuantuman tenaga elektronik. Dalam kajian ini, biopenderiaan berasaskan GQDs digabungkan dengan enzim (peroksidase horseradish, HRP) untuk penentuan hidrogen peroksida (H2O2) telah dibentangkan. GQDs digunakan sebagai penunjuk mempamerkan sifat pendarfluor sistem berasaskan pendarfluor pelindapkejutan GQD yang diaruhkan dari tindak balas enzim. Kehadiran H2O2 mengurangkan keamatan pendarfluor sistem GQD yang berkadaran dengan kepekatan H2O2. Pengoptimuman parameter seperti masa tindak balas, kepekatan enzim, pH penimbal telah dikaji. Bagi graf penentukuran linear, ia menunjukkan kebergantungan kelinearan terhadap kepekatan H2O2 di antara 1.0 hingga 100.0 μM dengan had pengesanan 1.0 μM. 

Katakunci: titik kuantum, pendarfluor, hidrogen peroksida, pelindapkejutan, sensor 

Introduction

As a new member of the graphene family, graphene quantum dots (GQDs), which combine the excellent properties of graphene and quantum dots, have attracted considerable attention from scientists in the fields of chemistry, physics, materials, biology and etc [1]. GQDs represent single-layer to tens of layers of graphene of a size less than 30 nm. Its exceptional properties such as low toxicity, stable photoluminescence, chemical stability and better resistance to photo bleaching making them promising in biocompatibility and applied in many applications such as bio-imaging, optoelectronics, photovoltaics, controlled drug delivery, energy conversion storage devices and sensor [2]. 

GQD exhibiting fluorescence has recently aroused increasing interest in their optical and electronic properties [3, 4]. Quantum confinement, edge effects, oxygen-containing groups, structural defects, and doping elements contribute considerably to the luminescent properties of the GQD [5, 6]. With excellent characteristics like large surface area and diameter, fine surface grafting using the π-π conjugated network, and other special physical properties. In addition, the carboxyl and hydroxyl groups at their edge enable them to display excellent water solubility and render them suitable for successive functionalization with various organic, inorganic, polymeric, or biological species [7]. GQD are increasingly considered to be a promising material to replace the commonly used semiconductor for biosensing and bioimaging related applications, detection of glucose and sensing for metal ions [8, 9].

Hydrogen peroxide (H2O2) plays a vital role in many different fields like biological, clinical, environmental, pharmaceutical and food industries. Moreover, it is also a very important species in biology and biochemical reactions. For example, a higher concentration of H2O2 contributes to the oxidative damage of many different enzymes and proteins leading to atrocious effects in human health, and in some cases, it may even lead to cancer. In the context of chemistry, it is a main by-product in catalytic reactions of oxidase enzymes. So, it is very important not only to sense and detect H2O2 but also to determine its exact concentration. Basically, there are several methods such as spectrophotometry, titration methods, luminescent techniques and electrochemical methods for the detection and quantification of H2O2 that have been reported in literature. Among these methods, optical techniques offer simplicity, selectivity, a fast response time, less laborious work and involve no reference electrode. Usually, these methods employ enzymes for the detection because of its specificity and effective binding towards particular functional group.

In this work, we explore the use of GQDs for the determination of H2O2 and its role in advanced sensing applications. We demonstrated the fluorescence quenching of GQDs induced by H2O2 with the presence of HRP. The idea of the system is to utilize the GQDs as a fluorescence indicator, which can provide sensitive biological analysis. Another advantage of the system is its high resistance to photo-bleaching and intense light emission by high quantum efficiency [6].

Materials and Methods

Reagents

Graphene quantum dots was purchased from ACS material (USA). Peroxidase from horseradish was bought from Sigma-Aldrich (USA). Hydrogen peroxide solution was acquired from Sigma-Aldrich (Germany). Phosphate buffer was prepared by mixing monosodium phosphate (Na2HPO4) and disodium phosphate (NaH2PO4) (Schmidt) solutions. Deionize water for preparation of aqueous solution was purified using Thermo Scientific water purification system (18.2 MΩ cm).

Instrument

The fluorescence intensity was recorded using SYNERGY H1 Hybrid Multi-Mode Reader. UV-Vis spectrometer PerkinElmer Lambda 35 was used to analyse the sample. The FTIR spectra of the samples were obtained at ambient temperature using the KBr disc method. The disk containing 1 mg of the sample was recorded in the wavelength range of 500 - 4000 cm−1 using a series 100 Perkin Elmer FTIR 1650 spectrophotometer.

Procedure of hydrogen peroxide determination

For preparation of 1000 U/mL of peroxidase from horseradish (HRP) (EC 1.11.1.7, 146 U/mg), 0.8 mg of HRP was dissolved in 116.8 μL of phosphate buffer solution (PBS) pH 7.0.  Stock solution of H2O2  in the concentration of 1.0 - 100 μM was prepared daily. GQD was sonicated for 10 min every time before mixing with the enzyme and H2O2.

For the assay procedure, 20 μL of HRP (20 unit) and 30 μL H2O2 was mixed in 96-well microplate. The mixture was incubated for 2 minutes and then 50 μL of GQD (0.5 mg/mL) was added. The fluorescence intensity of the mixture was recorded in the wavelength of 400 - 800 nm. The excitation was fixed at 400 nm and the fluorescence intensity of the mixture was measured at wavelength of 524 nm. The quenching effect was calculated based on the following equation 1:  

Net fluorescence intensity (at 524 nm) = T0 - T20




                                    (1)






where T0 = intensity at 0 min and T20 = intensity after 20 min reaction.

Parameter optimization study

For reaction time optimization, the reaction of the GQD/HRP towards H2O2 (100 μM) was recorded at specific wavelength (524 nm) every 5 minutes for 25 minutes reaction time. The graph of net fluorescence intensity versus time was plotted to obtain optimize reaction time for the system. Effect of pH buffer on the GQDs/HRP system was also studied in this work. The intensity of GQDs-HRP towards H2O2 (100 μM) was recorded by varying the pH in the range of 6 to 8. In order to achieve maximum response of the GQDs/HRP system, the effect of HRP concentration was investigated in the range of 5 to 50 units.

Results and Discussion

Characterization GQD

Figure 1 shows GQDs was characterized using UV-Vis absorption spectroscopy and spectrofluorometry. As shown, the absorption of GQDs was observed at wavelength of 380 nm, while maximum fluorescence emission peak was obtained at wavelength of 524 nm. The surface morphology of GQDs was also studied by using transmission electron microscopy (TEM). The TEM image of GQDs shows well-dispersed spherical shape with diameter ranging from 10 - 15 nm (Figure 2). To further understand functional group attached on the surface of GQDs, Fourier Transform Infrared Spectroscopy (FTIR) was investigated. As shown in Figure 3, the FTIR spectrum of GQDs shows a broad band of O-H at 2495 cm−1, C-H (3023 cm−1), C=O (1580 cm−1), C=C (1427 cm−1). Functional groups presence in the spectrum shows the GQDs have carbonyl group. Similar observation was also report by Shen [9] and Tetsuka [11] where the presence of these groups makes the GQDs well soluble in water, improve adsorbing ability to biomolecules and has potential application for biosensing. 

[image: image11.png]Net intensity
v oy 5 2 2
s & & 2

5

1.18x -2.11
R2=10.9948

0.001 0.005 0.01 0.05 0.1
H,0, concentration(mM)





Figure 1.  The absorption and fluorescence spectra of GQDs

[image: image2.jpg]



Figure 2. The TEM image of GQDs (100,000x magnification)
[image: image3.png]Transmittance

3023cm - (CH)

2495cm *(0-H) 1427cm 1 (C=C

1580cm * (C=0)

3250 2750 2250 1750 1250 750 250
‘Wavelength (cm 1)

——GQDs




Figure 3.  FTIR spectra of GQDs

The basic principle of detection 

The basic principle of the reaction of GQD-HRP in the presence of H2O2 is illustrated in Figure 4. In the presence of the HRP, H2O2 will be oxidized to form H2O and O2. At the same time the GQDs is quenched and the ﬂuorescence emission produced is decreased. Usually, the quenching of fluorescence emission of GQDs occurs due to either energy transfer [10], charge diverting [11], and surface absorption [12], which could change the surface state of GQDs. In this study, the possible mechanism for GQD/HRP quenching is related to H2O2 existence as the quencher. When there is an interaction between the GQDs and H2O2, it is assumed to undergo collisional quenching causing fluorescence intensity to decrease. Collisional quenching occurs when the excited state of GQDs is neutralized by the H2O2 molecules, prompting to the reduction of the GQDs fluorescence intensity [13]. The quenching effect in the absence of HRP was also evaluated and it shows no significant quenching (data not shown). When the HRP enzyme was added into the reaction system, significant reduction of fluorescence intensity was obtained (quenching effect). Thus, this observation shows that the HRP enzyme is important in the quenching effect of the system.

[image: image4.png]HZOZ

H,0+0,




Figure 4. 
Possible mechanism of the GQDs/HRP system in the presence of H2O2, where H2O2 quenched the GQDs and leading to reduction of the fluorescence intensity of the system

Parameter optimization

The experimental parameter was optimized in order to improve the performance of the prepared GQDs/HRP system for the determination of H2O2. Figure 5 depicts the effect of reaction time towards the fluorescence intensity of the GQDs. It can be noted that as the time increase the fluorescence intensity was gradually increased until reaction time of 20 minutes. Above 20 minutes, the response of the system approaching saturation point. Therefore, response time of 20 minutes was chosen for further experiment.


[image: image5.emf]-10

0

10

20

30

40

50

60

70

80

0 5 10 15 20 25 30

Net FL intensity

Time of reaction(min

)


Figure 5.  Effect of response time
The effect of pH on the GQDs/HRP response is very important because the enzyme activity of HRP and GQDs are dependent  on the pH condition.  The experiment was carried out in the range of pH 6.0 to 8.0 as illustrated in Figure 6. The pH of the reaction solution shows a significant influence on the response of GQDs/HRP assay system. The optimum pH value was observed at pH 7 which is agreed with work reported previously [14], which explored QDs-HRP/uricase hybrid system for uric acid detection.


[image: image6.png]Net FL intensity

g

15

w2
S

PH 6.0 pH 6.5 pH 7.0 pH 7.5 PH 8.0
pH of Phosphate Buffer





Figure 6.  Effect of pH on the response of GQDs/HRP system
To further increase the sensitivity of the prepared hybrid system, the effect of concentration of HRP was investigated. From Figure 7, the intensity of the system increases as the concentration of HRP increases. From this study, we decided to choose concentration of HRP of 20 units for the assay because the amount used is sufficient for the reaction system to produce significant quenching effect for determination of H2O2.


[image: image7.png]v o a ®
g2 8 3 8

Net FL intensity
g &

20

5 10 15 20 50

Concentration of HRP ( unit)





Figure 7.  Effect of HRP concentration on the GQDs/HRP system towards H2O2 (100.0 μM)

Analytical performance of the GQDs/HRP towards H2O2 

The performance of the prepared GQDs/HRP system towards different concentration of H2O2 in the dynamic range of 1.0 to 500.0 µM was evaluated. As shown in Figure 8, the linearity of the GQDs/HRP system towards H2O2 was in the concentration range of 1.0-100.0 μM with linear regression equation of y = 11.18x -2.11 (R2 =0.9939). Limit of detection (LOD) was calculated according to 3Sb/b, where Sb is the standard deviation of the blank measurements (n=3), b is the slope of the calibration curve [5] and the calculated LOD was found to be at 1.0 μM. Reproducibility study of the GQDs/HRP was evaluated at H2O2 concentration of 10 μM in phosphate buffer solution (pH 7.0) and the relative standard deviation (RSD) of 9.75% (n=5) was obtained.

[image: image10.png]FL intensity
[
g H
g 3
g 8

1500

1000

500

450

500 550 600
‘Wavelength (nm)

650 700








/

Figure 8. 
(a) Quenching effects of QDs towards different concentrations of H2O2, (b) Calibration curve of the developed GQDs/HRP system towards different concentration of H2O2 (1.0 - 100.0 μM)
Conclusion

A simple and convenient technique for H2O2 determination based on quenching of the fluorescence of GQDs has been developed. Under the optimum conditions, the GQDs/HRP system achieved a good linear relationship between the net fluorescence intensity of the system and the concentration of H2O2 in the range of 1.0 to 100 μM with LOD of 1.0 μM. The developed method has shown its potential to determining the concentration of hydrogen peroxide.

Acknowledgements

The authors are gratefully acknowledged the financial support provided by Universiti Putra Malaysia under Putra Grant (GP-IPB/2016/9515403).
References

1. Azmi, N. E., Ramli, N. I., Abdullah, J., Abdul Hamid, M. A., Sidek, H., Abd Rahman, S. and Yusof, N. A. (2015). A simple and sensitive fluorescence based biosensor for the determination of uric acid using H2O2-sensitive quantum dots/dual enzymes. Biosensors and Bioelectronics, 67: 129-133. 

2. Dong, C., Qian, H., Fang, N. and Ren, J. (2006). Study of fluorescence quenching and dialysis process of CdTe quantum dots, using ensemble techniques and fluorescence correlation spectroscopy. Journal of Physical Chemistry B, 110(23):11069-11075.
3. He, S., Song, B., Li, D., Zhu, C., Qi, W., Wen, Y. and Fan, C. (2010). A graphene nanoprobe for rapid, sensitive, and multicolor fluorescent DNA analysis. Advanced Functional Materials, 20(3): 453-459. 

4. Ji, X., Zheng, J., Xu, J., Rastogi, V. K., Cheng, T. C., DeFrank, J. J. and Leblanc, R. M. (2005). (CdSe)ZnS quantum dots and organophosphorus hydrolase bioconjugate as biosensors for detection of paraoxon. Journal of Physical Chemistry B, 109(9): 3793-3799. 

5. Kim, K. E., Kim, T. G. and Sung, Y. M. (2012). Fluorescent cholesterol sensing using enzyme-modified CdSe/ZnS quantum dots. Journal of Nanoparticle Research, 14(1179): 1-9.  

6. Lu, C.-H., Yang, H.-H., Zhu, C.-L., Chen, X. and Chen, G.-N. (2009). A graphene platform for sensing biomolecules. Angewandte Chemie, 48(26): 4785-4787 

7. Ponomarenko, L. A., Schedin, F., Katsnelson, M. I., Yang, R., Hill, E. W., Novoselov, K. S. and Geim, A. K. (2008). Chaotic dirac billiard in graphene quantum dots. Science, 320(5874): 356-358. 

8. Razmi, H. and Mohammad-Rezaei, R. (2013). Graphene quantum dots as a new substrate for immobilization and direct electrochemistry of glucose oxidase: Application to sensitive glucose determination. Biosensors and Bioelectronics 41: 498-504. 

9. Shen, J., Zhu, Y., Yang, X., Zong, J., Zhang, J. and Li, C. (2012). One-pot hydrothermal synthesis of graphene quantum dots surface-passivated by polyethylene glycol and their photoelectric conversion under near-infrared light. New Journal of Chemistry 36: 97-101. 

10. Tang, J. and Marcus, R. A. (2006). Determination of energetics and kinetics from single-particle intermittency and ensemble-averaged fluorescence intensity decay of quantum dots. The Journal of Chemical Physics, 125 (044703): 1-8. 

11. Tetsuka, H., Asahi, R., Nagoya, A., Okamoto, K., Tajima, I., Ohta, R. and Okamoto, A. (2012). Optically tunable amino-functionalized graphene quantum dots. Advanced Materials, 24(39): 5333-5338. 

12. Wang, D., Wang, L., Dong, X., Shi, Z. and Jin, J. (2012). Chemically tailoring graphene oxides into fluorescent nanosheets for Fe3+ion detection. Carbon, 50(6): 2147-2154. 

13. Xie, R., Wang, Z., Zhou, W., Liu, Y., Fan, L., Li, Y. and Li, X. (2016). Graphene quantum dots as smart probes for biosensing. Analytical Methods, 8(20): 4001–4016. 
14. Zhuo, S., Shao, M. and Lee, S. T. (2012). Upconversion and downconversion fluorescent graphene quantum dots. Ultrasonic preparation and photocatalysis. ACS Nano, 6(2): 1059-1064.
     ISSN 1394 - 2506








(a)





µM





500 µM





(b)








578
579

_1626026948.xls
Chart1

		200		200

		201		201

		202		202

		203		203

		204		204

		205		205

		206		206

		207		207

		208		208

		209		209

		210		210

		211		211

		212		212

		213		213

		214		214

		215		215

		216		216

		217		217

		218		218

		219		219

		220		220

		221		221

		222		222

		223		223

		224		224

		225		225

		226		226

		227		227

		228		228

		229		229

		230		230

		231		231

		232		232

		233		233

		234		234

		235		235

		236		236

		237		237

		238		238

		239		239

		240		240

		241		241

		242		242

		243		243

		244		244

		245		245

		246		246

		247		247

		248		248

		249		249

		250		250

		251		251

		252		252

		253		253

		254		254

		255		255

		256		256

		257		257

		258		258

		259		259

		260		260

		261		261

		262		262

		263		263

		264		264

		265		265

		266		266

		267		267

		268		268

		269		269

		270		270

		271		271

		272		272

		273		273

		274		274

		275		275

		276		276

		277		277

		278		278

		279		279

		280		280

		281		281

		282		282

		283		283

		284		284

		285		285

		286		286

		287		287

		288		288

		289		289

		290		290

		291		291

		292		292

		293		293

		294		294

		295		295

		296		296

		297		297

		298		298

		299		299

		300		300

		301		301

		302		302

		303		303

		304		304

		305		305

		306		306

		307		307

		308		308

		309		309

		310		310

		311		311

		312		312

		313		313

		314		314

		315		315

		316		316

		317		317

		318		318

		319		319

		320		320

		321		321

		322		322

		323		323

		324		324

		325		325

		326		326

		327		327

		328		328

		329		329

		330		330

		331		331

		332		332

		333		333

		334		334

		335		335

		336		336

		337		337

		338		338

		339		339

		340		340

		341		341

		342		342

		343		343

		344		344

		345		345

		346		346

		347		347

		348		348

		349		349

		350		350

		351		351

		352		352

		353		353

		354		354

		355		355

		356		356

		357		357

		358		358

		359		359

		360		360

		361		361

		362		362

		363		363

		364		364

		365		365

		366		366

		367		367

		368		368

		369		369

		370		370

		371		371

		372		372

		373		373

		374		374

		375		375

		376		376

		377		377

		378		378

		379		379

		380		380

		381		381

		382		382

		383		383

		384		384

		385		385

		386		386

		387		387

		388		388

		389		389

		390		390

		391		391

		392		392

		393		393

		394		394

		395		395

		396		396

		397		397

		398		398

		399		399

		400		400

		401		401

		402		402

		403		403

		404		404

		405		405

		406		406

		407		407

		408		408

		409		409

		410		410

		411		411

		412		412

		413		413

		414		414

		415		415

		416		416

		417		417

		418		418

		419		419

		420		420

		421		421

		422		422

		423		423

		424		424

		425		425

		426		426

		427		427

		428		428

		429		429

		430		430

		431		431

		432		432

		433		433

		434		434

		435		435

		436		436

		437		437

		438		438

		439		439

		440		440

		441		441

		442		442

		443		443

		444		444

		445		445

		446		446

		447		447

		448		448

		449		449

		450		450

		451		451

		452		452

		453		453

		454		454

		455		455

		456		456

		457		457

		458		458

		459		459

		460		460

		461		461

		462		462

		463		463

		464		464

		465		465

		466		466

		467		467

		468		468

		469		469

		470		470

		471		471

		472		472

		473		473

		474		474

		475		475

		476		476

		477		477

		478		478

		479		479

		480		480

		481		481

		482		482

		483		483

		484		484

		485		485

		486		486

		487		487

		488		488

		489		489

		490		490

		491		491

		492		492

		493		493

		494		494

		495		495

		496		496

		497		497

		498		498

		499		499

		500		500

		501		501

		502		502

		503		503

		504		504

		505		505

		506		506

		507		507

		508		508

		509		509

		510		510

		511		511

		512		512

		513		513

		514		514

		515		515

		516		516

		517		517

		518		518

		519		519

		520		520

		521		521

		522		522

		523		523

		524		524

		525		525

		526		526

		527		527

		528		528

		529		529

		530		530

		531		531

		532		532

		533		533

		534		534

		535		535

		536		536

		537		537

		538		538

		539		539

		540		540

		541		541

		542		542

		543		543

		544		544

		545		545

		546		546

		547		547

		548		548

		549		549

		550		550

		551		551

		552		552

		553		553

		554		554

		555		555

		556		556

		557		557

		558		558

		559		559

		560		560

		561		561

		562		562

		563		563

		564		564

		565		565

		566		566

		567		567

		568		568

		569		569

		570		570

		571		571

		572		572

		573		573

		574		574

		575		575

		576		576

		577		577

		578		578

		579		579

		580		580

		581		581

		582		582

		583		583

		584		584

		585		585

		586		586

		587		587

		588		588

		589		589

		590		590

		591		591

		592		592

		593		593

		594		594

		595		595

		596		596

		597		597

		598		598

		599		599

		600		600

		601		601

		602		602

		603		603

		604		604

		605		605

		606		606

		607		607

		608		608

		609		609

		610		610

		611		611

		612		612

		613		613

		614		614

		615		615

		616		616

		617		617

		618		618

		619		619

		620		620

		621		621

		622		622

		623		623

		624		624

		625		625

		626		626

		627		627

		628		628

		629		629

		630		630

		631		631

		632		632

		633		633

		634		634

		635		635

		636		636

		637		637

		638		638

		639		639

		640		640

		641		641

		642		642

		643		643

		644		644

		645		645

		646		646

		647		647

		648		648

		649		649

		650		650

		651		651

		652		652

		653		653

		654		654

		655		655

		656		656

		657		657

		658		658

		659		659

		660		660

		661		661

		662		662

		663		663

		664		664

		665		665

		666		666

		667		667

		668		668

		669		669

		670		670

		671		671

		672		672

		673		673

		674		674

		675		675

		676		676

		677		677

		678		678

		679		679

		680		680

		681		681

		682		682

		683		683

		684		684

		685		685

		686		686

		687		687

		688		688

		689		689

		690		690

		691		691

		692		692

		693		693

		694		694

		695		695

		696		696

		697		697

		698		698

		699		699

		700		700

		0.0026		7.958

		0.0026		7.94

		0.0025		7.573

		0.0025		7.34

		0.0025		6.631

		0.0025		6.782

		0.0024		6.886

		0.0024		6.526

		0.0025		6.234

		0.0024		6.274

		0.0024		5.985

		0.0024		5.759

		0.0023		5.532

		0.0022		5.801

		0.0022		5.433

		0.0022		5.232

		0.0022		5.165

		0.0021		4.86

		0.0021		4.738

		0.002		4.588

		0.002		4.755

		0.0021		4.454

		0.002		4.408

		0.002		4.229

		0.0019		4.267

		0.0018		3.813

		0.0018		4.001

		0.0018		3.828

		0.0016		3.64

		0.0015		3.599

		0.0014		3.616

		0.0013		3.476

		0.0012		3.36

		0.0011		3.377

		0.001		3.203

		0.0009		3.111

		0.0009		3.143

		0.0008		3.039

		0.0009		3.113

		0.0008		2.97

		0.0008		2.953

		0.0009		2.804

		0.0009		2.697

		0.0009		3.03

		0.0008		2.514

		0.0009		2.378

		0.0009		2.583

		0.0009		2.415

		0.0009		2.389

		0.0009		2.443

		0.0009		2.388

		0.0008		2.232

		0.0009		2.26

		0.0009		2.277

		0.0009		2.146

		0.0009		2.218

		0.0009		2.103

		0.0009		2.15

		0.0009		2.042

		0.001		1.872

		0.001		2.033

		0.001		1.94

		0.001		2.1

		0.001		2.203

		0.0009		2.14

		0.0011		1.942

		0.001		1.946

		0.0011		2.064

		0.0011		1.927

		0.0011		1.987

		0.0012		2.007

		0.0012		2.019

		0.0013		1.878

		0.0012		2.14

		0.0012		2.144

		0.0013		1.976

		0.0013		1.947

		0.0013		2.438

		0.0014		2.717

		0.0014		4.22

		0.0014		6.343

		0.0014		10.048

		0.0015		15.446

		0.0015		23.491

		0.0015		34.081

		0.0015		47.953

		0.0015		67.365

		0.0018		90.481

		0.0016		116.857

		0.0017		146.335

		0.0017		179.622

		0.0018		215.175

		0.0018		252.479

		0.0018		290.575

		0.0018		329.049

		0.0019		367.669

		0.0019		398.503

		0.0019		430.726

		0.002		455.915

		0.0019		479.861



Absorption

Fluoresence

Wavelength(nm)

Fluoresence

Absorption

0.4698

0.4694

0.4694

0.4695

0.4702

0.4708

0.4717

0.4726

0.474

0.4748

0.4759

0.4774

0.4789

0.4801

0.4813

0.4822

0.4836

0.4847

0.4858

0.4869

0.4884

0.4895

0.4905

0.4917

0.4929

0.494

0.4953

0.4965

0.4967

0.4993

0.5001

0.5002

0.5032

0.5037

0.5026

0.5046

0.5049

0.5054

0.505

0.5046

0.5044

0.5049

0.5014

0.5007

0.5008

0.4981

0.4956

0.4929

0.4903

0.487

0.4822

0.4792

0.4748

0.4709

0.4652

0.4598

0.456

0.4496

0.443

0.4374

0.43

0.4241

0.4169

0.4094

0.4022

0.3952

0.3863

0.3786

0.3707

0.3621

0.3535

0.3448

0.3357

0.3263

0.3167

0.308

0.2986

0.29

0.2816

0.2727

0.2647

0.2562

0.2486

0.2345

0.2215

0.2142

0.2067

0.1991

0.1919

0.1845

0.1772

0.1701

0.1633

0.1564

0.1498

0.1434

0.1373

0.1312

0.1254

0.1196

0.1142

0.1088

0.1037

0.0987

0.0941

0.0894

0.0851

0.081

0.0771

0.0733

0.0697

0.0663

0.063

0.0599

0.057

0.0542

0.0516

50.983

0.0492

48.87

0.047

51.312

0.0449

54.184

0.0429

57.169

0.0414

60.293

0.0396

63.593

0.0379

67.765

0.0364

71.475

0.0351

75.394

0.0339

78.777

0.0328

82.752

0.0318

87.129

0.0309

90.536

0.0299

94.993

0.029

98.586

0.0282

103.096

0.0273

107.236

0.0268

111.629

0.026

116.043

0.0253

120.585

0.0246

125.374

0.024

129.743

0.0235

132.886

0.023

137.79

0.0225

142.183

0.022

147.32

0.0215

151.066

0.0211

155.857

0.0207

160.334

0.0202

165.757

0.0198

170.19

0.0194

175.941

0.019

180.804

0.0186

186.57

0.0183

190.731

0.0179

196.069

0.0176

201.944

0.0172

209.032

0.0169

214.29

0.0166

218.794

0.0163

225.9

0.0159

231.338

0.0157

238.477

0.0155

245.398

0.0152

251.695

0.0149

258.204

0.0148

264.694

0.0145

272.535

0.0143

279.073

0.014

284.665

0.0137

290.375

0.0135

298.155

0.0133

304.3

0.0131

312.487

0.0128

318.123

0.0127

325.355

0.0126

330.801

0.0123

339.343

0.0122

345.249

0.012

351.874

0.0117

360.013

0.0116

366.293

0.0115

374.748

0.0114

382.201

0.0112

390.153

0.011

398.623

0.0108

405.941

0.0106

414.573

0.0106

422.359

0.0104

430.127

0.0102

438.953

0.0101

445.962

0.01

453.873

0.0098

462.704

0.0096

470.488

0.0095

477.163

0.0093

485.414

0.0092

493.017

0.0091

501.348

0.009

504.439

0.0089

510.789

0.0087

518.738

0.0086

523.67

0.0085

529.398

0.0084

535.31

0.0082

539.22

0.0081

543.076

0.008

547.817

0.0079

551.501

0.0078

554.133

0.0077

559.307

0.0076

560.383

0.0075

563.196

0.0073

566.176

0.0072

566.258

0.0072

566.061

0.0071

568.829

0.007

568.611

0.0069

567.444

0.0068

567.005

0.0067

564.918

0.0067

565.068

0.0066

562.827

0.0065

561.225

0.0064

558.375

0.0063

555.231

0.0064

553.876

0.0062

548.174

0.0061

546.373

0.0059

542.308

0.0059

538.206

0.0057

532.699

0.0057

529.788

0.0057

525.798

0.0056

520.869

0.0055

516.874

0.0054

511.317

0.0054

505.592

0.0053

499.726

0.0052

493.403

0.0051

487.409

0.005

481.457

0.005

475.548

0.005

469.103

0.005

463.364

0.005

455.767

0.0048

448.579

0.0047

443.108

0.0047

437.319

0.0046

430.528

0.0047

424.592

0.0046

416.513

0.0046

409.464

0.0045

403.594

0.0045

394.941

0.0045

389.743

0.0044

382.392

0.0045

376.223

0.0044

369.515

0.0044

362.106

0.0043

355.088

0.0042

348.211

0.0043

342.283

0.0047

334.98

0.0047

328.752

0.0046

322.64

0.0046

316.017

0.0045

309.894

0.0045

303.148

0.0045

296.397

0.0044

290.208

0.0043

283.615

0.0043

276.966

0.0043

270.663

0.0042

265.297

0.0042

260.393

0.0042

253.935

0.0041

248.156

0.0041

243.229

0.0041

237.272

0.0041

232.304

0.0041

226.421

0.004

221.83

0.004

215.404

0.0041

211.17

0.004

206.093

0.0039

201.111

0.0039

195.88

0.0038

191.733

0.0039

186.849

0.0039

182.822

0.0038

178.213

0.0038

174.068

0.0038

168.948

0.0038

164.408

0.0038

160.441

0.0037

157.355

0.0038

153.14

0.0038

149.544

0.0038

146.351

0.0037

141.808

0.0037

139.242

0.0037

135.34

0.0037

132.406

0.0036

127.786

0.0036

126.042

0.0034

121.335

0.0036

119.191

0.0036

115.423

0.0036

111.517

0.0036

108.634

0.0037

105.578

0.0036

102.576

0.0036

99.997

0.0036

97.067

0.0036

94.171

0.0036

91.578

0.0037

88.232

0.0035

85.748

0.0035

83.429

0.0036

80.572

0.0035

77.764

0.0035

75.321

0.0035

73.232

0.0034

70.286

0.0034

68.527

0.0034

66.414

0.0034

64.852

0.0034

63.009

0.0034

61.97

0.0034

60.768

0.0034

60.478

0.0033

59.551

0.0034

59.599

0.0032

58.499

0.0032

58.242

0.0033

58.037

0.0033

57.368

0.0033

56.692

0.0033

55.626

0.0032

55.586

0.0031

53.988

0.0031

53.508

0.0031

52.521

0.0031

50.794

0.003

49.981

0.003

48.944

0.003

47.846

0.003

46.173

0.0029

44.977

0.003

43.61

0.003

42.411

0.003

40.963

0.0029

39.798

0.0029

39.118

0.003

36.796

0.003

36.274

0.0029

35.351

0.0028

34.083

0.0029

33.411

0.0029

32.564

0.0029

31.266

0.0029

30.564

0.0028

29.056

0.0028

28.573

0.0028

27.084

0.0028

26.518

0.0029

25.408

0.0029

24.672

0.0029

24.048

0.0028

23.229

0.0028

22.287

0.0028

21.831

0.0029

20.488

0.0029

20.416

0.0029

19.905

0.0028

19.042

0.0028

18.204

0.0027

18.063

0.0028

17.066

0.0028

16.491

0.0028

16.26

0.0027

15.469

0.0027

15.119

0.0027

14.389

0.0027

13.954

0.0027

13.896

0.0029

13.352

0.0029

12.985

0.0028

12.666

0.0028

11.941

0.0028

11.614

0.0027

11.482

0.0027

11.457

0.0027

10.708

0.0027

10.289

0.0027

10.275

0.0027

9.807

0.0027

9.512

0.0026

9.196

0.0026

8.908

0.0026

8.736

0.0025

8.592

0.0026

8.212



Sheet1

		Au

		200		3.2734

		201		3.2774

		202		3.2084

		203		3.2829

		204		3.2809

		205		3.2926

		206		3.3215

		207		3.2868

		208		3.3246

		209		3.284

		210		3.2353

		211		3.3346

		212		3.3508

		213		3.3582

		214		3.3441

		215		3.3486

		216		3.304

		217		3.2922

		218		3.2293

		219		3.3287

		220		3.315

		221		3.3353

		222		3.2808

		223		3.2812

		224		3.2746

		225		3.321

		226		3.2356

		227		3.2877

		228		3.3318

		229		3.3235

		230		3.3075

		231		3.3365

		232		3.3482

		233		3.3494

		234		3.3081

		235		3.3396

		236		3.3408

		237		3.298

		238		3.3486

		239		3.3288

		240		3.3052

		241		3.3182

		242		3.2176

		243		3.2782

		244		3.2746

		245		3.2571

		246		3.2485

		247		3.2137

		248		3.1995

		249		3.2148

		250		3.1005

		251		3.1741

		252		3.1695

		253		3.1526

		254		3.1185

		255		3.1011

		256		3.0855

		257		3.0667

		258		2.9998

		259		3.0602

		260		3.0183

		261		3.0136

		262		2.9837

		263		2.9953

		264		2.9643

		265		2.915

		266		2.8658

		267		2.9282

		268		2.8901

		269		2.8575

		270		2.8168

		271		2.7776

		272		2.7572

		273		2.747

		274		2.6342

		275		2.6379

		276		2.5629

		277		2.4985

		278		2.3883

		279		2.2806

		280		2.1608

		281		2.0277

		282		1.879

		283		1.747

		284		1.6075

		285		1.4733

		286		1.3459

		287		1.2252

		288		1.1123

		289		1.0047

		290		0.904

		291		0.8136

		292		0.7305

		293		0.6556

		294		0.5884

		295		0.5289

		296		0.4763

		297		0.4297

		298		0.3886

		299		0.353

		300		0.322

		301		0.295

		302		0.2718

		303		0.2516

		304		0.2341

		305		0.2189

		306		0.2058

		307		0.1946

		308		0.1852

		309		0.1771

		310		0.1706

		311		0.1652

		312		0.1606

		313		0.1572

		314		0.1544

		315		0.152

		316		0.1506

		317		0.1495

		318		0.1486

		319		0.1483

		320		0.1481

		321		0.1483

		322		0.1487

		323		0.1493

		324		0.1502

		325		0.1515

		326		0.1546

		327		0.1475

		328		0.161

		329		0.1518

		330		0.1524

		331		0.1482

		332		0.1598

		333		0.1563

		334		0.1662

		335		0.1603

		336		0.1654

		337		0.174

		338		0.1712

		339		0.1883

		340		0.1844

		341		0.1909

		342		0.1894

		343		0.1912

		344		0.2009

		345		0.2008

		346		0.2022

		347		0.2081

		348		0.2264

		349		0.2225

		350		0.2343

		351		0.2377

		352		0.2471

		353		0.245

		354		0.2483

		355		0.2572

		356		0.272

		357		0.2747

		358		0.2849

		359		0.2907

		360		0.2944

		361		0.3001

		362		0.31

		363		0.3234

		364		0.3263

		365		0.333

		366		0.3428

		367		0.3517

		368		0.3638

		369		0.3769

		370		0.3696

		371		0.393

		372		0.3935

		373		0.399

		374		0.4118

		375		0.4126

		376		0.4314

		377		0.4197

		378		0.4208

		379		0.434

		380		0.4412

		381		0.4548

		382		0.4743

		383		0.4403

		384		0.4268

		385		0.4366

		386		0.4417

		387		0.4518

		388		0.4584

		389		0.4678

		390		0.4755

		391		0.4849

		392		0.4926

		393		0.5032

		394		0.5135

		395		0.5225

		396		0.5354

		397		0.5448

		398		0.5564

		399		0.5634

		400		0.5728

		401		0.5772

		402		0.5813

		403		0.5879

		404		0.5883

		405		0.5877

		406		0.5823

		407		0.5744

		408		0.5637

		409		0.5509

		410		0.5327

		411		0.5153

		412		0.4947

		413		0.4728

		414		0.45

		415		0.4268

		416		0.4036

		417		0.3814

		418		0.3589

		419		0.3386

		420		0.319

		421		0.3002

		422		0.2826

		423		0.2648

		424		0.2482

		425		0.234

		426		0.2189

		427		0.2048

		428		0.1927

		429		0.181

		430		0.1706

		431		0.1604

		432		0.1515

		433		0.1429

		434		0.1341

		435		0.1271

		436		0.1215

		437		0.116

		438		0.1105

		439		0.1064

		440		0.1021

		441		0.0993

		442		0.0966

		443		0.0944

		444		0.0923

		445		0.09

		446		0.0894

		447		0.0879

		448		0.0857

		449		0.0847

		450		0.0839

		451		0.0833

		452		0.0834

		453		0.0823

		454		0.082

		455		0.0823

		456		0.0816

		457		0.0812

		458		0.0806

		459		0.0812

		460		0.0808

		461		0.0804

		462		0.0808

		463		0.0801

		464		0.0796

		465		0.0797

		466		0.0795

		467		0.0791

		468		0.0793

		469		0.0792

		470		0.0792

		471		0.079

		472		0.0792

		473		0.0793

		474		0.0796

		475		0.0798

		476		0.0799

		477		0.08

		478		0.0807

		479		0.0806

		480		0.0814

		481		0.0813

		482		0.0814

		483		0.082

		484		0.0824

		485		0.0829

		486		0.083

		487		0.0834

		488		0.0834

		489		0.0839

		490		0.0844

		491		0.0845

		492		0.0842

		493		0.0846

		494		0.0846

		495		0.0846

		496		0.0847

		497		0.085

		498		0.085

		499		0.085

		500		0.085

		501		0.0846

		502		0.0845

		503		0.0846

		504		0.0841

		505		0.0841

		506		0.0838

		507		0.0831

		508		0.0831

		509		0.0828

		510		0.0823

		511		0.0819

		512		0.0812

		513		0.0809

		514		0.0802

		515		0.0798

		516		0.079

		517		0.0783

		518		0.0776

		519		0.077

		520		0.0762

		521		0.0758

		522		0.075

		523		0.0742

		524		0.0737

		525		0.0728

		526		0.0723

		527		0.0718

		528		0.0711

		529		0.0705

		530		0.0698

		531		0.0691

		532		0.0684

		533		0.0678

		534		0.0673

		535		0.0666

		536		0.066

		537		0.0653

		538		0.065

		539		0.064

		540		0.0632

		541		0.0623

		542		0.0616

		543		0.0608

		544		0.06

		545		0.0592

		546		0.058

		547		0.0572

		548		0.0561

		549		0.0551

		550		0.0539

		551		0.053

		552		0.0518

		553		0.0509

		554		0.0499

		555		0.0487

		556		0.0476

		557		0.0468

		558		0.0457

		559		0.0446

		560		0.0436

		561		0.0428

		562		0.0419

		563		0.0412

		564		0.0403

		565		0.0397

		566		0.0391

		567		0.0386

		568		0.0379

		569		0.0377

		570		0.037

		571		0.0367

		572		0.0362

		573		0.0357

		574		0.0351

		575		0.0352

		576		0.0347

		577		0.0344

		578		0.0342

		579		0.034

		580		0.0337

		581		0.0336

		582		0.0331

		583		0.0329

		584		0.0325

		585		0.0322

		586		0.0317

		587		0.0314

		588		0.0314

		589		0.0311

		590		0.0308

		591		0.0306

		592		0.0302

		593		0.0301

		594		0.0298

		595		0.0294

		596		0.0294

		597		0.0292

		598		0.029

		599		0.0286

		600		0.0285

		601		0.0283

		602		0.028

		603		0.0279

		604		0.0278

		605		0.0275

		606		0.0275

		607		0.0274

		608		0.0275

		609		0.0275

		610		0.0274

		611		0.0273

		612		0.0274

		613		0.0275

		614		0.0276

		615		0.0276

		616		0.0278

		617		0.0278

		618		0.028

		619		0.0282

		620		0.0284

		621		0.0286

		622		0.0288

		623		0.0292

		624		0.0294

		625		0.0296

		626		0.03

		627		0.0303

		628		0.0305

		629		0.0308

		630		0.031

		631		0.0313

		632		0.0315

		633		0.0318

		634		0.0319

		635		0.0321

		636		0.0323

		637		0.0322

		638		0.0324

		639		0.0323

		640		0.0324

		641		0.0324

		642		0.0321

		643		0.032

		644		0.0318

		645		0.0316

		646		0.0315

		647		0.0311

		648		0.0307

		649		0.0305

		650		0.0302

		651		0.0297

		652		0.0293

		653		0.0289

		654		0.0285

		655		0.0278

		656		0.0273

		657		0.0268

		658		0.0262

		659		0.0257

		660		0.025

		661		0.0246

		662		0.024

		663		0.0235

		664		0.0228

		665		0.0223

		666		0.0216

		667		0.0211

		668		0.0205

		669		0.0199

		670		0.0194

		671		0.0188

		672		0.0183

		673		0.018

		674		0.0177

		675		0.0173

		676		0.0169

		677		0.0164

		678		0.0162

		679		0.0158

		680		0.0156

		681		0.0155

		682		0.0152

		683		0.015

		684		0.0147

		685		0.0148

		686		0.0148

		687		0.0146

		688		0.0144

		689		0.0144

		690		0.014

		691		0.0138

		692		0.0138

		693		0.0137

		694		0.0135

		695		0.0134

		696		0.0133

		697		0.0133

		698		0.0131

		699		0.013

		700		0.0129





Sheet2

								wavelength		Absorption		Absorption		Fluoresence		Fluoresence		Green GQD				Ashil

								200				3.2734						2.8314				200

								201				3.2774						2.8256				201

								202				3.2084						2.8039				202

								203				3.2829						2.8525				203

								204				3.2809						2.8531				204

								205				3.2926						2.8647				205

								206				3.3215						2.8552				206

								207				3.2868						2.8538				207

								208				3.3246						2.8391				208

								209				3.284						2.8459				209

								210				3.2353						2.7991				210

								211				3.3346						2.8303				211

								212				3.3508						2.8208				212

								213				3.3582						2.8164				213

								214				3.3441						2.814				214

								215				3.3486						2.7942				215

								216				3.304						2.7941				216

								217				3.2922						2.7864				217

								218				3.2293						2.7448				218

								219				3.3287						2.7558				219

								220				3.315						2.7523				220

								221				3.3353						2.735				221

								222				3.2808						2.735				222

								223				3.2812						2.71				223

								224				3.2746						2.7051				224

								225				3.321						2.6966				225

								226				3.2356						2.6651				226

								227				3.2877						2.6757				227

								228				3.3318						2.6801				228

								229				3.3235						2.6762				229

								230				3.3075						2.6657				230

								231				3.3365						2.6561				231

								232				3.3482						2.6378				232

								233				3.3494						2.6308				233

								234				3.3081						2.5984				234

								235				3.3396						2.598				235

								236				3.3408						2.5785				236

								237				3.298						2.5506				237

								238				3.3486						2.5111				238

								239				3.3288						2.3858				239

								240				3.3052						2.1084				240

								241				3.3182						1.722				241

								242				3.2176						1.3498				242

								243				3.2782						1.0418				243

								244				3.2746						0.7988				244

								245				3.2571						0.6119				245

								246				3.2485						0.4706				246

								247				3.2137						0.3645				247

								248				3.1995						0.2855				248

								249				3.2148						0.2272				249

								250				3.1005						0.1838				250

								251				3.1741						0.1523				251

								252				3.1695						0.1289				252

								253				3.1526						0.1118				253

								254				3.1185						0.0991				254

								255				3.1011						0.0896				255

								256				3.0855						0.0826				256

								257				3.0667						0.0771				257

								258				2.9998						0.0728				258

								259				3.0602						0.0694				259

								260				3.0183						0.0664				260

								261				3.0136						0.064				261

								262				2.9837						0.0619				262

								263				2.9953						0.0598				263

								264				2.9643						0.058				264

								265				2.915						0.0563				265

								266				2.8658						0.0548				266

								267				2.9282						0.0532				267

								268				2.8901						0.0515				268

								269				2.8575						0.0504				269

								270				2.8168						0.0486				270

								271				2.7776						0.0474				271

								272				2.7572						0.046				272

								273				2.747						0.0446				273

								274				2.6342						0.0434				274

								275				2.6379						0.0424				275

								276				2.5629						0.0412				276

								277				2.4985						0.0401				277

								278				2.3883						0.039				278

								279				2.2806						0.0381				279

								280				2.1608						0.0372				280

								281				2.0277						0.0363				281

								282				1.879						0.0353				282

								283				1.747						0.0344				283

								284				1.6075						0.0337				284

								285				1.4733						0.0329				285

								286				1.3459						0.0321				286

								287				1.2252						0.0314				287

								288				1.1123						0.0306				288

								289				1.0047						0.0299				289

								290				0.904						0.0293				290

								291				0.8136						0.0287				291

								292				0.7305						0.0282				292

								293				0.6556						0.0275				293

								294				0.5884						0.0269				294

								295				0.5289						0.0266				295

								296				0.4763						0.0261				296

								297				0.4297						0.0255				297

								298				0.3886						0.025				298

								299				0.353						0.0246				299

								300		0.4698		0.322						0.0242				300

								301		0.4694		0.295						0.0237				301

								302		0.4694		0.2718						0.0231				302

								303		0.4695		0.2516						0.0227				303

								304		0.4702		0.2341						0.0225				304

								305		0.4708		0.2189						0.0221				305

								306		0.4717		0.2058						0.0218				306

								307		0.4726		0.1946						0.0215				307

								308		0.474		0.1852						0.0212				308

								309		0.4748		0.1771						0.0207				309

								310		0.4759		0.1706						0.0205				310

								311		0.4774		0.1652						0.0201				311

								312		0.4789		0.1606						0.0198				312

								313		0.4801		0.1572						0.0194				313

								314		0.4813		0.1544						0.0192				314

								315		0.4822		0.152						0.0189				315

								316		0.4836		0.1506						0.0186				316

								317		0.4847		0.1495						0.0182				317

								318		0.4858		0.1486						0.018				318

								319		0.4869		0.1483						0.0176				319

								320		0.4884		0.1481						0.0173				320

								321		0.4895		0.1483						0.017				321

								322		0.4905		0.1487						0.0168				322

								323		0.4917		0.1493						0.0165				323

								324		0.4929		0.1502						0.0161				324

								325		0.494		0.1515						0.0158				325

								326		0.4953		0.1546						0.015				326

								327		0.4965		0.1475						0.0377				327

								328		0.4967		0.161						0.0294				328

								329		0.4993		0.1518						0.0203				329

								330		0.5001		0.1524						0.0073				330

								331		0.5002		0.1482						0.0212				331

								332		0.5032		0.1598						0.0256				332

								333		0.5037		0.1563						0.0154				333

								334		0.5026		0.1662						0.0036				334

								335		0.5046		0.1603						0.0158				335

								336		0.5049		0.1654						0.0052				336

								337		0.5054		0.174						0.0178				337

								338		0.505		0.1712						0.0067				338

								339		0.5046		0.1883						0.0058				339

								340		0.5044		0.1844						0.0187				340

								341		0.5049		0.1909						0.0074				341

								342		0.5014		0.1894						0.01				342

								343		0.5007		0.1912						0.0102				343

								344		0.5008		0.2009						0.0063				344

								345		0.4981		0.2008						0.0122				345

								346		0.4956		0.2022						0.0091				346

								347		0.4929		0.2081						0.0133				347

								348		0.4903		0.2264						0.0126				348

								349		0.487		0.2225						0.0082				349

								350		0.4822		0.2343						0.0138				350

								351		0.4792		0.2377						0.0143				351

								352		0.4748		0.2471						0.0084				352

								353		0.4709		0.245						0.0058				353

								354		0.4652		0.2483						-0.002				354

								355		0.4598		0.2572						0.014				355

								356		0.456		0.272						0.0075				356

								357		0.4496		0.2747						0.009				357

								358		0.443		0.2849						0.0036				358

								359		0.4374		0.2907						0.0016				359

								360		0.43		0.2944						0.0132				360

								361		0.4241		0.3001						0.0078				361

								362		0.4169		0.31						0.0065				362

								363		0.4094		0.3234						0.0061				363

								364		0.4022		0.3263						0.0071				364

								365		0.3952		0.333						0.0032				365

								366		0.3863		0.3428						0.0025				366

								367		0.3786		0.3517						0.0075				367

								368		0.3707		0.3638						0.0047				368

								369		0.3621		0.3769						0.005				369

								370		0.3535		0.3696						0.0147				370

								371		0.3448		0.393						0.0066				371

								372		0.3357		0.3935						0.0022				372

								373		0.3263		0.399						0.0077				373

								374		0.3167		0.4118						0.0085				374

								375		0.308		0.4126						0.0062				375

								376		0.2986		0.4314						0.0024				376

								377		0.29		0.4197						0.0049				377

								378		0.2816		0.4208						0.0107				378

								379		0.2727		0.434						0.0023				379

								380		0.2647		0.4412						0.0036				380

								381		0.2562		0.4548						0.0083				381

								382		0.2486		0.4743						0.0131				382

								383		0.2345		0.4403						0.0002				383

								384		0.2215		0.4268						0.0044				384

								385		0.2142		0.4366						0.0045				385

								386		0.2067		0.4417						0.0038				386

								387		0.1991		0.4518						0.0035				387

								388		0.1919		0.4584						0.0036				388

								389		0.1845		0.4678						0.0048				389

								390		0.1772		0.4755						0.0037				390

								391		0.1701		0.4849						0.0045				391

								392		0.1633		0.4926						0.0032				392

								393		0.1564		0.5032						0.0039				393

								394		0.1498		0.5135						0.0035				394

								395		0.1434		0.5225						0.0032				395

								396		0.1373		0.5354						0.0024				396

								397		0.1312		0.5448						0.0026				397

								398		0.1254		0.5564						0.0031				398

								399		0.1196		0.5634						0.0033				399

								400		0.1142		0.5728						0.0027				400

								401		0.1088		0.5772						0.0024				401

								402		0.1037		0.5813						0.0026				402

								403		0.0987		0.5879						0.0028				403

								404		0.0941		0.5883						0.0025				404

								405		0.0894		0.5877						0.0024				405

								406		0.0851		0.5823						0.0024				406

								407		0.081		0.5744						0.0028				407

								408		0.0771		0.5637						0.002				408

								409		0.0733		0.5509						0.0025				409

								410		0.0697		0.5327						0.0023				410

								411		0.0663		0.5153						0.0027				411

								412		0.063		0.4947						0.0019				412

								413		0.0599		0.4728						0.0023				413

								414		0.057		0.45						0.0017				414

								415		0.0542		0.4268						0.0024				415

								416		0.0516		0.4036				50.983		0.0018				416

								417		0.0492		0.3814				48.87		0.002				417

								418		0.047		0.3589				51.312		0.002				418

								419		0.0449		0.3386				54.184		0.0018				419

								420		0.0429		0.319				57.169		0.002				420

								421		0.0414		0.3002				60.293		0.003				421

								422		0.0396		0.2826				63.593		0.0025				422

								423		0.0379		0.2648				67.765		0.0017				423

								424		0.0364		0.2482				71.475		0.002				424

								425		0.0351		0.234				75.394		0.0022				425

								426		0.0339		0.2189				78.777		0.0011				426

								427		0.0328		0.2048				82.752		0.0012				427

								428		0.0318		0.1927				87.129		0.0017				428

								429		0.0309		0.181				90.536		0.002				429

								430		0.0299		0.1706		203.35979		94.993		0.0013				430

								431		0.029		0.1604		208.87162		98.586		0.001				431

								432		0.0282		0.1515		214.55963		103.096		0.0011				432

								433		0.0273		0.1429		220.39476		107.236		0.0018				433

								434		0.0268		0.1341		226.34922		111.629		0.0017				434

								435		0.026		0.1271		232.39652		116.043		0.0011				435

								436		0.0253		0.1215		238.51143		120.585		0.0013				436

								437		0.0246		0.116		244.67001		125.374		0.0021				437

								438		0.024		0.1105		250.84962		129.743		0.0017				438

								439		0.0235		0.1064		257.0289		132.886		0.0013				439

								440		0.023		0.1021		263.18774		137.79		0.0007				440

								441		0.0225		0.0993		269.30736		142.183		0.0015				441

								442		0.022		0.0966		275.37023		147.32		0.0008				442

								443		0.0215		0.0944		281.36013		151.066		0.0012				443

								444		0.0211		0.0923		287.2621		155.857		0.0013				444

								445		0.0207		0.09		293.06247		160.334		0.0002				445

								446		0.0202		0.0894		298.74886		165.757		0.0008				446

								447		0.0198		0.0879		304.31017		170.19		0.0015				447

								448		0.0194		0.0857		309.73659		175.941		0.001				448

								449		0.019		0.0847		315.01958		180.804		0.001				449

								450		0.0186		0.0839		320.15189		186.57		0.0008				450

								451		0.0183		0.0833		325.12756		190.731		0.0009				451

								452		0.0179		0.0834		329.9419		196.069		0.0008				452

								453		0.0176		0.0823		335.3647		201.944		0.0003				453

								454		0.0172		0.082		339.70361		209.032		0				454

								455		0.0169		0.0823		344.91277		214.29		0.0008				455

								456		0.0166		0.0816		348.77004		218.794		0.0008				456

								457		0.0163		0.0812		351.72636		225.9		0.0001				457

								458		0.0159		0.0806		355.4884		231.338		0.0003				458

								459		0.0157		0.0812		358.41716		238.477		0.0006				459

								460		0.0155		0.0808		361.48376		245.398		0.0007				460

								461		0.0152		0.0804		365.01069		251.695		0.0007				461

								462		0.0149		0.0808		368.5409		258.204		0.0002				462

								463		0.0148		0.0801		372.20887		264.694		0.0004				463

								464		0.0145		0.0796		375.42662		272.535		0.0009				464

								465		0.0143		0.0797		378.77823		279.073		0.0006				465

								466		0.014		0.0795		381.28585		284.665		0.0006				466

								467		0.0137		0.0791		384.34307		290.375		0.0005				467

								468		0.0135		0.0793		385.98184		298.155		0.0007				468

								469		0.0133		0.0792		387.95733		304.3		0.0005				469

								470		0.0131		0.0792		392.22531		312.487		0.0002				470

								471		0.0128		0.079		395.16494		318.123		0.0002				471

								472		0.0127		0.0792		399.01569		325.355		0.0006				472

								473		0.0126		0.0793		403.34585		330.801		0				473

								474		0.0123		0.0796		406.21541		339.343		0.0004				474

								475		0.0122		0.0798		409.69467		345.249		0.001				475

								476		0.012		0.0799		413.9132		351.874		0.0005				476

								477		0.0117		0.08		419.26895		360.013		0.0007				477

								478		0.0116		0.0807		423.78078		366.293		0.0002				478

								479		0.0115		0.0806		429.07351		374.748		0				479

								480		0.0114		0.0814		434.34773		382.201		0.0003				480

								481		0.0112		0.0813		440.063		390.153		0.0002				481

								482		0.011		0.0814		446.79191		398.623		0.0005				482

								483		0.0108		0.082		452.88444		405.941		0.0004				483

								484		0.0106		0.0824		460.05072		414.573		0				484

								485		0.0106		0.0829		468.05857		422.359		0.0003				485

								486		0.0104		0.083		475.47756		430.127		0.0002				486

								487		0.0102		0.0834		482.1405		438.953		0.0002				487

								488		0.0101		0.0834		488.5457		445.962		0.0002				488

								489		0.01		0.0839		495.92401		453.873		0				489

								490		0.0098		0.0844		504.17151		462.704		0				490

								491		0.0096		0.0845		512.40254		470.488		0				491

								492		0.0095		0.0842		520.95628		477.163		0				492

								493		0.0093		0.0846		528.7822		485.414		0.0001				493

								494		0.0092		0.0846		537.74874		493.017		0				494

								495		0.0091		0.0846		546.2786		501.348		0				495

								496		0.009		0.0847		552.81357		504.439		0				496

								497		0.0089		0.085		562.56817		510.789		0.0002				497

								498		0.0087		0.085		569.80045		518.738		0				498

								499		0.0086		0.085		577.85196		523.67		0				499

								500		0.0085		0.085		585.14552		529.398		0				500

								501		0.0084		0.0846		592.97432		535.31		0				501

								502		0.0082		0.0845		601.49041		539.22		0				502

								503		0.0081		0.0846		608.51995		543.076		0				503

								504		0.008		0.0841		614.04015		547.817		0				504

								505		0.0079		0.0841		621.52387		551.501		0				505

								506		0.0078		0.0838		627.47218		554.133		0				506

								507		0.0077		0.0831		634.94859		559.307		0				507

								508		0.0076		0.0831		638.39846		560.383		0				508

								509		0.0075		0.0828		642.57277		563.196		0				509

								510		0.0073		0.0823		644.60189		566.176		0				510

								511		0.0072		0.0819		646.74533		566.258		0				511

								512		0.0072		0.0812		647.97971		566.061		0				512

								513		0.0071		0.0809		650.71358		568.829		0				513

								514		0.007		0.0802		653.0919		568.611		0				514

								515		0.0069		0.0798		652.38757		567.444		0				515

								516		0.0068		0.079		654.20099		567.005		0				516

								517		0.0067		0.0783		657.69176		564.918		0				517

								518		0.0067		0.0776		656.93485		565.068		0				518

								519		0.0066		0.077		658.07929		562.827		0				519

								520		0.0065		0.0762		659.13624		561.225		0				520

								521		0.0064		0.0758		660.03736		558.375		0				521

								522		0.0063		0.075		661.14675		555.231		0				522

								523		0.0064		0.0742		663.91245		553.876		0				523

								524		0.0062		0.0737		663.68319		548.174		0				524

								525		0.0061		0.0728		663.43029		546.373		0				525

								526		0.0059		0.0723		663.3033		542.308		0				526

								527		0.0059		0.0718		663.25726		538.206		0				527

								528		0.0057		0.0711		664.86331		532.699		0				528

								529		0.0057		0.0705		664.86722		529.788		0				529

								530		0.0057		0.0698		662.38535		525.798		0				530

								531		0.0056		0.0691		659.04614		520.869		0				531

								532		0.0055		0.0684		656.34278		516.874		0				532

								533		0.0054		0.0678		653.05606		511.317		0				533

								534		0.0054		0.0673		649.93639		505.592		0				534

								535		0.0053		0.0666		646.85762		499.726		0				535

								536		0.0052		0.066		643.08221		493.403		0				536

								537		0.0051		0.0653		638.33051		487.409		0				537

								538		0.005		0.065		633.44099		481.457		0				538

								539		0.005		0.064		627.77791		475.548		0				539

								540		0.005		0.0632		622.44587		469.103		0				540

								541		0.005		0.0623		617.57687		463.364		0				541

								542		0.005		0.0616		611.63745		455.767		0				542

								543		0.0048		0.0608		606.02802		448.579		0				543

								544		0.0047		0.06		601.30605		443.108		0				544

								545		0.0047		0.0592		595.14511		437.319		0				545

								546		0.0046		0.058		589.82369		430.528		0				546

								547		0.0047		0.0572		584.17844		424.592		0				547

								548		0.0046		0.0561		577.18165		416.513		0				548

								549		0.0046		0.0551		573.0796		409.464		0				549

								550		0.0045		0.0539		567.51528		403.594		0				550

								551		0.0045		0.053		562.33654		394.941		0				551

								552		0.0045		0.0518		553.81801		389.743		0				552

								553		0.0044		0.0509		547.00495		382.392		0				553

								554		0.0045		0.0499		540.16612		376.223		0				554

								555		0.0044		0.0487		533.80001		369.515		0				555

								556		0.0044		0.0476		526.3527		362.106		0				556

								557		0.0043		0.0468		518.26147		355.088		0				557

								558		0.0042		0.0457		509.75777		348.211		0				558

								559		0.0043		0.0446		500.73764		342.283		0				559

								560		0.0047		0.0436		492.58972		334.98		-0.001				560

								561		0.0047		0.0428		483.73542		328.752		-0.001				561

								562		0.0046		0.0419		472.00167		322.64		0				562

								563		0.0046		0.0412		462.75941		316.017		0				563

								564		0.0045		0.0403		454.36644		309.894		0				564

								565		0.0045		0.0397		447.59353		303.148		0				565

								566		0.0045		0.0391		441.02994		296.397		0				566

								567		0.0044		0.0386		434.27946		290.208		0				567

								568		0.0043		0.0379		426.58863		283.615		0				568

								569		0.0043		0.0377		422.17074		276.966		0				569

								570		0.0043		0.037		417.63119		270.663		0				570

								571		0.0042		0.0367		414.23709		265.297		0				571

								572		0.0042		0.0362		409.90329		260.393		0				572

								573		0.0042		0.0357		405.37105		253.935		0				573

								574		0.0041		0.0351		399.75476		248.156		0				574

								575		0.0041		0.0352		393.92514		243.229		0				575

								576		0.0041		0.0347		388.91089		237.272		0				576

								577		0.0041		0.0344		382.62505		232.304		0				577

								578		0.0041		0.0342		377.19457		226.421		0				578

								579		0.004		0.034		372.38445		221.83		-0.001				579

								580		0.004		0.0337		365.88903		215.404		0				580

								581		0.0041		0.0336		361.35802		211.17		0				581

								582		0.004		0.0331		355.89119		206.093		0				582

								583		0.0039		0.0329		350.68767		201.111		0				583

								584		0.0039		0.0325		344.93513		195.88		0				584

								585		0.0038		0.0322		338.84835		191.733		0				585

								586		0.0039		0.0317		333.4016		186.849		0				586

								587		0.0039		0.0314		326.57102		182.822		0				587

								588		0.0038		0.0314		320.25241		178.213		0				588

								589		0.0038		0.0311		312.85948		174.068		0				589

								590		0.0038		0.0308		306.38525		168.948		0				590

								591		0.0038		0.0306		300.44493		164.408		0				591

								592		0.0038		0.0302		293.59239		160.441		0				592

								593		0.0037		0.0301		287.95774		157.355		0				593

								594		0.0038		0.0298		281.99324		153.14		-0.001				594

								595		0.0038		0.0294		275.46282		149.544		0				595

								596		0.0038		0.0294		270.01124		146.351		-0.001				596

								597		0.0037		0.0292		264.41004		141.808		-0.001				597

								598		0.0037		0.029		260.6093		139.242		0				598

								599		0.0037		0.0286		256.35294		135.34		0				599

								600		0.0037		0.0285		250.40635		132.406		0				600

								601		0.0036		0.0283		246.44153		127.786		0				601

								602		0.0036		0.028		245.10889		126.042		0				602

								603		0.0034		0.0279		240.81427		121.335		0				603

								604		0.0036		0.0278		235.19047		119.191		-0.001				604

								605		0.0036		0.0275		229.53645		115.423		0				605

								606		0.0036		0.0275		224.09131		111.517		-0.001				606

								607		0.0036		0.0274		219.72425		108.634		-0.001				607

								608		0.0037		0.0275		216.04101		105.578		0				608

								609		0.0036		0.0275		212.39352		102.576		0				609

								610		0.0036		0.0274		207.3509		99.997		-0.001				610

								611		0.0036		0.0273		204.44542		97.067		0				611

								612		0.0036		0.0274		203.86084		94.171		0				612

								613		0.0036		0.0275		202.08077		91.578		0				613

								614		0.0037		0.0276		199.91933		88.232		0				614

								615		0.0035		0.0276		196.14243		85.748		-0.001				615

								616		0.0035		0.0278		193.01595		83.429		0				616

								617		0.0036		0.0278		189.76917		80.572		0				617

								618		0.0035		0.028		184.22053		77.764		0				618

								619		0.0035		0.0282		181.64744		75.321		0				619

								620		0.0035		0.0284		175.22844		73.232		0				620

								621		0.0034		0.0286		170.49384		70.286		0				621

								622		0.0034		0.0288		164.73082		68.527		-0.001				622

								623		0.0034		0.0292		159.29398		66.414		0				623

								624		0.0034		0.0294		153.10239		64.852		0				624

								625		0.0034		0.0296		153.13582		63.009		0				625

								626		0.0034		0.03		147.77375		61.97		0				626

								627		0.0034		0.0303		142.31428		60.768		-0.001				627

								628		0.0034		0.0305		136.61972		60.478		0				628

								629		0.0033		0.0308		132.74435		59.551		0				629

								630		0.0034		0.031		127.09725		59.599		0				630

								631		0.0032		0.0313		122.74993		58.499		0				631

								632		0.0032		0.0315		121.07968		58.242		0				632

								633		0.0033		0.0318		116.2337		58.037		0				633

								634		0.0033		0.0319		110.10464		57.368		0				634

								635		0.0033		0.0321		111.38423		56.692		0				635

								636		0.0033		0.0323		103.93556		55.626		0				636

								637		0.0032		0.0322		100.13042		55.586		0				637

								638		0.0031		0.0324		98.41355		53.988		-0.001				638

								639		0.0031		0.0323		101.90753		53.508		-0.001				639

								640		0.0031		0.0324		101.84163		52.521		0				640

								641		0.0031		0.0324		95.25876		50.794		0				641

								642		0.003		0.0321		92.78319		49.981		0				642

								643		0.003		0.032		88.28441		48.944		0				643

								644		0.003		0.0318		85.95276		47.846		0				644

								645		0.003		0.0316		90.59084		46.173		0				645

								646		0.0029		0.0315		91.74105		44.977		0				646

								647		0.003		0.0311		94.51694		43.61		0				647

								648		0.003		0.0307		96.37424		42.411		0				648

								649		0.003		0.0305		92.08557		40.963		0				649

								650		0.0029		0.0302		91.78822		39.798		0				650

								651		0.0029		0.0297		92.06804		39.118		0				651

								652		0.003		0.0293		92.88125		36.796		0				652

								653		0.003		0.0289		90.51018		36.274		0				653

								654		0.0029		0.0285		89.42186		35.351		0				654

								655		0.0028		0.0278		96.22389		34.083		0				655

								656		0.0029		0.0273		100.46928		33.411		0				656

								657		0.0029		0.0268		99.29174		32.564		0				657

								658		0.0029		0.0262		94.40347		31.266		0				658

								659		0.0029		0.0257		93.52909		30.564		0				659

								660		0.0028		0.025		90.86298		29.056		-0.001				660

								661		0.0028		0.0246		93.09114		28.573		0				661

								662		0.0028		0.024		88.6964		27.084		0				662

								663		0.0028		0.0235		95.49271		26.518		0				663

								664		0.0029		0.0228		93.58455		25.408		0				664

								665		0.0029		0.0223		87.25423		24.672		0				665

								666		0.0029		0.0216		85.95007		24.048		0				666

								667		0.0028		0.0211		78.36413		23.229		0				667

								668		0.0028		0.0205		72.38337		22.287		0				668

								669		0.0028		0.0199		75.83165		21.831		0				669

								670		0.0029		0.0194		74.72197		20.488		0				670

								671		0.0029		0.0188		73.75448		20.416		0				671

								672		0.0029		0.0183		68.68527		19.905		0				672

								673		0.0028		0.018		61.99662		19.042		0				673

								674		0.0028		0.0177		71.14907		18.204		0				674

								675		0.0027		0.0173		66.62352		18.063		0				675

								676		0.0028		0.0169		70.21758		17.066		0				676

								677		0.0028		0.0164		69.81035		16.491		0				677

								678		0.0028		0.0162		81.71861		16.26		0				678

								679		0.0027		0.0158		87.07161		15.469		0				679

								680		0.0027		0.0156		93.18647		15.119		0				680

								681		0.0027		0.0155		99.96986		14.389		0				681

								682		0.0027		0.0152		107.30799		13.954		0				682

								683		0.0027		0.015		115.06657		13.896		0				683

								684		0.0029		0.0147		123.09086		13.352		-0.001				684

								685		0.0029		0.0148		131.20563		12.985		0				685

								686		0.0028		0.0148		139.21517		12.666		0				686

								687		0.0028		0.0146		146.90332		11.941		0				687

								688		0.0028		0.0144		154.03342		11.614		0				688

								689		0.0027		0.0144		160.34835		11.482		0				689

								690		0.0027		0.014		165.57051		11.457		0				690

								691		0.0027		0.0138		169.40183		10.708		0				691

								692		0.0027		0.0138		171.52375		10.289		0				692

								693		0.0027		0.0137		171.59725		10.275		0				693

								694		0.0027		0.0135		169.26284		9.807		0				694

								695		0.0027		0.0134		164.14054		9.512		-0.001				695

								696		0.0026		0.0133		155.82991		9.196		0				696

								697		0.0026		0.0133		143.91002		8.908		0				697

								698		0.0026		0.0131		127.93948		8.736		0				698

								699		0.0025		0.013		107.45642		8.592		0				699

								700		0.0026		0.0129		81.97848		8.212		0				700

										0.0026						7.958						701

										0.0026						7.94						702

										0.0025						7.573						703

										0.0025						7.34						704

										0.0025						6.631						705

										0.0025						6.782						706

										0.0024						6.886						707

										0.0024						6.526						708

										0.0025						6.234						709

										0.0024						6.274						710

										0.0024						5.985						711

										0.0024						5.759						712

										0.0023						5.532						713

										0.0022						5.801						714

										0.0022						5.433						715

										0.0022						5.232						716

										0.0022						5.165						717

										0.0021						4.86						718

										0.0021						4.738						719

										0.002						4.588						720

										0.002						4.755						721

										0.0021						4.454						722

										0.002						4.408						723

										0.002						4.229						724

										0.0019						4.267						725

										0.0018						3.813						726

										0.0018						4.001						727

										0.0018						3.828						728

										0.0016						3.64						729

										0.0015						3.599						730

										0.0014						3.616						731

										0.0013						3.476						732

										0.0012						3.36						733

										0.0011						3.377						734

										0.001						3.203						735

										0.0009						3.111						736

										0.0009						3.143						737

										0.0008						3.039						738

										0.0009						3.113						739

										0.0008						2.97						740

										0.0008						2.953						741

										0.0009						2.804						742

										0.0009						2.697						743

										0.0009						3.03						744

										0.0008						2.514						745

										0.0009						2.378						746

										0.0009						2.583						747

										0.0009						2.415						748

										0.0009						2.389						749

										0.0009						2.443						750

										0.0009						2.388						751

										0.0008						2.232						752

										0.0009						2.26						753

										0.0009						2.277						754

										0.0009						2.146						755

										0.0009						2.218						756

										0.0009						2.103						757

										0.0009						2.15						758

										0.0009						2.042						759

										0.001						1.872						760

										0.001						2.033						761

										0.001						1.94						762

										0.001						2.1						763

										0.001						2.203						764

										0.0009						2.14						765

										0.0011						1.942						766

										0.001						1.946						767

										0.0011						2.064						768

										0.0011						1.927						769

										0.0011						1.987						770

										0.0012						2.007						771

										0.0012						2.019						772

										0.0013						1.878						773

										0.0012						2.14						774

										0.0012						2.144						775

										0.0013						1.976						776

										0.0013						1.947						777

										0.0013						2.438						778

										0.0014						2.717						779

										0.0014						4.22						780

										0.0014						6.343						781

										0.0014						10.048						782

										0.0015						15.446						783

										0.0015						23.491						784

										0.0015						34.081						785

										0.0015						47.953						786

										0.0015						67.365						787

										0.0018						90.481						788

										0.0016						116.857						789

										0.0017						146.335						790

										0.0017						179.622						791

										0.0018						215.175						792

										0.0018						252.479						793

										0.0018						290.575						794

										0.0018						329.049						795

										0.0019						367.669						796

										0.0019						398.503						797

										0.0019						430.726						798

										0.002						455.915						799

										0.0019						479.861						800





Sheet2

		



Absorption

Fluoresence



Sheet3

		



Absorption

Fluoresence

wavelength



		






_1626027175.xls
Chart1

		0		4.8059881745		4.8059881745

		5		2.9903398358		2.9903398358

		10		2.7939839537		2.7939839537

		15		3.948299043		3.948299043

		20		2.4346480238		2.4346480238

		25		4.0272672289		4.0272672289

		30



0.1mM

Time of reaction(min)

Net FL intensity

0

25.7693333333

43.5456666667

50.9346666667

56.0896666667

63.43

64.4553333333



Sheet1

		

						0.01mM		0.05mM		0.1mM		0.25mM		0.5mM

				0		0		0		0		0		0

				5		-2.302		8.306		25.7693333333		40.643		50.476

				10		-0.582		9.412		43.5456666667		59.8446666667		63.638

				15		1.298		10.612		50.9346666667		66.249		74.656

				20		7.058		10.659				73.542		87.881

				25		11.165		10.983		63.43		77.6933333333		105.44

				30		14.774		13.114		64.4553333333		78.666		112.201

				Intensity		0		5		10		15		20		25		30

				0.1mM		0		25.7693333333		43.5456666667		50.9346666667		56.0896666667		63.43		64.4553333333

				0.25mM		0		40.643		59.8446666667		66.249		73.542		77.6933333333		78.666

				0.5mM		0		50.476		63.638		74.656		87.881		105.44		112.201

				stdev of 0.1mM				4.8059881745		2.9903398358		2.7939839537		3.948299043		2.4346480238		4.0272672289

						pH		quenching		RSD

						6		21.63689548		6.8126674663

						6.5

						7		30.8655853333

						7.5

						8		12.1408132

						pH		pH 5.0		pH 6.0		pH 6.5		pH 7.0		pH 7.5		pH 8.0

						quenching				21.63689548		25		30.8655853333		18.2003326667		12.1408132

						stdev				6.8126674663				7.059570144		9.564852159		2.371469365





Sheet1

		



0

5

10

15

20

25

30



		



0.1mM

0.25mM

0.5mM



		



20

20min



				6.8126674663		6.8126674663

				7.059570144		7.059570144

				9.564852159		9.564852159

				2.371469365		2.371469365



quenching

pH of Phosphate Buffer

Intensity



				4.8059881745		4.8059881745

				2.9903398358		2.9903398358

				2.7939839537		2.7939839537

				3.948299043		3.948299043

				2.4346480238		2.4346480238

				4.0272672289		4.0272672289



0.1mM

Time of reaction

Intensity




_1626023403.xls
Chart1

		pH 6.0		3.8126674663		3.8126674663

		pH 6.5		1.849556		1.849556

		pH 7.0		2.059570144		2.059570144

		pH 7.5		3.564852159		3.564852159

		pH 8.0		2.371469365		2.371469365



quenching

pH of Phosphate Buffer

Net FL intensity

21.63689548

23.8532

30.8655853333

18.2003326667

12.1408132



Sheet1

		

						0.01mM		0.1mM		0.25mM		0.5mM

				0		0		0		0		0

				5		-2.302		25.7693333333		40.643		50.476

				10		-0.582		43.5456666667		59.8446666667		63.638

				15		1.298		50.9346666667		66.249		74.656

				20		7.058				73.542		87.881

				25		11.165		63.43		77.6933333333		105.44

				30		14.774		64.4553333333		78.666		112.201

				Intensity		0		10		15		20		25		30

				0.1mM		0		43.5456666667		50.9346666667		56.0896666667		63.43		64.4553333333

				0.25mM		0		59.8446666667		66.249		73.542		77.6933333333		78.666

				0.5mM		0		63.638		74.656		87.881		105.44		112.201

						pH		pH 6.0		pH 6.5		pH 7.0		pH 7.5		pH 8.0

						quenching		21.63689548		23.8532		30.8655853333		18.2003326667		12.1408132

						stdev		3.8126674663		1.849556		2.059570144		3.564852159		2.371469365





Sheet1

		



0

5

10

15

20

25

30



		



0.1mM

0.25mM

0.5mM



		



20

20min



				3.8126674663		3.8126674663

				1.849556		1.849556

				2.059570144		2.059570144

				3.564852159		3.564852159

				2.371469365		2.371469365



quenching

pH of Phosphate Buffer

Intensity



		



0.1mM

Time of reaction

Intensity




_1626023400.xls
Chart1

		5		0.4044650788		0.4044650788

		10		0.6566990686		0.6566990686

		15		3.8971764565		3.8971764565

		20		5.5353537376		5.5353537376

		50		3.948299043		3.948299043



quenching

Concentration of HRP ( unit)

Net FL intensity

6.39

16.0835

21.4665

43.4

63.43



15unit

		ex 410						15U0M1T		15U20M1T				15U0M2T		15U20M2T				15U0M3T		15U20M3T				15U0M4T		15U20M4T

		slit 10/10				470		541.066		520.062				549.605		531.576				446.841		439.783				569.873		538.287

		0.1mM				471		544.849		528.584				555.475		541.637				454.615		443.862				579.476		547.86

						472		552.136		535.049				562.556		547.897				461.94		451.64				588.49		556.534

						473		558.356		540.062				567.844		554.264				468.532		458.564				595.016		565.157

						474		564.003		546.978				573.678		560.36				475.236		466.066				603.013		572.511

						475		570.391		552.764				579.682		565.309				482.163		472.078				611.971		581.796

						476		576.103		558.845				585.345		572.471				488.531		478.269				621.249		589.723

						477		580.834		564.916				589.939		577.175				495.626		485.407				629.544		596.627

						478		586.886		568.396				594.935		582.389				501.781		493.507				636.664		604.178

						479		590.976		575.366				601.633		586.945				510.237		500.155				644.657		613.336

						480		597.674		581.518				607.406		593.932				516.012		506.267				652.211		621.794

						481		602.914		587.033				612.279		598.663				523.769		514.269				660.943		628.949

						482		608.633		592.31				619.084		604.203				530.965		522.282				668.684		637.795

						483		613.54		598.107				624.376		611.086				537.226		529.495				676.986		645.454

						484		620.033		603.533				629.863		615.059				545.586		536.838				686.746		653.535

						485		626.586		608.947				635.499		620.848				553.171		544.418				693.495		661.057

						486		630.644		615.914				639.93		626.378				559.641		551.168				702.259		668.646

						487		637.383		620.872				647.554		631.773				568.848		559.007				710.796		677.723

						488		642.298		626.798				652.208		639.138				575.972		567.614				718.012		685.479

						489		649.708		634.183				658.69		644.467				583.67		574.772				726.679		692.924

						490		655.83		639.952				665.34		649.985				590.477		581.857				733.89		700.467

						491		660.423		645.309				669.995		656.007				598.255		589.301				743.925		708.212

						492		665.621		650.571				675.65		659.876				604.932		596.747				749.511		716.074

						493		670.652		656.541				679.625		665.871				611.715		602.883				757.365		722.684

						494		676.06		660.976				686.341		672.205				617.812		609.586				764.307		730.316

						495		681.304		667.943				691.486		676.202				626.741		616.613				771.835		735.497

						496		686.267		671.732				696.048		681.032				632.563		623.254				778.206		741.723

						497		691.706		677.326				701.23		685.641				638.438		627.871				786.658		749.336

						498		695.8		681.629				703.826		690.12				643.845		633.911				792.021		755.646

						499		699.649		684.831				708.207		694.433				648.29		640.199				796.944		758.808

						500		702.853		687.759				712.304		696.771				654.492		644.459				802.766		765.404

						501		707.098		691.799				716.49		700.811				657.722		648.247				808.611		768.748

						502		708.357		694.443				719.267		704.042				661.688		651.421				811.101		774.656

						503		712.872		696.88				720.678		705.462				666.788		657.292				814.815		777.276

						504		713.946		698.566				722.222		707.208				669.8		660.321				818.963		780.636

						505		715.224		700.586				724.553		709.636				673.636		664.125				821.31		783.65

						506		716.707		702.38				725.11		711.382				674.52		665.356				823.755		785.462								15 units

						507		716.015		704.086				726.632		711.948				676.895		668.459				825.64		787.533						trial 1		13.832

						508		718.067		704.689				725.901		712.998				678.684		668.706				826.604		786.772						trial 2		15.784

						509		716.361		702.529		13.832		727.771		711.987		15.784		679.258		670.985		8.273		827.638		789.442		38.196				trial 3		8.273

						510		715.277		701.93				725.803		710.811				679.436		670.081				827.059		787.98						trial 4		38.196

						511		713.892		701.088				724.872		708.884				679.892		670.605				826.315		788.127

						512		713.405		698.282				722.882		707.397				679.153		669.517				824.865		787.206						ave=		12.6296666667

						513		711.206		696.986				721.949		705.414				679.353		669.458				824.037		784.855						stdev		3.8971764565

						514		708.483		696.727				716.715		701.908				677.319		667.641				818.916		782.606

						515		706.761		692.598				714.329		700.294				675.636		665.855				819.02		779.938

						516		702.1		690.563				712.484		696.222				672.903		664.307				814.633		776.797

						517		699.1		687.092				707.274		692.067				669.852		661.43				846.187		773.811

						518		696.166		682.927				703.679		689.308				667.218		658.646				809.59		771.447

						519		690.357		679.534				698.576		684.113				662.852		656.187				805.296		765.747

						520		686.512		672.467				695.708		679.585				660.808		652.582				800.378		762.408

						521		681.372		669.858				689.81		674.643				656.63		648.848				794.614		757.412

						522		676.009		664.858				684.721		671.5				651.99		644.813				790.336		750.994

						523		670.444		657.779				680.784		665.586				648.399		640.759				784.551		747.158

						524		665.294		654.544				674.005		658.585				643.268		635.931				777.291		739.995

						525		657.585		647.307				667.177		653.098				637.606		631.383				768.133		732.734

						526		651.681		640.664				660.678		647.229				632.276		625.721				761.667		727.791

						527		645.103		635.202				654.026		642.2				626.103		619.083				754.139		722.474

						528		640.412		629.429				648.821		634.686				621.372		614.299				748.62		714.665

						529		633.291		622.247				643.761		627.866				614.774		608.065				738.712		707.792

						530		626.039		616.603				635.228		622.398				609.952		603.129				733.018		700.83

						531		619.511		610.972				629.742		615.502				602.848		598.729				725.873		695.338

						532		612.455		603.551				623.306		608.781				597.463		591.491				717.721		687.642

						533		605.646		596.45				614.01		601.301				590.788		585.163				708.104		678.944

						534		598.732		590.379				607.953		595.022				582.845		579.494				699.398		670.294

						535		591.216		583.82				600.673		588.353				577.14		573.367				691.993		663.696

						536		582.635		575.743				593.217		580.042				571.778		565.972				683.613		655.329

						537		576.648		569.019				584.828		571.946				564.16		559.458				674.931		646.705

						538		568.242		560.081				576.897		566.588				556.816		552.606				666.355		640.021

						539		559.641		552.062				568.779		557.263				548.762		544.727				656.385		630.162

						540		552.307		545.974				560.98		549.815				540.921		537.389				647.369		621.702

						541		544.851		537.232				552.413		541.075				533.826		529.725				636.88		612.096

						542		536.907		529.074				544.31		533.091				525.61		522.498				628.756		603.976

						543		528.441		522.052				537.134		525.486				519.083		514.974				619.366		595.775

						544		519.88		514.603				528.416		517.694				509.647		507.587				607.715		585.683

						545		509.893		504.306				518.742		507.951				502.68		498.555				599.57		577.315

						546		503.38		496.561				511.352		499.66				494.962		491.46				589.755		568.34

						547		494.626		488.319				502.72		491.435				486.499		483.68				579.014		557.608

						548		484.739		480.163				495.023		482.818				478.726		475.549				568.36		548.321

						549		476.793		470.903				485.178		474.314				470.512		468.428				560.385		539.394

						550		468.711		462.602				478.085		465.776				461.748		459.287				549.724		529.726





20units

				20U0M1T		20U20M1T				20U0M2T		20U20M2T				20U0M3T		20U20M3T				20U0M4T		20U20M4T				20U0M5T		20U20M5T				20U0M6T		20U20M6T				20U0M7T		20U20M7T				20U0M8T		20U20M8T

		470		525.533		501.939				597.161		535.365				510.298		476.751				590.262		558.852				536.575		514.272				563.92		518.341				579.06		529.462				579.187		531.767

		471		530.592		511.977				600.773		541.939				517.798		484.845				596.32		561.903				539.687		517.798				567.704		520.942				582.646		541.09				585.885		541.436

		472		535.083		515.943				606.954		548.294				523.709		491.954				602.798		568.451				546.426		523.896				574.66		528.536				586.988		545.516				592.225		548.152

		473		538.96		519.75				612.504		553.053				529.881		496.229				608.576		574.716				552.075		530.848				580.319		533.881				592.326		552.457				595.181		554.175

		474		543.827		523.434				617.903		559.069				536.389		502.506				613.206		580.546				556.757		536.537				586.784		542.285				596.326		559.186				600.907		560.224

		475		544.537		527.6				622.069		565.403				541.152		507.045				617.989		585.746				560.445		541.75				592.521		547.489				600.562		564.108				605.549		566.606

		476		548.548		531.022				627.62		571.032				545.352		510.955				623.491		592.107				567.727		546.58				597.576		552.59				605.137		567.993				609.877		572.563

		477		550.639		535.109				631.155		576.724				550.131		516.813				628.969		596.677				571.622		552.024				603.274		560.217				608.524		572.682				614.932		578.59

		478		553.14		537.371				636.902		580.35				554.138		519.737				633.411		602.395				576.395		557.754				608.46		567.222				613.62		579.085				619.27		584.178

		479		556.154		540.607				642.593		587.364				559.345		526.273				638.56		607.732				581.719		563.4				614.011		571.993				618.309		584.157				623.788		590.645

		480		559.242		544.518				648.23		593.425				565.197		530.415				643.008		613.978				587.251		568.665				619.32		578.179				621.596		589.086				628.929		596.828

		481		561.653		547.281				654.571		598.903				568.828		535.447				648.414		618.579				591.882		573.75				626.793		584.358				625.863		595.273				633.737		603.515

		482		565.305		551.009				659.71		604.804				574.703		539.54				653.705		624.635				597.81		579.428				632.382		588.522				631.257		598.777				639.428		609.166

		483		568.849		555.461				664.422		609.727				579.576		545.934				659.357		630.62				602.82		584.92				636.951		596.835				634.703		604.425				644.561		615.05

		484		572.005		558.135				670.17		616.192				584.623		550.106				663.524		636.339				608.501		591.211				643.961		602.07				640.953		609.699				649.467		621.855

		485		574.012		561.957				676.567		622.586				589.96		555.205				670.596		641.959				614.516		596.385				649.151		606.57				645.114		614.811				655.397		627.872

		486		577.546		565.87				681.812		628.463				595.696		560.529				675.606		647.07				619.782		601.306				654.885		613.094				649.24		620.116				662.421		633.805

		487		581.706		569.258				687.483		634.85				600.217		566.179				682.986		653.099				625.746		608.275				661.111		620.335				655.267		626.632				665.656		640.735

		488		584.901		572.348				692.9		640.288				606.213		570.047				687.919		659.423				630.934		613.386				666.461		627.096				660.772		631.763				672.952		645.86

		489		589.239		577.587				698.187		646.606				611.793		576.312				693.874		664.762				637.382		620.065				673.205		632.613				665.029		637.432				677.96		653.558

		490		591.011		581.052				703.945		652.33				616.587		580.774				699.381		672.183				643.021		625.397				678.738		638.687				669.744		643.499				684.16		659.992

		491		595.3		583.68				711.051		658.287				622.467		585.797				704.677		676.769				648.71		631.312				685.186		643.614				676.024		648.24				689.441		666.577

		492		598.458		587.631				714.057		662.364				626.577		590.615				711.021		681.943				651.643		636.153				691.617		650.876				680.641		654.018				694.861		672.41

		493		601.362		591.007				721.824		667.762				630.285		594.492				714.086		686.498				657.676		640.736				696.831		654.798				684.327		659.918				698.855		678.512

		494		604.785		595.044				725.477		672.331				635.922		598.704				720.597		691.588				663.144		645.932				701.559		660.733				689.441		664.407				703.344		682.786

		495		608.016		598.181				729.518		677.802				640.19		602.064				725.145		698.604				668.668		651.76				707.247		666.984				693.245		668.154				708.998		689.76

		496		609.668		601.881				735.564		682.44				644.324		608.853				731.285		701.565				672.474		655.581				712.079		671.649				698.536		673.362				713.476		694.54

		497		613.574		604.898				738.828		687.327				647.799		610.926				736.255		707.732				677.563		660.475				719.335		676.142				701.651		677.923				718.293		699.416

		498		615.407		606.721				742.206		692.142				651.611		615.807				739.113		711.44				681.553		664.52				721.395		680.471				705.146		682.162				720.588		702.647

		499		618.25		609.734				746.007		695.095				654.831		618				742.358		716.127				685.483		668.26				725.363		685.252				709.745		684.582				725.225		708.402

		500		618.912		611.425				749.123		697.039				659.153		620.841				744.88		719.191				688.811		671.383				728.607		687.55				712.118		688.467				728.724		711.78

		501		620.456		613.516				751.567		700.825				660.932		624.092				748.411		722.266				692.411		674.77				731.216		692.273				715.344		691.887				730.843		715.562

		502		621.724		615.575				755.65		703.708				663.711		626.109				751.118		725.42				694.192		677.933				736.367		695.429				717.957		693.557				735.127		718.501

		503		623.636		616.498				757.305		706.231				665.148		627.56				753.473		727.683				697.113		679.353				737.714		697.263				719.422		696.642				735.706		720.864

		504		623.137		617.505				758.992		708.284				666.434		628.783				754.887		728.186				699.195		682.422				739.491		700.569				721.455		700.586				739.112		723.154

		505		624.609		617.714				760.07		709.652				667.718		629.887				756.501		730.296				700.008		684.366				741.792		701.455				721.308		700.644				739.814		725.256

		506		623.879		616.909				760.167		709.757				668.505		630.754				756.935		731.914				701.928		683.839				741.971		702.895				724.806		700.99				740.733		726.742

		507		624.802		616.031				759.554		711.481				668.215		630.298				756.849		731.823				701.03		686.271				742.543		703.381				724.25		703.675				741.302		726.515

		508		622.879		615.892				759.28		709.547				667.119		629.964				758.407		731.376				701.847		685.118				742.02		703.754				723.376		703.417				741.151		726.584

		509		622.312		615.65		6.662		759.212		709.421		49.791		668.949		628.664		40.285		757.739		730.975		26.764		702.63		684.788		17.842		743.72		703.596		40.124		723.67		702.327		21.343		739.558		728.116		11.442

		510		620.96		613.992				758		708.129				666.779		630.315				754.9		731.42				701.252		685.48				742.433		702.902				720.912		702.445				740.005		727.001

		511		618.315		611.989				756.861		707.52				664.062		628.152				754.008		729.409				699.646		684.201				740.541		702.15				720.815		700.826				737.477		725.466

		512		616.423		610.609				755.096		705.673				661.885		625.11				751.411		726.937				698.047		682.802				739.364		701.413				718.374		697.89				736.31		724.301						20 units

		513		614.208		607.898				751.242		704.657				660.052		623.885				750.066		725.419				695.414		681.209				738.323		699.665				715.709		697.035				734.378		720.797				trial1		6.662

		514		610.333		604.047				746.828		701.271				656.027		621.124				745.408		723.813				692.808		678.138				733.739		696.162				712.686		694.665				730.196		719.559				trial2		49.791

		515		606.144		602.352				746.399		697.02				654.716		618.991				742.628		718.666				689.24		675.944				731.418		694.357				709.11		691.71				729.249		716.574				trial3		40.285

		516		603.946		598.068				741.727		694.535				650.885		616.612				738.298		717.153				688.423		672.759				726.165		691.992				705.426		688.116				724.502		714.223				trial4		26.764

		517		599.34		594.322				736.479		690.937				647.808		611.383				734.255		713.397				683.696		668.576				724.028		686.647				700.891		685.749				720.088		710.787				trial5		17.842

		518		595.174		590.666				731.794		686.554				645.782		608.658				730.47		708.331				679.751		665.681				718.639		684.437				697.018		681.259				715.674		704.844				trial6		40.124

		519		590.45		585.202				727.007		682.332				638.067		604.147				724.983		703.982				676.069		662.234				714.117		679.084				693.48		678.119				709.503		702.206				trial7		21.343

		520		587.642		582.207				721.868		677.007				634.227		599.345				720.73		699.734				670.791		658.647				710.776		675.687				689.103		673.623				705.622		696.751				trial8		11.442

		521		581.773		577.975				717.089		672.708				629.565		596.074				714.866		695.412				666.007		652.64				704.937		672.138				683.836		668.219				701.457		693.782

		522		577.785		572.342				710.868		668.564				623.809		589.709				709.73		690.348				661.21		648.351				699.611		666.652				678.409		661.99				696.599		687.565

		523		573.095		566.919				704.521		662.065				618.763		586.387				703.079		683.842				654.919		643.369				692.663		662.149				672.421		658.356				688.451		683.093				ave		43.4

		524		566.243		560.942				698.826		656.554				614.01		581.225				698.002		678.595				650.455		638.231				686.925		655.51				665.47		652.083				683.163		677.164				stdev		5.5353537376

		525		560.924		556.682				692.952		650.892				606.686		575.659				690.678		672.455				644.24		632.09				680.703		649.314				659.717		645.98				675.343		669.916

		526		554.484		550.142				684.548		643.352				601.284		571.066				683.406		665.728				636.594		626.309				673.726		643.566				652.768		641.418				670.442		663.446

		527		550.475		545.034				678.301		637.67				594.635		563.885				676.129		660.358				631.83		620.435				666.914		639.081				646.451		635.022				663.049		657.632

		528		543.532		539.214				671.187		632.929				589.832		559.752				669.55		653.79				624.33		614.023				660.715		631.296				639.88		628.044				656.676		651.767

		529		536.986		533.821				665.308		625.988				583.095		553.369				664.161		648.167				618.636		608.305				654.337		627.135				632.665		622.906				649.077		646.133

		530		532.278		528.544				658.548		619.036				576.716		547.292				657.029		641.483				613.424		602.852				647.848		620.793				627.936		617.372				643.477		639.457

		531		526.016		522.196				650.804		613.578				570.774		541.665				649.783		634.888				606.155		596.707				640.716		614.275				620.892		611.341				635.708		634.241

		532		519.639		517.529				643.745		607.556				565.467		537.773				642.751		629.034				600.173		590.881				633.565		608.134				613.205		604.038				629.149		627.917

		533		512.299		511.265				635.266		598.93				557.529		529.806				634.433		621.479				592.71		582.819				625.671		599.588				606.069		597.076				619.67		619.95

		534		507.415		505.341				628.807		592.847				550.828		524.77				627.667		614.809				584.485		577.132				617.865		594.393				599.498		589.278				614.181		612.802

		535		500.861		498.237				620.045		586.223				544.526		518.066				620.151		606.31				579.321		570.761				611.427		587.654				591.825		584.189				605.203		605.946

		536		493.695		492.776				613.082		578.456				536.251		510.656				612.234		599.357				572.065		563.46				604.385		580.676				583.736		575.967				597.803		597.904

		537		487.952		485.987				605.712		570.809				530.427		504.221				605.073		592.047				564.633		555.957				595.86		572.945				576.576		570.091				590.845		591.418

		538		481.677		480.057				597.077		565.003				522.909		498.108				596.152		584.713				557.187		548.928				587.708		564.277				568.455		561.769				581.439		583.91

		539		475.407		471.747				589.204		556.204				515.762		491.664				587.054		576.578				548.63		541.148				579.672		559.105				560.893		554.07				573.688		576.055

		540		467.78		465.622				580.336		548.39				509.318		483.93				577.3		568.155				540.758		533.131				570.144		550.609				553.508		546.626				565.14		567.41

		541		460.35		458.565				572.626		540.745				501.376		477.116				571.191		561.034				532.973		526.015				564.284		542.832				544.714		538.417				558.137		558.864

		542		454.264		452.256				563.414		533.044				494.128		471.529				563.23		551.544				525.054		519.084				554.956		534.924				536.953		531.336				548.927		550.972

		543		447.276		445.139				556.117		525.236				486.146		463.297				554.572		545.062				519.402		511.608				546.391		527.52				528.492		523.158				540.147		542.385

		544		439		438.162				547.312		516.85				478.788		456.636				544.545		535.415				509.102		504.041				538.463		518.745				521.065		514.555				531.191		534.739

		545		431.521		431.308				536.97		508.697				469.468		448.412				535.421		526.666				500.463		495.469				529.06		509.23				511.091		505.755				523.936		526.756

		546		425.593		423.002				529.246		500.302				463.098		440.815				527.165		518.922				491.584		487.013				520.876		502.178				503.489		498.374				512.473		518.08

		547		417.081		415.632				519.747		492.34				453.725		433.896				518.516		509.979				484.108		478.581				512.126		493.665				496.238		491.149				505.709		508.291

		548		410.763		409.231				510.082		482.114				445.28		426.562				508.746		502.163				475.946		470.988				503.126		485.249				487.097		482.115				496.218		501.333

		549		402.124		400.657				501.812		474.624				437.744		418.671				500.592		493.078				467.287		463.417				494.875		477.386				478.197		474.185				488.577		491.61

		550		395.615		394.012				492.603		466.495				429.094		410.501				490.64		484.143				459.086		454.962				486.134		468.612				469.451		465.513				478.318		483.69





difefrences

		

														quenching		stdev

												5		6.39		0.4044650788

												10		16.0835		0.6566990686

												15		21.4665		3.8971764565

												20		43.4		5.5353537376

												50		63.43		3.948299043





difefrences

				0.4044650788		0.4044650788

				0.6566990686		0.6566990686

				3.8971764565		3.8971764565

				5.5353537376		5.5353537376

				3.948299043		3.948299043



quenching

Number oF HRP(unit/sample)

Intensity




