Malaysian Journal of Analytical Sciences Vol 24 No 1 (2020): 33 - 41

# AGAROSE-CHITOSAN-INTERGRATED MULTIWALLED CARBON NANOTUBES FILM SOLID PHASE MICROEXTRACTION COMBINED WITH HIGH PERFORMANCE LIQUID CHROMATOGRAPHY FOR THE DETERMINATION OF TRICYCLIC ANTIDEPRESSANT DRUGS IN AQUEOUS SAMPLES

# (Filem Agarosa-Kitosan Bersepadu Nanotiub Kabon Berbilang Dinding Pengestrakan Mikro Fasa Pepejal Digabungkan Dengan Kromatografi Cecair Prestasi Tinggi-Pengesanan

# Ultralembayung Untuk Penentuan Anti-Murung Trisiklik Di Dalam Sampel Akueus)

# Wan Nazihah Wan Ibrahim1*, Mohd Marsin Sanagi2, Nor Suhaila Mohammad Hanapi1, Nursyamsyila Mat Hadzir1, Noorfatimah Yahaya3, Sazlinda Kamaruzaman4

# 1Faculty of Applied Science,

# Universiti Teknologi MARA, 40450 Shah Alam, Selangor, Malaysia

# 2Department of Chemistry, Faculty of Science,

# Universiti Teknologi Malaysia, 81310 Johor Bahru, Johor, Malaysia

# 3Integrative Medicine Cluster, Advanced Medical and Dental Institute,

# Universiti Sains Malaysia, 13200 Kepala Batas, Penang, Malaysia

# 4Department of Chemistry, Faculty of Science,

# Universiti Putra Malaysia, 43400 Serdang, Selangor, Malaysia

# *Corresponding author: wannazihah@uitm.edu.my

Received: 20 November 2019; Accepted: 15 January 2020

Abstract

# Agarose-chitosan-integrated multiwalled carbon nanotubes (Agr-Ch-MWCNTs) film solid phase microextraction (SPME) was developed and applied for the determination of tricyclic antidepressant drugs (TCAs) in aqueous samples using high performance liquid chromatography-ultraviolet detection (HPLC-UV). Integration of highly interconnected pores of MWCNTs in the agarose-chitosan matrix increases the hydrophobic sites, surface area and porosity of the materials and thus enhancing the extraction efficiency. The film of blended agarose and chitosan allows good dispersion of MWCNTs, prevents the leaching of MWCNTs during application and enhances the film mechanical stability. Optimized parameters for SPME parameters were obtained which no addition of salt included, sample pH = 11, 30 minutes extraction time, iso-propanol as desorption solvent and 0.4% w/v MWCNTs loading in agarose-chitosan matrix. The matrix match calibration curves demonstrated good linearity in the range of 10-500 ppb with excellent coefficients determination (r2 = 0.9944-0.9961), good limits of detection (LODs) in the range of 3.13-3.60 ppb, high analyte recoveries (92.04-110.00%) and low relative standard deviations (RSD < 6.85).

# Keywords: 	blended agarose/chitosan/multiwalled carbon nanotubes, solid phase microextraction, tricyclic antidepressant drugs

# Abstrak

# Filem agarosa-kitosan bersepadu nanotiub kabon berbilang dinding  (Agr-Ch-MWCNTs) pengestrakan mikro fasa pepejal (SPME) telah dibangunkan dan diaplikasi untuk penentuan anti-murung trisiklik di dalam sampel akueus menggunakan kromatografi cecair prestasi tinggi-pengesanan ultralembayung  (HPLC-UV). Persepaduan MWCNTs yang mempunyai liang yang saling berhubung di dalam matriks agarosa/kitosan menambahbaik tapak hidrofobik, luas permukaan dan keliangan bahan dan meningkatkan kecekapan pengestrakan. Filem campuran agarosa dan kitosan membenarkan penyerakan MWCNTs yang baik, menghalang pelunturan MWCNTs semasa aplikasi dan meningkatkan kestabilan mekanikal filem.  Optimum parameter untuk SPME telah diperolehi termasuk tiada penambahan garam, pH sampel = 11, masa pengestrakan 30 minit, iso-propanol sebagai pelarut desorpsi dan 0.4% w/v  jumlah muatan MWCNTs di dalam matrik agarosa/kitosan. Lengkungan kalibrasi matrik menunjukkan kelinearan yang bagus di dalam skala 10-500 ppb dengan penentuan koefisien yang terbaik (r2 = 0.9944-0.9961), had pengesanan yang bagus (LODs) di dalam skala 3.13-3.60 ppb, perolehan semula yang tinggi (92.04-110.00%) dan sisihan piawai relatif yang rendah (RSD < 6.85).

# Kata kunci:	campuran agarosa/kitosan/nanotiub karbon berbilang dinding, pengestrakan mikro fasa pepejal, anti-murung trisiklik

References

- Lindqvist, N., Tuhkanen, T. and Kronberg, L. (2005). Occurrence of acidic pharmaceuticals in raw and treated sewages and in receiving water. Water Research, 39: 2219-2228.

- Tambosi, J. L., Yamanaka, L.Y. and Moreira, H. J. J. R. F. P. M. (2010), Recent data on the removal of pharmaceuticals from sewage treatment plants (STP). Química Nova, 33(2): 411-420.

- Lin, A.Y-C., Yu, T-H. and Lateef, S.K. (2009). Removal of pharmaceuticals in secondary wastewater treatment processes in Taiwan. Journal of Hazardous Materials, 167:1163-1169.

- Vas, G. and Vékey, K .J. (2004). Solid-phase microextraction: A powerful sample preparation tool prior to mass spectrometric analysis. Mass Spectrometry, 39: 233-254.

- Pavlović, D. M., Babić, S., Horvat, A. J. M. and Kaštelan-Macan, M. (2007). Sample preparation in analysis of pharmaceuticals. Trends in Analytica Chemistry, 26(11): 1062-1075.

- Jiménez, J. J. (2013). Simultaneous liquid–liquid extraction and dispersive solid-phase extraction as a sample preparation method to determine acidic contaminants in river water by gas chromatography/mass spectrometry. Talanta, 116: 678-687.

- Wan Ibrahim, W. N., Sanagi, M. M., Hanapi, N. S. M, Kamaruzaman, S., Yahaya, N. and Wan Ibrahim, W. A. (2018). Solid-phase microextraction based on an agarose-chitosan-multiwalled carbon nanotube composite film combined with HPLC–UV for the determination of non-steroidal anti-inflammatory drugs in aqueous samples. Journal of Separation Science, 41: 2942-2951,

- Sutirman, Z. A., Sanagi, M. M., Abd Karim, K. J., Abu Naim, A. and Wan Ibrahim, W. A. (2018). Chitosan-based adsorbent for the removal of metal ions from aqueous solutions. Malaysian Journal of Analytical Sciences, 22(5):839-850.

- Dahane, S., Gil García, M. D., Martínez Bueno, M.J., Uclés Moreno, A., Martínez Galera, M. and Derdour, A. (2013). Determination of drugs in river and wastewaters using solid-phase extraction by packed multi-walled carbon nanotubes and liquid chromatography-quadrapole-linear ion trap-mass spectrometry. Journal of Chromatography A, 1297: 17-28.

- Asgharinezhad, A. A., Mollazadeh, N., Ebrahimzadeh, H., Mirbabaei, F. and Shekari, N. (2014). Magnetic nanoparticles based dispersive micro-solid-phase extraction as a novel technique for coextraction of acidic and basic drugs from biological fluids and waste water. Journal of Chromatography A, 1338: 1-8.

- Hamed Mosavian, M. T., Es’haghi, Z., Razavi, N., and Banihashem, S. (2012). Pre-concentration and determination of amitriptyline residues in wastewater by ionic liquid based immersed droplet microextraction and HPLC. Journal Pharmaceutical. Analysis. 2(5): 361-365.

- Luo, Y-B., Zheng, H-B., Wang, J-X., Gao, Q., Yu, Q-W. and Feng, Y-Q. (2011). An anionic exchange stir rod sorptive extraction based on monolithic material for the extraction of non-steroidal anti-inflammatory drugs in environmental aqueous samples. Talanta. 86: 103-108.

- Asgharinezhad, A. A., Karakami, S., Ebrahimzadeh, H., Shekari, N. and Jalilian, N. (2015). Polypyrrole/magnetic nanoparticles composite as an efficient sorbent for dispersive micro-solid phase extraction of antidepressant drugs from biological fluids. International Journal of Pharmaceuticals. 494: 102-112.

- Sarafraz-Yazdi, A., Amiri, A., Rounaghi, G. and Estiagh-Hosseini, H. (2012). Determination of non-steroidal anti-inflammatory drugs in water samples by solid-phase microextraction based sol-gel technique using poly(ethylene glycol) grafted multi-walled carbon nanotubes coated fiber. Analytical Chimica Acta. 720: 134-141.

- Loh, S. H., Sanagi, M. M., Wan Ibrahim, W. A., and Hassan, M. N. (2013). Multi-walled carbon nanotube-impregnated agarose film microextraction of polycylic aromatic hydrocarbons in green tea beverage. Talanta. 105: 200-205.

- Zare, F., Ghaedi, M. and Daneshfar, A. (2015). Solid phase extraction of antidepressant drugs amitriptyline and nortiptyline from plasma samples using core-shell nanoparticles of the type Fe3O4@ZrO2@N-cetylpryridinium, and their subsequent determination by HPLC with UV Detection. Microchimica Acta. 182: 1893-1902.

- Mercolini, L., Mandrioli, R., Finizio, G., Boncompagni, G. and Raggi, M. A. (2010). Simultaneous HPLC determination of 14 tricyclic antidepressants and metabolites in human plasma. Journal of Separation Science 33: 23-30.

- Alves, C., Santos-Neto, A. J., Fernandes, C., Rodrigues, J. C. and Lancas, F. M. (2007). Analysis of tricyclic antidepressant drugs in plasma by means of solid-phase microextraction-liquid chromatography-mass spectrometry. Journal of Mass Spectrometry. 42: 1342-1347.

- Chaves, A. R., Silva, S. M., Queroz, R. H. C., Lanças, F. M. and Queroz, M. E. C. (2007). Stir bar sorptive extraction and liquid chromatography with UV detection for determination of antidepressants in plasma samples. Journal of Chromatography B, 850: 295-302.

- Lim, T. H., Hu, L., Yang, C., He, C. and Lee, H. K. (2013). Membrane assisted micro-solid phase extraction of pharmaceuticals with amino and urea-grafted silica gel. Journal of Chromatography A, 1316: 8-14.