Malaysian Journal of Analytical Sciences Vol 24 No 6 (2020): 820 - 829

# FIELD-AMPLIFIED SAMPLE INJECTION-CAPILLARY ZONE ELECTROPHORESIS METHOD FOR THE ANALYSIS OF

# 5-FLUOROURACIL ANTICANCER DRUG

# (Kaedah Suntikan Sampel Medan Dipertingkat-Elektroforesis Zon Kapilari untuk Analisa Ubat Antikanser 5-Fluorouracil)

# Nur Shahz Ereena Zulkifli1, Khairil Juhanni Abd Karim1, Noorfatimah Yahaya3, Wan Aini Wan Ibrahim1, 2, Sazlinda Kamaruzaman4, Nur Idayu Mat Ghani1, Aemi Syazwani Abdul Keyon 1, 2*

# 1Department of Chemistry, Faculty of Science

# 2Centre for Sustainable Nanomaterials, Ibnu Sina Institute for Scientific and Industrial Research

# Universiti Teknologi Malaysia, 81310 UTM, Johor, Malaysia

# 3Integrative Medicine Clusters, Advanced Medical and Dental Institute (AMDI),

# Universiti Sains Malaysia, 13200 Kepala Batas, Penang, Malaysia

# 4Department of Chemistry, Faculty of Science,

# Universiti Putra Malaysia, 43400 UPM Serdang, Selangor, Malaysia

# *Corresponding author:  aemi@utm.my

Received: 20 July 2020; Accepted: 11 September 2020; Published:  xx December 2020

Abstract

Field-amplified sample injection-capillary zone electrophoresis (FASI-CZE) method was developed to enhance the detection sensitivity of anticancer drug 5-fluorouracil (5-FU). The analyte was introduced electrokinetically for 5 s into a capillary loaded with highly conductive background electrolyte (BGE). The injected analyte migrated in negative polarity, reducing separation time to 5 minutes as compared to positive polarity in hydrodynamic injection-CZE (18 minutes). FASI-CZE was optimized based on three parameters: Sample injection time (5 s, 10 s, and 40 s), BGE concentration in sample (3 mM, 5 mM, and 10 mM) and BGE concentration (15 mM and 25 mM). Optimization of FASI-CZE was conducted to achieve optimal conditions as followed: 15 mM borate BGE containing 0.1% w/v hexadimethrine bromide (HDMB), 5-FU and 5-BrU (IS) prepared in 5 mM diluted BGE, 20% v/v organic modifier in mixture sample was injected at -5 kV for 5 s. The separation was conducted using -25 kV and detected at the wavelength of 234 nm in diode array detection (DAD). The precision was reasonable; %RSD 4.43% at low concentration levels (5 mg/L). The LOD value was 0.24 mg/L when applied with FASI as compared to 0.58 mg/L using HDI-CZE. The sensitivity enhancement factor (SEF) was almost 3 times higher than HDI-CZE at positive polarity, showing that the proposed of FASI-CZE approach is appropriate for the study of 5-FU at trace level.

Keywords:  5-fluorouracil, field-amplified sample injection, capillary electrophoresis, anticancer drug

# Abstrak

# Kaedah suntikan sampel medan dipertingkat-elektroforesis zon kapilari (FASI-CZE) dibangunkan untuk pertama kalinya bagi meningkatkan kepekaan pengesanan ubat antikanser 5-fluorouracil (5-FU). Analit diperkenal secara elektrokinetik selama 5 s ke dalam kapilari yang dimuatkan dengan elektrolit latar belakang yang sangat konduktif (BGE). Analit yang disuntik berpindah dalam medan kutub negatif, mengurangkan masa pemisahan kepada 5 minit berbanding dengan medan kutub positif dalam suntikan hidrodinamik-CZE (18 minit). FASI-CZE  dioptimumkan berdasarkan tiga parameter: masa suntikan sampel (5s, 10s, dan 40s), kepekatan BGE dalam sampel (3 mM, 5 mM, dan 10 mM), dan kepekatan BGE (15 mM dan 25 mM). Pengoptimuman FASI-CZE dilakukan untuk mencapai keadaan yang optimum. Keadaan optimum untuk FASI-CZE adalah seperti berikut: 15 mM BGE borat yang mengandungi 0.1% w/v heksadimetrin bromida (HDMB), 5-FU dan 5-BrU (IS) yang disiapkan dalam 5 mM BGE cair, 20% v/v pengubah organik dalam campuran sampel disuntik pada voltan -5 kV selama 5 s. Pemisahan dilakukan dengan menggunakan -25 kV voltan dan dikesan pada panjang gelombang 234 nm dalam pengesanan susunan diod (DAD). Ketepatannya wajar; %RSD 4.43% pada tahap kepekatan rendah (5 mg/L). Nilai LOD adalah 0.24 mg/L ketika diterapkan dengan FASI berbanding 0.58 mg/L menggunakan HDI-CZE. Faktor peningkatan kepekaan (SEF) hampir 3 kali lebih tinggi daripada HDI-CZE pada medan kutub  positif, menunjukkan bahawa pendekatan FASI-CZE yang dicadangkan sesuai untuk kajian 5-FU pada tahap kepekatan surih.

Kata kunci: 	5-fluorouracil, suntikan sampel medan dipertingkat, elektroforesis zon kapilari, elektroforesis kapilari, ubat antikanser

# References

- Abdollahi, Z., Taheri-Kafrani, A., Bahrani, S. A. and Kajani, A. A. (2019). Pegaylated graphene oxide/superparamagnetic nanocomposite as a high-efficiency loading nanocarrier for controlled delivery of methotrexate. Journal of Biotechnology, 298: 88-97.

- National Cancer Institute (2018). Chemotherapy and you. National Cancer Institute, U.S.: pp. 1-55.

- Ali, I., Haque, A., Wani, W. A., Saleem, K., and Al Za'abi, M. (2013). Analyses of anticancer drugs by capillary electrophoresis: A review. Biomedical Chromatography, 27(10): 1296-1311.

- Usawanuwat, J., Boontanon, N. and Boontanon, S. K. (2014). Analysis of three anticancer drugs (5-fluorouracil, cyclophosphamide and hydroxyurea) in water samples by HPLC-MS/MS. International Journal of Advances in Agricultural & Environmental Engineering, 1: 72-76.

- Saif, M. W., Choma, A., Salamone, S. J. and Chu, E. (2009). Pharmacokinetically guided dose adjustment of 5-fluorouracil: A rational approach to improving therapeutic outcomes. JNCI: Journal of the National Cancer Institute, 101(22): 1543-1552.

- Kosjek, T. and Heath, E. (2011). Occurrence, fate and determination of cytostatic pharmaceuticals in the environment. TrAC Trends in Analytical Chemistry, 30(7): 1065-1087.

- Cirillo, G., Iemma, F., Puoci, F., Parisi, O. I., Curcio, M., Spizzirri, U. G. and Picci, N. (2009). Imprinted hydrophilic nanospheres as drug delivery systems for 5-fluorouracil sustained release. Journal of Drug Targeting, 17(1): 72-77.

- Zalewska, M., Wilk, K., and Milnerowicz, H. (2013). Capillary electrophoresis application in the analysis of the anti-cancer drugs impurities. Acta Poloniae Pharmaceutica, 70(2): 17180.

- Sun, H., Wu, Y., He, P., Zuo, Y. and Lv, Y. (2012). Characterization of interaction between antitumor drug 5-fluorouracil and human serum albumin by affinity capillary electrophoresis. Asian Journal of Pharmaceutical Sciences, 7(1): 75-79.

- Guichard, N., Guillarme, D., Bonnabry, P. and Fleury-Souverain, S. (2017). Antineoplastic drugs and their analysis: A state of the art review. Analyst, 142(13): 2273-2321.

- Forough, M., Farhadi, K., Molaei, R., Khalili, H., Shakeri, R., Zamani, A. and Matin, A. A. (2017). Capillary electrophoresis with online stacking in combination with AgNPs@ MCM-41 reinforced hollow fiber solid-liquid phase microextraction for quantitative analysis of capecitabine and its main metabolite 5-fluorouracil in plasma samples isolated from cancer patients. Journal of Chromatography B, 1040: 22- 37.

- Zhang, Z., Zhang, F. and Liu, Y. (2013). Recent advances in enhancing the sensitivity and resolution of capillary electrophoresis. Journal of Chromatographic Science, 51(7): 666-683.

- Kitagawa, F. and Otsuka, K. (2014). Recent applications of on-line sample preconcentration techniques in capillary electrophoresis. Journal of Chromatography A, 1335: 43-60.

- Xue, Y. and Yeung, E. S. (1994). Characterization of band broadening in capillary electrophoresis due to nonuniform capillary geometries. Analytical Chemistry, 66(21): 3575-3580.

- Bruin, G. J. M., Stegeman, G., Van Asten, A. C., Xu, X., Kraak, J. C. and Poppe, H. (1991). Optimization and evaluation of the performance of arrangements for uv detection in high-resolution separations using fused-silica capillaries. Journal of Chromatography A, 559(1-2): 163-181.

- Chen, X., Tang, Y., Wang, S., Song, Y., Tang, F. and Wu, X. (2015). Field‐amplified sample injection in capillary electrophoresis with amperometric detection for the ultratrace analysis of diastereomeric ephedrine alkaloids. Electrophoresis, 36(16): 1953-1961.

- Rabanes, H. R., Aranas, A. T., Benbow, N. L. and Quirino, J. P. (2012). Synergistic effect of field enhanced sample injection on micelle to solvent stacking in capillary electrophoresis. Journal of Chromatography A, 1267: 74-79.

- Purrà, M., Cinca, R., Legaz, J. and Núñez, O. (2014). Solid-phase extraction and field-amplified sample injection–capillary zone electrophoresis for the analysis of benzophenone UV filters in environmental water samples. Analytical and Bioanalytical Chemistry, 406(25): 6189-6202.

- Hou, X., Deng, D., Wu, X., Lv, Y. and Zhang, J. (2010). Simultaneous stacking of cationic and anionic compounds in single run capillary zone electrophoresis by two-end field amplified sample injection. Journal of Chromatography A, 1217(35): 5622-5627.

- Diasio, R. B. and Harris, B. E. (1989). Clinical pharmacology of 5-fluorouracil. Clinical Pharmacokinetics, 16(4): 215-237.

- Wielińska, J., Nowacki, A. and Liberek, B. (2019). 5-fluorouracil—complete insight into its neutral and ionised forms. Molecules, 24(20): 3683.

- Breadmore, M. C. (2007). Recent advances in enhancing the sensitivity of electrophoresis and electrochromatography in capillaries and microchips. Electrophoresis, 28(1‐2): 254-281.

- Prochazkova, A., Liu, S., Friess, H., Aebi, S., and Thormann, W. (2001). Determination of 5-fluorouracil and 5-fluoro-2’-deoxyuridine-5’-monophosphate in pancreatic cancer cell line and other biological materials using capillary electrophoresis. Journal of Chromatography A, 916: 215-224.

- Flores, J. R., Nevado, J. J. B., Penalvo, G. C., and Caceres, M. I. R. (2003). Direct capillary electrophoretic determination of three chemotherapeutic drugs in human urine. Journal of Chromatographia, 57: 493-496.

- Lu, H.-j., Guo., Y.-l., Zhang, H. and Ou, Q.-y. (2003). Rapid determination of 5-fluorouracil in plasma using capillary electrophoresis. Journal of Chromatography B, 788(2): 291-296.

- Liu, Y., Zhu, P., Huang, Z., Zhou, Li. and Shi, P. (2018). Simultaneous detection of 5-fluorocytosine and 5-fluorouracil in human cells carrying CD/5-FC suicide gene system by using capillary zone electrophoresis. Journal of Chromatography B, 1076: 1-7.

- Mahnik, S. N., Rizovski, B., Fuerhacker, M., and Mader, R. M. (2004). Determination of 5-fluorouracil in hospital effluents. Analytical and Bioanalytical Chemistry, 380(1): 31-35.