Malaysian Journal of Analytical Sciences Vol 25 No 1 (2021): 71 - 80

# MEFENAMIC ACID DETERMINATION IN TABLET FORMULATIONS USING A SELECTIVE AND ACCURATE SPECTROPHOTOMETRIC METHOD BASED ON PRUSSIAN BLUE FORMATION

# (Penentuan Asid Mefenamik dalam Formulasi Tablet Menggunakan Kaedah Spektrofotometri yang Selektif dan Tepat Berdasarkan Pembentukan Biru Prusian)

# Hendri Wasito1,2*, Desi Purnamasari2, Muhamad Salman Fareza1

# 1Department of Pharmacy,

# Faculty of Health Sciences, Jenderal Soedirman University, Purwokerto 53123, Indonesia

# 2Analytical Chemistry for Pharmaceutical and Health Research Group, Department of Pharmacy, Faculty of Health Sciences,

# Jenderal Soedirman University, Purwokerto 53123, Indonesia

# *Corresponding author:  hendri.wasito@unsoed.ac.id

Received: 10 November 2020; Accepted: 6 January 2021; Published:  xx February 2021

Abstract

# Selective and accurate visible spectrophotometric methods based on Prussian blue formation were successfully developed for the quantitative analysis of mefenamic acid in a tablet. The proposed method showed that visible spectrophotometric measurement at 715 nm under the optimized condition of 15 mmol/L potassium ferricyanide and 2.5 mmol/L ferric chlorides in 0.5 mol/L acetic acids after 15 minutes incubation time. The analytical performance demonstrated good linearity with the squares of correlation coefficient (r2) more than 0.99 in the concentration ranges of 3.0-14.0 mg/L with a limit of detection and quantification (LOD and LOQ) were found to be 0.31 mg/L and 1.04 mg/L, respectively. The method also seemed to be selective that proven by small interference with various excipients added. The developed and validated method was suitable for routine analysis of mefenamic acid in real samples of the tablet.

# Keywords:  quantification, mefenamic acid, spectrophotometry, validation

# Abstrak

# Kaedah spektrofotometri kelihatan selektif dan tepat berdasarkan pembentukan biru Prusian berjaya dibangunkan untuk analisis kuantitatif asid mefenamik dalam penyediaan tablet. Kaedah yang dicadangkan menunjukkan bahawa pengukuran optimum spektrofotometri yang dapat dilihat pada 715 nm di bawah keadaan 15 mmol/L kalium feriksianida dan 2.5 mmol/L ferik klorida dalam 0.5 mol/L asid asetik setelah 15 minit masa inkubasi. Prestasi analitikal menunjukkan kelinearan yang baik dengan pekali korelasi (r2) lebih besar daripada 0.99 dalam julat kepekatan 3.0-14.0 mg/L dengan had pengesanan dan kuantifikasi (LOD dan LOQ) masing-masing didapati 0.31 mg/L dan 1.04 mg/L. Kaedah ini juga nampaknya selektif yang terbukti dengan campur tangan kecil dengan pelbagai eksipien yang ditambahkan. Kaedah yang dibangunkan dan disahkan sesuai untuk analisis rutin asid mefenamik pada sampel sebenar tablet.

# Kata kunci:  kuantifikasi, asid mefenamik, spektrofotometri, pengesahan

References

- Sweetman, S. C. (2009). Martindale The complete drug reference, Pharmaceutical Press, London: pp. 80.

- Council of Experts and Its Expert Committees (2014). United States Pharmacopeia 37, United States Pharmacopoeial Convention, Rockville: pp. 3672-3673.

- Ibrahim, H., Boyer, A., Bouajila, J., Couderc, F. and Nepveu, F. (2007). Determination of non-steroidal anti-inflammatory drugs in pharmaceuticals and human serum by dual-mode gradient HPLC and fluorescence detection. Journal of Chromatography B, 857(1): 59-66.

- Kormosh, Z. and Matviychuk, O. (2013). Potentiometric determination of mefenamic acid in pharmaceutical formulation by membrane sensor based on ion-pair with basic dye. Chinese Chemical Letters, 24(4): 315-317.

- Malode, S. J., Shetti, N. P. and Kulkarni, R. M. (2019). Voltammetric detection and determination of mefenamic acid at silver-doped TiO2 nanoparticles modified electrode. Materials Today: Proceedings, 18: 671-678.

- Poerwono, H., Widyowati, R., Kubo, H., Higashiyama, K. and Indrayanto, G. (2005). Mefenamic acid: analytical profile, profiles of drug substances, excipients and related methodology, Academic Press, Brittain: pp. 281-336.

- Dinç, E., Yücesoy, C. and Onur, F. (2002). Simultaneous spectrophotometric determination of mefenamic acid and paracetamol in a pharmaceutical preparation using ratio spectra derivative spectrophotometry and chemometric methods. Journal of Pharmaceutical and Biomedical Analysis, 28(6): 1091-1100.

- Al-mufty, M. Z. and Ahmed, N. R. (2009). Indirect spectrophotometric method for the determination of mefenamic acid in pharmaceutical formulations. Rafidain Journal of Science, 20(6): 39-47.

- Raza, A. (2008). Spectrophotometric determination of mefenamic acid in pharmaceutical preparations. Journal of Analytical Chemistry, 63(3): 244-247.

- Zisimopoulos, E. G., Tsogas, G. Z., Giokas, D. L., Kapakoglou, N. I. and Vlessidis, A. G. (2009). Indirect chemiluminescence-based detection of mefenamic acid in pharmaceutical formulations by flow injection analysis and effect of gold nanocatalysts. Talanta, 79(3): 893-899.

- Mofavvaz, S., Sohrabi, M. R. and Heydari, A. (2020). Application of UV/vis spectrophotometry based on using least squares support vector machine and continuous wavelet transform methods for the simultaneous analysis of antibiotics drugs in tablet formulation: Comparison with HPLC method. Optik, 220: 165246.

- Darbandi, A., Sohrabi, M. R. and Bahmaei, M. (2020). Development of a chemometric-assisted spectrophotometric method for quantitative simultaneous determination of Amlodipine and Valsartan in commercial tablet. Optik, 218: 165110.

- Pavanelli, S. P., Bispo, G. L., Nascentes, C. C. and Augusti, R. (2011). Degradation of food dyes by zero-valent metals exposed to ultrasonic irradiation in water medium: Optimization and electrospray ionization mass spectrometry monitoring. Journal of the Brazilian Chemical Society, 22(1): 111-119.

- Othman, N. S. and Awades, L. S. (2008). Spectrophotometric determination of mefenamic acid via oxidative coupling reaction with 4-amminoantipyrine in presence of N-chlorosuccinimide. Pakistan Journal Analytical Environmental Chemistry, 9(2): 64-68.

- Teepoo, S., Chumsaeng, P., Jongjinakool, S., Chantu, K. and Nolykad, W. (2012). A new simple and rapid colorimetric screening test for semi-qualitative analysis of vitamin C in fruit juices based on Prussian blue. Journal of Applied Sciences, 12(6): 568-574.

- Wasito, H., Fatoni, A., Hermawan, D. and Susilowati, S. S. (2019). Immobilized bacterial biosensor for rapid and effective monitoring of acute toxicity in water. Ecotoxicology and Environmental Safety, 170: 205-209.

- Borman, P. and Elder, D. (2017).  Q2 (R1) validation of analytical procedures. ICH Quality Guidelines, 5: 127-166.

- Jayanthi, P. and Lalitha, P. (2011). Reducing power of the solvent extracts of Eichhornia crassipes (Mart.) Solms. International Journal of Pharmacy and Pharmaceutical Sciences, 3(3): 126-128.

- Grandjean, F., Samain, L. and Long, G. J. (2016). Characterization and utilization of Prussian blue and its pigments. Dalton Transactions, 45(45): 18018-18044.

- Malacara, D. (2011). Color vision and colorimetry: Theory and applications. SPIE Press, Bellingham: pp. 1-20.

- Giovannetti, R. (2012). The use of spectrophotometry UV-Vis for the study of porphyrins macro to nano spectroscopy. InTech, China: pp. 87-108.

- Rao, G. G. and Rao, V. N. (1955). Ascorbic acid as a reducing agent in quantitative analysis. Fresenius’ Zeitschrift Für Analytische Chemie, 147(5): 338-347.

- Samain, L., Grandjean, F., Long, G. J., Martinetto, P., Bordet, P. and Strivay, D. (2013). Relationship between the synthesis of Prussian Blue pigments, their color, physical properties, and their behavior in paint layers. The Journal of Physical Chemistry C, 117(19): 9693-9712.

- Adhikamsetty, R. and Jonnalagadda, S. (2009). Kinetics and mechanism of prussian blue formation. Bulletin of the Chemical Society of Ethiopia, 23(1): 47-54.

- El-Didamony, A. M., Saad, M. Z. and Saleem, N. O. (2013). Kinetic spectrophotometry method for the determination of morphine, nalbuphine and naltrexone drugs in bilk and pharmaceutical formulation. Journal of the Chilean Chemical Society, 58(3): 1907-1913.

- Hu, W.-H., Zhai, Q.-Z. and Zhang, X.-M. (2014). Determination of trace amount of IO3−with KIO3-KBr-(DBS-arsenazo) system by spectrophotometry. Journal of Analytical Chemistry, 69(5): 438-441.

- Alarfaj, N., Altamimi, S. and Almarshady, L. (2009). Spectrophotometric determination of mefenamic acid in pharmaceutical preparations. Asian Journal of Chemistry, 21(1): 217-226.

- Panitia Farmakope Indonesia, R. (1995). Farmakope Indonesia Edisi Keempat, Depkes, Jakarta: pp. 1107-1110.

- British Pharmacopoeia Commission Office (2009). British Pharmacopoeia, Volume I & II, Medicines and Healthcare Products Regulatory Agency (MHRA), London: pp. 4788.