Malaysian Journal of Analytical Sciences Vol 25 No 1 (2021): 95 - 104

# NOVEL AND VALIDATED NON-AQUEOUS TITRIMETRIC METHOD FOR DETERMINATION OF PERSPECTIVE POTASSIUM-SPARING DIURETIC DRUG CANDIDATE IN PURE FORM AND PHARMACEUTICAL FORMULATION

# (Kaedah Titrimetrik Bukan Akues Novel dan Ditentusahkan bagi Penentuan Penahanan Kalium-Dadah Diuretik dalam Formulasi Tulen dan Farmaseutikal)

# Alexey Ivanov1*, Ivan Smırnov2, Tatyana Murashko2, Marina Trusova1, Elena Stepanova1

# 1Research School of Chemistry & Applied Biomedical Sciences,

# National Research Tomsk Polytechnic University, Tomsk, Russia

# 2The Faculty of Pharmacy,

# Altai State Medical University, Barnaul, Russia

# *Corresponding author: ivanovaa@tpu.ru

Received: 31 August 2020; Accepted: 22 November 2020; Published:  xx February 2021

Abstract

# 4-O-β-D-(glucopyranosyloxy)-benzoic acid sodium salt (4-GBA) is promising potassium-sparing diuretic and anti-inflammatory drug. For the survey of 4-GBA as pharmaceutical substance, a durable method of its quantification is needed. In the present study, a titrimetric method for 4-GBA quantification since it is evident, very simple, fast, applicable for routine analysis and there is no need of using reference standards was developed. Aqueous titration gave unsatisfactory result. Thus, based on the weak basic properties of the 4-GBA, non-aqueous titration was chosen. Glacial acetic acid was used as a solvent, and an anhydrous solution of perchloric acid in glacial acetic acid was used as a titrant. End-point detection was carried out potentiometrically (method A) and visually with violet crystalline as an indicator (method B). Using aqueous titration, we determined pKa of 4-GBA as 4.27. The developed non-aqueous titration method is of excellent linearity (r2 = 0.9995 and r2 = 0.9947 for method A and method B, respectively), accuracy (recovery from 98.8 to 101.1 % and from 98.1 to 103.2 % for method A and method B, respectively) and precision (RSD ≤ 2% for intra- and inter-day analysis). The developed method is fast, simple, cheap and is applicable for the quantitative determination of 4-GBA both in pure form, bulk and pharmaceutical formulations.

# Keywords:  glucosides, potassium-sparing diuretics, validation methods, non-aqueous titration, quantitative determination

# Abstrak

# Garam sodium 4-O-β-D-(glukopiranosiloksi)-asid benzoik (4-GBA) merupakan penahanan diuretik kalium dan dadah anti-radang yang berkesan. Dari tinjauan 4-GBA sebagai bahan farmaseutikal, satu kaedah tahan lasak bagi kuantifikasi adalah diperlukan. Dalam kajian ini, kaedah titrimetrik bagi kuantifikasi 4-GBA telah dibangunkan kerana ia terbukti ringkas, pantas dan aplikasi mudah bagi analisis rutin dan piawai rujukan tidak diperlukan. Pentitratan akues telah memberikan hasil yang tidak memuaskan. Maka berdasarkan sifat bes lemah 4-GBA, pentitratan bukan akues telah dipilih. Asid asetik glasier telah digunakan sebagai pelarut, dan larutan asid perklorik kontang di dalam asid asetik glasier telah digunakan sebagai titran. Pengesanan titik akhir telah dijalankan secara potentiometrik (kaedah A) dan secara visual dengan kehadiran hablur sebagai penunjuk (kaedah B). Berdasarkan pentitratan akues, nilai pKa 4-GBA ditentukan pada 4.27. Kaedah pentitratan bukan akues yang telah dibangunkan memberi nilai kelinearan baik (r2 = 0.9995 dan r2 = 0.9947 masing-masing bagi kaedah A dan B), ketepatan (perolehan semula dari 98.8 hingga 101.1% dan dari 98.1 hingga 103.2% masing-masing bagi kaedah A dan B) dan kejituan (RSD ≤ 2% bagi analisis intra dan inter-hari). Kaedah yang dibangunkan adalah pantas, mudah, murah dan kebolehgunaan bagi penentuan 4-GBA di dalam formulasi tulen, pukal dan farmaseutikal.

# Kata kunci:  glukosida, penahanan diuretik kalium, kaedah tentusahkan, pentitratan bukan akues, penentuan kuantitatif

References

- David, H. E. (2019). Clinical pharmacology in diuretic use. Clinical Journal of the American Society of Nephrology, 14(8): 1248-1257.

- Roush, G. C., Kaur, R. and Ernst, M. E. (2014). Diuretics: A review and update. Journal of Cardiovascular Pharmacology and Therapeutics, 19(1): 5-13.

- Wile, D. (2012). Diuretics: a review. Annals of Clinical Biochemistry. 49(5): 419-431.

- Roush, G. C. and Sica, D. A. (2016). Diuretics for hypertension: A review and update. American Journal of Hypertension, 29(10): 1130-1137.

- Weber, M. A., Schiffrin, E. L., White, W. B., Mann, S., Lindholm, L. H., Kenerson, J. G., Flack, J. M., Carter, B. L., Materson, B. J., Ram, C. V. S., Cohen, D. L., Cadet, J-C., Jean-Charles, R. R., Taler, S., Kountz, D., Townsend, R. R., Chalmers, J., Ramirez, A. J., Bakris, G. L., Wang, J., Schutte, A. E., Bisognano, J. D., Touyz, R. M., Sica, D. and Harrap, S. B. (2014). Clinical practice guidelines for the management of hypertension in the community: A statement by the American society of hypertension and the international society of hypertension. The Journal of Clinical Hypertension, 16(1): 14-26.

- Brater, D. C. (2000). Pharmacology of diuretics. The American Journal of the Medical Sciences, 319(1): 38-50.

- Ettinger, B. (1985). Excretion of triamterene and its metabolite in triamterene stone patients. The Journal of Clinical Pharmacology, 25(5): 365-368.

- Chemam, Y., Benayache, S., Marchioni, E., Zhao, M., Mosset, P. and Benayache, F. (2017). On-line screening, isolation and identification of antioxidant compounds of Helianthemum ruficomum. Molecules, 22(2): 239.

- Hong, S. S., Choi, C. W., Choi, Y.-H. and Oh J. S. (2016). Coixlachryside A: a new lignan glycoside from the roots of Coix lachryma-jobi L. var. ma-yuen Stapf. Phytochemistry Letters, 17: 152-157.

- Yamashita-Higuchi, Y., Sugimoto, S., Matsunami, K., Otsuka, H. and Nakai, T. (2014). Grevillosides J–Q, Arbutin derivatives from the leaves of Grevillea robusta and their melanogenesis inhibitory activity. Chemical and Pharmaceutical Bulletin, 62(4): 364-372.

- Tanaka, Y., Yanagida, A., Komeya, S., Kawana, M., Honma, D., Tagashira, M., Kanda, T. and Shibusawa, Y. (2014). Comprehensive separation and structural analyses of polyphenols and related compounds from bracts of hops (Humulus lupulus L.). Journal of Agricultural and Food Chemistry, 62(10): 2198-2206.

- Pan, H. and Lundgren, L. N. (1996). Phenolics from inner bark of Pinus sylvestris. Phytochemistry, 42(4): 1185-1189.

- Masuda, T., Fujita, N., Odaka, Y., Takeda, Y., Yonemori, S., Nakamoto, K. and Kuninaga, H. (2007). Tyrosinase inhibitory activity of ethanol extracts from medicinal and edible plants cultivated in Okinawa and identification of a water-soluble inhibitor from the leaves of Nandina domestica. Bioscience, Biotechnology, and Biochemistry, 71(9): 2316-2320.

- Fiorentino, A., D’Abrosca, B., Pacifico, S., Mastellone, C., Piscopo, V., Caputo, R. and Monaco, P. (2008). Isolation and structure elucidation of antioxidant polyphenols from Quince (Cydonia vulgaris) peels. Journal of Agricultural and Food Chemistry, 56(8): 2660-2667.

- Ye, X., Tian, W., Wang, G., Zhang, X., Zhou, M., Zeng, D., Liu, X., Yao, X., Zhang, Y. and Chen, H. (2020). Phenolic glycosides from the roots of Ficus hirta Vahl. and their anti-neuroinflammatory activities. Journal of Agricultural and Food Chemistry, 68(14): 4196-4204.

- Smirnov, I. V., Murashko, T. O., Ivanov, A. A., Nemtsev, A. O., Postnikov, P. S., Bondarev, A. A. and Udut, V. V. (2016). Diuretic activity of 4-O-carboxyphenyl-D-glucopyranoside sodium salt administered via different routes. Eksperimental'naya i Klinicheskaya Farmakologiya, 79(1): 20-22.

- Smirnov, I. V., Murashko, T. O., Voloboy, N. L., Ivanov, A. A., Nemtcev, A. O., Bondarev, A. A. and Udut, V. V. (2015). The study of diuretic properties of a new synthetic substance. Pharmacy, 64(3): 40- 42.

- Murashko, T. O., Smirnov, I. V., Bondarev, A. A., Ivanov, A. A., Postnikov, P. S., Nemtsev, A. O. and Udut, V. V. (2016). Anti-inflammatory activity of sodium salt of 4-(O-β-d-glucopyranosyloxy) benzoic acid. Eksperimental'naya i Klinicheskaya Farmakologiya, 79(4): 26-28.

- Murashko, T. O., Smirnov, I. V., Ivanov, A. A., Postnikov, P. S., Nemtsev, A. O., Bomdarev, A. A., Udut, V. V., Prisukhin, A. N., Kornaukhov, A. N. and Sergeev, T. S. (2016). Studying gastric ulceration effect of a new drug intended for treatment of chronic inflammatory diseases of kidneys and urinary tract. Eksperimental'naya i Klinicheskaya Farmakologiya. 79(5): 26-28.

- Goldstein, J. L. and Cryer, B. (2015). Gastrointestinal injury associated with NSAID use: A case study and review of risk factors and preventative strategies. Drug, Healthcare and Patient Safety, 2015(7): 31-41.

- García-Rayado, G., Navarro, M. and Lanas, A. (2018). NSAID induced gastrointestinal damage and designing GI-sparing NSAIDs. Expert Review of Clinical Pharmacology. 11(10): 1031-1043.

- Görög, S. (2005). The sacred cow: the questionable role of assay methods in characterising the quality of bulk pharmaceuticals. Journal of Pharmaceutical and Biomedical Analysis. 36(5): 931-937.

- Siddiqui, M. R., Al Othman, Z. A. and Rahman, N. (2017). Analytical techniques in pharmaceutical analysis: A review. Arabian Journal of Chemistry, 10: 1409-1421.

- Smirnov, I., Murashko, T., Ivanov, A., Bondarev, A. and Udut, V. (2016). Study of specific pharmacological activity of sodium salt (4-O-β-glucopyranosyloxy)-benzoic acid. Jurnal of Teknologi, 78(6-8): 21-24.

- Stepanova, E., Nagornaya, M., Belyanin, M. and Filimonov, V. (2017). The first total syntheses of the diglycosides Virgaureoside A, of Solidago virgaurea L., and its analogue iso-Virgaureoside A. Current Organic Synthesis, 14(3): 394-397.

- World Health Organization (2019). International Pharmacopoeia (IP). Reagents, test solutions and volumetric solutions. 9th edition, Geneva, Switzerland.

- Reijenga, J., van Hoof, A., van Loon, A. and Teunissen, B. (2013). Development of methods for the determination of pKa Values. Analytical Chemistry Insights, 8(1): 53-71.

- Babic, S., Horvat, A. J. M., Pavlovic, D. M. and Kastelan-Macan, M. (2007). Determination of pKa values of active pharmaceutical ingredients. Trends in Analytical Chemistry, 26(11): 1043-1061.

- Qiang, Z. and Adams, C. (2004). Potentiometric determination of acid dissociation constants (pKa) for human and veterinary antibiotics. Water Research, 38(12): 2874-2890.

- Po, H. N. and Senozan, N. M. (2001). The Henderson–Hasselbalch equation: Its history and limitations. Journal of Chemical Education, 78(11): 1499-1503.

- Markunas, P. C. and Riddick, J. A. (1951). Titrimetry in glacial acetic acid. Scope of method. Analytical Chemistry, 23(2): 337-339.

- World Health Organization (2019). International Pharmacopoeia (IP). Methods of analysis: Chemical methods: Non-aqueous titration. 9th edition, Geneva, Switzerland.

- Byrne, F. P., Jin, S., Paggiola, G., Petchey, T. H. M., Clark, J. H., Farmer, T. J., Hunt, A. J., McElroy, C. R. and Sherwood, J. (2016). Tools and techniques for solvent selection: green solvent selection guides. Sustainable Chemical Process. 4(7): 1-24.

- International Conference on Harmonization, ICH (Q2 (R1)) (2015). Validation of Analytical Procedures: Text and methodology. International Conference on Harmonization, Geneva, Switzerland.