Carbograph type SPE cartridge was conditioned using 8 mL of MeOH

1 ml of extracted sample (MeOH phase) was transferred into the SPE cartridge and the elution of the compound was collected in a test tube

6 mL of MeOH was added to the SPE cartridge and eluted analyte was collected in the same test tube

Concentration of sample to dryness using nitrogen evaporator

Reconstitution of analyte to 1 mL using MeOH

Sample shaken for 3 seconds and transferred into sample vial for LC/MS/MS analysis

Addition of 25 μL internal standard into sample

Figure 3. SPE clean-up steps for residual analysis of MSM in CPO using LC/MS/MS