Malaysian Journal of Analytical Sciences Vol 25 No 2 (2021): 352 - 362

DETERMINATION OF METSULFURON METHYL IN CRUDE PALM OIL USING LIQUID CHROMATOGRAPHY TRIPLE QUADRUPOLE MASS SPECTROMETER

(Penentuan Metsulfuron Metil dalam Minyak Sawit Mentah Menggunakan Kromatografi Cecair Spektrometri Jisim Caturkutub Ganda Tiga)

Nik Sasha Khatrina Khairuddin1*, Chee Beng Yeoh1, Najwa Sulaiman1, Farah Khuwailah Ahmad Bustamam1, Halimah Muhamad1, Ismail Sahid2

1Malaysian Palm Oil Board,

No. 6, Persiaran Institusi, Bandar Baru Bangi, 43000 Kajang, Selangor, Malaysia

2School of Environmental Science and Natural Resources, Faculty Science and Technology,

Universiti Kebangsaan Malaysia, 43600 Bangi, Selangor, Malaysia.

*Corresponding author:  sashakhatrina@mpob.gov.my

Received: 23 December 2020 ; Accepted: 16 February 2021; Published:  25 April 2021

Abstract

A simple and fast method for the determination of metsulfuron methyl (MSM) in crude palm oil (CPO) was developed and validated in-house. The analytical method developed involved a liquid-liquid extraction of MSM with the incorporation of a heating step that has been found to enhance the extraction efficiency and stability. This is followed by clean-up using solid phase extraction (SPE), concentration and reconstitution of the analyte prior to injection into the liquid chromatography triple quadrupole mass spectrometer (LC/MS/MS). Using this method, good linearity with good coefficient correlation (r2) of >0.999 was obtained for matrix-matched calibration. Results showed that the average recoveries obtained for MSM in CPO samples at different levels of concentration (ultra-low, low, and high) are in the range between 84-98% with a relative standard deviation (RSD) of less than 5% for all samples. The limit of detection (LOD) and limit of quantification (LOQ) for analysis of residual MSM in CPO was estimated to be 1.0 and 5.0 ng/g, respectively. An experiment determining the repeatability resulted in an RSD of less than 5% for all samples and intermediate precision at spiking level at 10 ng/g and 50 ng/g showed RSD of 6.93% and 4.07%, respectively. A very low % RSD indicates good precision and suitability of this method for use in the analysis of residual MSM in CPO. Quick monitoring of Malaysian CPO was also carried out by analyzing 10 samples obtained from various mills throughout Malaysia. Results from the CPO monitoring showed that all samples were free from residual MSM.

Keywords: 	method development, metsulfuron methyl, pesticides, crude palm oil, liquid chromatography triple quadrupole mass spectrometer

Abstrak

Satu kaedah yang mudah dan pantas bagi penentuan kandungan metsulfuron metil (MSM) dalam minyak sawit mentah telah dibangunkan dan telah ditentusahkan. Kaedah analitikal yang telah dibangunkan melibatkan kaedah pengekstrakan MSM jenis cecair-cecair, dengan penambahan langkah pemanasan yang didapati dapat meningkatkan kecekapan dan kestabilan pengekstrakan, diikuti dengan langkah pembersihan menggunakan pengekstrakan jenis fasa pepejal (SPE), serta pemekatan dan pelarutan semula analit sebelum disuntik ke dalam instrumen kromatografi cecair spektrometri jisim caturkutub ganda tiga (LC/MS/MS). Melalui kaedah ini, kelinearan dan korelasi pekali penentuan yang baik, dengan nilai (r2) >0.999 bagi kalibrasi padanan matriks telah diperolehi. Keputusan menunjukkan purata perolehan semula yang diperolehi bagi MSM dalam sampel minyak sawit mentah pada kepekatan yang berbeza (sangat rendah, rendah dan tinggi) adalah pada julat antara 84-98% dengan nilai sisihan piawai relatif (RSD) kurang daripada 5% bagi kesemua sampel. Had pengesanan (LOD) dan had pengkuantitian (LOQ) bagi analisis sisabaki MSM dalam minyak sawit mentah masing-masing adalah 1.0 dan 5.0 ng/g. Eksperimen bagi penentuan kebolehulangan menunjukkan nilai RSD yang kurang daripada 5% untuk kesemua sampel dan kejituan pertengahan pada kepekatan 10 ng/g dan 50 ng/g menunjukkan nilai RSD masing-masing 6.93% and 4.07%. Nilai RSD yang sangat rendah menunjukkan kejituan yang baik dan kesesuaian penggunaan kaedah ini untuk analisis sisabaki MSM dalam minyak sawit mentah. Satu kajian pemantauan kandungan MSM dalam minyak sawit mentah di Malaysia juga telah dijalankan terhadap 10 sampel minyak sawit mentah yang diperolehi daripada beberapa kilang pemprosesan minyak sawit di Malaysia. Hasil keputusan pemantauan ini menunjukkan bahawa semua sampel minyak sawit mentah yang dianalisa adalah bebas dari sisabaki MSM.

Kata kunci: 	pembangunan kaedah, metsulfuron metil, pestisid, minyak sawit mentah, kromatografi cecair spektrometri jisim caturkutub ganda tiga

References

- Kushairi, A., Loh, S. K., Azman, I., Elina, H., Meilina, O.-A., Mohd Noor Izudin, Z. B., Razmah, G., Shamala, S. and Ahmad Parveez, G. K. (2018).  Journal of Oil Palm Research, 30: 163-195.

- Parveez, G. K. A., Elina, H., Loh, S. K., Ong-Abdullah, M., Kamalrudin, M. S., Zanal Bidin, M. N. I., Sundram, S., Hasan, Z. A. A. and Zainab, I. (2020). Oil palm economic performance in Malaysia and R&D progress in 2019. Journal of Oil Palm Research, 32(2): 159-190.

- Lacina, O., Zachariasova, M., Urbanova, J., Vaclavikova, M., Cajka, T. and Hajslova, J. (2012). Critical assessment of extraction methods for the simultaneous determination of pesticide residues and mycotoxins in fruits, cereals, spices and oil seeds employing ultra-high performance liquid chromatography-tandem mass spectrometry. Journal of Chromatography A, 1262: 8-18.

- Zanardini, E., Negri, M., Boschin, G., D'Agostina, A., Valle, A., Arnoldi, A. and Sorlini, C. (2002). Biodegradation of chlorsulfuron and metsulfuron-methyl by Aspergillus niger. The Scientific World Journal, 2: 1369-1374.

- Bazzigalupi, O. and Cepeda, S. (2005). Relations between soil moisture and the metsulfuron methyl effects on the seedling growth of soybean (Glycine max L. Merr.) Revista de Investigaciones Agropecuarias, 34(1): 101-110.

- Wibawa, W. and Sugandi, D. (2013).  The effectiveness of three herbicides mixed with metsulfuron methyl in controlling weeds on two types of soil in smallholders oil palm plantation. International Journal of Current Research, 5(9): 2487-2493.

- Ghani, A. and Wardle, D. A. (2001) Fate of 14C from glucose and the herbicide metsulfuron–methyl in a plant–soil microcosm system. Soil Biology and Biochemistry, 33: 777-785.

- Pons, N. and Barriuso, E. (1998). Fate of metsulfuron‐methyl in soils in relation to pedo‐climatic conditions. Pesticide Science, 53: 311-323.

- Sondhia, S. (2008). Persistence of metsulfuron-methyl in wheat crop and soil. Environmental Monitoring and Assessment, 147: 463-469.

- Sondhia, S. (2009). Persistence of metsulfuron-methyl in paddy field and detection of its residues in crop produce. Bulletin of Environmental Contamination and Toxicology, 83: 799-802.

- Ferrer, C., Gómez, M. J., García-Reyes, J. F., Ferrer, I., Thurman, E. M. and Fernández-Alba, A. R. (2005). Determination of pesticide residues in olives and olive oil by matrix solid-phase dispersion followed by gas chromatography/mass spectrometry and liquid chromatography/tandem mass spectrometry. Journal of Chromatography A, 1069: 183-194.

- Muhamad, H., Tan, Y. A. and Ismail, B. S. (2008). Determination of the herbicide fluroxypyr in oil matrices. Journal of Environmental Science and Health B, 43: 134-140.

- Li, L., Zhou, Z., Pan, C., Qian, C., Jiang, S. and Liu, F. (2007) Determination of organophosphorus pesticides in soybean oil, peanut oil and sesame oil by low-temperature extraction and GC-FPD. Chromatographia, 66: 625-629.

- Nageswara Rao, T., Ramasubbih A.V. and Parvathi, T. (2012). Development and validation of a HPLC-UV method for simultaneous determination of five sulfonylurea herbicide residues in soybean oil followed by matrix solid-phase dispersion. International Journal of Chemical, Environmental and Pharmaceutical Research, 3(2): 117-121.

- Ramli, M. I., Zakaria, Z., Sahid, I., Tan, Y. A. and Muhamad, H. (2012). Determination of herbicide diuron levels in palm oil matrices using HPLC-UV. Sains Malaysiana, 41: 1451-1459.

- Yeoh, C. B. and Chong, C. L. (2012). LC–MSMS analysis of acetamiprid residue in crude palm oil. European Journal of Lipid Science and Technology, 114(12): 1358-1361.

- Zainudin, B. H., Bakar, N. K. A. and Muhamad, H. (2009). Determination of cypermethrin in palm oil matrices. European Journal of Lipid Science and Technology, 111: 1014-1019.

- Nageswara Rao, T., Ramesh, A. and Parvathamma, T. (2012). Development and validation of a HPLC-UV method for simultaneous determination of five sulfonylurea herbicide residues in groundnut oil followed by matrix solid-phase dispersion. ISRN Analytical Chemistry, 2012: 1-5.

- Maldaner, L., Santana, C. C. and Jardim, I. C. S. F. (2008). HPLC determination of pesticides in soybeans using matrix solid phase dispersion. Journal of Liquid Chromatography and Related Technologies, 31(7): 972-983.

- Ismail, B. S. and Ooi, K. E. (2012). Adsorption, desorption and mobility of metsulfuron-methyl in soils of the oil palm agroecosystem in Malaysia. Journal Environmental Biology, 33(3): 573-577.

- Mohd Tahir, N. and Jee Sing, N. Y. (2006). Adsorption of metsulfuron-methyl on soils under oil palm plantation: A case study, 1st International Conference on Natural Resources Engineering & Technology, Putrajaya, Malaysia. p.591-596.

- Lászlo Polgár, Béla Kmellár, Juan F. García-Reyes and Péter Fodor. (2012). Comprehensive evaluation of the clean-up step in the QuEChERS procedure for the multi-residue determination of pesticides in different vegetable oils using LC-MS/MS. Analytical Methods, 4(4): 1142-1148.

- Sobhanzadeh, E., Bakar, N. K. A., Abas, M. R. B., & Nemati, K. (2012). A simple and efficient multi-residue method based on QuEChERS for pesticides determination in palm oil by liquid chromatography time-of-flight mass spectrometry. Environmental Monitoring and Assessment, 184(9): 5821-5828.

- Kostelac, D. and Anastassiades. (2007). Access from QuEChERS validation method for acidic pesticides. https://www.eurl-pesticides.eu/library/ docs/fv/2ndtr2007_AcidicKostelac.pdf [accessed October 2019].

- Yeoh, C. B., Kuntom, A., Dorasamy, S., Omar, M. R., Nor, M.Y. M., and Noh, M. R. M. (2006). Determination of acephate, methamidophos, and monocrotophos in crude palm oil. European Journal of Lipid Science and Technology, 108: 960-964.

- Yeoh, C. B., Ahmad Bustamam, F. K., Sulaiman, N., Khairuddin, N. S. K., Tay, M. G. and Saw, M. H. (2019). Development of analytical method for determination of thiosultap-disodium residue in palm oil matrix. Journal of Oil Palm Research, 3: 634-640.

- Pano-Farias, N. S., Ceballos-Magaña, S. G., Muñiz-Valencia, R. and Gonzalez, J. (2017). Validation and assessment of matrix effect and uncertainty of a gas chromatography coupled to mass spectrometry method for pesticides in papaya and avocado samples. Journal Food Drug Analysis, 25: 501-509.

- Vial, J. and Jardy, A. (1999). Experimental comparison of the different approaches to estimate LOD and LOQ of an HPLC method. Analytical Chemistry,71: 2672-2677.

- European Commission, Sante/11813/2017-Guidance document on analytical quality control and validation procedures for pesticide residues and analysis in food and feed, 2017: pp 1-46.

- Huber, L. (2007). Validation and qualification in analytical laboratories. 2nd Edition. CRC Press, Boca Raton: pp 1-288.