Malaysian Journal of Analytical Sciences Vol 25 No 3 (2021): 498 - 507

210PO DETERMINATION IN URINE SAMPLES AMONG RADIATION WORKERS BY ALPHA SPECTRUM ANALYSIS

(Penentuan 210Po dalam Sampel Urin di Kalangan Pekerja Sinaran Melalui Analisis Spektrum Alpha)

Nurrul Assyikeen Md. Jaffary*, Nurul Zakila Azlan, Jalal Sharib @ Sarip, Mohd Tarmizi Ishak, Zulkifli Daud, Mohd Izwan Abdul Adziz

Radiochemistry and Environmental Laboratory, Waste and Environmental Technology Division,

Malaysian Nuclear Agency, Bangi, 43000 Kajang, Malaysia

*Corresponding author:  assyikeen@nuclearmalaysia.gov.my

Received: 26 April 2021; Accepted: 11 June 2021; Published:  xx June 2021

Abstract

The radioactivity of 210Po in the urine sample of radiation workers working in radiochemical laboratory, Malaysian Nuclear Agency, was determined. Collected urine samples have to go through the hot acid dissolution process followed by the auto-deposition technique using HCl as the solution. Measurements using the alpha spectrometry system showed good 209Po retrieval, while 210Po determination has no interference by other natural radionuclides. The specific radioactivity of 210Po was determined from 1.33 mBqL-1 to 49.84 mBqL-1. This preliminary study was conducted to obtain reference data as part of methods development for further investigations in emergencies. The assessment of the data findings in terms of radiation safety was done. Such radioactivity measurement procedure would also be applying for the routine 210Po analysis in the urine.

Keywords:  polonium isotopes, radioactivity, radiochemical separation, alpha spectrometry, bioassay

Abstrak

Radioaktiviti 210Po dalam sampel urin pekerja radiasi yang bekerja di makmal radiokimia, Agensi Nuklear Malaysia telah ditentukan. Sampel urin yang dikumpulkan mesti melalui proses pembubaran asid panas diikuti dengan teknik pemendapan-auto menggunakan HCl sebagai medium larutan. Pengukuran menggunakan sistem spektrometri alpha menunjukkan dapatan semula 209Po yang baik, sementara penentuan 210Po tiada gangguan daripada kehadiran radionuklida semula jadi yang lain. Radioaktiviti spesifik 210Po telah ditentukan dari 1.33 mBqL-1 hingga 49.84 mBqL-1. Kajian awal ini dilaksanakan untuk mendapatkan data rujukan sebagai sebahagian dari pengembangan kaedah bagi situasi kecemasan. Penilaian ke atas dapatan data dari segi keselamatan radiasi telah dilakukan. Prosedur pengukuran radioaktif seperti ini juga digunakan untuk aktiviti analisis rutin 210Po dalam sampel urin.

Kata kunci:  isotop polonium, radioaktiviti, pemisahan radiokimia, spektrometri alfa, bioasai

References

- Vreček, P., Benedik, L. and Pihlar, B. (2004). Determination of 210Pb and 210Po in sediment and soil leachates and in biological materials using a Sr-resin column and evaluation of column reuse. Applied Radiation and Isotopes, 60(5): 717-723.

- Maguire, H., Fraser, G., Croft, J., Bailey, M., Tattersall, P., Morrey, M. and Troop, P. (2010). Assessing public health risk in the London polonium-210 incident, 2006. Public Health, 124(6): 313-318.

- Li, C., Sadi, B., Davis, K., Wyatt, H., Cornett, J., Kramer, G. and Canada, P. E. (2011). Is alpha spectrometry reliable for 210Po urine bioassay? Radiation Protection Dosimetry, 143(1): 106-108.

- Carvalho, F. P. and Oliveira, J. M. (2009). Bioassay of 210Po in human urine and internal contamination of man. Journal of Radioanalytical and Nuclear Chemistry, 280(2): 359-362.

- Meli, M. A., Desideri, D., Roselli, C. and Feduzi, L. (2009). 210Po determination in urines of people living in Central Italy. Journal of Environmental Radioactivity, 100(1): 84-88.

- Manickam, E., Sdraulig, S. and O’Brien, R. (2010). An improved and rapid radiochemical method for the determination of polonium-210 in urine. Australian Journal of Chemistry, 63(1): 38-46.

- IAEA (2009). A procedure for the determination of Po-210 in water samples by alpha spectrometry. IAEA Analytical Quality in Nuclear Applications Series No. 12.

- Guérin, N. and Dai, X. (2015). An emergency bioassay method for 210Po in urine. Applied Radiation and Isotopes, 103: 179-184.

- Aggarwal, S. K. (2016). Alpha-particle spectrometry for the determination of alpha emitting isotopes in nuclear, environmental and biological samples: Past, present and future. Analytical Methods, 8(27): 5353-5371.

- Al-Arifi, M. N., Alkarfy, K. M., Al-Suwayeh, S. A., Aleissa, K. A., Shabana, E. I., Al-Dhuwaili, A. A. and Al-Hassan, M. I. (2006). Levels of 210Po in blood, urine and hair of some Saudi smokers. Journal of Radioanalytical and Nuclear Chemistry, 269(1): 115-118.

- Hodgson, A. (2018). Natural levels of Polonium-210 in urine. Journal of Radiological Protection. 38: 393.

- Jaffary, N. A., Khoo, K. S., Mohamed, N. H., Yusof, M. A. W. and Mohd Fadzil, S. (2019). Malaysian monazite and its processing residue: chemical composition and radioactivity. Journal of Radioanalytical and Nuclear Chemistry, 322(2): 1097-1105.

- Lipsztein, J. L., Melo, D. R., Sousa, W., Dias da Cunha, K. M., Azeredo, A. M. G., Julião, L. and Santos, M. (2003). Norm workers: A challenge for internal dosimetry programmes. Radiation Protection Dosimetry, 105(1–4), 317-320.

- Alonso-Hernandez, C., Diaz-Asencio, M., Munos-Caravaca, A., Suarez-Morell, E. and Avila-Moreno, R. (2002). 137Cs and 210Po dose assessment from marine food in Cienfuegos Bay (Cuba). Journal of Environmental Radioactivity, 61(2): 203-211.

- Noshkin, V. E., Robison, W. L. and Wong, K. M. (1994). Concentration of 210Po and 210Pb in the diet at the Marshall Islands. Science Total of Environment, 155: 87-104.

- UNSCEAR (2000). Sources and effects of ionizing radiation, New York: pp 1.

- Alam, L. and Mohamed, C. A. R. (2011). Natural radionuclide of Po210 in the edible seafood affected by coal-fired power plant industry in Kapar coastal area of Malaysia. Environmental Health: A Global Access Science Source, 10(1): 1-10.

- Carvalho, F. P. (1995). Origins and concentrations of 222Rn, 210Pb, 210Bi and 210Po in the surface air at Lisbon, Portugal, at the Atlantic edge of the European continental landmass. Atmospheric Environment, 29(15): 1809-1819.

- García-Orellana, I. and García-León, M. (2002). An easy method to determine 210Po and 210Pb by alpha spectrometry in marine environmental samples. Applied Radiation and Isotopes, 56(4): 633-636.